## Risk Profile Tool
OEB Framework - Inherent Risk Profile Tool
Last Updated: December 19, 2016
Questions to be completed by each LDC and non-bulk entity (collectively referred to as "entity")
| Risk Area | Question | Response | Response |  |  |  | Risk Factor |  |  |  | S1 | S2 | S3 | S4 | Score | Additional Context
1 | External | How many customers does your entity serve ? | Choose Response | <20K | 20K-100K | >100K |  | 1 | 5 | 10 |  | 0 | 0 | 0 |  | 0 | Total number of residential and Commercial & Industrial customers
2 | People | How many employees / subcontractors in total does your entity have on staff ? | Choose Response | <50 | 50-200 | >200 |  | 1 | 5 | 10 |  | 0 | 0 | 0 |  | 0 | Total employees and the average number of subcontractors at any time
3 | People | How many employees / subcontractors in total work remotely ? | Choose Response | <50 | 50-200 | >200 |  | 1 | 3 | 5 |  | 0 | 0 | 0 |  | 0 | This includes work from home and remote offices
4 | Attack Surface | Does your entity have a contiguous service territory ? | Choose Response | Yes | No |  |  | 0 | 5 |  |  | 0 | 0 |  |  | 0 | Answer 'no' If the LDCs service territory is geographically diverse and contains remote locations away from major city centres
5 | Attack Surface | Is your entity connected physically or logically to your municipal network ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to computer connections to your municipal networks / offices
6 | Attack Surface | Are your IT and Operational Technology (OT) environments directly connected ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | Directly connected refers to some path of connectivity between the two environments
7 | Attack Surface | Is your entity connected physically or logically to one of more of your Affiliates ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to any form of computer connections with the LDC's Affiliates
8 | Privacy | Does your entity process credit card transactions or pre-authorized bank payments ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to accepting any method of account payment that is not by cheque or cash
9 | Privacy | Does your entity collect driver's license, passport or social insurance number information from customers? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | Answer 'yes' if any of these types of information is taken at account opening or at any other time
10 | Privacy | Does your entity provide your customers' data to any third party vendor ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This could include AMI data, energy usage data, etc.
11 | Attack Surface | Do your employees use their own devices (mobile phones, tablets, PCs) for work purposes ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to connecting with LDC applications from employee's own devices
12 | Attack Surface | Do your subcontractors use their own devices (mobile phones, tablets, PCs) for work purposes connected to your networks / applications? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to connecting with LDC applications from subcontractor's own devices
13 | Attack Surface | Does your entity allow USBs to be inserted into computing devices ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to computing devices of any type
14 | Third Party | How many third parties have access to your systems ? | Choose Response | <10 | 10-50 | >50 |  | 1 | 3 | 5 |  | 0 | 0 | 0 |  | 0 | Third parties include third party vendors, service providers, etc.
15 | Third Party | Does your entity outsource any IT or OT services, including cloud computing ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to any application that is outsourced
16 | Attack Surface | Does your entity have a SCADA System/ Distribution Management System ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to the head end control systems
17 | Attack Surface | Does your entity have one or more SCADA HMI systems ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to the distributed control systems (e.g. in substations)
18 | Attack Surface | Does your entity have any SCADA points that are shared with another entity ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This would include any shared points between the transmission provider, generators, and LDCs
19 | Attack Surface | Does your entity have a smart meter / AMI system ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to automated meter systems
20 | Attack Surface | Does your entity provide metering connections separate from your AMI system for Commercial & Industrial customers ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to separate wholesale metering arrangements
21 | Attack Surface | Does your entity have Distribution Automation technology ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to automated technology (e.g. reclosers / breaker control) deployed within the service territory
22 | Attack Surface | Does your entity provide smart energy technology for your customers ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This include smart thermostats, Home Area Networks, etc.
23 | Attack Surface | Does your entity host any applications for another party ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes any form of hosting that you provide for other parties
24 | Attack Surface | Does your entity provide any computing-based services for another party ? (e.g. billing, SCADA, MDM) | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to cloud based / virtual services that you provide for other entities
25 | Attack Surface | How many Distribution Substations does your entity have ? | Choose Response | 0 | 1-10 | 10-50 | >50 | 0 | 3 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | The total number of Distribution Substations that you own and operate
26 | Attack Surface | Does your entity have Substation Automation technology ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to advanced automation in the substation
27 | Attack Surface | How many Transformer Stations does your entity own ? | Choose Response | 0 | 1-3 | 4-7 | >8 | 0 | 3 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | The total number of Transformer Stations that you own and operate
28 | Attack Surface | Does your entity have an Outage Management System ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This is any form of automated outage management
29 | Attack Surface | Does your entity have a Geographical Information System ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This is any form of automated geographical information systems
30 | Attack Surface | Are your field devices administered remotely ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes substation equipment, breakers, relays, etc.
31 | Third Party | Does your entity have ICCP connections with the IESO or your transmission provider ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to ICCP connections between any other entity and your entity
32 | Third Party | Does your entity have RTU connections with the IESO or your transmission provider ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to any RTUs that you own that other entities have access to
33 | Attack Surface | Does your entity have field personnel that use mobile computing devices ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes field technicians with smart meter tools, diagnostic tools, etc.
34 | Attack Surface | Does your entity use wireless communications for networks or SCADA? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | Wireless includes all forms of wireless including proprietary, WiMAX, microwave, etc.
35 | Attack Surface | Does your entity have Distributed Energy Resources / Microgrids connected to your systems ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to any solar / wind / renewable systems and / or full microgrid implementations in your service territory that you own and operate
36 | Attack Surface | What is your generation capacity as a % of load ? | Choose Response | 0% | <25% | 25%-50% | >50% | 0 | 3 | 5 | 10 | 0 | 0 | 0 | 0 | 0 | This is your total generation sources that you own and operate as a % of your total load
37 | Governance | Are you currently involved in any publicly disclosed merger & acquisition discussions ? | Choose Response | Yes | No |  |  | 5 | 0 |  |  | 0 |  |  |  | 0 | This refers to any M&A activity that has been disclosed
38 | Governance | Are you currently in the process of implementing a merger & acquisition ? | Choose Response | Yes | No |  |  | 10 | 0 |  |  | 0 |  |  |  | 0 | This refers to the implementation / integration period after the M&A transaction closes
39 | Privacy | Do you allow data to be stored offsite ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes any form of IT or OT data, and refers to any storage of data off-premises, including in the cloud
40 | Third Party | Is your entity connected physically or logically to another LDC ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This refers to any computer connections with another LDC
41 | Attack Surface | Does your entity have any shared OT environments ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes connectivity / sharing with other OT environments such as water, ISP, etc.
42 | External | Does your entity serve any critical infrastructure installations ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes any sensitive cortical infrastructure such as military bases, any major medical facilities, major federal government offices, Embassies, etc.
43 | External | Does your entity provide any public facing applications that require authentication ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes any applications that you provide for consumers / businesses, such as for viewing their data usage or account information on-line
44 | External | Is your entity involved in any publicly contentious energy projects ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This would include any contentious wind, solar, hydro projects
45 | External | Does your entity provide any Demand Response programs ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes any demand response, peak shaving, load management programs that you provide and manage
46 | Third Party | Does your entity share any operating data with other entities ? | Choose Response | Yes | No |  |  | 3 | 0 |  |  | 0 |  |  |  | 0 | This includes sharing with fire departments, police, emergency response, etc.
|  |  | Score | [12 empty] | 0
|  |  | Rating | [12 empty] | -

## HML Table
Max Resultant Risk Factor: | 176
Min Resultant Risk Factor: | 10
Low Risk Profile Range: | 0 - x
Medium Risk Profile Range: | y - z
High Risk Profile Range: | a - 122
|  | 1 | Low
|  | 2 | Low
|  | 3 | Low
|  | 4 | Low
|  | 5 | Low
|  | 6 | Low
|  | 7 | Low
|  | 8 | Low
|  | 9 | Low
|  | 10 | Low
|  | 11 | Low
|  | 12 | Low
|  | 13 | Low
|  | 14 | Low
|  | 15 | Low
|  | 16 | Low
|  | 17 | Low
|  | 18 | Low
|  | 19 | Low
|  | 20 | Low
|  | 21 | Low
|  | 22 | Low
|  | 23 | Low
|  | 24 | Low
|  | 25 | Low
|  | 26 | Low
|  | 27 | Low
|  | 28 | Low
|  | 29 | Low
|  | 30 | Low
|  | 31 | Low
|  | 32 | Low
|  | 33 | Low
|  | 34 | Low
|  | 35 | Low
|  | 36 | Low
|  | 37 | Low
|  | 38 | Low
|  | 39 | Low
|  | 40 | Low
|  | 41 | Low
|  | 42 | Low
|  | 43 | Low
|  | 44 | Low
|  | 45 | Low
|  | 46 | Low
|  | 47 | Low
|  | 48 | Low
|  | 49 | Low
|  | 50 | Low
|  | 51 | Low
|  | 52 | Low
|  | 53 | Low
|  | 54 | Low
|  | 55 | Low
|  | 56 | Low
|  | 57 | Low
|  | 58 | Low
|  | 59 | Low
|  | 60 | Low
|  | 61 | Low
|  | 62 | Low
|  | 63 | Low
|  | 64 | Low
|  | 65 | Low
|  | 66 | Low
|  | 67 | Low
|  | 68 | Low
|  | 69 | Low
|  | 70 | Low
|  | 71 | Medium
|  | 72 | Medium
|  | 73 | Medium
|  | 74 | Medium
|  | 75 | Medium
|  | 76 | Medium
|  | 77 | Medium
|  | 78 | Medium
|  | 79 | Medium
|  | 80 | Medium
|  | 81 | Medium
|  | 82 | Medium
|  | 83 | Medium
|  | 84 | Medium
|  | 85 | Medium
|  | 86 | Medium
|  | 87 | Medium
|  | 88 | Medium
|  | 89 | Medium
|  | 90 | Medium
|  | 91 | Medium
|  | 92 | Medium
|  | 93 | Medium
|  | 94 | Medium
|  | 95 | Medium
|  | 96 | Medium
|  | 97 | Medium
|  | 98 | Medium
|  | 99 | Medium
|  | 100 | Medium
|  | 101 | Medium
|  | 102 | Medium
|  | 103 | Medium
|  | 104 | Medium
|  | 105 | Medium
|  | 106 | Medium
|  | 107 | Medium
|  | 108 | Medium
|  | 109 | Medium
|  | 110 | Medium
|  | 111 | Medium
|  | 112 | Medium
|  | 113 | Medium
|  | 114 | Medium
|  | 115 | Medium
|  | 116 | Medium
|  | 117 | Medium
|  | 118 | Medium
|  | 119 | Medium
|  | 120 | Medium
|  | 121 | High
|  | 122 | High
|  | 123 | High
|  | 124 | High
|  | 125 | High
|  | 126 | High
|  | 127 | High
|  | 128 | High
|  | 129 | High
|  | 130 | High
|  | 131 | High
|  | 132 | High
|  | 133 | High
|  | 134 | High
|  | 135 | High
|  | 136 | High
|  | 137 | High
|  | 138 | High
|  | 139 | High
|  | 140 | High
|  | 141 | High
|  | 142 | High
|  | 143 | High
|  | 144 | High
|  | 145 | High
|  | 146 | High
|  | 147 | High
|  | 148 | High
|  | 149 | High
|  | 150 | High
|  | 151 | High
|  | 152 | High
|  | 153 | High
|  | 154 | High
|  | 155 | High
|  | 156 | High
|  | 157 | High
|  | 158 | High
|  | 159 | High
|  | 160 | High
|  | 161 | High
|  | 162 | High
|  | 163 | High
|  | 164 | High
|  | 165 | High
|  | 166 | High
|  | 167 | High
|  | 168 | High
|  | 169 | High
|  | 170 | High
|  | 171 | High
|  | 172 | High
|  | 173 | High
|  | 174 | High
|  | 175 | High
|  | 176 | High
|  | 177 | High
|  | 178 | High
|  | 179 | High
|  | 180 | High
|  | 181 | High
|  | 182 | High
|  | 183 | High
|  | 184 | High
|  | 185 | High
|  | 186 | High
|  | 187 | High
|  | 188 | High
|  | 189 | High
|  | 190 | High
|  | 191 | High
|  | 192 | High
|  | 193 | High
|  | 194 | High
|  | 195 | High
|  | 196 | High
|  | 197 | High
|  | 198 | High
|  | 199 | High
|  | 200 | High

## CSF Core
Function | Category | Subcategory | Informative References | High Risk | Med Risk | Low Risk Baseline | Initial Achievement Level (C2M2 is MIL1 unless otherwise specified) | Impl Timeframe
IDENTIFY (ID) | Asset Management (ID.AM): The data, personnel, devices, systems, and facilities that enable the organization to achieve business purposes are identified and managed consistent with their relative importance to business objectives and the organization’s risk strategy. | ID.AM-1: Physical devices and systems within the organization are inventoried | · CCS CSC 1 | 1 | 1 | 1 | C2M2 ACM-1a: There is an inventory of OT and IT assets that are important to the delivery of the function
· COBIT 5 BAI09.01, BAI09.02
· ISA 62443-2-1:2009 4.2.3.4
· ISA 62443-3-3:2013 SR 7.8
· ISO/IEC 27001:2013 A.8.1.1, A.8.1.2
· NIST SP 800-53 Rev. 4 CM-8
|  | ID.AM-2: Software platforms and applications within the organization are inventoried | · CCS CSC 2 | 1 | 1 | 1 | C2M2 ACM-1a: There is an inventory of OT and IT assets that are important to the delivery of the function
· COBIT 5 BAI09.01, BAI09.02, BAI09.05
· ISA 62443-2-1:2009 4.2.3.4
· ISA 62443-3-3:2013 SR 7.8
· ISO/IEC 27001:2013 A.8.1.1, A.8.1.2
· NIST SP 800-53 Rev. 4 CM-8
|  | ID.AM-3: Organizational communication and data flows are mapped | · CCS CSC 1 | 1 | 1 | 1 | The entity has created a communications and data flow map for the OT and IT assets that are important to the delivery of the function.
· COBIT 5 DSS05.02
· ISA 62443-2-1:2009 4.2.3.4
· ISO/IEC 27001:2013 A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, CA-3, CA-9, PL-8
|  | ID.AM-P1 - The organization is able to identify: the personal information or customer proprietary information in its custody or control, its authority for the collection, use and disclosure of such information, and the sensitivity of such information. | · PIPEDA, Sch 1, s.4.1, 4.2, 4.3 | 1 | 1 | 1 | The entity has created an inventory of customer information categories and has identified the purpose for the collection of each category of information.
· GAAP, 1.2.3, 8.2.1
|  | ID.AM-4: External information systems are catalogued | · COBIT 5 APO02.02 | 1 | 1 | 1 | C2M2 EDM-1a: "Important IT and OT supplier dependencies are identified (i.e., external parties on which the delivery of the function depend, including operating partners)"
· ISO/IEC 27001:2013 A.11.2.6
· NIST SP 800-53 Rev. 4 AC-20, SA-9
|  | ID.AM-5: Resources (e.g., hardware, devices, data, and software) are prioritized based on their classification, criticality, and business value | · COBIT 5 APO03.03, APO03.04, BAI09.02 | 1 | 1 |  | C2M2 ACM-1a: "There is an inventory of OT and IT assets that are important to the delivery of the function" C2M2 ACM-1b: "There is an inventory of information assets that are important to the delivery of the function (e.g., SCADA set points, customer information, financial data)"
· ISA 62443-2-1:2009 4.2.3.6
· ISO/IEC 27001:2013 A.8.2.1
· NIST SP 800-53 Rev. 4 CP-2, RA-2, SA-14
|  | ID.AM-P2 - Responsibility for the privacy management program has been established | · PIPEDA, Sch 1, s.4.1 | 1 | 1 | 1 | Senior management has designated a representative of the entity (privacy officer) to oversee all activities related to the development and implementation of and adherence to the entity’s privacy policies and procedures.
· GAPP, 1.1.2, 1.2.6
|  | ID.AM-6: Cybersecurity roles and responsibilities for the entire workforce and third-party stakeholders (e.g., suppliers, customers, partners) are established | · COBIT 5 APO01.02, DSS06.03 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· ISA 62443-2-1:2009 4.3.2.3.3
· ISO/IEC 27001:2013 A.6.1.1
· NIST SP 800-53 Rev. 4 CP-2, PS-7, PM-11
| Business Environment (ID.BE): The organization’s mission, objectives, stakeholders, and activities are understood and prioritized; this information is used to inform cybersecurity roles, responsibilities, and risk management decisions. | ID.BE-1: The organization’s role in the supply chain is identified and communicated | · COBIT 5 APO08.04, APO08.05, APO10.03, APO10.04, APO10.05 | 1 | 1 | 1 | C2M2 EDM-1b: "Important customer dependencies are identified (i.e., external parties that are dependent on the delivery of the function including operating partners)"
· ISO/IEC 27001:2013 A.15.1.3, A.15.2.1, A.15.2.2
· NIST SP 800-53 Rev. 4 CP-2, SA-12
|  | ID.BE-2: The organization’s place in critical infrastructure and its industry sector is identified and communicated | · COBIT 5 APO02.06, APO03.01 | 1 | 1 | 1 | C2M2 EDM-1b: "Important customer dependencies are identified (i.e., external parties that are dependent on the delivery of the function including operating partners)"
· NIST SP 800-53 Rev. 4 PM-8
|  | ID.BE-3: Priorities for organizational mission, objectives, and activities are established and communicated | · COBIT 5 APO02.01, APO02.06, APO03.01 | 1 | 1 | 1 | A mission statement has been developed and communicated it to all employees.
· ISA 62443-2-1:2009 4.2.2.1, 4.2.3.6
· NIST SP 800-53 Rev. 4 PM-11, SA-14
|  | ID.BE-4: Dependencies and critical functions for delivery of critical services are established | · ISO/IEC 27001:2013 A.11.2.2, A.11.2.3, A.12.1.3 | 1 | 1 | 1 | C2M2 ACM-1a: "There is an inventory of OT and IT assets that are important to the delivery of the function" C2M2 ACM-1b: "There is an inventory of information assets that are important to the delivery of the function (e.g., SCADA set points, customer information, financial data)" C2M2 EDM-1a: "Important IT and OT supplier dependencies are identified (i.e., external parties on which the delivery of the function depend, including operating partners)"
· NIST SP 800-53 Rev. 4 CP-8, PE-9, PE-11, PM-8, SA-14
|  | ID.BE-P1 - Senior management is committed to a privacy respectful culture | · PIPEDA, Sch 1, s.4.1 | 1 | 1 | 1 | Senior management promotes staff privacy awareness through the allocation of specific resources (ex. Training, orientation, educational programs, information bulletins)
· GAPP, 1.1.2, 1.2.1
|  | ID.BE-5: Resilience requirements to support delivery of critical services are established | · COBIT 5 DSS04.02 | 1 | 1 |  | C2M2 IR-4a: "The activities necessary to sustain minimum operations of the function are identified" C2M2 IR-4b: "The sequence of activities necessary to return the function to normal operation is identified" C2M2 IR-4c: "Continuity plans are developed to sustain and restore operation of the function"
· ISO/IEC 27001:2013 A.11.1.4, A.17.1.1, A.17.1.2, A.17.2.1
· NIST SP 800-53 Rev. 4 CP-2, CP-11, SA-14
| Governance (ID.GV): The policies, procedures, and processes to manage and monitor the organization’s regulatory, legal, risk, environmental, and operational requirements are understood and inform the management of cybersecurity risk. | ID.GV-1: Organizational information security policy is established | · COBIT 5 APO01.03, EDM01.01, EDM01.02 | 1 | 1 | 1 | A security policy has been developed and communicated to all employees.
· ISA 62443-2-1:2009 4.3.2.6
· ISO/IEC 27001:2013 A.5.1.1
· NIST SP 800-53 Rev. 4 -1 controls from all families
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | ID.GV-2: Information security roles & responsibilities are coordinated and aligned with internal roles and external partners | · COBIT 5 APO13.12 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· ISA 62443-2-1:2009 4.3.2.3.3
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.1
· NIST SP 800-53 Rev. 4 PM-1, PS-7
|  | ID.GV-3: Legal and regulatory requirements regarding cybersecurity, including privacy and civil liberties obligations, are understood and managed | · COBIT 5 MEA03.01, MEA03.04 | 1 | 1 | 1 | Legal and regulatory requirements have been reviewed and understood.
· ISA 62443-2-1:2009 4.4.3.7
· ISO/IEC 27001:2013 A.18.1
· NIST SP 800-53 Rev. 4 -1 controls from all families (except PM-1)
|  | ID.GV-P1: A policy is established for collection, use and disclosure of cutomer personal and proprietary information, including requirements for consent and notification | · PIPEDA, Sch1, s.4.3, 4.4 | 1 | 1 | 1 | A policy requires reasonable efforts to ensure that customers are notified of the purposes for which their information is collected, how it is used and when and how it will be disclosed.
· GAPP, 1.1.0, 3.0, 5.0
|  | ID.GV-P2: A policy is established for retention and disposal of customer personal or proprietary information |  | 1 | 1 | 1 | Procedures have been established for preventing the retention of customer information, and its safe disposal, after its identified purposes have been fulfilled.
· PIPEDA, Sch1, s.4.5.2, 4.5.3
· GAPP, 1.1.0, 5.0
|  | ID.GV-P3: Governance and risk management processes address privacy risks |  | 1 | 1 | 1 | Privacy policies and procedures are reviewed and approved by senior management. The board of directors (or a committee thereof) includes privacy periodically in its regular review of overall corporate governance. A process is in place to periodically identify the risks of unauthorized use or disclosure of the entity’s customer information.
· PIPEDA, Sch1, s.4.1
· GAPP, 1.1.2, 1.2.4
|  | ID.GV-4: Governance and risk management processes address cybersecurity risks | · COBIT 5 DSS04.02 | 1 | 1 | 1 | C2M2 RM-2a: "Cybersecurity risks are identified" C2M2 RM-2b: "Identified risks are mitigated, accepted, tolerated, or transferred"
· ISA 62443-2-1:2009 4.2.3.1, 4.2.3.3, 4.2.3.8, 4.2.3.9, 4.2.3.11, 4.3.2.4.3, 4.3.2.6.3
· NIST SP 800-53 Rev. 4 PM-9, PM-11
| Risk Assessment (ID.RA): The organization understands the cybersecurity risk to organizational operations (including mission, functions, image, or reputation), organizational assets, and individuals. | ID.RA-1: Asset vulnerabilities are identified and documented | · CCS CSC 4 | 1 | 1 |  | C2M2 TVM-2a: "Information sources to support cybersecurity vulnerability discovery are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments)" C2M2 TVM-2b: "Cybersecurity vulnerability information is gathered and interpreted for the function"
· COBIT 5 APO12.01, APO12.02, APO12.03, APO12.04
· ISA 62443-2-1:2009 4.2.3, 4.2.3.7, 4.2.3.9, 4.2.3.12
· ISO/IEC 27001:2013 A.12.6.1, A.18.2.3
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CA-8, RA-3, RA-5, SA-5, SA-11, SI-2, SI-4, SI-5
|  | ID. RA-P1: Activities and processes which involve the collection, use or disclosure of personal or customer proprietary information are identified | · PIPEDA, Sch1, s.4.1 | 1 | 1 | 1 | When a new activity or process is being considered, or an activity or process is being changed, the entity considers whether customer information is flowing and, if so, considers where it flows from, to whom it flows, and under what conditions.
· GAPP, 1.2.3, 1.2.4, 1.2.11
|  | ID.RA-2: Threat and vulnerability information is received from information sharing forums and sources | · ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12 | 1 | 1 |  | C2M2 TVM-1a: "Information sources to support threat management activities are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associates, vendors, federal briefings)" C2M2 TVM-1b: "Cybersecurity threat information is gathered and interpreted for the function" C2M2 TVM-2a: "Information sources to support cybersecurity vulnerability discovery are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments)" C2M2 TVM-2b: "Cybersecurity vulnerability information is gathered and interpreted for the function"
· ISO/IEC 27001:2013 A.6.1.4
· NIST SP 800-53 Rev. 4 PM-15, PM-16, SI-5
|  | ID.RA-3: Threats, both internal and external, are identified and documented | · COBIT 5 APO12.01, APO12.02, APO12.03, APO12.04 | 1 |  |  | C2M2 TVM-1a: "Information sources to support threat management activities are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associates, vendors, federal briefings)" C2M2 TVM-1b: "Cybersecurity threat information is gathered and interpreted for the function"
· ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12
· NIST SP 800-53 Rev. 4 RA-3, SI-5, PM-12, PM-16
|  | ID.RA-4: Potential business impacts and likelihoods are identified | · COBIT 5 DSS04.02 | 1 |  |  | C2M2 TVM-1d (MIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function" C2M2 TVM-1f (MIL2): "Identified threats are analyzed and prioritized"
· ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12
· NIST SP 800-53 Rev. 4 RA-2, RA-3, PM-9, PM-11, SA-14
|  | ID.RA-5: Threats, vulnerabilities, likelihoods, and impacts are used to determine risk | · COBIT 5 APO12.02 | 1 |  |  | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available" C2M2 RM-2j (MIL3): "A risk register (a structured repository of identified risks) is used to support risk management activities" C2M2 TVM-2m (MIL3): "Cybersecurity vulnerability information is added to the risk register (RM-2j)"
· ISO/IEC 27001:2013 A.12.6.1
· NIST SP 800-53 Rev. 4 RA-2, RA-3, PM-16
|  | ID.RA-6: Risk responses are identified and prioritized | · COBIT 5 APO12.05, APO13.02 | 1 |  |  | C2M2 RM-2e (MIL2): "Identified risks are analyzed to prioritize response activities in accordance with the risk management strategy" C2M2 TVM-1d (MIL2): "Cybersecurity vulnerability information sources that address all assets important to the function are monitored"
· NIST SP 800-53 Rev. 4 PM-4, PM-9
| Risk Management Strategy (ID.RM): The organization’s priorities, constraints, risk tolerances, and assumptions are established and used to support operational risk decisions. | ID.RM-1: Risk management processes are established, managed, and agreed to by organizational stakeholders | · COBIT 5 APO12.04, APO12.05, APO13.02, BAI02.03, BAI04.02 | 1 | 1 | 1 | C2M2 RM-2a: "Cybersecurity risks are identified" C2M2 RM-2b: "Identified risks are mitigated, accepted, tolerated, or transferred"
· ISA 62443-2-1:2009 4.3.4.2
· NIST SP 800-53 Rev. 4 PM-9
|  | ID.RM-2: Organizational risk tolerance is determined and clearly expressed | · COBIT 5 APO12.06 | 1 | 1 |  | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available" C2M2 RM-1e (MIL3): "An organization-specific risk taxonomy is documented and is used in risk management activities"
· ISA 62443-2-1:2009 4.3.2.6.5
· NIST SP 800-53 Rev. 4 PM-9
|  | ID.RM-3: The organization’s determination of risk tolerance is informed by its role in critical infrastructure and sector specific risk analysis | · NIST SP 800-53 Rev. 4 PM-8, PM-9, PM-11, SA-14 | 1 | 1 |  | C2M2 RM-1b (MIL2): "The strategy provides an approach for risk prioritization, including consideration of impact"
|  | ID.RM-P1: Privacy impacts are considered when a new process, technology or activity is contemplated | · PIPEDA, Sch1, 4.4, 4.5 | 1 | 1 | 1 | The entity’s privacy officer is consulted before a new process, technology or activity is implemented to provide advice with respect to potential privacy impacts and mitigation strategies.
· GAPP, 1.2.4, 1.2.6, 1.2.11
PROTECT (PR) | Access Control (PR.AC): Access to assets and associated facilities is limited to authorized users, processes, or devices, and to authorized activities and transactions. | PR.AC-1: Identities and credentials are managed for authorized devices and users | · CCS CSC 16 | 1 | 1 | 1 | C2M2 IAM-1a: "Identities are provisioned for personnel and other entities (e.g., services, devices) who require access to assets (note that this does not preclude shared identities)" C2M2 IAM-1b: "Credentials are issued for personnel and other entities that require access to assets (e.g., passwords, smart cards, certificates, keys)" C2M2 IAM-1c: "Identities are deprovisioned when no longer required"
· COBIT 5 DSS05.04, DSS06.03
· ISA 62443-2-1:2009 4.3.3.5.1
· ISA 62443-3-3:2013 SR 1.1, SR 1.2, SR 1.3, SR 1.4, SR 1.5, SR 1.7, SR 1.8, SR 1.9
· ISO/IEC 27001:2013 A.9.2.1, A.9.2.2, A.9.2.4, A.9.3.1, A.9.4.2, A.9.4.3
· NIST SP 800-53 Rev. 4 AC-2, IA Family
· GAPP, 8.2.2
|  | PR.AC-2: Physical access to assets is managed and protected | · COBIT 5 DSS01.04, DSS05.05 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required"
· ISA 62443-2-1:2009 4.3.3.3.2, 4.3.3.3.8
· ISO/IEC 27001:2013 A.11.1.1, A.11.1.2, A.11.1.4, A.11.1.6, A.11.2.3
· NIST SP 800-53 Rev. 4 PE-2, PE-3, PE-4, PE-5, PE-6, PE-9
· GAPP, 8.2.3
|  | PR.AC-3: Remote access is managed | · COBIT 5 APO13.01, DSS01.04, DSS05.03 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required"
· ISA 62443-2-1:2009 4.3.3.6.6
· ISA 62443-3-3:2013 SR 1.13, SR 2.6
· ISO/IEC 27001:2013 A.6.2.2, A.13.1.1, A.13.2.1
· NIST SP 800-53 Rev. 4 AC‑17, AC-19, AC-20
· GAPP, 8.2.2
|  | PR.AC-4: Access permissions are managed, incorporating the principles of least privilege and separation of duties | · CCS CSC 12, 15 | 1 | 1 | 1 | C2M2 IAM-2d (MIL2): "Access requirements incorporate least privilege and separation of duties principles"
· ISA 62443-2-1:2009 4.3.3.7.3
· ISA 62443-3-3:2013 SR 2.1
· ISO/IEC 27001:2013 A.6.1.2, A.9.1.2, A.9.2.3, A.9.4.1, A.9.4.4
· NIST SP 800-53 Rev. 4 AC-2, AC-3, AC-5, AC-6, AC-16
|  | PR.AC-5: Network integrity is protected, incorporating network segregation where appropriate | · ISA 62443-2-1:2009 4.3.3.4 | 1 | 1 |  | C2M2 CPM-3a: "A strategy to architecturally isolate the organization’s IT systems from OT systems is implemented"
· ISA 62443-3-3:2013 SR 3.1, SR 3.8
· ISO/IEC 27001:2013 A.13.1.1, A.13.1.3, A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, SC-7
| Awareness and Training (PR.AT): The organization’s personnel and partners are provided cybersecurity awareness education and are adequately trained to perform their information security-related duties and responsibilities consistent with related policies, procedures, and agreements. | PR.AT-1: All users are informed and trained | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-3a: "Cybersecurity training is made available to personnel with assigned cybersecurity responsibilities" C2M2 WM-4a: "Cybersecurity awareness activities occur"
· COBIT 5 APO07.03, BAI05.07
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.7.2.2
· NIST SP 800-53 Rev. 4 AT-2, PM-13
· GAPP, 1.2.10, 5.1.1, 10.2.5
|  | PR.AT-P1: Documentation is developed to explain the organization's personal information policies and procedures to staff and customers |  | 1 | 1 | 1 | Internal privacy policies and procedures are documented and displayed (ex. on an intranet, posters), and the consequences of non-compliance with such policies and procedures are communicated to staff. A customer-facing privacy policy is published (ex. Website, bill insert, available at office) which addresses the choices available to the individual with respect to their information and provides notice with respect to the consent, collection, use, and disclosure of their customer information.
· PIPEDA, Sch1, s.4.8, 4.9, 4.10
· GAPP, 2.0
|  | PR.AT-2: Privileged users understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· COBIT 5 APO07.02, DSS06.03
· ISA 62443-2-1:2009 4.3.2.4.2, 4.3.2.4.3
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· GAPP, 1.2.9
|  | PR.AT-3: Third-party stakeholders (e.g., suppliers, customers, partners) understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· COBIT 5 APO07.03, APO10.04, APO10.05
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2
· NIST SP 800-53 Rev. 4 PS-7, SA-9
· GAPP, 7.0, 7.2.2, 7.2.4
|  | PR.AT-4: Senior executives understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· COBIT 5 APO07.03
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2,
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· PIPEDA, Sch1, s.4.1
· GAAP, 1.1.2
|  | PR.AT-5: Physical and information security personnel understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people"
· COBIT 5 APO07.03
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2,
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· PIPEDA, Sch1, s.4.1, 4.7
· GAPP, 1.1.2
| Data Security (PR.DS): Information and records (data) are managed consistent with the organization’s risk strategy to protect the confidentiality, integrity, and availability of information. | PR.DS-1: Data-at-rest is protected | · CCS CSC 17 | 1 | 1 | 1 | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)"
· COBIT 5 APO01.06, BAI02.01, BAI06.01, DSS06.06
· ISA 62443-3-3:2013 SR 3.4, SR 4.1
· ISO/IEC 27001:2013 A.8.2.3
· NIST SP 800-53 Rev. 4 SC-28
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-2: Data-in-transit is protected | · CCS CSC 17 | 1 | 1 | 1 | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)"
· COBIT 5 APO01.06, DSS06.06
· ISA 62443-3-3:2013 SR 3.1, SR 3.8, SR 4.1, SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.13.1.1, A.13.2.1, A.13.2.3, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 SC-8
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-3: Assets are formally managed throughout removal, transfers, and disposition | · COBIT 5 BAI09.03 | 1 | 1 |  | C2M2 ACM-3a: "Changes to inventoried assets are evaluated before being implemented" C2M2 ACM-3b: "Changes to inventoried assets are logged"
· ISA 62443-2-1:2009 4. 4.3.3.3.9, 4.3.4.4.1
· ISA 62443-3-3:2013 SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.8.3.1, A.8.3.2, A.8.3.3, A.11.2.7
· NIST SP 800-53 Rev. 4 CM-8, MP-6, PE-16
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-4: Adequate capacity to ensure availability is maintained | · COBIT 5 APO13.01 | 1 | 1 |  | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)"
· ISA 62443-3-3:2013 SR 7.1, SR 7.2
· ISO/IEC 27001:2013 A.12.3.1
· NIST SP 800-53 Rev. 4 AU-4, CP-2, SC-5
|  | PR.DS-5: Protections against data leaks are implemented | · CCS CSC 17 | 1 | 1 |  | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)"
· COBIT 5 APO01.06
· ISA 62443-3-3:2013 SR 5.2
· ISO/IEC 27001:2013 A.6.1.2, A.7.1.1, A.7.1.2, A.7.3.1, A.8.2.2, A.8.2.3, A.9.1.1, A.9.1.2, A.9.2.3, A.9.4.1, A.9.4.4, A.9.4.5, A.13.1.3, A.13.2.1, A.13.2.3, A.13.2.4, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 AC-4, AC-5, AC-6, PE-19, PS-3, PS-6, SC-7, SC-8, SC-13, SC-31, SI-4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7, 8.2.1
|  | PR.DS-6: Integrity checking mechanisms are used to verify software, firmware, and information integrity | · ISA 62443-3-3:2013 SR 3.1, SR 3.3, SR 3.4, SR 3.8 | 1 |  |  | C2M2 SA-2e (MIL2): "Indicators of anomalous activity have been defined and are monitored across the operational environment"
· ISO/IEC 27001:2013 A.12.2.1, A.12.5.1, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 SI-7
· PIPEDA, Sch1, s.4.7
· GAAP, 8.2.1
|  | PR.DS-7: The development and testing environment(s) are separate from the production environment | · COBIT 5 BAI07.04 | 1 |  |  | C2M2 ACM-3c (MIL2): "Changes to assets are tested prior to being deployed, whenever possible"
· ISO/IEC 27001:2013 A.12.1.4
· NIST SP 800-53 Rev. 4 CM-2
| Information Protection Processes and Procedures (PR.IP): Security policies (that address purpose, scope, roles, responsibilities, management commitment, and coordination among organizational entities), processes, and procedures are maintained and used to manage protection of information systems and assets. | PR.IP-1: A baseline configuration of information technology/industrial control systems is created and maintained | · CCS CSC 3, 10 | 1 |  |  | C2M2 ACM-2a: "Configuration baselines are established for inventoried assets where it is desirable to ensure that multiple assets are configured similarly" C2M2 ACM-2b: "Configuration baselines are used to configure assets at deployment"
· COBIT 5 BAI10.01, BAI10.02, BAI10.03, BAI10.05
· ISA 62443-2-1:2009 4.3.4.3.2, 4.3.4.3.3
· ISA 62443-3-3:2013 SR 7.6
· ISO/IEC 27001:2013 A.12.1.2, A.12.5.1, A.12.6.2, A.14.2.2, A.14.2.3, A.14.2.4
· NIST SP 800-53 Rev. 4 CM-2, CM-3, CM-4, CM-5, CM-6, CM-7, CM-9, SA-10
|  | PR.IP-2: A System Development Life Cycle to manage systems is implemented | · COBIT 5 APO13.01 | 1 |  |  | C2M2 ACM-3d (MIL2): "Change management practices address the full life cycle of assets (i.e., acquisition, deployment, operation, retirement)"
· ISA 62443-2-1:2009 4.3.4.3.3
· ISO/IEC 27001:2013 A.6.1.5, A.14.1.1, A.14.2.1, A.14.2.5
· NIST SP 800-53 Rev. 4 SA-3, SA-4, SA-8, SA-10, SA-11, SA-12, SA-15, SA-17, PL-8
|  | PR.IP-3: Configuration change control processes are in place | · COBIT 5 BAI06.01, BAI01.06 | 1 | 1 |  | C2M2 ACM-3a: "Changes to inventoried assets are evaluated before being implemented" C2M2 ACM-3b: "Changes to inventoried assets are logged"
· ISA 62443-2-1:2009 4.3.4.3.2, 4.3.4.3.3
· ISA 62443-3-3:2013 SR 7.6
· ISO/IEC 27001:2013 A.12.1.2, A.12.5.1, A.12.6.2, A.14.2.2, A.14.2.3, A.14.2.4
· NIST SP 800-53 Rev. 4 CM-3, CM-4, SA-10
|  | PR.IP-4: Backups of information are conducted, maintained, and tested periodically | · COBIT 5 APO13.01 | 1 | 1 | 1 | C2M2 IR-4a: "The activities necessary to sustain minimum operations of the function are identified" C2M2 IR-4b: "The sequence of activities necessary to return the function to normal operation is identified"
· ISA 62443-2-1:2009 4.3.4.3.9
· ISA 62443-3-3:2013 SR 7.3, SR 7.4
· ISO/IEC 27001:2013 A.12.3.1, A.17.1.2A.17.1.3, A.18.1.3
· NIST SP 800-53 Rev. 4 CP-4, CP-6, CP-9
|  | PR.IP-5: Policy and regulations regarding the physical operating environment for organizational assets are met | · COBIT 5 DSS01.04, DSS05.05 | 1 | 1 | 1 | C2M2 ACM-4f (MIL3): "Asset inventory, configuration, and change management policies include compliance requirements for specified standards and/or guidelines" C2M2 RM-3f (MIL3): "Change logs include information about modifications that impact the cybersecurity requirements of assets (availability, integrity, confidentiality)"
· ISA 62443-2-1:2009 4.3.3.3.1 4.3.3.3.2, 4.3.3.3.3, 4.3.3.3.5, 4.3.3.3.6
· ISO/IEC 27001:2013 A.11.1.4, A.11.2.1, A.11.2.2, A.11.2.3
· NIST SP 800-53 Rev. 4 PE-10, PE-12, PE-13, PE-14, PE-15, PE-18
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1, 8.2.3
|  | PR.IP-6: Data is destroyed according to policy | · COBIT 5 BAI09.03 | 1 | 1 | 1 | C2M2 ACM-3d (MIL2): "Change management practices address the full life cycle of assets (i.e., acquisition, deployment, operation, retirement)"
· ISA 62443-2-1:2009 4.3.4.4.4
· ISA 62443-3-3:2013 SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.8.3.1, A.8.3.2, A.11.2.7
· NIST SP 800-53 Rev. 4 MP-6
· PIPEDA, Sch1, s.4.5.3
· GAPP, 5.2.3
|  | PR.IP-7: Protection processes are continuously improved | · COBIT 5 APO11.06, DSS04.05 | 1 | 1 |  | C2M2 CPM-1g (MIL3): "The cybersecurity program strategy is updated to reflect business changes, changes in the operating environment, and changes in the threat profile (TVM-1d)"
· ISA 62443-2-1:2009 4.4.3.1, 4.4.3.2, 4.4.3.3, 4.4.3.4, 4.4.3.5, 4.4.3.6, 4.4.3.7, 4.4.3.8
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CP-2, IR-8, PL-2, PM-6
· GAPP, 8.2.7, 10.2.3
|  | PR.IP-8: Effectiveness of protection technologies is shared with appropriate parties | · ISO/IEC 27001:2013 A.16.1.6 | 1 |  |  | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" C2M2 ISC-1b: "Responsibility for cybersecurity reporting obligations are assigned to personnel (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT, law enforcement)"
· NIST SP 800-53 Rev. 4 AC-21, CA-7, SI-4
|  | PR.IP-9: Response plans (Incident Response and Business Continuity) and recovery plans (Incident Recovery and Disaster Recovery) are in place and managed | · COBIT 5 DSS04.03 | 1 | 1 | 1 | C2M2 IR-4c: "Continuity plans are developed to sustain and restore operation of the function"
· ISA 62443-2-1:2009 4.3.2.5.3, 4.3.4.5.1
· ISO/IEC 27001:2013 A.16.1.1, A.17.1.1, A.17.1.2
· NIST SP 800-53 Rev. 4 CP-2, IR-8
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | PR.IP-10: Response and recovery plans are tested | · ISA 62443-2-1:2009 4.3.2.5.7, 4.3.4.5.11 | 1 | 1 |  | C2M2 IR-3e (MIL2): "Cybersecurity event and incident response plans are exercised at an organization- defined frequency" C2M2 IR-4f (MIL2): "Cybersecurity event and incident response plans address OT and IT assets important to the delivery of the function"
· ISA 62443-3-3:2013 SR 3.3
· ISO/IEC 27001:2013 A.17.1.3
· NIST SP 800-53 Rev.4 CP-4, IR-3, PM-14
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7, 8.2.7
|  | PR.IP-11: Cybersecurity is included in human resources practices (e.g., deprovisioning, personnel screening) | · COBIT 5 APO07.01, APO07.02, APO07.03, APO07.04, APO07.05 | 1 | 1 | 1 | C2M2 WM-2a: "Personnel vetting (e.g., background checks, drug tests) is performed at hire for positions that have access to the assets required for delivery of the function" C2M2 WM-2b: "Personnel termination procedures address cybersecurity"
· ISA 62443-2-1:2009 4.3.3.2.1, 4.3.3.2.2, 4.3.3.2.3
· ISO/IEC 27001:2013 A.7.1.1, A.7.3.1, A.8.1.4
· NIST SP 800-53 Rev. 4 PS Family
· PIPEDA, Sch1 , s.4.7
· GAPP, 8.2.1
|  | PR.IP-P1: Privacy is included in human resources practices (e.g. privacy training) |  | 1 | 1 | 1 | The onboarding procedure includes privacy training and the privacy policies and procedures are provided as part of the employee handbook or welcome package.
· GAPP, 1.2.9, 1.2.10
|  | PR.IP-12: A vulnerability management plan is developed and implemented | · ISO/IEC 27001:2013 A.12.6.1, A.18.2.2 | 1 | 1 |  | C2M2 TVM-3a (MIL2): "Documented practices are followed for threat and vulnerability management activities"
· NIST SP 800-53 Rev. 4 RA-3, RA-5, SI-2
· GAPP, 8.0, 8.2.7
| Maintenance (PR.MA): Maintenance and repairs of industrial control and information system components is performed consistent with policies and procedures. | PR.MA-1: Maintenance and repair of organizational assets is performed and logged in a timely manner, with approved and controlled tools | · COBIT 5 BAI09.03 | 1 |  |  | C2M2 ACM-3b: "Changes to inventoried assets are logged"
· ISA 62443-2-1:2009 4.3.3.3.7
· ISO/IEC 27001:2013 A.11.1.2, A.11.2.4, A.11.2.5
· NIST SP 800-53 Rev. 4 MA-2, MA-3, MA-5
|  | PR.MA-2: Remote maintenance of organizational assets is approved, logged, and performed in a manner that prevents unauthorized access | · COBIT 5 DSS05.04 | 1 |  |  | C2M2 SA-1a: "Logging is occurring for assets important to the function where possible" C2M2 IR-1c: "Cybersecurity events are logged and tracked" C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required"
· ISA 62443-2-1:2009 4.3.3.6.5, 4.3.3.6.6, 4.3.3.6.7, 4.4.4.6.8
· ISO/IEC 27001:2013 A.11.2.4, A.15.1.1, A.15.2.1
· NIST SP 800-53 Rev. 4 MA-4
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
| Protective Technology (PR.PT): Technical security solutions are managed to ensure the security and resilience of systems and assets, consistent with related policies, procedures, and agreements. | PR.PT-1: Audit/log records are determined, documented, implemented, and reviewed in accordance with policy | · CCS CSC 14 | 1 |  |  | C2M2 SA-1a: "Logging is occurring for assets important to the function where possible" C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)"
· COBIT 5 APO11.04
· ISA 62443-2-1:2009 4.3.3.3.9, 4.3.3.5.8, 4.3.4.4.7, 4.4.2.1, 4.4.2.2, 4.4.2.4
· ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12
· ISO/IEC 27001:2013 A.12.4.1, A.12.4.2, A.12.4.3, A.12.4.4, A.12.7.1
· NIST SP 800-53 Rev. 4 AU Family
|  | PR.PT-2: Removable media is protected and its use restricted according to policy | · COBIT 5 DSS05.02, APO13.01 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required"
· ISA 62443-3-3:2013 SR 2.3
· ISO/IEC 27001:2013 A.8.2.2, A.8.2.3, A.8.3.1, A.8.3.3, A.11.2.9
· NIST SP 800-53 Rev. 4 MP-2, MP-4, MP-5, MP-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
|  | PR.PT-3: Access to systems and assets is controlled, incorporating the principle of least functionality | · COBIT 5 DSS05.02 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required"
· ISA 62443-2-1:2009 4.3.3.5.1, 4.3.3.5.2, 4.3.3.5.3, 4.3.3.5.4, 4.3.3.5.5, 4.3.3.5.6, 4.3.3.5.7, 4.3.3.5.8, 4.3.3.6.1, 4.3.3.6.2, 4.3.3.6.3, 4.3.3.6.4, 4.3.3.6.5, 4.3.3.6.6, 4.3.3.6.7, 4.3.3.6.8, 4.3.3.6.9, 4.3.3.7.1, 4.3.3.7.2, 4.3.3.7.3, 4.3.3.7.4
· ISA 62443-3-3:2013 SR 1.1, SR 1.2, SR 1.3, SR 1.4, SR 1.5, SR 1.6, SR 1.7, SR 1.8, SR 1.9, SR 1.10, SR 1.11, SR 1.12, SR 1.13, SR 2.1, SR 2.2, SR 2.3, SR 2.4, SR 2.5, SR 2.6, SR 2.7
· ISO/IEC 27001:2013 A.9.1.2
· NIST SP 800-53 Rev. 4 AC-3, CM-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
|  | PR.PT-4: Communications and control networks are protected | · CCS CSC 7 | 1 | 1 | 1 | C2M2 CPM-3a: "A strategy to architecturally isolate the organization’s IT systems from OT systems is implemented"
· COBIT 5 DSS05.02, APO13.01
· ISA 62443-3-3:2013 SR 3.1, SR 3.5, SR 3.8, SR 4.1, SR 4.3, SR 5.1, SR 5.2, SR 5.3, SR 7.1, SR 7.6
· ISO/IEC 27001:2013 A.13.1.1, A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, AC-17, AC-18, CP-8, SC-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
DETECT (DE) | Anomalies and Events (DE.AE): Anomalous activity is detected in a timely manner and the potential impact of events is understood. | DE.AE-1: A baseline of network operations and expected data flows for users and systems is established and managed | · COBIT 5 DSS03.01 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)"
· ISA 62443-2-1:2009 4.4.3.3
· NIST SP 800-53 Rev. 4 AC-4, CA-3, CM-2, SI-4
|  | DE.AE-2: Detected events are analyzed to understand attack targets and methods | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8 | 1 |  |  | C2M2 IR-1f (MIL3): "Event information is correlated to support incident analysis by identifying patterns, trends, and other common features" C2M2 IR-2i (MIL3): "Escalated cybersecurity events and declared incidents are correlated to support the discovery of patterns, trends, and other common features" C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken"
· ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12, SR 3.9, SR 6.1, SR 6.2
· ISO/IEC 27001:2013 A.16.1.1, A.16.1.4
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, SI-4
|  | DE.AE-3: Event data are aggregated and correlated from multiple sources and sensors | · ISA 62443-3-3:2013 SR 6.1 | 1 |  |  | C2M2 IR-1e (MIL2): "There is a repository where cybersecurity events are logged based on the established criteria"
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, IR-5, IR-8, SI-4
|  | DE.AE-4: Impact of events is determined | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-2b: "Cybersecurity events are analyzed to support escalation and the declaration of cybersecurity incidents"
· NIST SP 800-53 Rev. 4 CP-2, IR-4, RA-3, SI -4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.6
|  | DE.AE-P1 - Policies for receiving and responding to privacy complaints or inquries are established and such policies are communicated to customers | · PIPEDA, Sch1, s.4.6, 4.8, 4.9, 4.10 | 1 | 1 | 1 | A policy is published (ex. intranet, posters, bill insert) which advises customers that they have access to their personal information for review and update, and how to contact the entity in the event of a privacy question or complaint.
· GAPP, 6.0, 10.0
|  | DE.AE-5: Incident alert thresholds are established | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-2a: "Criteria for cybersecurity event escalation are established, including cybersecurity incident declaration criteria"
· ISA 62443-2-1:2009 4.2.3.10
· NIST SP 800-53 Rev. 4 IR-4, IR-5, IR-8
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
| Security Continuous Monitoring (DE.CM): The information system and assets are monitored at discrete intervals to identify cybersecurity events and verify the effectiveness of protective measures. | DE.CM-1: The network is monitored to detect potential cybersecurity events | · CCS CSC 14, 16 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· COBIT 5 DSS05.07
· ISA 62443-3-3:2013 SR 6.2
· NIST SP 800-53 Rev. 4 AC-2, AU-12, CA-7, CM-3, SC-5, SC-7, SI-4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-2: The physical environment is monitored to detect potential cybersecurity events | · ISA 62443-2-1:2009 4.3.3.3.8 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· NIST SP 800-53 Rev. 4 CA-7, PE-3, PE-6, PE-20
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-3: Personnel activity is monitored to detect potential cybersecurity events | · ISA 62443-3-3:2013 SR 6.2 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· ISO/IEC 27001:2013 A.12.4.1
· NIST SP 800-53 Rev. 4 AC-2, AU-12, AU-13, CA-7, CM-10, CM-11
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-4: Malicious code is detected | · CCS CSC 5 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· COBIT 5 DSS05.01
· ISA 62443-2-1:2009 4.3.4.3.8
· ISA 62443-3-3:2013 SR 3.2
· ISO/IEC 27001:2013 A.12.2.1
· NIST SP 800-53 Rev. 4 SI-3
|  | DE.CM-5: Unauthorized mobile code is detected | · ISA 62443-3-3:2013 SR 2.4 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b
· ISO/IEC 27001:2013 A.12.5.1
· NIST SP 800-53 Rev. 4 SC-18, SI-4. SC-44
|  | DE.CM-6: External service provider activity is monitored to detect potential cybersecurity events | · COBIT 5 APO07.06 | 1 |  |  | C2M2 EDM-2a: "Significant cybersecurity risks due to suppliers and other dependencies are identified and addressed" C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· ISO/IEC 27001:2013 A.14.2.7, A.15.2.1
· NIST SP 800-53 Rev. 4 CA-7, PS-7, SA-4, SA-9, SI-4
· GAPP, 7.0
|  | DE.CM-7: Monitoring for unauthorized personnel, connections, devices, and software is performed | · NIST SP 800-53 Rev. 4 AU-12, CA-7, CM-3, CM-8, PE-3, PE-6, PE-20, SI-4 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event"
· GAPP, 8.0
|  | DE.CM-8: Vulnerability scans are performed | · COBIT 5 BAI03.10 | 1 | 1 |  | C2M2 TVM-2e (MIL2): "Cybersecurity vulnerability assessments are performed (e.g., architectural reviews, penetration testing, cybersecurity exercises, vulnerability identification tools)"
· ISA 62443-2-1:2009 4.2.3.1, 4.2.3.7
· ISO/IEC 27001:2013 A.12.6.1
· NIST SP 800-53 Rev. 4 RA-5
| Detection Processes (DE.DP): Detection processes and procedures are maintained and tested to ensure timely and adequate awareness of anomalous events. | DE.DP-1: Roles and responsibilities for detection are well defined to ensure accountability | · CCS CSC 5 | 1 | 1 |  | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified"
· COBIT 5 DSS05.01
· ISA 62443-2-1:2009 4.4.3.1
· ISO/IEC 27001:2013 A.6.1.1
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PM-14
|  | DE.DP-2: Detection activities comply with all applicable requirements | · ISA 62443-2-1:2009 4.4.3.2 | 1 | 1 |  | C2M2 IR-1d (MIL2): "Criteria are established for cybersecurity event detection (e.g., what constitutes an event, where to look for events)" C2M2 IR-5a (MIL2): "Documented practices are followed for cybersecurity event and incident response as well as continuity of operations activities" C2M2 TVM-1d (MIIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function"
· ISO/IEC 27001:2013 A.18.1.4
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PM-14, SI-4
|  | DE.DP-3: Detection processes are tested | · COBIT 5 APO13.02 | 1 |  |  | C2M2 IR-3e (MIL2): "Cybersecurity event and incident response plans are exercised at an organization- defined frequency"
· ISA 62443-2-1:2009 4.4.3.2
· ISA 62443-3-3:2013 SR 3.3
· ISO/IEC 27001:2013 A.14.2.8
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PE-3, PM-14, SI-3, SI-4
|  | DE.DP-4: Event detection information is communicated to appropriate parties | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-1b: "Detected cybersecurity events are reported" C2M2 IR-3c: "Reporting of escalated cybersecurity events and incidents is performed (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT)" C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations"
· ISA 62443-2-1:2009 4.3.4.5.9
· ISA 62443-3-3:2013 SR 6.1
· ISO/IEC 27001:2013 A.16.1.2
· NIST SP 800-53 Rev. 4 AU-6, CA-2, CA-7, RA-5, SI-4
|  | DE.DP-5: Detection processes are continuously improved | · COBIT 5 APO11.06, DSS04.05 | 1 |  |  | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): "Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency"
· ISA 62443-2-1:2009 4.4.3.4
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4, CA-2, CA-7, PL-2, RA-5, SI-4, PM-14
RESPOND (RS) | Response Planning (RS.RP): Response processes and procedures are executed and maintained, to ensure timely response to detected cybersecurity events. | RS.RP-1: Response plan is executed during or after an event | · COBIT 5 BAI01.10 | 1 | 1 | 1 | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)"
· CCS CSC 18
· ISA 62443-2-1:2009 4.3.4.5.1
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 CP-2, CP-10, IR-4, IR-8
· GAPP, 1.2.7
| Communications (RS.CO): Response activities are coordinated with internal and external stakeholders, as appropriate, to include external support from law enforcement agencies. | RS.CO-1: Personnel know their roles and order of operations when a response is needed | · ISA 62443-2-1:2009 4.3.4.5.2, 4.3.4.5.3, 4.3.4.5.4 | 1 | 1 | 1 | C2M2 IR-3a: "Cybersecurity event and incident response personnel are identified and roles are assigned"
· ISO/IEC 27001:2013 A.6.1.1, A.16.1.1
· NIST SP 800-53 Rev. 4 CP-2, CP-3, IR-3, IR-8
· PIPEDA, Sch 1, 4.1
· GAPP, 1.1.2, 1.2.7
|  | RS.CO-2: Events are reported consistent with established criteria | · ISA 62443-2-1:2009 4.3.4.5.5 | 1 | 1 | 1 | C2M2 IR-1a: "There is a point of contact (person or role) to whom cybersecurity events could be reported" C2M2 IR-1b: "Detected cybersecurity events are reported"
· ISO/IEC 27001:2013 A.6.1.3, A.16.1.2
· NIST SP 800-53 Rev. 4 AU-6, IR-6, IR-8
· PIPEDA, Sch 1, 4.7
· GAPP, 1.2.7
|  | RS.CO-3: Information is shared consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.2 | 1 | 1 |  | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" C2M2 ISC-1b: "Responsibility for cybersecurity reporting obligations are assigned to personnel (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT, law enforcement)" C2M2 ISC-1c: "Information-sharing stakeholders are identified based on their relevance to the continued operation of the function (e.g., connected utilities, vendors, sector organizations, regulators, internal entities)"
· ISO/IEC 27001:2013 A.16.1.2
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CP-2, IR-4, IR-8, PE-6, RA-5, SI-4
|  | RS.CO-4: Coordination with stakeholders occurs consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.5 | 1 | 1 |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" C2M2 IR-5b (MIL2): "Stakeholders for cybersecurity event and incident response as well as continuity of operations activities are identified and involved"
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· PIPEDA, Sch 1, 4.7
· GAPP, 1.2.7
|  | RS.CO-5: Voluntary information sharing occurs with external stakeholders to achieve broader cybersecurity situational awareness | · NIST SP 800-53 Rev. 4 PM-15, SI-5 | 1 | 1 | 1 | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations"
| Analysis (RS.AN): Analysis is conducted to ensure adequate response and support recovery activities. | RS.AN-1: Notifications from detection systems are investigated | · COBIT 5 DSS02.07 | 1 |  |  | C2M2 IR-1e (MIL2): "There is a repository where cybersecurity events are logged based on the established criteria"
· ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8
· ISA 62443-3-3:2013 SR 6.1
· ISO/IEC 27001:2013 A.12.4.1, A.12.4.3, A.16.1.5
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, IR-5, PE-6, SI-4
|  | RS.AN-2: The impact of the incident is understood | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8 | 1 |  |  | C2M2 IR-2d (MIL2): "Criteria for cybersecurity event escalation, including cybersecurity incident criteria, are established based on the potential impact to the function" C2M2 TVM-1d (MIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function"
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4 CP-2, IR-4
· GAPP, 1.2.7
|  | RS.AN-3: Forensics are performed | · ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12, SR 3.9, SR 6.1 | 1 |  |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)"
· ISO/IEC 27001:2013 A.16.1.7
· NIST SP 800-53 Rev. 4 AU-7, IR-4
|  | RS.AN-4: Incidents are categorized consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.6 | 1 |  |  | C2M2 IR-2a: "Criteria for cybersecurity event escalation are established, including cybersecurity incident declaration criteria"
· ISO/IEC 27001:2013 A.16.1.4
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-5, IR-8
· GAPP, 1.2.7
| Mitigation (RS.MI): Activities are performed to prevent expansion of an event, mitigate its effects, and eradicate the incident. | RS.MI-1: Incidents are contained | · ISA 62443-2-1:2009 4.3.4.5.6 | 1 |  |  | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations"
· ISA 62443-3-3:2013 SR 5.1, SR 5.2, SR 5.4
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 IR-4
· GAPP, 1.2.7
|  | RS.MI-2: Incidents are mitigated | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.10 | 1 |  |  | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations"
· ISO/IEC 27001:2013 A.12.2.1, A.16.1.5
· NIST SP 800-53 Rev. 4 IR-4
· GAPP, 1.2.7
|  | RS.MI-3: Newly identified vulnerabilities are mitigated or documented as accepted risks | · ISO/IEC 27001:2013 A.12.6.1 | 1 | 1 |  | C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)"
· NIST SP 800-53 Rev. 4 CA-7, RA-3, RA-5
| Improvements (RS.IM): Organizational response activities are improved by incorporating lessons learned from current and previous detection/response activities. | RS.IM-1: Response plans incorporate lessons learned | · COBIT 5 BAI01.13 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken"
· ISA 62443-2-1:2009 4.3.4.5.10, 4.4.3.4
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
|  | RS.IM-2: Response strategies are updated | · NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): "Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency"
· GAPP, 1.2.7
RECOVER (RC) | Recovery Planning (RC.RP): Recovery processes and procedures are executed and maintained to ensure timely restoration of systems or assets affected by cybersecurity events. | RC.RP-1: Recovery plan is executed during or after an event | · CCS CSC 8 | 1 | 1 | 1 | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations"
· COBIT 5 DSS02.05, DSS03.04
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 CP-10, IR-4, IR-8
· GAPP, 1.2.7
| Improvements (RC.IM): Recovery planning and processes are improved by incorporating lessons learned into future activities. | RC.IM-1: Recovery plans incorporate lessons learned | · COBIT 5 BAI05.07 | 1 | 1 |  | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-4i (MIL3): "The results of continuity plan testing and/or activation are compared to recovery objectives, and plans are improved accordingly" C2M2 IR-3k (MIL3): "Restored assets are configured appropriately and inventory information is updated following execution of continuity plans"
· ISA 62443-2-1 4.4.3.4
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
|  | RC.IM-2: Recovery strategies are updated | · COBIT 5 BAI07.08 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency"
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
| Communications (RC.CO): Restoration activities are coordinated with internal and external parties, such as coordinating centers, Internet Service Providers, owners of attacking systems, victims, other CSIRTs, and vendors. | RC.CO-1: Public relations are managed | · COBIT 5 EDM03.02 | 1 | 1 | 1 | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available"
· GAPP, 1.2.7
|  | RC.CO-2: Reputation after an event is repaired | · COBIT 5 MEA03.02 | 1 | 1 |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)"
· GAPP, 1.2.7
|  | RC.CO-3: Recovery activities are communicated to internal stakeholders and executive and management teams | · NIST SP 800-53 Rev. 4 CP-2, IR-4 | 1 | 1 | 1 | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)"
· GAPP, 1.2.7
|  |  |  | 109 | 80 | 54