## NIST+Privacy SC
Function | Category | Subcategory | Informative References | High Risk | Med Risk | Low Risk Baseline | Initial Achievement Level (C2M2 is MIL1 unless otherwise specified) | Illustrative Examples | Self Assessment | Self Assessment Notes
IDENTIFY (ID) | Asset Management (ID.AM): The data, personnel, devices, systems, and facilities that enable the organization to achieve business purposes are identified and managed consistent with their relative importance to business objectives and the organization’s risk strategy. | ID.AM-1: Physical devices and systems within the organization are inventoried | · CCS CSC 1 | 1 | 1 | 1 | C2M2 ACM-1a: There is an inventory of OT and IT assets that are important to the delivery of the function | This could be as simple as a spreadsheet containing a list of OT and IT assets with some indication of their importance to the delivery functions. It could be as sophisticated as an automated asset management and tracking tool. Often this information can be collected from various IT systems scanning and detection tools. This inventory may be collected during business impact analysis exercises in preparation of a disaster recovery plan (DRP). This inventory may be collected in preparation for vulnerability assessments. It may be collected as part of a software licensing audit. | Select Status
· COBIT 5 BAI09.01, BAI09.02
· ISA 62443-2-1:2009 4.2.3.4
· ISA 62443-3-3:2013 SR 7.8
· ISO/IEC 27001:2013 A.8.1.1, A.8.1.2
· NIST SP 800-53 Rev. 4 CM-8
|  | ID.AM-2: Software platforms and applications within the organization are inventoried | · CCS CSC 2 | 1 | 1 | 1 | C2M2 ACM-1a: There is an inventory of OT and IT assets that are important to the delivery of the function | This could be as simple as a spreadsheet containing a list of OT and IT assets with some indication of their importance to the delivery functions. It could be as sophisticated as an automated asset management and tracking tool. Often this information can be collected from various IT systems scanning and detection tools. This inventory may be collected during business impact analysis exercises in preparation of a disaster recovery plan (DRP). This inventory may be collected in preparation for vulnerability assessments. It may be collected as part of a software licensing audit. | Select Status
· COBIT 5 BAI09.01, BAI09.02, BAI09.05
· ISA 62443-2-1:2009 4.2.3.4
· ISA 62443-3-3:2013 SR 7.8
· ISO/IEC 27001:2013 A.8.1.1, A.8.1.2
· NIST SP 800-53 Rev. 4 CM-8
|  | ID.AM-3: Organizational communication and data flows are mapped | · CCS CSC 1 | 1 | 1 | 1 | The entity has created a communications and data flow map for the OT and IT assets that are important to the delivery of the function. | These communications and data flows maps may include a number of different artifacts, including data flow diagrams, network diagrams, interface maps and business process flow documentation. Data flow diagrams may have been created as part of a data classification exercise. Network diagrams may have been created as part of the network architecture planning and ongoing support. Business process flow documentation may have been created as part of the development and integration of new IT and OT systems. It is important as this control matures that this documentation is updated regularly and hangs together to provide management with the information it requires to make decisions concerning critical IT and OT systems. | Select Status
· COBIT 5 DSS05.02
· ISA 62443-2-1:2009 4.2.3.4
· ISO/IEC 27001:2013 A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, CA-3, CA-9, PL-8
|  | ID.AM-P1 - The organization is able to identify: the personal information or customer proprietary information in its custody or control, its authority for the collection, use and disclosure of such information, and the sensitivity of such information. | · PIPEDA, Sch 1, s.4.1, 4.2, 4.3 | 1 | 1 | 1 | The entity has created an inventory of customer information categories and has identified the purpose for the collection of each category of information. | “Personal information” means information about an identifiable individual. PIPEDA provides that the knowledge and consent of the individual are required for the collection, use, or disclosure of personal information, except where inappropriate. PIPEDA further requires that the organization document the purposes for which personal information is collected. This inventory could include, for example, a spreadsheet, with one column listing the information sought when a new account is opened and other customer information collected from-time-to time and marked in the customer’s file (such as a customer complaint or disconnection), and a second column answering the question “why is this information needed?”. This inventory should include categories such as name, address, primary contact number, secondary contact number, individuals authorized to seek account information, driver’s license, etc. Reasons may include: for billing purposes, to notify in case of emergency, for collections purpose, OEB requirement, etc. | Select Status
· GAAP, 1.2.3, 8.2.1
|  | ID.AM-4: External information systems are catalogued | · COBIT 5 APO02.02 | 1 | 1 | 1 | C2M2 EDM-1a: "Important IT and OT supplier dependencies are identified (i.e., external parties on which the delivery of the function depend, including operating partners)" | The organization should have a set of operational procedures, contracts and service level agreements in place with important suppliers for which the entity is dependent on their services. The operational procedures should clearly define the tasks and interactions between the entity and the supplier, including escalation procedures. The contract and service level agreement should clearly identify the tasks and responsibilities of the suppler, including tasks and responsibilities with respect to maintaining security controls. Where a significant amount of security and control is dependent on the supplier, the entity should obtain on an annual basis, a report on controls, such as a service organization control (SOC) report, completed by an accredited and independent accounting firm (i.e. Chartered Professional Accountants (CPA) Canada or American Institute of Certified Professional Accountants (AICPA)). | Select Status
· ISO/IEC 27001:2013 A.11.2.6
· NIST SP 800-53 Rev. 4 AC-20, SA-9
|  | ID.AM-5: Resources (e.g., hardware, devices, data, and software) are prioritized based on their classification, criticality, and business value | · COBIT 5 APO03.03, APO03.04, BAI09.02 | 1 | 1 |  | C2M2 ACM-1a: "There is an inventory of OT and IT assets that are important to the delivery of the function" C2M2 ACM-1b: "There is an inventory of information assets that are important to the delivery of the function (e.g., SCADA set points, customer information, financial data)" | This could be as simple as a spreadsheet containing a list of OT and IT assets with some indication of their importance to the delivery functions. It could be as sophisticated as an automated asset management and tracking tool. Often this information can be collected from various IT systems scanning and detection tools. This inventory may be collected during business impact analysis exercises in preparation of a disaster recovery plan (DRP). This inventory may be collected in preparation for vulnerability assessments. It may be collected as part of a software licensing audit. The inventory listing should identify the criticality of the asset in relation to delivery as well as the assets exposure in the attack surface (i.e. inherent security risk profile). For example, a web server in a DMZ would might normally be considered high risk due to high visibility to the public. | Select Status
· ISA 62443-2-1:2009 4.2.3.6
· ISO/IEC 27001:2013 A.8.2.1
· NIST SP 800-53 Rev. 4 CP-2, RA-2, SA-14
|  | ID.AM-P2 - Responsibility for the privacy management program has been established | · PIPEDA, Sch 1, s.4.1 | 1 | 1 | 1 | Senior management has designated a representative of the entity (privacy officer) to oversee all activities related to the development and implementation of and adherence to the entity’s privacy policies and procedures. | PIPEDA requires that the organization designate an individual(s) who is accountable for compliance with PIPEDA. This does not necessarily have to be a full-time person, nor does it have to be someone who works exclusively on privacy issues. | Select Status
· GAPP, 1.1.2, 1.2.6
|  | ID.AM-6: Cybersecurity roles and responsibilities for the entire workforce and third-party stakeholders (e.g., suppliers, customers, partners) are established | · COBIT 5 APO01.02, DSS06.03 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | Cybersecurity roles and responsibilities are often identified and established within the organizations' information security policies, procedures, standards and guidelines. A well written information security policy, procedure, standard or guideline will identify the roles and responsibilities of individuals, department, business units including different levels of management, employees and contractors. The roles and responsibilities may be described with respect to a particular areas of information security. Cybersecurity roles and responsibilities are commonly found in acceptable use policies and/or code of conduct policies. Cybersecurity roles and responsibilities can sometimes be found in job descriptions for jobs that have specific task that involve information security. Contracts with 3rd parties should clearly identify cybersecurity roles and responsibilities. | Select Status
· ISA 62443-2-1:2009 4.3.2.3.3
· ISO/IEC 27001:2013 A.6.1.1
· NIST SP 800-53 Rev. 4 CP-2, PS-7, PM-11
| Business Environment (ID.BE): The organization’s mission, objectives, stakeholders, and activities are understood and prioritized; this information is used to inform cybersecurity roles, responsibilities, and risk management decisions. | ID.BE-1: The organization’s role in the supply chain is identified and communicated | · COBIT 5 APO08.04, APO08.05, APO10.03, APO10.04, APO10.05 | 1 | 1 | 1 | C2M2 EDM-1b: "Important customer dependencies are identified (i.e., external parties that are dependent on the delivery of the function including operating partners)" | Artifacts and documentation related to the organization's role in the supply chain may appear in several areas, including but not limited to: Operations manuals should clearly identify the dependencies on external parties for the delivery of services. Contract management systems should have listing of external parties, identifying those that are critical to services. A business impact assessment, disaster recovery plan and/or a business continuity plan might identify important customer dependencies. | Select Status
· ISO/IEC 27001:2013 A.15.1.3, A.15.2.1, A.15.2.2
· NIST SP 800-53 Rev. 4 CP-2, SA-12
|  | ID.BE-2: The organization’s place in critical infrastructure and its industry sector is identified and communicated | · COBIT 5 APO02.06, APO03.01 | 1 | 1 | 1 | C2M2 EDM-1b: "Important customer dependencies are identified (i.e., external parties that are dependent on the delivery of the function including operating partners)" | Artifacts and documentation related to the organization's role in the supply chain (place in critical infrastructure) may appear in several areas, including but not limited to: The organization's annual plan, financial statements and key reports to stakeholders and the executive board may include mission statements and business objectives that describe the organization's role in critical infrastructure. Operations manuals should clearly identify the dependencies on external parties for the delivery of services. Contract management systems should have listing of external parties, identifying those that are critical to services. A business impact assessment, disaster recovery plan and/or a business continuity plan might identify important customer dependencies. | Select Status
· NIST SP 800-53 Rev. 4 PM-8
|  | ID.BE-3: Priorities for organizational mission, objectives, and activities are established and communicated | · COBIT 5 APO02.01, APO02.06, APO03.01 | 1 | 1 | 1 | A mission statement has been developed and communicated it to all employees. | The organization's annual plan, financial statements and key reports to stakeholders and the executive board may include mission statements and business objectives that describe the organization's role in critical infrastructure. This should be communicated to all new employees through on-boarding material. It should be available via the organization's website and/or intranet. | Select Status
· ISA 62443-2-1:2009 4.2.2.1, 4.2.3.6
· NIST SP 800-53 Rev. 4 PM-11, SA-14
|  | ID.BE-4: Dependencies and critical functions for delivery of critical services are established | · ISO/IEC 27001:2013 A.11.2.2, A.11.2.3, A.12.1.3 | 1 | 1 | 1 | C2M2 ACM-1a: "There is an inventory of OT and IT assets that are important to the delivery of the function" C2M2 ACM-1b: "There is an inventory of information assets that are important to the delivery of the function (e.g., SCADA set points, customer information, financial data)" C2M2 EDM-1a: "Important IT and OT supplier dependencies are identified (i.e., external parties on which the delivery of the function depend, including operating partners)" | This could be as simple as a spreadsheet containing a list of OT and IT assets with some indication of their importance to the delivery functions. It could be as sophisticated as an automated asset management and tracking tool. Often this information can be collected from various IT systems scanning and detection tools. This inventory may be collected during business impact analysis exercises in preparation of a disaster recovery plan (DRP). This inventory may be collected in preparation for vulnerability assessments. It may be collected as part of a software licensing audit. The inventory listing should identify the criticality of the asset in relation to delivery as well as the assets exposure in the attack surface (i.e. inherent security risk profile). For example, a web server in a DMZ would might normally be considered high risk due to high visibility to the public. | Select Status
· NIST SP 800-53 Rev. 4 CP-8, PE-9, PE-11, PM-8, SA-14
|  | ID.BE-P1 - Senior management is committed to a privacy respectful culture | · PIPEDA, Sch 1, s.4.1 | 1 | 1 | 1 | Senior management promotes staff privacy awareness through the allocation of specific resources (ex. Training, orientation, educational programs, information bulletins) | Management should show staff that customer privacy is important to them. This could include written directives from management reminding all employees to be mindful of customer privacy issues, posters in the lunchroom with privacy tips and best practices, the distribution of a mandatory online training video, etc. | Select Status
· GAPP, 1.1.2, 1.2.1
|  | ID.BE-5: Resilience requirements to support delivery of critical services are established | · COBIT 5 DSS04.02 | 1 | 1 |  | C2M2 IR-4a: "The activities necessary to sustain minimum operations of the function are identified" C2M2 IR-4b: "The sequence of activities necessary to return the function to normal operation is identified" C2M2 IR-4c: "Continuity plans are developed to sustain and restore operation of the function" | A business impact assessment should identify the key activities that are required to sustain minimum operations. Disaster recovery and business continuity plans should identify a sequence activities to recover IT and business operations. Critical assets may have operational guides that list the sequence of activities to recover the asset in the case of outage or malfunction. Critical business capabilities when driven through information technology should be architected for resiliency using fail-over capabilities. Concepts to be found in the artifacts listed above include: Hot site - A hot site is a duplicate of the original site of the organization, with full computer systems as well as near-complete backups of user data. Warm site - A warm site is a compromise between hot and cold. These sites will have hardware and connectivity already established, though on a smaller scale than the original production site or even a hot site. Cold site - A cold site is the least expensive type of backup site for an organization to operate. It does not include backed up copies of data and information from the original location of the organization, nor does it include hardware already set up. Recovery Point Objective (RPO) - Is the maximum targeted period in which data might be lost from an IT service due to a major incident. Recovery Time Objective (RTO) - is the targeted duration of time and a service level within which a business process must be restored after a disaster (or disruption) in order to avoid unacceptable consequences associated with a break in business continuity. | Select Status
· ISO/IEC 27001:2013 A.11.1.4, A.17.1.1, A.17.1.2, A.17.2.1
· NIST SP 800-53 Rev. 4 CP-2, CP-11, SA-14
| Governance (ID.GV): The policies, procedures, and processes to manage and monitor the organization’s regulatory, legal, risk, environmental, and operational requirements are understood and inform the management of cybersecurity risk. | ID.GV-1: Organizational information security policy is established | · COBIT 5 APO01.03, EDM01.01, EDM01.02 | 1 | 1 | 1 | A security policy has been developed and communicated to all employees. | An information security policy s a set or rules enacted by an organization to ensure that all users or networks of the IT structure within the organization's domain abide by the prescriptions regarding the security of data stored digitally within the boundaries the organization stretches its authority. Typically it will contain the following elements: - Purpose - Scope - Objectives - Roles and responsibilities - Reference to relevant legislation An information security policy may be supported by an information security policy framework that divides the policy into different areas of information security concern, each being a separate artifact with an overarching policy. For example, there may be a specific policy concerning the classification, labelling and handling of data. However the organization chooses to document the information security policy it is important that it is communicated to all employees. Communication can occur in a number of ways, including but not limited to: - Company intranet - New hire onboarding - Security awareness training - Annual sign-off | Select Status
· ISA 62443-2-1:2009 4.3.2.6
· ISO/IEC 27001:2013 A.5.1.1
· NIST SP 800-53 Rev. 4 -1 controls from all families
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | ID.GV-2: Information security roles & responsibilities are coordinated and aligned with internal roles and external partners | · COBIT 5 APO13.12 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | Cybersecurity roles and responsibilities are often identified and established within the organizations' information security policies, procedures, standards and guidelines. A well written information security policy, procedure, standard or guideline will identify the roles and responsibilities of individuals, department, business units including different levels of management, employees and contractors. The roles and responsibilities may be described with respect to a particular areas of information security. Cybersecurity roles and responsibilities are commonly found in acceptable use policies and/or code of conduct policies. Cybersecurity roles and responsibilities can sometimes be found in job descriptions for jobs that have specific task that involve information security. Contracts with 3rd parties should clearly identify cybersecurity roles and responsibilities. | Select Status
· ISA 62443-2-1:2009 4.3.2.3.3
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.1
· NIST SP 800-53 Rev. 4 PM-1, PS-7
|  | ID.GV-3: Legal and regulatory requirements regarding cybersecurity, including privacy and civil liberties obligations, are understood and managed | · COBIT 5 MEA03.01, MEA03.04 | 1 | 1 | 1 | Legal and regulatory requirements have been reviewed and understood. |  | Select Status
· ISA 62443-2-1:2009 4.4.3.7
· ISO/IEC 27001:2013 A.18.1
· NIST SP 800-53 Rev. 4 -1 controls from all families (except PM-1)
|  | ID.GV-P1: A policy is established for collection, use and disclosure of customer personal and proprietary information, including requirements for consent and notification | · PIPEDA, Sch1, s.4.1.4, 4.3, 4.4 | 1 | 1 | 1 | A policy requires reasonable efforts to ensure that customers are notified of the purposes for which their information is collected, how it is used and when and how it will be disclosed. | PIPEDA provides that entities shall implement policies and practices to give effect to privacy principles, including implementing procedures to protect personal information, establishing procedures to receive and respond to complaints and inquiries, training staff and communicating to staff information about the organization’s policies and practices, and developing information to explain the organization’s policies and procedures. The policy could include, for example, a requirement that a script be used during an intake phone call, that employees comply with a questions and answer sheet, that the website specify what personal information is collected, why it is collected, and what it is used for, that customers with questions about their personal information are directed to a specific employee who can answer their questions, that customer information only be disclosed to third parties under particular circumstances, etc. | Select Status
· GAPP, 1.1.0, 3.0, 5.0
|  | ID.GV-P2: A policy is established for retention and disposal of customer personal or proprietary information |  | 1 | 1 | 1 | General guidelines have been established for preventing the retention of customer information, and its safe disposal, after its identified purposes have been fulfilled. | PIPEDA requires that personal information that is no longer required to fulfil the identified purposes should be destroyed, erased, or made anonymous. Employees should be told what to do with customer information when an account is closed and the information is no longer needed to perform services. | Select Status
· PIPEDA, Sch1, s.4.5.2, 4.5.3
· GAPP, 1.1.0, 5.0
|  | ID.GV-P3: Governance and risk management processes address privacy risks |  | 1 | 1 | 1 | Privacy policies and procedures are reviewed and approved by senior management. The board of directors (or a committee thereof) includes privacy periodically in its regular review of overall corporate governance. A process is in place to periodically identify the risks of unauthorized use or disclosure of the entity’s customer information. | PIPEDA provides that an organization is responsible for personal information under its control. Privacy compliance should be discussed in a formal manner among senior management and among the directors, and discussions should include how to evaluate the policies referred to in ID.GV-P1, ID.GV-P2 and DE.AE-P1. | Select Status
· PIPEDA, Sch1, s.4.1
· GAPP, 1.1.2, 1.2.4
|  | ID.GV-4: Governance and risk management processes address cybersecurity risks | · COBIT 5 DSS04.02 | 1 | 1 | 1 | C2M2 RM-2a: "Cybersecurity risks are identified" C2M2 RM-2b: "Identified risks are mitigated, accepted, tolerated, or transferred" The Executive Team and Board are actively involved and supportive of the Cyber Security Program. | As part of the organizations risk assessment process, cybersecurity related risks are identified, registered and a risk mitigation plan is in place. Indicators that an organization does this include: - Risk strategy - Threat risk assessments - Risk register - Enterprise risk management program If artifacts similar to the above exist, they should also be addressing cybersecurity related risks. | Select Status
· ISA 62443-2-1:2009 4.2.3.1, 4.2.3.3, 4.2.3.8, 4.2.3.9, 4.2.3.11, 4.3.2.4.3, 4.3.2.6.3
· NIST SP 800-53 Rev. 4 PM-9, PM-11
| Risk Assessment (ID.RA): The organization understands the cybersecurity risk to organizational operations (including mission, functions, image, or reputation), organizational assets, and individuals. | ID.RA-1: Asset vulnerabilities are identified and documented | · CCS CSC 4 | 1 | 1 |  | C2M2 TVM-2a: "Information sources to support cybersecurity vulnerability discovery are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments)" C2M2 TVM-2b: "Cybersecurity vulnerability information is gathered and interpreted for the function" | A vulnerability management program is in place that tracks vulnerabilities that are specific to the IT assets. Information concerning vulnerabilities to the organizations assets can come from multiple sources including, ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments. Typically organizations deploy an automated vulnerability scanning tool to identify vulnerabilities to their assets. | Select Status
· COBIT 5 APO12.01, APO12.02, APO12.03, APO12.04
· ISA 62443-2-1:2009 4.2.3, 4.2.3.7, 4.2.3.9, 4.2.3.12
· ISO/IEC 27001:2013 A.12.6.1, A.18.2.3
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CA-8, RA-3, RA-5, SA-5, SA-11, SI-2, SI-4, SI-5
|  | ID. RA-P1: Activities and processes which involve the collection, use or disclosure of personal or customer proprietary information are identified | · PIPEDA, Sch1, s.4.1, 4.3 | 1 | 1 | 1 | When a new activity or process is being considered, or an activity or process is being changed, the entity considers whether customer information is flowing and, if so, considers where it flows from, to whom it flows, and under what conditions. | “Personal information” means information about an identifiable individual. PIPEDA provides that an organization may collect, use or disclose personal information only for purposes that a reasonable person would consider appropriate in the circumstances. PIPEDA further provides that the knowledge and consent of the individual are required for the collection, use, or disclosure of personal information, except where inappropriate. | Select Status
· GAPP, 1.2.3, 1.2.4, 1.2.11
|  | ID.RA-2: Threat and vulnerability information is received from information sharing forums and sources | · ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12 | 1 | 1 |  | C2M2 TVM-1a: "Information sources to support threat management activities are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associates, vendors, federal briefings)" C2M2 TVM-1b: "Cybersecurity threat information is gathered and interpreted for the function" C2M2 TVM-2a: "Information sources to support cybersecurity vulnerability discovery are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments)" C2M2 TVM-2b: "Cybersecurity vulnerability information is gathered and interpreted for the function" | Information concerning vulnerabilities to the organizations assets can come from multiple sources including, ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments. This information may come in the form of email lists, web based databases or internally from automated vulnerability scanners. This information is collected and reviewed against the organization's IT assets to determine if mitigating controls need to be deployed. | Select Status
· ISO/IEC 27001:2013 A.6.1.4
· NIST SP 800-53 Rev. 4 PM-15, PM-16, SI-5
|  | ID.RA-3: Threats, both internal and external, are identified and documented | · COBIT 5 APO12.01, APO12.02, APO12.03, APO12.04 | 1 |  |  | C2M2 TVM-1a: "Information sources to support threat management activities are identified (e.g., ES-ISAC, ICS-CERT, US-CERT, industry associates, vendors, federal briefings)" C2M2 TVM-1b: "Cybersecurity threat information is gathered and interpreted for the function" | Information concerning vulnerabilities to the organizations assets can come from multiple sources including, ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments. This information may come in the form of email lists, web based databases or internally from automated vulnerability scanners. This information is collected and reviewed against the organization's IT assets to determine if mitigating controls need to be deployed. | Select Status
· ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12
· NIST SP 800-53 Rev. 4 RA-3, SI-5, PM-12, PM-16
|  | ID.RA-4: Potential business impacts and likelihoods are identified | · COBIT 5 DSS04.02 | 1 |  |  | C2M2 TVM-1d (MIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function" C2M2 TVM-1f (MIL2): "Identified threats are analyzed and prioritized" | The organization conducts threat risk assessments on a regular basis to determine the impact that threats may have on the organizations assets and processes. The threats are documented in a risk register. The organization assesses the threat in the risk register based on known vulnerabilities, the likelihood and impact to determine the risk treatment or set of controls that reduce the risk of the threat manifesting itself. | Select Status
· ISA 62443-2-1:2009 4.2.3, 4.2.3.9, 4.2.3.12
· NIST SP 800-53 Rev. 4 RA-2, RA-3, PM-9, PM-11, SA-14
|  | ID.RA-5: Threats, vulnerabilities, likelihoods, and impacts are used to determine risk | · COBIT 5 APO12.02 | 1 |  |  | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available" C2M2 RM-2j (MIL3): "A risk register (a structured repository of identified risks) is used to support risk management activities" C2M2 TVM-2m (MIL3): "Cybersecurity vulnerability information is added to the risk register (RM-2j)" | The organization conducts threat risk assessments on a regular basis to determine the impact that threats may have on the organizations assets and processes. The threats are documented in a risk register. The organization assesses the threat in the risk register based on known vulnerabilities, the likelihood and impact to determine the risk treatment or set of controls that reduce the risk of the threat manifesting itself. | Select Status
· ISO/IEC 27001:2013 A.12.6.1
· NIST SP 800-53 Rev. 4 RA-2, RA-3, PM-16
|  | ID.RA-6: Risk responses are identified and prioritized | · COBIT 5 APO12.05, APO13.02 | 1 |  |  | C2M2 RM-2e (MIL2): "Identified risks are analyzed to prioritize response activities in accordance with the risk management strategy" C2M2 TVM-1d (MIL2): "Cybersecurity vulnerability information sources that address all assets important to the function are monitored" | The organization conducts threat risk assessments on a regular basis to determine the impact that threats may have on the organizations assets and processes. The threats are documented in a risk register. The organization assesses the threat in the risk register based on known vulnerabilities, the likelihood and impact to determine the risk treatment or set of controls that reduce the risk of the threat manifesting itself. | Select Status
· NIST SP 800-53 Rev. 4 PM-4, PM-9
| Risk Management Strategy (ID.RM): The organization’s priorities, constraints, risk tolerances, and assumptions are established and used to support operational risk decisions. | ID.RM-1: Risk management processes are established, managed, and agreed to by organizational stakeholders | · COBIT 5 APO12.04, APO12.05, APO13.02, BAI02.03, BAI04.02 | 1 | 1 | 1 | C2M2 RM-2a: "Cybersecurity risks are identified" C2M2 RM-2b: "Identified risks are mitigated, accepted, tolerated, or transferred" | As part of the organizations risk assessment process, cybersecurity related risks are identified, registered and a risk mitigation plan is in place. Indicators that an organization does this include artifacts such as: - Risk strategy - Threat risk assessments - Risk register - Enterprise risk management program If artifacts similar to the above exist, they should also be addressing cybersecurity related risks. The processes documented in artifacts listed above include an appropriate set of stakeholders for the organization including asset owners, information owners and executives. This should include executive committees and/or board of directors. | Select Status
· ISA 62443-2-1:2009 4.3.4.2
· NIST SP 800-53 Rev. 4 PM-9
|  | ID.RM-2: Organizational risk tolerance is determined and clearly expressed | · COBIT 5 APO12.06 | 1 | 1 |  | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available" C2M2 RM-1e (MIL3): "An organization-specific risk taxonomy is documented and is used in risk management activities" | As part of the organization's risk management processes a set of criteria exist that enable the organization to consistently evaluate risks. The organization has gone through a risk harmonization process to ensure risks can be broadly discussed across different business units or functions. The executive committee or the board of directors have established the organization's risk appetite / tolerance. | Select Status
· ISA 62443-2-1:2009 4.3.2.6.5
· NIST SP 800-53 Rev. 4 PM-9
|  | ID.RM-3: The organization’s determination of risk tolerance is informed by its role in critical infrastructure and sector specific risk analysis | · NIST SP 800-53 Rev. 4 PM-8, PM-9, PM-11, SA-14 | 1 | 1 |  | C2M2 RM-1b (MIL2): "The strategy provides an approach for risk prioritization, including consideration of impact" | The executive committee or the board of directors have established the organization's risk appetite / tolerance. This risk tolerance is created in the context of the organization's role in the sector. Sector specific language is understood and used in the risk tolerance statements. | Select Status
|  | ID.RM-P1: Privacy impacts are considered when a new process, technology or activity is contemplated | · PIPEDA, s.5(3), Sch1, s.4.4, 4.5 | 1 | 1 | 1 | The entity’s privacy officer is consulted before a new process, technology or activity is implemented to provide advice with respect to potential privacy impacts and mitigation strategies. | PIPEDA provides that an organization may collect, use or disclose personal information only for purposes that a reasonable person would consider appropriate in the circumstances. PIPEDA further provides that collection of personal information shall be limited to that which is necessary for the purposes identified by the organization, that information be collected by fair and lawful means, and that personal information shall not be used or disclosed for purposes other than those for which it was collected, except with the consent of the individual or as required by law. Any new process, technology or activity should be examined to attempt to minimize the amount of personal information collected/used/disclosed. | Select Status
· GAPP, 1.2.4, 1.2.6, 1.2.11
PROTECT (PR) | Access Control (PR.AC): Access to assets and associated facilities is limited to authorized users, processes, or devices, and to authorized activities and transactions. | PR.AC-1: Identities and credentials are managed for authorized devices and users | · CCS CSC 16 | 1 | 1 | 1 | C2M2 IAM-1a: "Identities are provisioned for personnel and other entities (e.g., services, devices) who require access to assets (note that this does not preclude shared identities)" C2M2 IAM-1b: "Credentials are issued for personnel and other entities that require access to assets (e.g., passwords, smart cards, certificates, keys)" C2M2 IAM-1c: "Identities are deprovisioned when no longer required" | An access control policy is in place and is followed for provisioning, changing or terminating access for employees and services to the organizations assets. It should include controls addressing: - Authentication - Authorization - Roles - Delegation This may be further augmented by more sophisticated identity access management (IAM) processes and capabilities such as: - Access certification - automating the review of access - Automated access provisioning - allowing users to get access through an automated process - Password self-reset - automating the password reset process if a password is forgotten - Single Sign-On - allows users to sign-on once an get access to multiple assets that would normally require an separate log-on process | Select Status
· COBIT 5 DSS05.04, DSS06.03
· ISA 62443-2-1:2009 4.3.3.5.1
· ISA 62443-3-3:2013 SR 1.1, SR 1.2, SR 1.3, SR 1.4, SR 1.5, SR 1.7, SR 1.8, SR 1.9
· ISO/IEC 27001:2013 A.9.2.1, A.9.2.2, A.9.2.4, A.9.3.1, A.9.4.2, A.9.4.3
· NIST SP 800-53 Rev. 4 AC-2, IA Family
· GAPP, 8.2.2
|  | PR.AC-2: Physical access to assets is managed and protected | · COBIT 5 DSS01.04, DSS05.05 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required" | Access to physical assets, although using a different set of technologies, such as biometrics, electronic cards/badges, should be managed similarly to logical access. Employees and contractors should only be given access to facilities that they need to access to complete their job function. Access to operationally sensitive areas such as computer rooms / data centers should be highly restricted. Typical controls include: - Visitor sign-in sheets - Card access controls - Video monitoring (CCTV) - Review of access - Review of access logs - Bio-metric readers | Select Status
· ISA 62443-2-1:2009 4.3.3.3.2, 4.3.3.3.8
· ISO/IEC 27001:2013 A.11.1.1, A.11.1.2, A.11.1.4, A.11.1.6, A.11.2.3
· NIST SP 800-53 Rev. 4 PE-2, PE-3, PE-4, PE-5, PE-6, PE-9
· GAPP, 8.2.3
|  | PR.AC-3: Remote access is managed | · COBIT 5 APO13.01, DSS01.04, DSS05.03 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required" | Following the core access control policy for access management, the provisioning of remote access typically includes providing users with remote access via a secure channel such as VPN. Users gaining access remotely are typically required to used enhanced / dual factor authentication such as hardware tokens/fobs. | Select Status
· ISA 62443-2-1:2009 4.3.3.6.6
· ISA 62443-3-3:2013 SR 1.13, SR 2.6
· ISO/IEC 27001:2013 A.6.2.2, A.13.1.1, A.13.2.1
· NIST SP 800-53 Rev. 4 AC‑17, AC-19, AC-20
· GAPP, 8.2.2
|  | PR.AC-4: Access permissions are managed, incorporating the principles of least privilege and separation of duties | · CCS CSC 12, 15 | 1 | 1 | 1 | C2M2 IAM-2d (MIL2): "Access requirements incorporate least privilege and separation of duties principles" | The access control policy should incorporate the principle of least privilege, which requires that the computing environment, every module (such as a process, a user, or a program, depending on the subject) must be able to access only the information and resources that are necessary for its legitimate purpose | Select Status
· ISA 62443-2-1:2009 4.3.3.7.3
· ISA 62443-3-3:2013 SR 2.1
· ISO/IEC 27001:2013 A.6.1.2, A.9.1.2, A.9.2.3, A.9.4.1, A.9.4.4
· NIST SP 800-53 Rev. 4 AC-2, AC-3, AC-5, AC-6, AC-16
|  | PR.AC-5: Network integrity is protected, incorporating network segregation where appropriate | · ISA 62443-2-1:2009 4.3.3.4 | 1 | 1 |  | C2M2 CPM-3a: "A strategy to architecturally isolate the organization’s IT systems from OT systems is implemented" | Isolation of networks to allow the minimal set of channels and services that are required is built into the network architecture. Network segregation is typically achieved by a combination of firewalls and VLANs (Virtual Local Area Networks). | Select Status
· ISA 62443-3-3:2013 SR 3.1, SR 3.8
· ISO/IEC 27001:2013 A.13.1.1, A.13.1.3, A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, SC-7
| Awareness and Training (PR.AT): The organization’s personnel and partners are provided cybersecurity awareness education and are adequately trained to perform their information security-related duties and responsibilities consistent with related policies, procedures, and agreements. | PR.AT-1: All users are informed and trained | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-3a: "Cybersecurity training is made available to personnel with assigned cybersecurity responsibilities" C2M2 WM-4a: "Cybersecurity awareness activities occur" Awareness sessions are conducted on a quarterly basis. | Cybersecurity training is provided to all personnel who have cybersecurity responsibilities. Training can consist of: - on-line training - in class training - security awareness campaigns that combine social events with message concerning - posters, emails newsletter and other media to communicate simple security concepts - phishing campaigns in which the organization is tested to see how many employees fall victim to a simulated phishing attack Training should occur periodically. Many suggest quarterly in some form. Training should be conducted as part of the onboarding process of new personnel. A security awareness training policy should exist. HR should be engaged with this process. | Select Status
· COBIT 5 APO07.03, BAI05.07
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.7.2.2
· NIST SP 800-53 Rev. 4 AT-2, PM-13
· GAPP, 1.2.10, 5.1.1, 10.2.5
|  | PR.AT-P1: Documentation is developed to explain the organization's personal information policies and procedures to staff and customers |  | 1 | 1 | 1 | Internal privacy policies and procedures are documented and displayed (ex. on an intranet, posters), and the consequences of non-compliance with such policies and procedures are communicated to staff. A customer-facing privacy policy is published (ex. website, bill insert, available at office) which addresses the choices available to the individual with respect to their information and provides notice with respect to the consent, collection, use, and disclosure of their customer information. | PIPEDA requires that the organization shall make readily available to individuals specific information about its policies and practices relating to the management of personal information. | Select Status
· PIPEDA, Sch1, s.4.1.4, 4.8, 4.9, 4.10
· GAPP, 2.0
|  | PR.AT-2: Privileged users understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | Privileged users are users who are set up as administrators on systems and have a large degree of access to make changes to the system. Privileged use should be managed through a clear set of roles and responsibilities, ensuring that key control processes such as change management are adhered too. Some companies restrict privileged access through "fire call" ids. These highly privileged IDs can be used, however only when certain business or system circumstances exist. Privileged use activities, such as adding / deleting or changing users on systems, making configurations changes, turning services on or off are activities that should have significant monitoring. | Select Status
· COBIT 5 APO07.02, DSS06.03
· ISA 62443-2-1:2009 4.3.2.4.2, 4.3.2.4.3
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· GAPP, 1.2.9
|  | PR.AT-3: Third-party stakeholders (e.g., suppliers, customers, partners) understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | Typically third-party stakeholder will have their responsibilities outlined very clearly in the contractual arrangements that are in place. Third-party stakeholders may sign non-disclosure agreements and acceptable use agreements. | Select Status
· COBIT 5 APO07.03, APO10.04, APO10.05
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2
· NIST SP 800-53 Rev. 4 PS-7, SA-9
· GAPP, 7.0, 7.2.2, 7.2.4
|  | PR.AT-4: Senior executives understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | The executive committee or the board of directors should be sufficiently aware that cybersecurity is not an "IT issue", that it is business issue. This should be reflected in board meeting minutes and be a part of board meeting agendas. | Select Status
· COBIT 5 APO07.03
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2,
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· PIPEDA, Sch1, s.4.1
· GAAP, 1.1.2
|  | PR.AT-5: Physical and information security personnel understand roles & responsibilities | · CCS CSC 9 | 1 | 1 | 1 | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" C2M2 WM-1b: "Cybersecurity responsibilities are assigned to specific people" | Personnel that deal with physical and information security on a day to day business should have their responsibilities clearly outlined in security operation manuals. Their role and responsibilities may be written in their job description or as part of the letter of employment. | Select Status
· COBIT 5 APO07.03
· ISA 62443-2-1:2009 4.3.2.4.2
· ISO/IEC 27001:2013 A.6.1.1, A.7.2.2,
· NIST SP 800-53 Rev. 4 AT-3, PM-13
· PIPEDA, Sch1, s.4.1, 4.7
· GAPP, 1.1.2
| Data Security (PR.DS): Information and records (data) are managed consistent with the organization’s risk strategy to protect the confidentiality, integrity, and availability of information. | PR.DS-1: Data-at-rest is protected | · CCS CSC 17 | 1 | 1 | 1 | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)" | Depending on the sensitivity of the data as well as where it resides, data-at-rest should be protected by a number of controls, including: - disk/data encryption - data masking - access permissions | Select Status
· COBIT 5 APO01.06, BAI02.01, BAI06.01, DSS06.06
· ISA 62443-3-3:2013 SR 3.4, SR 4.1
· ISO/IEC 27001:2013 A.8.2.3
· NIST SP 800-53 Rev. 4 SC-28
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-2: Data-in-transit is protected | · CCS CSC 17 | 1 | 1 | 1 | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)" | Depending on the sensitivity of the data as well as what networks / channels it is travelling over, it should be protected by a number of controls, including: - secure tunnel encryption - data encryption | Select Status
· COBIT 5 APO01.06, DSS06.06
· ISA 62443-3-3:2013 SR 3.1, SR 3.8, SR 4.1, SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.13.1.1, A.13.2.1, A.13.2.3, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 SC-8
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-3: Assets are formally managed throughout removal, transfers, and disposition | · COBIT 5 BAI09.03 | 1 | 1 |  | C2M2 ACM-3a: "Changes to inventoried assets are evaluated before being implemented" C2M2 ACM-3b: "Changes to inventoried assets are logged" | The asset inventory should have sufficient IT and business process to ensure that when assets are formally removed, transferred and disposed of, that the inventory is updated accordingly. A policy or procedure should exist to ensure assets are managed through a formal change management process. | Select Status
· ISA 62443-2-1:2009 4. 4.3.3.3.9, 4.3.4.4.1
· ISA 62443-3-3:2013 SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.8.3.1, A.8.3.2, A.8.3.3, A.11.2.7
· NIST SP 800-53 Rev. 4 CM-8, MP-6, PE-16
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1
|  | PR.DS-4: Adequate capacity to ensure availability is maintained | · COBIT 5 APO13.01 | 1 | 1 |  | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)" | Typically organizations collect metrics from systems, such as use of memory, disk space and network speed and throughput. These metrics are trended over time to provide management a view as whether sufficient capacity is being met. Capacity is reviewed on a regular basis and sometimes in real-time. As system performance metrics reach their threshold, management will plan to increase capacity through budgeting and planning. | Select Status
· ISA 62443-3-3:2013 SR 7.1, SR 7.2
· ISO/IEC 27001:2013 A.12.3.1
· NIST SP 800-53 Rev. 4 AU-4, CP-2, SC-5
|  | PR.DS-5: Protections against data leaks are implemented | · CCS CSC 17 | 1 | 1 |  | C2M2 TVM-1c: "Threats that are considered important to the function are addressed (e.g., implement mitigating controls, monitor threat status)" C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)" | Typically organizations use a combination of: - Access policy - Data classification, labelling and handling procedures - Access permissions - Data loss prevention (DLP) tools In order to protect data, management should have a good understanding of where data resides in the organizations. Documentation such as network diagrams and data flow diagrams can assist with this. | Select Status
· COBIT 5 APO01.06
· ISA 62443-3-3:2013 SR 5.2
· ISO/IEC 27001:2013 A.6.1.2, A.7.1.1, A.7.1.2, A.7.3.1, A.8.2.2, A.8.2.3, A.9.1.1, A.9.1.2, A.9.2.3, A.9.4.1, A.9.4.4, A.9.4.5, A.13.1.3, A.13.2.1, A.13.2.3, A.13.2.4, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 AC-4, AC-5, AC-6, PE-19, PS-3, PS-6, SC-7, SC-8, SC-13, SC-31, SI-4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7, 8.2.1
|  | PR.DS-6: Integrity checking mechanisms are used to verify software, firmware, and information integrity | · ISA 62443-3-3:2013 SR 3.1, SR 3.3, SR 3.4, SR 3.8 | 1 |  |  | C2M2 SA-2e (MIL2): "Indicators of anomalous activity have been defined and are monitored across the operational environment" | Typically organisations will have a standard set configurations, often hardened for their systems. Tools can be deployed to identify if those configurations have inadvertently been changed. | Select Status
· ISO/IEC 27001:2013 A.12.2.1, A.12.5.1, A.14.1.2, A.14.1.3
· NIST SP 800-53 Rev. 4 SI-7
· PIPEDA, Sch1, s.4.7
· GAAP, 8.2.1
|  | PR.DS-7: The development and testing environment(s) are separate from the production environment | · COBIT 5 BAI07.04 | 1 |  |  | C2M2 ACM-3c (MIL2): "Changes to assets are tested prior to being deployed, whenever possible" | These environments are kept separate to ensure that changes to systems made during the development process do not affect the integrity and availability of systems in production. Organizations typically have a change management process that documents these different environments. As part of the change management process, management will have documented a code migration process. Not only should these environments be logically separated through the network architecture, access to the production environment should not be available to developers. | Select Status
· ISO/IEC 27001:2013 A.12.1.4
· NIST SP 800-53 Rev. 4 CM-2
| Information Protection Processes and Procedures (PR.IP): Security policies (that address purpose, scope, roles, responsibilities, management commitment, and coordination among organizational entities), processes, and procedures are maintained and used to manage protection of information systems and assets. | PR.IP-1: A baseline configuration of information technology/industrial control systems is created and maintained | · CCS CSC 3, 10 | 1 |  |  | C2M2 ACM-2a: "Configuration baselines are established for inventoried assets where it is desirable to ensure that multiple assets are configured similarly" C2M2 ACM-2b: "Configuration baselines are used to configure assets at deployment" | Typically organisations will have a standard set configurations, often hardened for their systems. Tools can be deployed to identify if those configurations have inadvertently been changed. Typically organizations have: - Build books - Hardening standards - Configuration Management database - Change management processes | Select Status
· COBIT 5 BAI10.01, BAI10.02, BAI10.03, BAI10.05
· ISA 62443-2-1:2009 4.3.4.3.2, 4.3.4.3.3
· ISA 62443-3-3:2013 SR 7.6
· ISO/IEC 27001:2013 A.12.1.2, A.12.5.1, A.12.6.2, A.14.2.2, A.14.2.3, A.14.2.4
· NIST SP 800-53 Rev. 4 CM-2, CM-3, CM-4, CM-5, CM-6, CM-7, CM-9, SA-10
|  | PR.IP-2: A System Development Life Cycle to manage systems is implemented | · COBIT 5 APO13.01 | 1 |  |  | C2M2 ACM-3d (MIL2): "Change management practices address the full life cycle of assets (i.e., acquisition, deployment, operation, retirement)" | Typically organizations have a formal system development lifecycle. Popular ones include "waterfall"; "spiral"; "Agile software development"; "rapid prototyping"; "incremental"; and "synchronize and stabilize". This should be formally documented. For cybersecurity organizations should consider: - Using secure coding techniques such as OWASP - Conducting code review and/or application vulnerability testing - Ensuring the software code repository is protected | Select Status
· ISA 62443-2-1:2009 4.3.4.3.3
· ISO/IEC 27001:2013 A.6.1.5, A.14.1.1, A.14.2.1, A.14.2.5
· NIST SP 800-53 Rev. 4 SA-3, SA-4, SA-8, SA-10, SA-11, SA-12, SA-15, SA-17, PL-8
|  | PR.IP-3: Configuration change control processes are in place | · COBIT 5 BAI06.01, BAI01.06 | 1 | 1 |  | C2M2 ACM-3a: "Changes to inventoried assets are evaluated before being implemented" C2M2 ACM-3b: "Changes to inventoried assets are logged" | The objective of change management is to ensure that standardized methods and procedures are used for efficient and prompt handling of all changes to control IT infrastructure, in order to minimize the number and impact of any related incidents upon service. A change is an event that is: - approved by management - implemented with a minimized and accepted risk to existing IT infrastructure results in a new status of one or more configuration items (CIs) - provides increased value to the business (Increased Revenue, Avoided Cost, or Improved Service) from the use of the new or enhanced IT systems. [source: https://en.wikipedia.org/wiki/Change_management_(ITSM)] Typically organisations will have: - a formal change management process - a change approval board | Select Status
· ISA 62443-2-1:2009 4.3.4.3.2, 4.3.4.3.3
· ISA 62443-3-3:2013 SR 7.6
· ISO/IEC 27001:2013 A.12.1.2, A.12.5.1, A.12.6.2, A.14.2.2, A.14.2.3, A.14.2.4
· NIST SP 800-53 Rev. 4 CM-3, CM-4, SA-10
|  | PR.IP-4: Backups of information are conducted, maintained, and tested periodically | · COBIT 5 APO13.01 | 1 | 1 | 1 | C2M2 IR-4a: "The activities necessary to sustain minimum operations of the function are identified" C2M2 IR-4b: "The sequence of activities necessary to return the function to normal operation is identified" | Typically organizations will have: - Tape or electronic vaulting - off site - a backup schedule indicating (full, differential or incremental backup) - periodic restoration tests | Select Status
· ISA 62443-2-1:2009 4.3.4.3.9
· ISA 62443-3-3:2013 SR 7.3, SR 7.4
· ISO/IEC 27001:2013 A.12.3.1, A.17.1.2A.17.1.3, A.18.1.3
· NIST SP 800-53 Rev. 4 CP-4, CP-6, CP-9
|  | PR.IP-5: Policy and regulations regarding the physical operating environment for organizational assets are met | · COBIT 5 DSS01.04, DSS05.05 | 1 | 1 | 1 | C2M2 ACM-4f (MIL3): "Asset inventory, configuration, and change management policies include compliance requirements for specified standards and/or guidelines" C2M2 RM-3f (MIL3): "Change logs include information about modifications that impact the cybersecurity requirements of assets (availability, integrity, confidentiality)" | An operations manual should exist to ensure the operating environment for physical assets meet the manufacturer's recommended requirements for operations. In data centers this could include temperature and humidity control as well as consistent sources of electrical power. The organization may have commercial HVAC systems to maintain cooling. The organization may have UPS and back up generators to maintain consistent power. | Select Status
· ISA 62443-2-1:2009 4.3.3.3.1 4.3.3.3.2, 4.3.3.3.3, 4.3.3.3.5, 4.3.3.3.6
· ISO/IEC 27001:2013 A.11.1.4, A.11.2.1, A.11.2.2, A.11.2.3
· NIST SP 800-53 Rev. 4 PE-10, PE-12, PE-13, PE-14, PE-15, PE-18
· PIPEDA, Sch1, s.4.7
· GAPP, 8.2.1, 8.2.3
|  | PR.IP-6: Data is destroyed according to policy | · COBIT 5 BAI09.03 | 1 | 1 | 1 | C2M2 ACM-3d (MIL2): "Change management practices address the full life cycle of assets (i.e., acquisition, deployment, operation, retirement)" | When data is no longer required, either for business purposes or compliance reasons, it should be destroyed. Organizations typically have a data archiving and destruction policy that accounts for this. Depending on the sensitivity of the data organizations may have a media handling policy that includes instructions for destroying the media that data once resided on. This might include physical destruction of media or logical overwrites sometime referred to as secure wiping. | Select Status
· ISA 62443-2-1:2009 4.3.4.4.4
· ISA 62443-3-3:2013 SR 4.2
· ISO/IEC 27001:2013 A.8.2.3, A.8.3.1, A.8.3.2, A.11.2.7
· NIST SP 800-53 Rev. 4 MP-6
· PIPEDA, Sch1, s.4.5.3
· GAPP, 5.2.3
|  | PR.IP-7: Protection processes are continuously improved | · COBIT 5 APO11.06, DSS04.05 | 1 | 1 |  | C2M2 CPM-1g (MIL3): "The cybersecurity program strategy is updated to reflect business changes, changes in the operating environment, and changes in the threat profile (TVM-1d)" | To do this, organizations will typically conduct vulnerability and system penetration tests. These can sometimes be done by an external consultant, or internally by their own personnel. Findings reported in the report should be tracked and managed to support a continuous improvement process. | Select Status
· ISA 62443-2-1:2009 4.4.3.1, 4.4.3.2, 4.4.3.3, 4.4.3.4, 4.4.3.5, 4.4.3.6, 4.4.3.7, 4.4.3.8
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CP-2, IR-8, PL-2, PM-6
· GAPP, 8.2.7, 10.2.3
|  | PR.IP-8: Effectiveness of protection technologies is shared with appropriate parties | · ISO/IEC 27001:2013 A.16.1.6 | 1 |  |  | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" C2M2 ISC-1b: "Responsibility for cybersecurity reporting obligations are assigned to personnel (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT, law enforcement)" | As systems are tested and vulnerabilities are identified and reported, should an organization find a weakness that may affect the security of a 3rd parties data, that organization should notify the 3rd party about the vulnerability and what is being done to mitigate the vulnerability. If a breach occurs, the organization should enact breach notification to ensure the 3rd party can take appropriate measure to further secure it's assets and data. | Select Status
· NIST SP 800-53 Rev. 4 AC-21, CA-7, SI-4
|  | PR.IP-9: Response plans (Incident Response and Business Continuity) and recovery plans (Incident Recovery and Disaster Recovery) are in place and managed | · COBIT 5 DSS04.03 | 1 | 1 | 1 | C2M2 IR-4c: "Continuity plans are developed to sustain and restore operation of the function" | Typically organizations will have a BCP / DRP plan as well as an incident response plan. The two plans should integrate with an aim to created cyber resilience. | Select Status
· ISA 62443-2-1:2009 4.3.2.5.3, 4.3.4.5.1
· ISO/IEC 27001:2013 A.16.1.1, A.17.1.1, A.17.1.2
· NIST SP 800-53 Rev. 4 CP-2, IR-8
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | PR.IP-10: Response and recovery plans are tested | · ISA 62443-2-1:2009 4.3.2.5.7, 4.3.4.5.11 | 1 | 1 |  | C2M2 IR-3e (MIL2): "Cybersecurity event and incident response plans are exercised at an organization- defined frequency" C2M2 IR-4f (MIL2): "Cybersecurity event and incident response plans address OT and IT assets important to the delivery of the function" | Typically organizations will conduct disaster recovery exercises to test the availability of systems during a crisis. This should be conducted at least annually. Some organizations also test their security incident response plans through threat scenario and table top exercises. This is highly recommended. | Select Status
· ISA 62443-3-3:2013 SR 3.3
· ISO/IEC 27001:2013 A.17.1.3
· NIST SP 800-53 Rev.4 CP-4, IR-3, PM-14
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7, 8.2.7
|  | PR.IP-11: Cybersecurity is included in human resources practices (e.g., deprovisioning, personnel screening) | · COBIT 5 APO07.01, APO07.02, APO07.03, APO07.04, APO07.05 | 1 | 1 | 1 | C2M2 WM-2a: "Personnel vetting (e.g., background checks, drug tests) is performed at hire for positions that have access to the assets required for delivery of the function" C2M2 WM-2b: "Personnel termination procedures address cybersecurity" | This typically includes: - security background checks for new employees - security awareness training as part of onboarding - sign-off on a code of conduct, acceptable use policy - during deprovisioning it includes a termination checklist in which the employee returns assets and is reminded of their obligations to keep information confidential | Select Status
· ISA 62443-2-1:2009 4.3.3.2.1, 4.3.3.2.2, 4.3.3.2.3
· ISO/IEC 27001:2013 A.7.1.1, A.7.3.1, A.8.1.4
· NIST SP 800-53 Rev. 4 PS Family
· PIPEDA, Sch1 , s.4.7
· GAPP, 8.2.1
|  | PR.IP-P1: Privacy is included in human resources practices (e.g. privacy training) | · PIPEDA, Sch1, s.4.1.4 | 1 | 1 | 1 | The onboarding procedure includes privacy training and the privacy policies and procedures are provided as part of the employee handbook or welcome package. | PIPEDA requires that staff be trained about the organization’s privacy policies and practices. | Select Status
· GAPP, 1.2.9, 1.2.10
|  | PR.IP-12: A vulnerability management plan is developed and implemented | · ISO/IEC 27001:2013 A.12.6.1, A.18.2.2 | 1 | 1 |  | C2M2 TVM-3a (MIL2): "Documented practices are followed for threat and vulnerability management activities" | A vulnerability management program is in place that tracks vulnerabilities that are specific to the IT assets. Information concerning vulnerabilities to the organizations assets can come from multiple sources including, ES-ISAC, ICS-CERT, US-CERT, industry associations, vendors, federal briefings, internal assessments. | Select Status
· NIST SP 800-53 Rev. 4 RA-3, RA-5, SI-2
|  |  | · GAPP, 8.0, 8.2.7 |  |  |  |  | Typically organizations deploy an automated vulnerability scanning tool to identify vulnerabilities to their assets.
| Maintenance (PR.MA): Maintenance and repairs of industrial control and information system components is performed consistent with policies and procedures. | PR.MA-1: Maintenance and repair of organizational assets is performed and logged in a timely manner, with approved and controlled tools | · COBIT 5 BAI09.03 | 1 |  |  | C2M2 ACM-3b: "Changes to inventoried assets are logged" | As part of the organizations asset inventory, a specific maintenance schedule is documented and maintained. This could include specific maintenance instructions from the vendor of the technology asset. | Select Status
· ISA 62443-2-1:2009 4.3.3.3.7
· ISO/IEC 27001:2013 A.11.1.2, A.11.2.4, A.11.2.5
· NIST SP 800-53 Rev. 4 MA-2, MA-3, MA-5
|  | PR.MA-2: Remote maintenance of organizational assets is approved, logged, and performed in a manner that prevents unauthorized access | · COBIT 5 DSS05.04 | 1 |  |  | C2M2 SA-1a: "Logging is occurring for assets important to the function where possible" C2M2 IR-1c: "Cybersecurity events are logged and tracked" C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required" | Activity logs of actions are completed by users from remote locations are reviewed. This could include review of VPN logs and associated event on internal systems that were accessed. | Select Status
· ISA 62443-2-1:2009 4.3.3.6.5, 4.3.3.6.6, 4.3.3.6.7, 4.4.4.6.8
· ISO/IEC 27001:2013 A.11.2.4, A.15.1.1, A.15.2.1
· NIST SP 800-53 Rev. 4 MA-4
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
| Protective Technology (PR.PT): Technical security solutions are managed to ensure the security and resilience of systems and assets, consistent with related policies, procedures, and agreements. | PR.PT-1: Audit/log records are determined, documented, implemented, and reviewed in accordance with policy | · CCS CSC 14 | 1 |  |  | C2M2 SA-1a: "Logging is occurring for assets important to the function where possible" C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" | Activity logs of actions taken on a system are review for malicious behavior. This could include the misuse of privileged access, failed login attempt and other system events that could be indicative of an attack. Sophisticated organization will automate much of this through the centralized log management solutions combined with security information event monitoring (SIEM). The SIEM will have specific use cases that trigger an alert when certain suspicious behaviour occurs on or across the entities systems. | Select Status
· COBIT 5 APO11.04
· ISA 62443-2-1:2009 4.3.3.3.9, 4.3.3.5.8, 4.3.4.4.7, 4.4.2.1, 4.4.2.2, 4.4.2.4
· ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12
· ISO/IEC 27001:2013 A.12.4.1, A.12.4.2, A.12.4.3, A.12.4.4, A.12.7.1
· NIST SP 800-53 Rev. 4 AU Family
|  | PR.PT-2: Removable media is protected and its use restricted according to policy | · COBIT 5 DSS05.02, APO13.01 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required" | Use of USB memory sticks and other removable media such as CD / DVD is restricted. If allowed encryption is used. If the organization uses tape to backup data. The data on the tape is encrypted and stored in a secure off-site facility. | Select Status
· ISA 62443-3-3:2013 SR 2.3
· ISO/IEC 27001:2013 A.8.2.2, A.8.2.3, A.8.3.1, A.8.3.3, A.11.2.9
· NIST SP 800-53 Rev. 4 MP-2, MP-4, MP-5, MP-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
|  | PR.PT-3: Access to systems and assets is controlled, incorporating the principle of least functionality | · COBIT 5 DSS05.02 | 1 | 1 | 1 | C2M2 IAM-2a: "Access requirements, including those for remote access, are determined (access requirements are associated with assets and provide guidance for which types of entities are allowed to access the asset, the limits of allowed access, and authentication parameters)" C2M2 IAM-2b: "Access is granted to identities based on requirements" C2M2 IAM-2c: "Access is revoked when no longer required" | The access control policy should incorporate the principle of least privilege, which requires that the computing environment, every module (such as a process, a user, or a program, depending on the subject) must be able to access only the information and resources that are necessary for its legitimate purpose | Select Status
· ISA 62443-2-1:2009 4.3.3.5.1, 4.3.3.5.2, 4.3.3.5.3, 4.3.3.5.4, 4.3.3.5.5, 4.3.3.5.6, 4.3.3.5.7, 4.3.3.5.8, 4.3.3.6.1, 4.3.3.6.2, 4.3.3.6.3, 4.3.3.6.4, 4.3.3.6.5, 4.3.3.6.6, 4.3.3.6.7, 4.3.3.6.8, 4.3.3.6.9, 4.3.3.7.1, 4.3.3.7.2, 4.3.3.7.3, 4.3.3.7.4
· ISA 62443-3-3:2013 SR 1.1, SR 1.2, SR 1.3, SR 1.4, SR 1.5, SR 1.6, SR 1.7, SR 1.8, SR 1.9, SR 1.10, SR 1.11, SR 1.12, SR 1.13, SR 2.1, SR 2.2, SR 2.3, SR 2.4, SR 2.5, SR 2.6, SR 2.7
· ISO/IEC 27001:2013 A.9.1.2
· NIST SP 800-53 Rev. 4 AC-3, CM-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
|  | PR.PT-4: Communications and control networks are protected | · CCS CSC 7 | 1 | 1 | 1 | C2M2 CPM-3a: "A strategy to architecturally isolate the organization’s IT systems from OT systems is implemented" | Isolation of networks to allow the minimal set of channels and services that are required is built into the network architecture. Network segregation is typically achieved by a combination of firewalls and VLANs (Virtual Local Area Networks). | Select Status
· COBIT 5 DSS05.02, APO13.01
· ISA 62443-3-3:2013 SR 3.1, SR 3.5, SR 3.8, SR 4.1, SR 4.3, SR 5.1, SR 5.2, SR 5.3, SR 7.1, SR 7.6
· ISO/IEC 27001:2013 A.13.1.1, A.13.2.1
· NIST SP 800-53 Rev. 4 AC-4, AC-17, AC-18, CP-8, SC-7
· PIPEDA, Sch1, s.4.7
· GAPP, 8.0
DETECT (DE) | Anomalies and Events (DE.AE): Anomalous activity is detected in a timely manner and the potential impact of events is understood. | DE.AE-1: A baseline of network operations and expected data flows for users and systems is established and managed | · COBIT 5 DSS03.01 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" | Monitoring of critical systems is performed and logs are reviewed within 90 days. | Select Status
· ISA 62443-2-1:2009 4.4.3.3
· NIST SP 800-53 Rev. 4 AC-4, CA-3, CM-2, SI-4
|  | DE.AE-2: Detected events are analyzed to understand attack targets and methods | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8 | 1 |  |  | C2M2 IR-1f (MIL3): "Event information is correlated to support incident analysis by identifying patterns, trends, and other common features" C2M2 IR-2i (MIL3): "Escalated cybersecurity events and declared incidents are correlated to support the discovery of patterns, trends, and other common features" C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" | Event information is analyzed and reviewed against threat advisory services. | Select Status
· ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12, SR 3.9, SR 6.1, SR 6.2
· ISO/IEC 27001:2013 A.16.1.1, A.16.1.4
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, SI-4
|  | DE.AE-3: Event data are aggregated and correlated from multiple sources and sensors | · ISA 62443-3-3:2013 SR 6.1 | 1 |  |  | C2M2 IR-1e (MIL2): "There is a repository where cybersecurity events are logged based on the established criteria" | Monitoring of critical systems is performed and aggregated and logs are reviewed within 90 days. | Select Status
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, IR-5, IR-8, SI-4
|  | DE.AE-4: Impact of events is determined | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-2b: "Cybersecurity events are analyzed to support escalation and the declaration of cybersecurity incidents" | Potential business and operational impacts are assessed for every significant event. | Select Status
· NIST SP 800-53 Rev. 4 CP-2, IR-4, RA-3, SI -4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.6
|  | DE.AE-P1 - Policies for receiving and responding to privacy complaints or inquiries are established and such policies are communicated to customers | · PIPEDA, Sch1, s.4.1.4, 4.6, 4.8, 4.9, 4.10 | 1 | 1 | 1 | A policy is published (ex. intranet, posters, bill insert) which advises customers that they have access to their personal information for review and update, and how to contact the entity in the event of a privacy question or complaint. | PIPEDA provides that the individual shall be able to address a challenge concerning privacy compliance. PIPEDA further provides that the information made available shall include: (a) the name or title, and the address, of the person who is accountable for the organization’s policies and practices and to whom complaints or inquiries can be forwarded; (b) the means of gaining access to personal information held by the organization; (c) a description of the type of personal information held by the organization, including a general account of its use; (d) a copy of any brochures or other information that explain the organization’s policies, standards, or codes; and (e) what personal information is made available to related organizations (e.g., subsidiaries). | Select Status
· GAPP, 6.0, 10.0
|  | DE.AE-5: Incident alert thresholds are established | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-2a: "Criteria for cybersecurity event escalation are established, including cybersecurity incident declaration criteria" | The Cyber Security Incident Response Plan includes thresholds, process, and roles and responsibilities. | Select Status
· ISA 62443-2-1:2009 4.2.3.10
· NIST SP 800-53 Rev. 4 IR-4, IR-5, IR-8
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
| Security Continuous Monitoring (DE.CM): The information system and assets are monitored at discrete intervals to identify cybersecurity events and verify the effectiveness of protective measures. | DE.CM-1: The network is monitored to detect potential cybersecurity events | · CCS CSC 14, 16 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Monitoring of critical systems is performed and logs are reviewed within 90 days. | Select Status
· COBIT 5 DSS05.07
· ISA 62443-3-3:2013 SR 6.2
· NIST SP 800-53 Rev. 4 AC-2, AU-12, CA-7, CM-3, SC-5, SC-7, SI-4
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-2: The physical environment is monitored to detect potential cybersecurity events | · ISA 62443-2-1:2009 4.3.3.3.8 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Physical monitoring is performed for locations that have critical assets. | Select Status
· NIST SP 800-53 Rev. 4 CA-7, PE-3, PE-6, PE-20
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-3: Personnel activity is monitored to detect potential cybersecurity events | · ISA 62443-3-3:2013 SR 6.2 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Personnel are monitored for access to critical systems. Logs are reviewed within 90 days. | Select Status
· ISO/IEC 27001:2013 A.12.4.1
· NIST SP 800-53 Rev. 4 AC-2, AU-12, AU-13, CA-7, CM-10, CM-11
· PIPEDA, Sch1, s.4.7
· GAPP, 1.2.7
|  | DE.CM-4: Malicious code is detected | · CCS CSC 5 | 1 | 1 |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Malware detection and isolation is performed for critical system environments. | Select Status
· COBIT 5 DSS05.01
· ISA 62443-2-1:2009 4.3.4.3.8
· ISA 62443-3-3:2013 SR 3.2
· ISO/IEC 27001:2013 A.12.2.1
· NIST SP 800-53 Rev. 4 SI-3
|  | DE.CM-5: Unauthorized mobile code is detected | · ISA 62443-3-3:2013 SR 2.4 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Security controls are applied to mobile devices that access critical systems. | Select Status
· ISO/IEC 27001:2013 A.12.5.1
· NIST SP 800-53 Rev. 4 SC-18, SI-4. SC-44
|  | DE.CM-6: External service provider activity is monitored to detect potential cybersecurity events | · COBIT 5 APO07.06 | 1 |  |  | C2M2 EDM-2a: "Significant cybersecurity risks due to suppliers and other dependencies are identified and addressed" C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Access points for all third parties with access to critical system environments are monitored. | Select Status
· ISO/IEC 27001:2013 A.14.2.7, A.15.2.1
· NIST SP 800-53 Rev. 4 CA-7, PS-7, SA-4, SA-9, SI-4
· GAPP, 7.0
|  | DE.CM-7: Monitoring for unauthorized personnel, connections, devices, and software is performed | · NIST SP 800-53 Rev. 4 AU-12, CA-7, CM-3, CM-8, PE-3, PE-6, PE-20, SI-4 | 1 |  |  | C2M2 SA-2a: "Cybersecurity monitoring activities are performed (e.g., periodic reviews of log data)" C2M2 SA-2b: "Operational environments are monitored for anomalous behavior that may indicate a cybersecurity event" | Critical system environments are monitored for unauthorized personnel and activity. | Select Status
· GAPP, 8.0
|  | DE.CM-8: Vulnerability scans are performed | · COBIT 5 BAI03.10 | 1 | 1 |  | C2M2 TVM-2e (MIL2): "Cybersecurity vulnerability assessments are performed (e.g., architectural reviews, penetration testing, cybersecurity exercises, vulnerability identification tools)" | Vulnerability scans are performed for critical system environments at least every 2 years. | Select Status
· ISA 62443-2-1:2009 4.2.3.1, 4.2.3.7
· ISO/IEC 27001:2013 A.12.6.1
· NIST SP 800-53 Rev. 4 RA-5
| Detection Processes (DE.DP): Detection processes and procedures are maintained and tested to ensure timely and adequate awareness of anomalous events. | DE.DP-1: Roles and responsibilities for detection are well defined to ensure accountability | · CCS CSC 5 | 1 | 1 |  | C2M2 WM-1a: "Cybersecurity responsibilities for the function are identified" | The Cyber Security Incident Response Plan includes thresholds, process, and roles and responsibilities. | Select Status
· COBIT 5 DSS05.01
· ISA 62443-2-1:2009 4.4.3.1
· ISO/IEC 27001:2013 A.6.1.1
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PM-14
|  | DE.DP-2: Detection activities comply with all applicable requirements | · ISA 62443-2-1:2009 4.4.3.2 | 1 | 1 |  | C2M2 IR-1d (MIL2): "Criteria are established for cybersecurity event detection (e.g., what constitutes an event, where to look for events)" C2M2 IR-5a (MIL2): "Documented practices are followed for cybersecurity event and incident response as well as continuity of operations activities" C2M2 TVM-1d (MIIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function" | Detection activities comply with all privacy, legal and regulatory requirements. | Select Status
· ISO/IEC 27001:2013 A.18.1.4
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PM-14, SI-4
|  | DE.DP-3: Detection processes are tested | · COBIT 5 APO13.02 | 1 |  |  | C2M2 IR-3e (MIL2): "Cybersecurity event and incident response plans are exercised at an organization- defined frequency" | The detection systems are tested at least annually. | Select Status
· ISA 62443-2-1:2009 4.4.3.2
· ISA 62443-3-3:2013 SR 3.3
· ISO/IEC 27001:2013 A.14.2.8
· NIST SP 800-53 Rev. 4 CA-2, CA-7, PE-3, PM-14, SI-3, SI-4
|  | DE.DP-4: Event detection information is communicated to appropriate parties | · COBIT 5 APO12.06 | 1 |  |  | C2M2 IR-1b: "Detected cybersecurity events are reported" C2M2 IR-3c: "Reporting of escalated cybersecurity events and incidents is performed (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT)" C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" | The Cyber Security Incident Response Plan includes thresholds, process, and roles and responsibilities. | Select Status
· ISA 62443-2-1:2009 4.3.4.5.9
· ISA 62443-3-3:2013 SR 6.1
· ISO/IEC 27001:2013 A.16.1.2
· NIST SP 800-53 Rev. 4 AU-6, CA-2, CA-7, RA-5, SI-4
|  | DE.DP-5: Detection processes are continuously improved | · COBIT 5 APO11.06, DSS04.05 | 1 |  |  | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): "Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency" | Detection processes are reviewed at least annually and improvements are made where applicable. | Select Status
· ISA 62443-2-1:2009 4.4.3.4
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4, CA-2, CA-7, PL-2, RA-5, SI-4, PM-14
RESPOND (RS) | Response Planning (RS.RP): Response processes and procedures are executed and maintained, to ensure timely response to detected cybersecurity events. | RS.RP-1: Response plan is executed during or after an event | · COBIT 5 BAI01.10 | 1 | 1 | 1 | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· CCS CSC 18
· ISA 62443-2-1:2009 4.3.4.5.1
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 CP-2, CP-10, IR-4, IR-8
· GAPP, 1.2.7
| Communications (RS.CO): Response activities are coordinated with internal and external stakeholders, as appropriate, to include external support from law enforcement agencies. | RS.CO-1: Personnel know their roles and order of operations when a response is needed | · ISA 62443-2-1:2009 4.3.4.5.2, 4.3.4.5.3, 4.3.4.5.4 | 1 | 1 | 1 | C2M2 IR-3a: "Cybersecurity event and incident response personnel are identified and roles are assigned" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· ISO/IEC 27001:2013 A.6.1.1, A.16.1.1
· NIST SP 800-53 Rev. 4 CP-2, CP-3, IR-3, IR-8
· PIPEDA, Such 1, 4.1
· GAPP, 1.1.2, 1.2.7
|  | RS.CO-2: Events are reported consistent with established criteria | · ISA 62443-2-1:2009 4.3.4.5.5 | 1 | 1 | 1 | C2M2 IR-1a: "There is a point of contact (person or role) to whom cybersecurity events could be reported" C2M2 IR-1b: "Detected cybersecurity events are reported" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· ISO/IEC 27001:2013 A.6.1.3, A.16.1.2
· NIST SP 800-53 Rev. 4 AU-6, IR-6, IR-8
· PIPEDA, Such 1, 4.7
· GAPP, 1.2.7
|  | RS.CO-3: Information is shared consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.2 | 1 | 1 |  | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" C2M2 ISC-1b: "Responsibility for cybersecurity reporting obligations are assigned to personnel (e.g., internal reporting, DOE Form OE-417, ES-ISAC, ICS-CERT, law enforcement)" C2M2 ISC-1c: "Information-sharing stakeholders are identified based on their relevance to the continued operation of the function (e.g., connected utilities, vendors, sector organizations, regulators, internal entities)" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· ISO/IEC 27001:2013 A.16.1.2
· NIST SP 800-53 Rev. 4 CA-2, CA-7, CP-2, IR-4, IR-8, PE-6, RA-5, SI-4
|  | RS.CO-4: Coordination with stakeholders occurs consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.5 | 1 | 1 |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" C2M2 IR-5b (MIL2): "Stakeholders for cybersecurity event and incident response as well as continuity of operations activities are identified and involved" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· PIPEDA, Such 1, 4.7
· GAPP, 1.2.7
|  | RS.CO-5: Voluntary information sharing occurs with external stakeholders to achieve broader cybersecurity situational awareness | · NIST SP 800-53 Rev. 4 PM-15, SI-5 | 1 | 1 | 1 | C2M2 ISC-1a: "Information is collected from and provided to selected individuals and/or organizations" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
| Analysis (RS.AN): Analysis is conducted to ensure adequate response and support recovery activities. | RS.AN-1: Notifications from detection systems are investigated | · COBIT 5 DSS02.07 | 1 |  |  | C2M2 IR-1e (MIL2): "There is a repository where cybersecurity events are logged based on the established criteria" | Notifications are provided and the highest priority notifications are investigated within 24 hours. | Select Status
· ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8
· ISA 62443-3-3:2013 SR 6.1
· ISO/IEC 27001:2013 A.12.4.1, A.12.4.3, A.16.1.5
· NIST SP 800-53 Rev. 4 AU-6, CA-7, IR-4, IR-5, PE-6, SI-4
|  | RS.AN-2: The impact of the incident is understood | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.7, 4.3.4.5.8 | 1 |  |  | C2M2 IR-2d (MIL2): "Criteria for cybersecurity event escalation, including cybersecurity incident criteria, are established based on the potential impact to the function" C2M2 TVM-1d (MIL2): "A threat profile for the function is established that includes characterization of likely intent, capability, and target of threats to the function" | Potential business and operational impacts are assessed for every significant event. | Select Status
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4 CP-2, IR-4
· GAPP, 1.2.7
|  | RS.AN-3: Forensics are performed | · ISA 62443-3-3:2013 SR 2.8, SR 2.9, SR 2.10, SR 2.11, SR 2.12, SR 3.9, SR 6.1 | 1 |  |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" | Forensics are performed for impactful incidents and events, and adjustments are made to controls as appropriate. | Select Status
· ISO/IEC 27001:2013 A.16.1.7
· NIST SP 800-53 Rev. 4 AU-7, IR-4
|  | RS.AN-4: Incidents are categorized consistent with response plans | · ISA 62443-2-1:2009 4.3.4.5.6 | 1 |  |  | C2M2 IR-2a: "Criteria for cybersecurity event escalation are established, including cybersecurity incident declaration criteria" | The Response Plan with thresholds, roles and responsibilities, and process is executed. | Select Status
· ISO/IEC 27001:2013 A.16.1.4
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-5, IR-8
· GAPP, 1.2.7
| Mitigation (RS.MI): Activities are performed to prevent expansion of an event, mitigate its effects, and eradicate the incident. | RS.MI-1: Incidents are contained | · ISA 62443-2-1:2009 4.3.4.5.6 | 1 |  |  | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations" | High priority incidents are contained and adjustments are made to controls as appropriate. | Select Status
· ISA 62443-3-3:2013 SR 5.1, SR 5.2, SR 5.4
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 IR-4
· GAPP, 1.2.7
|  | RS.MI-2: Incidents are mitigated | · ISA 62443-2-1:2009 4.3.4.5.6, 4.3.4.5.10 | 1 |  |  | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations" | Previous incidents and threat advisory services are reviewed and used to mitigate potential future incidents. | Select Status
· ISO/IEC 27001:2013 A.12.2.1, A.16.1.5
· NIST SP 800-53 Rev. 4 IR-4
· GAPP, 1.2.7
|  | RS.MI-3: Newly identified vulnerabilities are mitigated or documented as accepted risks | · ISO/IEC 27001:2013 A.12.6.1 | 1 | 1 |  | C2M2 TVM-2c: "Cybersecurity vulnerabilities that are considered important to the function are addressed (e.g., implement mitigating controls, apply cybersecurity patches)" | High priority vulnerabilities as defined by threat advisory services and / or vendors are addressed and mitigated. | Select Status
· NIST SP 800-53 Rev. 4 CA-7, RA-3, RA-5
| Improvements (RS.IM): Organizational response activities are improved by incorporating lessons learned from current and previous detection/response activities. | RS.IM-1: Response plans incorporate lessons learned | · COBIT 5 BAI01.13 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" | Subsequent to the execution of the Response Plan within 30 days lessons learned are identified and incorporated into the security controls and Response Plan. | Select Status
· ISA 62443-2-1:2009 4.3.4.5.10, 4.4.3.4
· ISO/IEC 27001:2013 A.16.1.6
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
|  | RS.IM-2: Response strategies are updated | · NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): "Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency" | Subsequent to the execution of the Response Plan within 30 days lessons learned are identified and incorporated into the security controls and Response Plan. | Select Status
· GAPP, 1.2.7
RECOVER (RC) | Recovery Planning (RC.RP): Recovery processes and procedures are executed and maintained to ensure timely restoration of systems or assets affected by cybersecurity events. | RC.RP-1: Recovery plan is executed during or after an event | · CCS CSC 8 | 1 | 1 | 1 | C2M2 IR-3b: "Responses to escalated cybersecurity events and incidents are implemented to limit impact to the function and restore normal operations" | The Formal Recovery Plan is executed upon detection of an applicable event. | Select Status
· COBIT 5 DSS02.05, DSS03.04
· ISO/IEC 27001:2013 A.16.1.5
· NIST SP 800-53 Rev. 4 CP-10, IR-4, IR-8
· GAPP, 1.2.7
| Improvements (RC.IM): Recovery planning and processes are improved by incorporating lessons learned into future activities. | RC.IM-1: Recovery plans incorporate lessons learned | · COBIT 5 BAI05.07 | 1 | 1 |  | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-4i (MIL3): "The results of continuity plan testing and/or activation are compared to recovery objectives, and plans are improved accordingly" C2M2 IR-3k (MIL3): "Restored assets are configured appropriately and inventory information is updated following execution of continuity plans" | Subsequent to the execution of the Response Plan within 30 days lessons learned are identified and incorporated into the security controls and Response Plan. | Select Status
· ISA 62443-2-1 4.4.3.4
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
|  | RC.IM-2: Recovery strategies are updated | · COBIT 5 BAI07.08 | 1 | 1 | 1 | C2M2 IR-3h (MIL3): "Cybersecurity event and incident root-cause analysis and lessons-learned activities are performed, and corrective actions are taken" C2M2 IR-3k (MIL3): Cybersecurity event and incident response plans are reviewed and updated at an organization-defined frequency" | Subsequent to the execution of the Response Plan within 30 days lessons learned are identified and incorporated into the security controls and Response Plan. | Select Status
· NIST SP 800-53 Rev. 4 CP-2, IR-4, IR-8
· GAPP, 1.2.7
| Communications (RC.CO): Restoration activities are coordinated with internal and external parties, such as coordinating centers, Internet Service Providers, owners of attacking systems, victims, other CSIRTs, and vendors. | RC.CO-1: Public relations are managed | · COBIT 5 EDM03.02 | 1 | 1 | 1 | C2M2 RM-1c (MIL3): "Organizational risk criteria (objective criteria that the organization uses for evaluating, categorizing, and prioritizing operational risks based on impact, tolerance for risk, and risk response approaches) are defined and available" | Upon detection of a significant incident the appropriate forms of public relations are engaged. | Select Status
· GAPP, 1.2.7
|  | RC.CO-2: Reputation after an event is repaired | · COBIT 5 MEA03.02 | 1 | 1 |  | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" | Upon detection of a significant incident the appropriate forms of public relations are engaged. | Select Status
· GAPP, 1.2.7
|  | RC.CO-3: Recovery activities are communicated to internal stakeholders and executive and management teams | · NIST SP 800-53 Rev. 4 CP-2, IR-4 | 1 | 1 | 1 | C2M2 IR-3d (MIL2): "Cybersecurity event and incident response is performed according to defined procedures that address all phases of the incident life cycle (e.g., triage, handling, communication, coordination, and closure)" | The Recovery Plan with thresholds, roles & responsibilities and process is executed. | Select Status
· GAPP, 1.2.7
|  |  |  | 109 | 80 | 54

## SAQ Legend
Response | Definition
Yes | The expected testing has been performed and all elements of the requirement have been met
Yes with CCW[1] | The expected testing has been performed and the requirement has been met with the assistance of a compensating control.
No | Some or all of elements of the requirement have not been met, or are in the process of being implemented, or require further testing before it will be know if they are in place
N/A | The requirement does not apply to the organization’s environment.
Not Tested | The requirement was not included for consideration in the assessment, and was not tested in any way
[1] CCW compensating control worksheet – this is a document that has additional controls outlined that were required to ensure compliance with the tests performed.