## Sheet1
[12 empty] | File Number: |  | EB-2017-0051
[12 empty] | Exhibit: |  | A
[12 empty] | Tab: |  | 5
[12 empty] | Schedule: |  | 2
[12 empty] | Attachment: |  | 1
[12 empty] | Page: |  | 1
[12 empty] | Date: |  | 28-08-2017
Appendix 2-G
Service Reliability and Quality Indicators
2012 - 2016
Service Reliability
Index | Including outages caused by loss of supply |  |  |  |  | Excluding outages caused by loss of supply |  |  |  |  | Excluding Major Event Days
| 2012 | 2013 | 2014 | 2015 | 2016 | 2012 | 2013 | 2014 | 2015 | 2016 | 2012 | 2013 | 2014 | 2015 | 2016
SAIDI | 16.116 | 11.932 | 8.4855 | 13.3027 | 12.17 | 7.949 | 4.208 | 6.0675 | 10.083 | 9.107 | 16.116 | 11.932 | 8.4855 | 13.3027 | 12.17
SAIFI | 11.193 | 15.685 | 14.0214 | 11.6913 | 13.059 | 3.641 | 4.218 | 3.3725 | 4.387 | 4.945 | 11.193 | 15.685 | 14.0214 | 11.6913 | 13.059
No Major Event Days based on IEEE Standard
5 Year Historical Average
SAIDI | 12.4012 |  |  |  |  | 7.4829 |  |  |  |  | 12.4012
SAIFI | 13.1299 |  |  |  |  | 4.1127 |  |  |  |  | 13.1299
SAIDI = System Average Interruption Duration Index
SAIFI = System Average Interruption Frequency Index
Service Quality
Indicator |  |  |  | OEB Minimum Standard |  | 2012 | 2013 | 2014 | 2015 | 2016
Low Voltage Connections |  |  |  | 90% |  | 100% | 100% | 98.39% | 100% | 100%
High Voltage Connections |  |  |  | 90%
Telephone Accessibility |  |  |  | 65% |  | N/A | N/A | 95.05% | 99.88% | 100%
Appointments Met |  |  |  | 90%
Written Response to Enquires |  |  |  | 80% |  | 100% | 100% | 100% | 100% | 99.86%
Emergency Urban Response |  |  |  | 80%
Emergency Rural Response |  |  |  | 80% |  | 95.4% | 99.1% | 98.88% | 99.11% | 99.3%
Telephone Call Abandon Rate |  |  |  | 10% |  | N/A | N/A | 1.33% | 0.5% | 0%
Appointment Scheduling |  |  |  | 90%
Rescheduling a Missed Appointment |  |  |  | 100%
Reconnection Performance Standard |  |  |  | 85% |  | N/A | 100% | 100% | 93.18% | 94.92%
Remotes does not have high voltage connections.
Remotes does not make appointments with customers. Due to the inaccessibiity of its service territory, work is bundled and
performed when a crew is in the community.
Remotes' telephone system was not able to track telephone calls. In 2014, the system was replaced and this metric has since been tracked.
As determined in EB-2011-0021, the reconnection performance standard for Remotes is 2 weeks, to allow for work to be
bundled and performed when a crew is in the community.
Connection of new services low voltage does not include connection of micro-embedded generation facilities.
Reconnection Performance Standard was not tracked until 2013, when the Board issued its Decision on EB-2011-0021