## Sheet1
2018 Capital Project Listing - PowerStream Rate Zone
Project | Spending Categories (Table 93) | Capital Expenditure ($)
SYSTEM ACCESS
New Residential Subdivision Development - North |  | 2392500
New Residential Subdivision Development - South |  | 7267204.16
New Subdivision Development - Secondary Service Lateral - SOUTH |  | 1782374.88
Road Authority Expenditure PS North |  | 1380406.92
Road Authority Expenditure PS South |  | 6751937.16
Road Authority YRRT Yonge St |  | 4663617.08
Sub Total Material Projects |  | 24238040.2
Miscellaneous Projects (under materiality threshold) |  | 7974797.83
Total System Acesss |  | 32212838.03
SYSTEM RENEWAL
Storm damage - Replacement of distribution equipment due to storm. | Distribution Lines- Emergency Reactive | 1078533.96
Switchgears - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | Distribution Lines- Emergency Reactive | 1817116.2
Unscheduled Replacement of Failed Equipment - Poles, etc | Distribution Lines- Emergency Reactive | 5414063.76
Pole Replacement Program | Overhead Lines- Planned Asset Replacement | 4191000
Unforeseen Projects Initiated by PowerStream | Overhead Lines- Planned Asset Replacement | 1129271.08
Radial Supply Remediation/Conversion - 13.8 kV to 27.6 kV on Miller Ave | Overhead Lines- Planned Asset Replacement | 1628533.08
Planned Circuit Breaker Replacement - Richmond Hill TS#1 | stations P&C- Planned and Emergency | 1186728.62
Station Switchgear Replacement (ACA) 8th Line MS323 | stations P&C- Planned and Emergency | 1000687.35
Rear Lot Supply Remediation - Royal Orchard - North | Storm Hardening and Rear lot Conversion | 1681034
4-Circuit Pole Storm Hardening | Storm Hardening and Rear lot Conversion | 1752471
Cable Replacement – (M49) - Steeles and Fairway Heights | UG Lines-Planned Asset Replacement | 1842952.92
Cable Replacement – (V08) - Steeles Ave and New Westminster | UG Lines-Planned Asset Replacement | 2637045.96
Cable Replacement – Left Behind Cable | UG Lines-Planned Asset Replacement | 2207514.52
Pad Mount Transformer Replacement | UG Lines-Planned Asset Replacement | 1072242.96
Switchgear Replacement Program | UG Lines-Planned Asset Replacement | 2247842.62
Sub-Total Material Projects |  | 30887038.03
Miscellaneous Projects (under materiality threshold) |  | 12947297
Total System Renewal |  | 43834334
SYSTEM SERVICE
Double Circuit existing 23M21 Circuit from Bayfield & Livingstone to Little Lake MS. |  | 1276180.25
Install two additional 27.6 kV ccts on Hwy 7 from Jane St to Weston Rd |  | 2950000
Build double ccts 27.6kV pole line on 19th Ave between Leslie St and Bayview Ave |  | 1202305.6
Install Two 27.6kV Ccts on 16th Ave from Hwy 404 to Woodbine Ave |  | 1187653.28
New 27.6kV Pole Line on 19th Ave from Leslie to Woodbine Ave |  | 1011807.06
Rebuild 27.6 kV pole line on Warden Ave into 4 ccts from 16th Ave to Major Mack |  | 1372975.64
Distribution Automation Switches / Reclosers |  | 1661159
Smart Grid |  | 1070000
Stations Capacity Projects |  | 3374603
Stations Reliability Projects |  | 1444850
Sub-Total Material Projects |  | 16551533.83
Miscellaneous Projects (under materiality threshold) |  | 3970356
Total System Service |  | 20521889.83
GENERAL PLANT
Customer Information System |  | 2969788
Fleet |  | 1494970
Computer Software |  | 1403578
Information Communication System |  | 1450815
Smart Grid |  | 1337500
Sub-Total Material Projects |  | 8656651
Miscellaneous Projects (under materiality threshold) |  | 3089855.09
Total General Plant |  | 11746506.09
Total 2018 Capital Projects |  | 108315568.29