## Sheet1
PowerStream Rate Zone
EB-2017-0024
PRZ-AMPCO-18 Appendix A
Asset | Actual # Assets Replaced 2016 | Forecast # Assets Replaced 2017 | Forecast # Assset Replaced (2018 Capital Projects Excluding ICM Projects) | # Assset Replaced (ICM Projects) | TOTAL | # Replaced in 2018 in Very Poor & Poor Condition
Substation Transformers | 0 | 0 | 0 | 0 | 0 | 0
Circuit Breakers | 8 | 6 | 0 | 10 | 24 | 4
Pole Mounted Transformers | N/A | N/A | N/A | N/A | N/A | N/A
Pad Mounted Transformers 1 Phase | 56 | 118 | 120 | 0 | 294 | 120
Pad Mounted Transformers 3 Phase
Vault Transformers | 0 | 3 | 0 | 0 | 3 | 0
Pad Mounted Switchgear | 34 | 34 | 33 | 0 | 101 | 33
Overhead Switches 44 kV Load Break | N/A | N/A | N/A | N/A | N/A | N/A
Overhead Switches 27.6 kV Load Break | N/A | N/A | N/A | N/A | N/A | N/A
Overhead Switches Inline | N/A | N/A | N/A | N/A | N/A | N/A
Overhead Switches Motorized | 5 | 4 | 5 | 0 | 14 | 5
UG Cables Main Feeder | 32,657 m | 23,487 m | 8,223 m | 9,164 m | 73,531 m | 17,387 m
UG Cables Distribution
UG Secondary Cable | N/A | N/A | N/A | N/A | N/A | N/A
Poles Wood | 338 | 251 | 392 | 0 | 914 | 392
Poles Concrete | N/A | N/A | N/A | N/A | N/A | N/A
TOTAL
The number of assets in the above table includes only Planned Asset Replacement under the Asset Renewal Category