## Cost of Power Est
2018 Load Forecast | kWh | kW | 2016 % RPP | RPP kWh
Residential | 32918746 |  | 98% | 32260371.08 | TOU
General Service < 50 kW | 11931508 |  | 91% | 10857672.28 | 43118043.36
General Service 50 to 4,999 kW | 27063250 | 72183 | 12% | 3247590
Street Lighting | 150596.95 | 420 | 7% | 10541.7865 | 2 Tier RPP | # of Designated RPP customers = 17
Unmetered Scattered Load | 0 |  | 100% |  | 3258131.7865
Total | 72064100.95 | 72603 |  | 46376175.1465 | 46376175.1465
Electricity - Commodity RPP | 2018 | 2018 Loss
Class per Load Forecast RPP | Forecasted | Factor | 2018
TOU Pricing
On Peak (18%) | 7761247.8048 | 1.0892 | 8453551.109 | 0.132 | 1115868.7464 |  | OEB RPP report June 22, 2017 (july 1 2017 to April 30, 2018
Mid Peak (18%) | 7761247.8048 | 1.0892 | 8453551.109 | 0.095 | 803087.3554
Off Peak (64%) | 27595547.7504 | 1.0892 | 30057070.6097 | 0.065 | 1953709.5896
2 Tier RPP Pricing
1st Tier | 153000 | 1.0892 | 166647.6 | 0.077 | 12831.8652
2nd Tier | 3105131.7865 | 1.0892 | 3382109.5419 | 0.09 | 304389.8588
Total | 46376175.1465 |  | 50512929.9696 |  | 4189887.4153
Electricity - Commodity Non-RPP | 2018 | 2018 Loss
Class per Load Forecast Non-RPP | Forecasted | Factor | 2018
Residential | 658374.92 | 1.0892 | 717101.9629 | 0.082 | 58802.361
General Service < 50 kW | 1073835.72 | 1.0892 | 1169621.8662 | 0.082 | 95908.993
General Service 50 to 4,999 kW | 23815660 | 1.0892 | 25940016.872 | 0.082 | 2127081.3835
Street Lighting | 140055.1635 | 1.0892 | 152548.0841 | 0.082 | 12508.9429
Unmetered Scattered Load | 0 | 1.0892 | 0 | 0.082 | 0
Total | 25687925.8035 |  | 27979288.7852 |  | 2294301.6804 |  |  | 6484189.0957
Transmission - Network |  | Volume
Class per Load Forecast RPP |  | Metric |  | 2017 | 2018
Residential |  | kWh | 35855098.1432 | 0.0064 | 0.0064 | 229472.6281
General Service < 50 kW |  | kWh | 12995798.5136 | 0.0057 | 0.0057 | 74076.0515
General Service 50 to 4,999 kW |  | kW | 72183 | 2.3127 | 2.318 | 167193.9459
Street Lighting |  | kW | 420 | 1.7442 | 1.7482 | 733.6896
Unmetered Scattered Load |  | kWh | 0 | 0.0061 |  | 0
Total | [5 empty] | 471476.3152
Transmission - Connection |  | Volume
Class per Load Forecast RPP |  | Metric |  | 2017 | 2018
Residential |  | kWh | 35855098.1432 | 0.0017 | 0.0017 | 60953.6668
General Service < 50 kW |  | kWh | 12995798.5136 | 0.0012 | 0.0012 | 15594.9582
General Service 50 to 4,999 kW |  | kW | 72183 | 0.5429 | 0.5462 | 39347.7473
Street Lighting |  | kW | 420 | 0.4198 | 0.4224 | 177.0476
Unmetered Scattered Load |  | kWh | 0 | 0.0012 | 0 | 0
Total | [5 empty] | 116073.42
Wholesale Market Service |  | Volume
Class per Load Forecast RPP |  | Metric | 2018
Residential |  | kWh | 35855098.1432 | 0.0036 | 129078.3533
General Service < 50 kW |  | kWh | 12995798.5136 | 0.0036 | 46784.8746
General Service 50 to 4,999 kW |  | kWh | 29477291.9 | 0.0036 | 106118.2508
Street Lighting |  | kWh | 164030.1979 | 0.0036 | 590.5087
Unmetered Scattered Load |  | kWh | 0 | 0.0036 | 0
Total |  |  |  |  | 282571.9875
Rural Rate Assistance |  | Volume
Class per Load Forecast RPP |  | Metric | 2018
Residential |  | kWh | 35855098.1432 | 0.0003 | 10756.5294
General Service < 50 kW |  | kWh | 12995798.5136 | 0.0003 | 3898.7396
General Service 50 to 4,999 kW |  | kWh | 29477291.9 | 0.0003 | 8843.1876
Street Lighting |  | kWh | 164030.1979 | 0.0003 | 49.2091
Unmetered Scattered Load |  | kWh | 0 | 0.0003 | 0
Total |  |  |  |  | 23547.6656
Data used to calculate forecasted LV Charges
Number of Monthly Service Charges | 2
Number of Meter Points | 2
Forecasted kW based on historical 3 year average | 161234
Hydro One Sub Transmission Charges based on |  |  | Units | Months
Service Charge | 492.55 | per month | 2 | 12 | 11821.2
Meter Charge | 764.01 | per meter per month | 2 | 12 | 18336.24
Facility charge for connection to high-voltage (> 13.8 kV secondary) | 1.8088 | per kW | 161234 |  | 291640.0592
Total Forecasted 2017 Bridge and 2018 Test Year LV Costs |  |  |  |  | 321797.4992
Source of Rates - Hydro One Approved Rate Order December 21, 2016, EB-2016-0081, Tariff of Rates and Charges - Sub Transmission - ST
2018
4705-Power Purchased | 6484189.0957
4708-Charges-WMS | 282571.9875
4714-Charges-NW | 471476.3152
4716-Charges-CN | 116073.42
4730-Rural Rate Assistance | 23547.6656
4750-LV Charges | 321797.4992
Sub-Total | 7699655.9833
Smart Meter Entity Charge | 25570
Total Cost of Power | 7725225.9833
Data used to calculate forecasted LV Charges
Number of Monthly Service Charges | 2
Number of Meter Points | 2
Forecasted kW based on historical 3 year average | 161234
Hydro One Sub Transmission Charges based on |  |  | Units | Months
Service Charge | 492.55 | per month | 2 | 12 | 11821.2
Meter Charge | 764.01 | per meter per month | 2 | 12 | 18336.24
Facility charge for connection to high-voltage (> 13.8 kV secondary) | 1.8088 | per kW | 161234 |  | 291640.0592
Total Forecasted 2017 Bridge and 2018 Test Year LV Costs |  |  |  |  | 321797.4992
Source of Rates - Hydro One Approved Rate Order December 21, 2016, EB-2016-0081,
Tariff of Rates and Charges - Sub Transmission - ST