## I-24-AMPCO-25-1
D24-AMPCO-25
Ref: B1-1-1 Section 2.3
Asset Replacment - Planned
# Asset Units
Asset Category |  | Population | # Replaced 2011 | # Replaced 2012 | # Replaced 2013 | # Replaced 2014 | # Replaced 2015 | # Replaced 2016 | # Replaced 2017 | # Forecast to be Replaced 2018 | # Forecast to be Replaced 2019 | # Forecast to be Replaced 2020 | # Forecast to be Replaced 2021 | # Forecast to be Replaced 2022
Station Transformers | All | Note 1 | 9 | 36 | 44 | 42 | 65 | 22 | 15 | 12 | 26 | 24 | 29 | 25
| In Service |  | 3 | 10 | 15 | 20 | 35 | 17 | 11 | 8 | 21 | 18 | 23 | 19
| Spares |  | 6 | 26 | 29 | 22 | 30 | 5 | 4 | 4 | 5 | 6 | 6 | 6
Mobile Unit Substations (Note 6) |  |  | 2 | 3 | 1 | 2 | 0 | 0 | 1 | 2 | 1 | 2 | 1 | 0
Reclosers (Note 7) | All |  | 5 | 20 | 44 | 25 | 63 | 55 | 42 | 32 | 47 | 56 | 60 | 63
| Oil |  | Note 2
Vaccum
| Metalclad |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Circuit Breakers | All |  | Note 3
Oil
Vaccum
Metalclad
Switches (Note 7) |  |  | 6 | 9 | 14 | 24 | 47 | 22 | 4 | 18 | 25 | 26 | 33 | 33
Fuses |  |  | Note 4
Station Structures
Fences
Station Grounding Systems
Station Service Transformers
Insulators
Bus Work
Protection Relays
IEDs
Spill Containment Systems |  |  | 3 | 0 | 2 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1
MUS Structures (Note 8) |  |  | 0 | 6 | 6 | 8 | 15 | 15 | 9 | 23 | 30 | 31 | 40 | 40
Poles | All |  | 7282 | 7452 | 10720 | 11179 | 11837 | 12355 | 9642 | 9600 | 14300 | 16000 | 16123 | 16128
| Wood |  | Note 2
Steel
Concrete
Composite
| Red Pine Wood |  | 374 | 1180 | 2139 | 2652 | 2655 | 1801 | 1426 | Note 5
Rights of Way | kilometers of line clearing completed |  | NA | 11195 | 10378 | 9474 | 10366 | 11753 | 14382 | 34666 | 34666 | 34666 | 34666 | 34666
Line Transformers | All |  | NA | 83 | 41 | 18 | 69 | 379 | 0 | 2182 | 2182 | 2182 | 3258 | 3258
| Pole Mounted Transformers |  | NA | 0 | 0 | 0 | 34 | 347 | 0 | 2152 | 2152 | 2152 | 3228 | 3228
| Pad Mounted Transformers |  | NA | 33 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Submersible transformers |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Transclosures and Pole-Trans Transformer |  | NA | 50 | 13 | 18 | 35 | 32 | 0 | 30 | 30 | 30 | 30 | 30
Submarine Cables (metres) |  |  | NA | 62158 | 62155 | 49515 | 56416 | 103693 | 73285 | 65,000-75,000 | 65,000-75,000 | 65,000-75,000 | 65,000-75,000 | 65,000-75,000
Conductor | All |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Overhead (metres) |  | NA | 27303 | 18496 | 7541 | 40900 | 28991 | 1800 | NA | NA | NA | NA | NA
| Underground |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Switches | Air Break & Load Break - 3 Phase |  | NA | 16 | 4 | 9 | 21 | 10 | 7 | 30 | 30 | 30 | 30 | 30
Reclosers/Regulators | All |  | NA | NA | NA | NA | NA | NA | NA | 250 | 250 | 250 | 250 | 250
| Hydraulic |  | Note 2
Electronic
Capacitor Banks |  |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
AMI | All |  | 65600 | 53100 | 94750 | 74150 | 55300 | 58900 | 56700 | 48500 | 45200 | 44900 | 48400 | 252600
| Retails Meters |  | 57000 | 49000 | 92000 | 72000 | 50000 | 55000 | 55000 | 46600 | 43300 | 43000 | 46500 | 250700
| Collectors |  | 1600 | 1100 | 750 | 150 | 4000 | 3000 | 700 | 700 | 700 | 700 | 700 | 700
| Repeaters |  | 7000 | 3000 | 2000 | 2000 | 1300 | 900 | 1000 | 1200 | 1200 | 1200 | 1200 | 1200
NA | Not applicable/Not available.
Note 1 | Please refer to Exhibit I-23-AMPCO-23 and Exhibit B1, Tab 1, Schedule 1, DSP Section 2.3 for the population information.
Note 2 | Hydro One does not track plannned replacements to this level of granularity for subtype.
Note 3 | When distribution station breakers are replaced, they are replaced with reclosers.
Note 4 | Hydro One does not track planned replacements to this level of granularity; as these assets are generally addressed as part of the integrated distribution station refurbishments not as individual component replacements.
Note 5 | Hydro One does not have a forecast for red pine poles specifically as they will be addressed based on condition and priority relative to other poles.
Note 6 | Historically Hydro One replaced trailers and transformers seperately. Therefore the 2012 to 2017 data represents the number of MUSs that were repaired in total. Whereas the 2018 to 2022 forecast represent the number of full MUS replacements.
Note 7 | These replacements include the total number replaced under both the component replacement program and station refurbishments.
Note 8 | The forecast for MUS structure includes replacements under the component replacement program and station refurbishments. Whereas historical accomplishments only include planned component replacements.