## I-24-AMPCO-26-1
D24-AMPCO-26
Ref: B1-1-1 Section 2.3
Asset Replacment - On an unplanned basis
# Asset Units
Asset Category |  | Population | # Replaced 2011 | # Replaced 2012 | # Replaced 2013 | # Replaced 2014 | # Replaced 2015 | # Replaced 2016 | # Replaced 2017 | # Forecast to be Replaced 2018* | # Forecast to be Replaced 2019* | # Forecast to be Replaced 2020* | # Forecast to be Replaced 2021* | # Forecast to be Replaced 2022*
Station Transformers (Note 4) | All | Note 1 | 8 | 5 | 11 | 12 | 5 | 7 | 13 | 9 | 9 | 9 | 9 | 9
| In Service |  | 8 | 5 | 11 | 12 | 5 | 7 | 13 | 9 | 9 | 9 | 9 | 9
| Spares |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Mobile Unit Substations |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
MUS Structures |  |  | 1 | 2 | 1 | 1 | 0 | 1 | 2 | 1 | 1 | 1 | 1 | 1
Reclosers | All |  | Note 2 | [6 empty] | Note 3
Oil
Vaccum
Metalclad
Circuit Breakers | All
Oil
Vaccum
Metalclad
Switches
Fuses
Station Structures
Fences
Station Grounding Systems
Station Service Transformers
Insulators
Bus Work
Protection Relays
IEDs
Spill Containment Systems
Poles | All
Wood
Steel
Concrete
Composite
Red Pine Wood
Rights of Way
Line Transformers | All
Pole Mounted Transformers
Pad Mounted Transformers
Submersible transformers
Transclosures and Pole-Trans Transformer
Submarine Cables
Conductor | All
Overhead
Underground
Switches | Air Break & Load Break - 3 Phase
Reclosers | All
Hydraulic
Electronic
Regulators
Capacitor Banks
AMI | All
Retails Meters
Collectors
Repeaters
* The forecast for 2018 to 2022 represents the quantity of unplanned replacements forecast in budget
NA | Not Applicable.
Note 1 | Please refer to Exhibit I-23-AMPCO-23 and Exhibit B1, Tab 1, Schedule 1, DSP Section 2.3 for the population information
Note 2 | Hydro One undertakes unplanned repairs/replacement for these assets categories in order to address the equipment failures as noted in Exhibit I-24-AMPCO-24.
Note 3 | A forecast of future unplanned replacements is not available.
Note 4 | Station transformer unplanned replacements lag failures as the station load is temporarily supplied by an MUS or transferred to an alternate source until a transformer replacement can occur.
Note on A56: MEDEIROS Michael: ask dominic for these.