## I-24-AMPCO-23-1
D24-AMPCO-23
Ref: B1-1-1 Section 2.3
Asset Condition
|  | # asset units |  |  |  | # asset units |  |  |  | # asset units |  |  |  | # asset units
Asset Category |  | Population | 2014 Condition |  |  | Population | 2015 Condition |  |  | Population | 2016 Condition |  |  | Population | 2017 Condition
|  |  | High Risk | Medium Risk | Low Risk |  | High Risk | Medium Risk | Low Risk |  | High Risk | Medium Risk | Low Risk |  | High Risk | Medium Risk | Low Risk
Station Transformers | All | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| In Service | 1211 | 22% | 21% | 57% | 1215 | 21% | 15% | 64% | 1222 | 23% | 17% | 60% | 1226 | 24% | 17% | 59%
| Spares | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Mobile Unit Substations |  | 30 | 16.67% | 26.67% | 60% | 30 | 16.67% | 30% | 56.67% | 30 | 43.33% | 10% | 50% | 31 | 48.39% | 6.452% | 45.16%
Asset Category |  | Population | Condition |  |  | Population | Condition |  |  | Population | Condition |  |  | Population | Condition
|  |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good |  | Poor | Fair | Good
Reclosers | All | 2197 | 70% | 6.145% | 23.85% | 2226 | 68.06% | 6.469% | 25.47% | 2263 | 65.97% | 5.259% | 28.77% | 2258 | 54.56% | 8.415% | 37.02%
| Oil | Note 1
| Vaccum | Note 1
| Metalclad | Note 1
Circuit Breakers | All | 157 | 0% | 0.6369% | 99% | 155 | 0% | 0.6452% | 99% | 154 | 0% | 0% | 100% | 152 | 0% | 0.6579% | 99%
| Oil | 13 | 0% | 0% | 100% | 13 | 0% | 0% | 100% | 13 | 0% | 0% | 100% | 13 | 0% | 0% | 100%
| Vaccum | 4 | 0% | 0% | 100% | 4 | 0% | 0% | 100% | 4 | 0% | 0% | 100% | 4 | 0% | 0% | 100%
| Metalclad | 140 | 0% | 0.7143% | 99% | 138 | 0% | 0.7246% | 99% | 137 | 0% | 0% | 100% | 135 | 0% | 0.7407% | 99%
Switches |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Fuses |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Structures |  | Note 2 | [11 empty] | 2167 | 2.03% | 27.87% | 70.1%
Fences |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Grounding Systems |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Station Service Transformers |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Insulators |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Bus Work |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Protection Relays |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
IEDs |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Spill Containment Systems |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
MUS Structures |  | Note 2 | [11 empty] | 787 | 9.53% | 29.35% | 61.12%
Poles | All | 1575195 | 4% | 13% | 83% | 1582962 | 4% | 14% | 82% | 1603016 | 4% | 13% | 83% | 1604073 | 4% | 16% | 79%
| Wood | 1522376 | 4% | 14% | 83% | 1532162 | 4% | 14% | 82% | 1553617 | 3% | 13% | 83% | 1555520 | 4% | 17% | 79%
| Steel | 6238 | 0% | 1% | 99% | 6230 | 0% | 1% | 98% | 6220 | 0% | 3% | 97% | 6230 | 0% | 3% | 97%
| Concrete | 2449 | 0% | 2% | 98% | 2457 | 0% | 3% | 97% | 2424 | 1% | 7% | 93% | 2407 | 1% | 7% | 93%
| Composite | 799 | 0% | 2% | 98% | 1435 | 0% | 1% | 99% | 1878 | 0% | 2% | 98% | 2464 | 0% | 1% | 99%
| Red Pine Wood | 43333 | 13% | 5% | 83% | 40678 | 16% | 5% | 79% | 38877 | 20% | 6% | 75% | 37451 | 23% | 7% | 71%
Rights of Way |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Line Transformers | All | NA | NA | NA | NA | 499490 | NA | NA | NA | 508583 | NA | NA | NA | 514527 | NA | NA | NA
| Pole Mounted Transformers | NA | NA | NA | NA | 445297 | NA | NA | NA | 451517 | NA | NA | NA | 455438 | NA | NA | NA
| Pad Mounted Transformers | NA | NA | NA | NA | 54193 | NA | NA | NA | 57066 | NA | NA | NA | 59089 | NA | NA | NA
| Submersible transformers | NA | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA
| Transclosures and Pole-Trans Transformer | NA | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA |  | NA | NA | NA
Submarine Cables |  | NA | NA | NA | NA | 3308 | NA | NA | NA | 3747 | NA | NA | NA | 3792 | NA | NA | NA
Conductor | All | NA | NA | NA | NA | 120485 | NA | NA | NA | 122539 | NA | NA | NA | 122660 | NA | NA | NA
| Overhead | NA | NA | NA | NA | 111703 | NA | NA | NA | 113343 | NA | NA | NA | 113299 | NA | NA | NA
| Underground | NA | NA | NA | NA | 5474 | NA | NA | NA | 5449 | NA | NA | NA | 5569 | NA | NA | NA
AMI | All | NA | NA | NA | NA | 5912 | NA | NA | NA | 6507 | NA | NA | NA | 7033 | NA | NA | NA
| Retails Meters | NA | NA | NA | NA | 11776 | NA | NA | NA | 12265 | NA | NA | NA | 12299 | NA | NA | NA
| Collectors | NA | NA | NA | NA | 11490 | NA | NA | NA | 11996 | NA | NA | NA | 12156 | NA | NA | NA
| Repeaters | NA | NA | NA | NA | 286 | NA | NA | NA | 269 | NA | NA | NA | 143 | NA | NA | NA
Switches | Air Break & Load Break - 3 Phase | NA | NA | NA | NA | 2281 | NA | NA | NA | 2277 | NA | NA | NA | 2273 | NA | NA | NA
Reclosers (Note 3) | All | NA | NA | NA | NA | 2902 | NA | NA | NA | 2868 | NA | NA | NA | 2856 | NA | NA | NA
| Hydraulic | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
| Electronic | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Regulators |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Capacitor Banks |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
NA | This implies that there is no condition algorithm for this asset class, however defect and/or testing data exists
Note 1 | Condition algorithms have not been developed to this level of granularity for this asset sub-type.
Note 2 | Condition algorithms were not refined until 2017
Note 3 | Assumed this refers to line reclosers