## I-24-AMPCO-24-1
D24-AMPCO-24
Ref: B1-1-1 Section 2.3
Asset Failures
Asset Category |  | Population | #Failures 2011 | #Failures 2012 | #Failures 2013 | #Failures 2014 | #Failures 2015 | #Failures 2016 | #Failures 2017
Station Transformers | All | Note 1 | 19 | 12 | 16 | 7 | 8 | 12 | 19
| In Service |  | 19 | 12 | 16 | 7 | 8 | 12 | 19
| Spares |  | NA | NA | NA | NA | NA | NA | NA
Mobile Unit Substations |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0
Reclosers | All |  | Note 2
Oil
Vaccum
Metalclad
Circuit Breakers | All
Oil
Vaccum
Metalclad
Switches
Fuses
Station Structures
Fences
Station Grounding Systems
Station Service Transformers
Insulators
Bus Work
Protection Relays
IEDs
Spill Containment Systems
MUS Structures
Poles | All |  | 2512 | 2087 | 3138 | 2051 | 2161 | 2475 | 2588
| Wood |  | Note 3
Steel
Concrete
Composite
Red Pine Wood
Rights of Way |  |  | Note 4
Line Transformers | All |  | Note 5
Pole Mounted Transformers
Pad Mounted Transformers
Submersible transformers
Transclosures and Pole-Trans Transformer
Submarine Cables
Conductor | All
Overhead
Underground
Switches | Air Break & Load Break - 3 Phase
Reclosers | All
Hydraulic
Electronic
Regulators
Capacitor Banks
AMI | All |  | Note 6
Retails Meters
Collectors
Repeaters
NA | Not applicable.
Note 1 | Please refer to Exhibit I-23-AMPCO-23 and Exhibit B1, Tab 1, Schedule 1, DSP Section 2.3 for the population information.
Note 2 | Hydro One does not track failures at this level of granularity. However, Hydro One does track the total outage failures for distribution stations, please refer to interrogatory response Exhibit I-29-AMPCO-28 "Distribution Stations - # outages/year".
Note 3 | Hydro One does not track failures at this level of granularity.
Note 4 | Please refer to Exhibit I-29-AMPCO-28 for tree contacts that impact the distribution system along Hydro One's rights-of-way.
Note 5 | Hydro One does not track failures at this level of granularity. However, Hydro One does track the total outage failures for the other line components, please refer to interrogatory response Exhibit I-29-AMPCO-28 "Other Line Components - # outages/year".
Note 6 | The annual average failure rates for retail meters is 15,600, collectors is 700, and repeaters is 1,170.