## ISD Table
Ref # | Investment Name | Total Cost ($M) |  |  |  |  | Priority | New Investments not Included in EB-2013-0416
|  | 2018 | 2019 | 2020 | 2021 | 2022
SA-01 | Joint Use and Line Relocations Program | 21.7 | 22 | 22.2 | 22.6 | 22.8 | Demand
SA-02 | Meter Infrastructure Sustainment | 14.3 | 14.8 | 15.1 | 15.6 | 16.1 | Demand | Yes
SA-03 | AMI Network Expansion | 3 | 2.9 | 2.9 | 2.7 | 2.8 | Demand | Yes
SA-04 | New Load Connections, Service Upgrades, Cancellations and Metering | 109.9 | 112.9 | 115.7 | 120 | 123.2 | Demand
SA-05 | Generation Connections | 4.1 | 3.4 | 3.3 | 2.9 | 3 | Demand
SA | Projects Under $1M | 1.6021 | 1.6418 | 1.6538 | 2.1435 | 2.14
SR-01 | Distribution Station Demand Program | 2.3 | 2.3 | 2.4 | 2.6 | 2.7 | Demand
SR-02 | Mobile Unit Substations Program | 3.5 | 5.7 | 5.8 | 5.9 | 6 | Medium
SR-03 | Station Spare Transformer Program | 2.6 | 3.4 | 4.1 | 4.2 | 4.3 | Medium
SR-04 | Distribution Station Component Planned Replacement Program | 1.9 | 2 | 2 | 2.5 | 2.6 | Medium
SR-05 | Distribution Station Reclosers Upgrade | 2.3 | 2.3 | 2.4 | 2.5 | 2.5 | High
SR-06 | Distribution Station Refurbishments | 15 | 29.6 | 33.8 | 34.5 | 35.2 | Medium
SR-07* | Distribution Lines Trouble Call and Storm Damage Response Program | 75.6 | 77.1 | 78.5 | 80.5 | 82 | Demand
SR-08 | Distribution Lines PCB Equipment Replacement Program | 11.6 | 11.8 | 12.1 | 18.5 | 18.9 | High
SR-09 | Pole Replacements Program | 73.8 | 112.1 | 127.9 | 131.3 | 133.9 | Medium
SR-10 | Distribution Lines Component Replacement | 9.1 | 6 | 6.1 | 7.1 | 7 | Medium
SR-11 | Component Replacement Submarine Cable | 7.5 | 7.7 | 7.8 | 8 | 8.2 | Medium
SR-12 | Distribution Lines Sustainment Initiatives | 22.3 | 31.1 | 30.9 | 33.8 | 33.7 | Medium
SR-13 | Life Cycle Optimization and Operational Efficiency Projects | 20.5 | 27.1 | 22.4 | 29 | 34.9 | Medium
SR-14 | AMI Hardware Refresh | 0 | 0 | 0 | 1.4 | 78.5 | Medium | Yes
SR | Projects Under $1M | 0.57843 | 0.47884 | 0.49986 | 0.68914 | 0.72898
SS-01 | Remote Disconnection Reconnection Program | 5.8 | 5.8 | 5.7 | 5.6 | 5.6 | Demand | Yes
SS-02 | System Upgrades Driven by Load Growth | 40.4 | 51.4 | 42.9 | 32.7 | 22.6 | High
SS-03 | Reliability Improvements | 4.6 | 7 | 6.3 | 7.2 | 8.1 | High
SS-04 | Demand Investments | 3.6 | 3.7 | 3.8 | 4.3 | 4.4 | Demand
SS-05 | Distribution System Modifications | 7.3 | 7.2 | 8 | 8.8 | 8.8 | High
SS-06 | Worst Performing Feeders Program | 7.1 | 10.1 | 10.5 | 10.9 | 11.3 | High | Yes
SS-07 | Advanced Distribution System | 5 | 0 | 0 | 0 | 0 | High
SR-07* Under System Service | Distribution Lines Trouble Call and Storm Damage Response Program | 7.1 | 7.3 | 7.4 | 7.7 | 7.8 | Demand
SS | Projects Under $1M | 0.87569 | 0.89051 | 1.0204 | 1.6379 | 0.86436
GP-01 | Transport and Work Equipment | 35 | 39.5 | 40.4 | 42 | 44.1 | Medium
GP-02 | Real Estate Facilities Capital | 35.4 | 42.9 | 36.9 | 36.9 | 33.9 | High
GP-03 | MFA Servers and Storage | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | High
GP-04 | MFA PC and Printer Hardware | 2.1 | 1.9 | 1.9 | 1.9 | 1.9 | High
GP-05 | Hardware/Software Refresh and Maintenance | 3.9 | 4.1 | 4.1 | 4.1 | 4.1 | High
GP-06 | MFA Telecom Infrastructure | 1.3 | 1.4 | 1.4 | 1.4 | 1.4 | High
GP-07 | Corporate Performance Reporting | 1.5 | 2 | 0 | 0 | 0 | Low | Yes
GP-08 | PCMIS Modernization and Optimization | 0 | 1.6 | 0 | 0 | 0 | Low | Yes
GP-09 | ECM - Phase C | 0 | 0 | 0.2 | 0.9 | 1 | Low | Yes
GP-10 | Work Management & Mobility | 4 | 4.6 | 0 | 1.4 | 0.6 | High
GP-11 | Enterprise Graphical Information System | 2 | 1.9 | 0.9 | 0.9 | 0.9 | High
GP-12 | Business Process Consolidation | 0 | 0 | 1.5 | 1.2 | 0 | Medium | Yes
GP-13 | HR and Pay Related Technology Investments | 0.5 | 2.9 | 1.6 | 0 | 0 | Medium | Yes
GP-14 | Warehouse Scanning Device Replacement | 0.7 | 1.1 | 0 | 0 | 0 | Medium | Yes
GP-15 | SAP Treasury | 0 | 1.5 | 1.2 | 0 | 0 | Medium | Yes
GP-16 | Customer Self Service Technology | 0 | 2.3 | 1.4 | 2.3 | 6.9 | High | Yes
GP-17 | S4 HANA for Finance and Enterprise Asset Management | 0 | 0 | 1.2 | 1.7 | 3.6 | Medium | Yes
GP-18 | Integrated System Operating Centre - New Facility Development | 10.5 | 42.6 | 3.3 | 0 | 0 | High
GP-19 | Operating Common Information Technology Infrastructure | 2.7 | 1.4 | 0.8 | 2.1 | 4.1 | High
GP-20 | Network Outage Management System (NOMS) Refresh | 1.1 | 0 | 0 | 0 | 0 | High
GP-21 | Ontario Grid Control Centre Data Centre Remediation | 2.4 | 1.6 | 0.6 | 0 | 0 | Demand | Yes
GP-22 | Ontario Grid Control Centre Office Remediation | 0 | 0 | 0 | 0.5 | 1.1 | Medium | Yes
GP-23 | Integrated Voice Communications and Telephony System Refresh | 0 | 0 | 0 | 3 | 3.5 | Demand | Yes
GP-24 | Station Security Upgrades | 1.1 | 1.1 | 1.1 | 1.2 | 1.2 | Medium
GP-25 | Leamington TS Capital Contribution | 2.2 | 0 | 0 | 0 | 0 | High
GP-26 | Hanmer TS Capital Contribution | 3.4 | 0.3 | 0 | 0 | 0 | Medium
GP-27 | Enfield TS - capital contribution | 2 | 1 | 0 | 0 | 0 | High
GP-28 | Call Centre Technology | 7.5 | 0 | 7.2 | 2.9 | 0 | High | Yes
GP-29 | Customer Service Billing Redesign | 0 | 0 | 0 | 4.5 | 5.9 | Medium | Yes
GP-30 | Customer Service Regulatory Changes and Pricing Options | 3.4 | 5.6 | 3.9 | 1 | 0 | Demand | Yes
GP-31 | Collection Enhancements | 0 | 0 | 0 | 0 | 6.1 | Medium | Yes
GP-32 | Customer Data and Analytics | 1.8 | 0 | 2.6 | 5.5 | 0 | High | Yes
GP-33 | Customer Service Complaint Management Tool | 3 | 0.3 | 0 | 0 | 0 | Medium | Yes
GP-34 | Meter Reading Investments | 2.5 | 6.9 | 4 | 1.4 | 0 | Medium | Yes
GP-35 | Asset Analytics Risk Factor | 0 | 0 | 2 | 0 | 0 | Medium | Yes
GP | Projects Under $1M and Other Capital | 15.7568 | 15.3773 | 14.392 | 13.3996 | 13.0693