## Sheet1
Guelph Hydro Electric Systems Inc. 2013 Verified Results
All Savings at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | Tx (Transmission) or Dx (Distribution) connected | (Implementation) Year | Notes | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
LDC | Business | Energy Audit Funding | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2012 | N/A | Audit | 3 | 0.015532 | 75.5288 | Net Annual Summer Peak Demand Savings (MW) 2012: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2013: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2014: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2015: 0.015532; Net Annual Energy Savings (MWh) 2012: 75.5288; Net Annual Energy Savings (MWh) 2013: 75.5288; Net Annual Energy Savings (MWh) 2014: 75.5288; Net Annual Energy Savings (MWh) 2015: 75.5288
LDC | Business | Energy Audit Funding | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Audit | 1 | 0.013427 | 73.3107 | Net Annual Summer Peak Demand Savings (MW) 2013: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2014: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2015: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2016: 0.0088127; Net Annual Energy Savings (MWh) 2013: 48.4508; Net Annual Energy Savings (MWh) 2014: 48.4508; Net Annual Energy Savings (MWh) 2015: 48.4508; Net Annual Energy Savings (MWh) 2016: 48.4508
LDC | Business | DR-3 | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | DR | Dx | 2013 | N/A | Facilities | 6 |  |  | Net Annual Summer Peak Demand Savings (MW) 2013: 1.0639; Net Annual Energy Savings (MWh) 2013: 14.5601
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2012 | N/A | Projects | 6 | 0.042303 | 220.7651 |  | 0.032475 | 0.032475 | 0.032325 | 0.030537 | 0.030537 | 0.028542 | 0.028412 | 0.028412 | 0.02427 | 0.023495 | 0.021789 | 0.021789 | 0.0014523 | 0.0012519 | 0.0012519 | 0.0012519 | 0.00034264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169.6618 | 169.6618 | 169.1208 | 163.1063 | 163.1063 | 156.977 | 155.7153 | 155.7153 | 141.1663 | 133.6265 | 117.0344 | 117.0344 | 4.8685 | 4.1445 | 4.1445 | 4.1445 | 1.1344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 101 | 1.3754 | 9432.736 |  |  | 0.93902 | 0.93768 | 0.93768 | 0.93768 | 0.89661 | 0.88911 | 0.88911 | 0.88909 | 0.8663 | 0.81162 | 0.74438 | 0.74421 | 0.62944 | 0.62684 | 0.62684 | 0.51066 | 0.028005 | 0.026697 | 0.026697 | 0.026697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6406.5186 | 6402.3073 | 6402.3073 | 6402.3073 | 6274.0139 | 6232.2458 | 6232.2458 | 6230.0271 | 6157.8014 | 5853.3217 | 5437.254 | 5418.8575 | 4796.7444 | 4788.6086 | 4788.6086 | 3866.5788 | 67.4611 | 64.6315 | 64.6315 | 64.6315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Small Business Lighting | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 76 | 0.11097 | 383.4132 |  |  | 0.10482 | 0.10482 | 0.10283 | 0.098608 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056511 | 0.043381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 361.8923 | 361.8923 | 354.5271 | 338.743 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 198.8711 | 145.4855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Annual Coupons | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 3116.2587 | 0.0041657 | 61.4657 | 0 | 0 | 0.0046406 | 0.0046406 | 0.0044731 | 0.0038346 | 0.0038346 | 0.0038346 | 0.0038346 | 0.0038292 | 0.002864 | 0.002864 | 0.0023006 | 0.0023005 | 0.0023005 | 0.0022971 | 0.0022971 | 0.0022943 | 0.0022234 | 0.0013051 | 0.0013051 | 0.0013051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.2392 | 69.2392 | 66.571 | 56.3993 | 56.3993 | 56.3993 | 56.3993 | 56.3523 | 40.9776 | 40.9776 | 37.2587 | 36.7282 | 36.7282 | 36.5772 | 36.5772 | 36.5462 | 35.4169 | 20.7889 | 20.7889 | 20.7889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Exchange | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Dehumidifier Load Shape | Appliances | 54 | 0.021257 | 37.9033 |  |  | 0.011188 | 0.011188 | 0.011188 | 0.011188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 19.9498 | 19.9498 | 19.9498 | 19.9498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 208 | 0.030591 | 188.0436 |  |  | 0.014032 | 0.014032 | 0.014032 | 0.013717 | 0.0074037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 88.2065 | 88.2065 | 88.2065 | 87.8988 | 50.3762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Bi-Annual Retailer Events | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 8487.1369 | 0.010256 | 147.6968 | 0 | 0 | 0.010633 | 0.010633 | 0.010049 | 0.0080572 | 0.0080572 | 0.0080572 | 0.0080572 | 0.0080419 | 0.006912 | 0.006912 | 0.0050155 | 0.0032397 | 0.0032397 | 0.0031758 | 0.0031758 | 0.0031431 | 0.002713 | 0.0015925 | 0.0015925 | 0.0015925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.331 | 154.331 | 145.0322 | 113.2977 | 113.2977 | 113.2977 | 113.2977 | 113.1642 | 95.1645 | 95.1645 | 82.8085 | 53.2378 | 53.2378 | 50.4283 | 50.4283 | 50.0675 | 43.2167 | 25.3672 | 25.3672 | 25.3672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Blended Load Shape used for furnaces | Equipment | 1310 | 0.59492 | 1058.6317 |  |  | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.23559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 457.4549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2012 | Blended Load Shape used for furnaces | Equipment | 28 | 0.01377 | 25.1957 |  | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0052633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 11.5877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Industrial | DR-3 | Guelph Hydro Electric Systems Inc. | Industrial | DR | Dx | 2013 | N/A | Facilities | 22 |  |  | Net Annual Summer Peak Demand Savings (MW) 2013: 3.5765; Net Annual Energy Savings (MWh) 2013: 81.4388
LDC | Other | Program Enabled Savings | Guelph Hydro Electric Systems Inc. | Other | EE | Dx | 2013 | N/A |  | 1 | 0.016 | 96 | 0 | 0 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 0.12577 | 1.6572e-05 | 0.1159 | 0 | 0 | 7.8502e-06 | 7.8502e-06 | 7.8502e-06 | 7.8502e-06 | 4.3613e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054937 | 0.054937 | 0.054937 | 0.054937 | 0.029675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2012 | Blended Load Shape used for furnaces | Equipment | 0.17967 | 8.4645e-05 | 0.15284 | 0 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.1521e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.069397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0