## PRZ Submitted-Final
2019 Capital Project Listing - PowerStream Rate Zone
SYSTEM ACCESS | $000s
Bathurst Road Widening | 5500
New Commercial Subdivision Development - SOUTH | 1000.0003
New Residential Subdivision Development - NORTH | 2557.5002
New Residential Subdivision Development - SOUTH | 7452.9673
New Subdivision Development - Secondary Service Lateral - SOUTH | 1826.5336
Residential Meter "ICON F" Meter Replacement Program | 2280.384
Road Authority Expenditure PS North | 1328.0969
Road Authority Expenditure PS South | 7009.1545
Road Authority YRRT Yonge St - H2 portion | 3210
Sub-Total Material Projects | 32164.6368
Miscellaneous Projects (under materiality threshold) | 6364.4713
Total System Access | 38529.1082
SYSTEM RENEWAL
4-Circuit Pole Storm Hardening | 1686.306
Cable Injection - (V01) - Yonge - Steeles - Bathurst - Center | 1312.9971
Cable Injection - (V37) - Langstaff and Weston | 1564.3067
Cable Replacement – (V08) - Steeles Ave and New Westminster | 2463.8276
Cable Replacement Program | 2242.0534
Pad Mount Transformer Replacement | 1029.0661
Pole Replacement Program | 3914.7372
Radial Supply Remediation/Conversion - 13.8 kV to 27.6 kV on Miller Ave | 1535.1262
Rear Lot Supply Remediation - Royal Orchard - North | 2352.9485
Storm damage - Replacement of distribution equipment due to storm. | 1034.8287
Switchgear Replacement Program | 2171.0909
Switchgears - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 1702.9044
Unforeseen Projects Initiated by PowerStream | 1077.2721
Unscheduled Replacement of Failed Equipment - Poles, etc | 5204.8605
Sub-Total Material Projects | 29292.3254
Miscellaneous Projects (under materiality threshold) | 8710.5396
Total System Renewal | 38002.865
SYSTEM SERVICE
Barrie TS Upgrade feeders and Metering | 2100
Distribution Automation Switches / Reclosers | 1471.2571
Install Two 27.6kV Ccts on 16th Ave from Hwy 404 to Woodbine Ave | 1118.5943
Install two additional 27.6 kV ccts on Hwy 7 from Jane St to Weston Rd | 2376.734
Sub-Total Material Projects | 7066.5855
Miscellaneous Projects (under materiality threshold) | 9977.5633
Total System Service | 17044.1488
GENERAL PLANT
PowerStream Rate Zone Allocation of General Plant | 8498.0523
Total General Plant | 8498.0523
2019 Budget | 102074.1743
GENERAL PLANT - ALECTRA UTILITIES | 0
Bucket Trucks & RBDs | 1540
CIS Modifications (Regulatory Enhancements) | 1519
Smart Grid - Other | 1337.4999
Tools, Shop and Garage Equipment | 1185.2579
Sub-Total Material Projects | 5581.7578
Miscellaneous Projects (under materiality threshold) | 16529.0594
Total General Plant | 22110.8172
0