## Cardinal
Rideau St. Lawrence
Calculation of Streetlighting Demand
After Conversion |  | Year: 2016 |  |  |  |  | Before Conversion |  | Year: 2014
JANUARY | [6 empty] | JANUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
[5 empty] | 244 | 16.064 | [5 empty] | 244 | 43.344
FEBRUARY | [6 empty] | FEBRUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
MARCH | [6 empty] | MARCH
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
APRIL | [6 empty] | APRIL
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
MAY | [6 empty] | MAY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
JUNE | [6 empty] | JUNE
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
JULY | [6 empty] | JULY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
AUGUST | [6 empty] | AUGUST
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
SEPTEMBER | [6 empty] | SEPTEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
OCTOBER | [6 empty] | OCTOBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
NOVEMBER | [6 empty] | NOVEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344
DECEMBER | [6 empty] | DECEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
54 | LED |  |  | 54 | 143 | 7.722 | 1000 | Unknown |  |  | 1000 | 4 | 4
78 | LED |  |  | 78 | 53 | 4.134 | 132 | HPS |  |  | 132 | 137 | 18.084
79 | LED |  |  | 79 | 32 | 2.528 | 192 | HPS |  |  | 192 | 78 | 14.976
105 | LED |  |  | 105 | 16 | 1.68 | 306 | HPS |  |  | 306 | 7 | 2.142
[7 empty] | 454 | Unknown |  |  | 454 | 2 | 0.908
[7 empty] | 750 | Unknown |  |  | 750 | 2 | 1.5
[7 empty] | 201 | HPS |  |  | 201 | 2 | 0.402
[7 empty] | 79.4 | HPS |  |  | 79.4 | 4 | 0.3176
[7 empty] | 100.2 | Induction |  |  | 100.2 | 4 | 0.4008
[7 empty] | 153.4 | HPS |  |  | 153.4 | 4 | 0.6136
| TOTALS |  |  |  | 244 | 16.064 |  | TOTALS |  |  |  | 244 | 43.344

## Prescott
Rideau St. Lawrence
Calculation of Streetlighting Demand
After Conversion |  | Year: 2016 |  |  |  |  | Before Conversion |  | Year: 2015
JANUARY | [6 empty] | JANUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
132 | HPS |  |  | 132 | 185 | 24.42 | 132 | HPS |  |  | 132 | 185 | 24.42
192 | HPS |  |  | 192 | 274 | 52.608 | 192 | HPS |  |  | 192 | 274 | 52.608
306 | HPS |  |  | 306 | 100 | 30.6 | 306 | HPS |  |  | 306 | 100 | 30.6
245 | HPS |  |  | 245 | 6 | 1.47 | 245 | HPS |  |  | 245 | 6 | 1.47
295 | HPS |  |  | 295 | 2 | 0.59 | 295 | HPS |  |  | 295 | 2 | 0.59
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
100.2 | Induction |  |  | 100.2 | 3 | 0.3006 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
153.4 | Induction |  |  | 153.4 | 1 | 0.1534 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
| TOTALS |  |  |  | 588 | 111.7574 |  | TOTALS |  |  |  | 588 | 111.7574
FEBRUARY | [6 empty] | FEBRUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
132 | HPS |  |  | 132 | 185 | 24.42 | 132 | HPS |  |  | 132 | 185 | 24.42
192 | HPS |  |  | 192 | 274 | 52.608 | 192 | HPS |  |  | 192 | 274 | 52.608
306 | HPS |  |  | 306 | 100 | 30.6 | 306 | HPS |  |  | 306 | 100 | 30.6
245 | HPS |  |  | 245 | 6 | 1.47 | 245 | HPS |  |  | 245 | 6 | 1.47
295 | HPS |  |  | 295 | 2 | 0.59 | 295 | HPS |  |  | 295 | 2 | 0.59
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
100.2 | Induction |  |  | 100.2 | 3 | 0.3006 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
153.4 | Induction |  |  | 153.4 | 1 | 0.1534 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
| TOTALS |  |  |  | 588 | 111.7574 |  | TOTALS |  |  |  | 588 | 111.7574
MARCH | [6 empty] | MARCH
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
APRIL | [6 empty] | APRIL
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336 | [6 empty] | 0
100 | LED |  |  | 100 | 1 | 0.1 | [6 empty] | 0
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
MAY | [6 empty] | MAY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808 | [6 empty] | 0
112 | LED |  |  | 112 | 48 | 5.376 | [6 empty] | 0
168 | LED |  |  | 168 | 2 | 0.336 | [6 empty] | 0
100 | LED |  |  | 100 | 1 | 0.1 | [6 empty] | 0
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
JUNE | [6 empty] | JUNE
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
JULY | [6 empty] | JULY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
AUGUST | [6 empty] | AUGUST
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
SEPTEMBER | [6 empty] | SEPTEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
OCTOBER | [6 empty] | OCTOBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
NOVEMBER | [6 empty] | NOVEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574
DECEMBER | [6 empty] | DECEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 16 | 1.536 | 96 | HPS |  |  | 96 | 16 | 1.536
192 | HPS |  |  | 192 | 87 | 16.704 | 132 | HPS |  |  | 132 | 185 | 24.42
306 | HPS |  |  | 306 | 3 | 0.918 | 192 | HPS |  |  | 192 | 274 | 52.608
245 | HPS |  |  | 245 | 6 | 1.47 | 306 | HPS |  |  | 306 | 100 | 30.6
295 | HPS |  |  | 295 | 2 | 0.59 | 245 | HPS |  |  | 245 | 6 | 1.47
79.4 | Induction |  |  | 79.4 | 1 | 0.0794 | 295 | HPS |  |  | 295 | 2 | 0.59
43 | LED |  |  | 43 | 235 | 10.105 | 79.4 | Induction |  |  | 79.4 | 1 | 0.0794
56 | LED |  |  | 56 | 127 | 7.112 | 100.2 | Induction |  |  | 100.2 | 3 | 0.3006
73 | LED |  |  | 73 | 52 | 3.796 | 153.4 | Induction |  |  | 153.4 | 1 | 0.1534
101 | LED |  |  | 101 | 8 | 0.808
112 | LED |  |  | 112 | 48 | 5.376
168 | LED |  |  | 168 | 2 | 0.336
100 | LED |  |  | 100 | 1 | 0.1
| TOTALS |  |  |  | 588 | 48.9304 |  | TOTALS |  |  |  | 588 | 111.7574

## South Dundas
Rideau St. Lawrence
Calculation of Streetlighting Demand
After Conversion |  | Year: 2016 |  |  |  |  | Before Conversion |  | Year: 2014
JANUARY | [6 empty] | JANUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
FEBRUARY | [6 empty] | FEBRUARY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
MARCH | [6 empty] | MARCH
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
APRIL | [6 empty] | APRIL
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
[6 empty] | 0 | [6 empty] | 0
[6 empty] | 0 | [6 empty] | 0
[6 empty] | 0 | [6 empty] | 0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
MAY | [6 empty] | MAY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
[6 empty] | 0 | [6 empty] | 0
[6 empty] | 0 | [6 empty] | 0
[6 empty] | 0 | [6 empty] | 0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
JUNE | [6 empty] | JUNE
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
JULY | [6 empty] | JULY
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
AUGUST | [6 empty] | AUGUST
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
SEPTEMBER | [6 empty] | SEPTEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
OCTOBER | [6 empty] | OCTOBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
NOVEMBER | [6 empty] | NOVEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697
DECEMBER | [6 empty] | DECEMBER
Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW) | Lamp Size | Type | Light Type (NorthStar) | Description (NorthStar) | Billing Watts | Qty | Conn. Load (KW)
96 | HPS |  |  | 96 | 7 | 0.672 | 96 | HPS |  |  | 96 | 7 | 0.672
306 | HPS |  |  | 306 | 19 | 5.814 | 306 | HPS |  |  | 306 | 204 | 62.424
245 | HPS |  |  | 245 | 7 | 1.715 | 245 | HPS |  |  | 245 | 15 | 3.675
468 | HPS |  |  | 468 | 4 | 1.872 | 468 | HPS |  |  | 468 | 4 | 1.872
132 | HPS |  |  | 132 | 37 | 4.884 | 132 | HPS |  |  | 132 | 290 | 38.28
192 | HPS |  |  | 192 | 13 | 2.496 | 192 | HPS |  |  | 192 | 153 | 29.376
100 | Induction |  |  | 100 | 3 | 0.3 | 100 | Induction |  |  | 100 | 4 | 0.4
49 | LED |  |  | 49 | 260 | 12.74 | 70 | Induction |  |  | 70 | 1 | 0.07
78 | LED |  |  | 78 | 153 | 11.934 | 79 | Induction |  |  | 79 | 4 | 0.316
105 | LED |  |  | 105 | 187 | 19.635 | 153 | Induction |  |  | 153 | 4 | 0.612
0
0
0
| TOTALS |  |  |  | 690 | 62.062 |  | TOTALS |  |  |  | 686 | 137.697