## Sheet1
Asset Class | HI1 | HI2 | HI3 | HI4 | HI5
Over Head Gang Operated Switches | 854 | 27 | 76 | 3 | 9
SCADAMATE Switches | 1084 | 1 | 26 | 0 | 8
Wood Pole | 68425 | 5777 | 20915 | 10877 | 1074
4kV Oil Circuit Breaker (MS) | 36 | 4 | 123 | 24 | 0
KSO Circuit Breakers (TS) | 10 | 7 | 11 | 11 | 1
SF6 Circuit Breakers (TS) | 130 | 6 | 18 | 3 | 3
Vacuum Circuit Breaker (MS & TS) | 578 | 46 | 13 | 2 | 29
Air Magnetic Circuit Breaker (MS & TS) | 145 | 90 | 247 | 21 | 53
Airblast Circuit Breaker (MS & TS) | 15 | 9 | 206 | 1 | 3
Station Power Transformers | 83 | 77 | 61 | 13 | 8
Network Transformers | 1334 | 255 | 166 | 60 | 7
Network Protectors | 1086 | 185 | 319 | 74 | 26
Cable Chambers | 8112 | 1162 | 1350 | 398 | 89
Submersible Transformers | 7816 | 588 | 271 | 172 | 55
Air-Insulated Padmount Switches | 404 | 20 | 73 | 30 | 45
Vault Transformers | 6807 | 4315 | 450 | 214 | 45
Underground Vaults (combined) | 1017 | 186 | 72 | 12 | 29
ATS Vaults | 8 | 0 | 0 | 0 | 0
CLD Vaults | 21 | 0 | 0 | 0 | 0
CRD Vaults | 9 | 0 | 1 | 0 | 0
Network Vaults | 322 | 120 | 63 | 11 | 29
Submersible Switch Vaults | 115 | 5 | 0 | 0 | 0
URD Vaults | 542 | 61 | 8 | 1 | 0
Padmount Transformers | 5547 | 656 | 283 | 113 | 18
SF6-Insulated Padmount Switches | 402 | 0 | 2 | 0 | 6
SF6 insulated Submersible Switches | 353 | 14 | 7 | 3 | 19
Air Insulated Submersible Switches | 755 | 79 | 27 | 7 | 0