## Sheet1
Asset Class | HI1 | HI2 | HI3 | HI4 | HI5
Over Head Gang Operated Switches | 712 | 135 | 22 | 41 | 59
SCADAMATE Switches | 1015 | 43 | 27 | 0 | 34
Wood Pole | 59851 | 8767 | 4177 | 17449 | 16824
4kV Oil Circuit Breaker (MS) | 36 | 0 | 6 | 119 | 26
KSO Circuit Breakers (TS) | 1 | 9 | 7 | 10 | 13
SF6 Circuit Breakers (TS) | 127 | 3 | 4 | 5 | 21
Vacuum Circuit Breaker (MS & TS) | 575 | 3 | 5 | 54 | 31
Air Magnetic Circuit Breaker (MS & TS) | 97 | 48 | 57 | 277 | 77
Airblast Circuit Breaker (MS & TS) | 3 | 12 | 21 | 194 | 4
Station Power Transformers | 75 | 25 | 58 | 62 | 22
Network Transformers | 1153 | 173 | 229 | 102 | 165
Network Protectors | 1027 | 57 | 47 | 177 | 382
Cable Chambers | 6829 | 1546 | 1931 | 327 | 478
Submersible Transformers | 7447 | 364 | 537 | 143 | 411
Air-Insulated Padmount Switches | 371 | 30 | 20 | 6 | 145
Vault Transformers | 5397 | 1623 | 3910 | 491 | 410
Underground Vaults (combined) | 960 | 70 | 162 | 85 | 39
ATS Vaults | 7 | 1 | 0 | 0 | 0
CLD Vaults | 21 | 0 | 0 | 0 | 0
CRD Vaults | 7 | 2 | 0 | 1 | 0
Network Vaults | 273 | 55 | 103 | 76 | 38
Submersible Switch Vaults | 113 | 7 | 0 | 0 | 0
URD Vaults | 539 | 5 | 59 | 8 | 1
Padmount Transformers | 5174 | 345 | 605 | 227 | 266
SF6-Insulated Padmount Switches | 402 | 0 | 0 | 0 | 8
SF6 insulated Submersible Switches | 346 | 9 | 12 | 4 | 25
Air Insulated Submersible Switches | 710 | 55 | 69 | 23 | 11