## Sheet1
2B-AMPCO-52
Ref: 2B-D-Appendix C P64 Table C1
| Assets Replaced |  | # units replaced | [5 empty] | # units replaced
| Asset Class | Population EB-2014-0116 | 2015 | 2016 | 2017 | 2018 | 2019 | Population 2020 | 2020 | 2021 | 2022 | 2023 | 2024
1 | Air Insulated Submersible Switches
2 | SF-6 Insulated Submersible Switches
3 | SF-6 Insulated Padmount Switches | 802 | 47 | 79 | 87 | 43 | 41 |  | 49 | 45 | 45 | 46 | 46
13 | Air -Insulated Padmount Switches
5 | URD Vaults
6 | Submersible Switch Vaults
7 | Network Vaults | 1062 | 34 |  |  | 29 |  |  | 33
8 | CRD Vaults
9 | CLD Vaults
10 | ATS Vaults
11 | Underground Vaults (combined)
4 | Padmount Transformers | 7160 | 105 | 710 | 740 | 310 | 296 |  | 407 | 380 | 380 | 387 | 387
12 | Vault Transfomers | 13034
14 | Submersible Transformers | 9554
15 | Cable Chambers | 10902
16 | Network Protectors | 1615 | 17 | 25 | 21 | 43 | 0 |  | 48 | 48 | 48 | 48 | 51
17 | Network Transfomers | 1892
18 | Station Power Transfomers | 268 | 2 | 0 | 5 | 6 | 2 |  | 2 | 2 | 2 | 2 | 2
19 | Air Blast Circuit Breaker (MS & TS) | 290 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
20 | Air Magnetic Circuit Breaker (MS & TS) | 627 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
21 | Vacuum Circuit Breaker (MS & TS) | 675 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
22 | Sf6 Circuit Breakers (TS) | 201 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
23 | KSO Circuit Breaker | 59 | 4 | 2 | 5 | 11 | 6 |  | 1 | 1 | 2 | 2 | 3
24 | 4kV Oil Circuit Breaker (MS) | 332 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
25 | Wood Pole | 123280 | 10283 |  |  | 4550 |  |  | 14130
26 | SCADAMATE Switches | 926
27 | Overhead Gang Operated Switches | 1123
28 | Underground Cable | 12920 | 1062 | [5 empty] | 109.6 | 110.4 | 110.4 | 115.1 | 115.1
29 | Pole Mounted Transformer | 30700 | 940 | 769 | 441 | 575 | 290 |  | 1300 | 1300 | 1300 | 1400 | 1400