## Sheet1
2B-AMPCO-53
Ref: 2B-D-Appendix C P64 Table C1
# Deficiencies from Preventative & Predictive Maintenance programs
| Asset Class | 2015 | 2016 | 2017 | 2018
1 | Air Insulated Submersible Switches | 289 | 247 | 167 | 145
2 | SF-6 Insulated Submersible Switches | 148 | 117 | 108 | 67
3 | SF-6 Insulated Padmount Switches | 52 | 159 | 214 | 226
4 | Padmount Transformers (incl. Pad) | 1754 | 2910 | 3845 | 3173
5 | URD Vaults | 325 | 743 | 1153 | 964
6 | Submersible Switch Vaults | 30 | 18 | 8 | 7
7 | Network Vaults | 3385 | 4276 | 5644 | 7719
8 | CRD Vaults | 18 | 38 | 88 | 34
9 | CLD Vaults | 9 | 19 | 125 | 55
10 | ATS Vaults | 37 | 28 | 23 | 36
11 | Underground Vaults (combined) | 4537 | 5571 | 9262 | 11016
12 | Vault Transfomers | 4189 | 3890 | 3357 | 3869
13 | Air -Insulated Padmount Switches | 337 | 351 | 556 | 421
14 | Submersible Transformers | 2878 | 2219 | 2251 | 1592
15 | Cable Chambers (As of October 2018) | 1707 | 2640 | 2321 | 1198
16 | Network Protectors | 503 | 512 | 407 | 429
17 | Network Transfomers | 497 | 508 | 557 | 645
18 | Station Power Transfomers | 525 | 380 | 368 | 239
19 | Air Blast Circuit Breaker (MS & TS) | 7 | 11 | 36 | 6
20 | Air Magnetic Circuit Breaker (MS & TS) | 114 | 79 | 115 | 75
21 | Vacuum Circuit Breaker (MS & TS) | 17 | 133 | 42 | 22
22 | Sf6 Circuit Breakers (TS) | 10 | 11 | 12 | 32
23 | KSO Circuit Breaker | 5 | 12 | 13 | 9
24 | 4kV Oil Circuit Breaker (MS) | 16 | 32 | 7 | 10
25 | Wood Pole | 256 | 417 | 215 | 93
26 | SCADAMATE Switches | 60 | 8 | 34 | 15
27 | Overhead Gang Operated Switches | 225 | 136 | 52 | 20
28 | Underground Cable | 92 | 121 | 335 | 401
29 | Pole Mounted Transformer | 30 | 38 | 9 | 9