## Sheet1
4A-AMPCO-78
Ref: 4A-T2-S2
1 | Underground Inspections & Maintenance
# Inspections from Prev. & Pred. Maintenance Programs
| Equipment Type | Population | Inspection Cycle | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| Network Vaults | 1000 | See Table 1 in 2B-AMPCO-32 | 2405 | 3041 | 2845 | 3093 | 3083 | 3101
| Network Units | 1800 |  | 1488 | 2128 | 1716 | 1694 | 1793 | 1666
| Submersible Vaults | 8600 |  | 3574 | 3507 | 2938 | 2811 | 3041 | 2689
| CRD & URD Vaults | 700 |  | 1325 | 1330 | 1320 | 1416 | 1330 | 1335
| Cable Chambers | 11100 |  | 569 | 2781 | 926 | 1220 | 1161 | 1109
| Padmounted Transformers | 6600 |  | 2897 | 2217 | 2062 | 1969 | 2479 | 2180
| Padmounted Switches | 900 |  | 658 | 890 | 817 | 868 | 860 | 862
| PILC Cable | 1,200 circuit km |  | # Inspections from Prev. & Pred. Maintenance Programs 2013: See all vault inspections and Cable Chamber inspections above. Cable condition is observed during those inspections.
| XLPE Cable | 4,000 circuit km
| Network Protectors | 1700 |  | 1915 | 2388 | 2007 | 2204 | 2160 | 1784
2 | Underground Deficiencies
# Deficiencies from Prev. & Pred. Maintenance Programs (1)
| Equipment Type |  |  | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| Network Vaults |  |  | 2814 | 3478 | 3385 | 4276 | 5644 | 7719
| Network Units |  |  | 221 | 421 | 497 | 508 | 557 | 645
| Submersible Vaults |  |  | 1315 | 711 | 800 | 467 | 2228 | 2201
| CRD Vaults |  |  | 54 | 43 | 18 | 38 | 88 | 34
| URD Vaults |  |  | 1334 | 872 | 325 | 743 | 1153 | 964
| Cable Chambers |  |  | 2261 | 2255 | 1707 | 2640 | 2321 | 1198 (2)
| Padmounted Transformers |  |  | 5121 | 2202 | 1754 | 2910 | 3845 | 3173
| Padmounted Switches |  |  | 1930 | 348 | 1025 | 1100 | 1685 | 2007
| PILC Cable (3) |  |  | 78 | 69 | 92 | 121 | 335 | 401
XLPE Cable (3)
| Network Protectors |  |  | 144 | 371 | 503 | 512 | 407 | 429
Note 1: Deficiencies identified through inspections and maintenance activites captured in Table 1.
Note 2: Partial subset of deficiencies. Deficiencies from Q4 of 2018 not fully processed.
Note 3: Captured from vault and cable chamber inspections.
3 | Underground Asset Failures
# Failures
| Equipment Type |  |  | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| Network Vaults |  |  | 18 | 77 | 84 | 108 | 213 | 192
| Network Units |  |  | 28 | 43 | 58 | 45 | 62 | 40
| Submersible Vaults |  |  | 25 | 86 | 58 | 67 | 40 | 42
| CRD Vaults |  |  | 1 | 3 | 2 |  | 6 | 1
| URD Vaults |  |  | 10 | 43 | 36 | 78 | 175 | 146
| Cable Chambers |  |  | 15 | 26 | 28 | 21 | 28 | 27
| Padmounted Transformers |  |  | 42 | 49 | 62 | 39 | 80 | 36
| Padmounted Switches |  |  | 36 | 23 | 54 | 41 | 70 | 37
| PILC Cable |  |  | 177 | 144 | 134 | 163 | 102 | 118
XLPE Cable
| Network Protectors |  |  | 16 | 77 | 93 | 100 | 123 | 165
Note 1: Captured from Toronto Hydro's Reactive Capital Work Requests and Defective Equipment Tracking System
4 | Underground Maintenance
# Assets Maintained
| Equipment Type | Population | Maintenance Cycle | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| Network Vaults | Please see figures in Table 1 above.
Network Units
Submersible Vaults
CRD Vaults
URD Vaults
Cable Chambers
Padmounted Transformers
Padmounted Switches
PILC Cable
XLPE Cable
Network Protectors