## Energy Savings
Bill Impact Analysis
2018 CoS Rate Application | [5 empty] | Loss Factor | 1.0481 |  |  | Allocation by Efficiency Benefit
| Total Base Revenue Requirement | Class % | Number of Customers | 2018 Test Year Weather Normal kWh (Load Forecast) | Class % | kW | 2018 Test Year Weather Normal (kWh w/LF) | Class % | Reduce GS>50kW for 34.5kV (no VVM kwh) | LV Feeder Energy Consumption Base for VVM | Class % | Reduce GS>50kW for 34.5kV (no VVM kW) | LV Feeder kW | per customer/ month
Res | 11226807 | 58.5% | 29816 | 288323799 | 45.85% |  | 302192173.7319 | 45.85% |  | 302192173.7319 | 49.23% |  |  | 844.6029 | 805.8419
GS<50 | 3149458 | 16.41% | 3431 | 92411463 | 14.69% |  | 96856454.3703 | 14.69% |  | 96856454.3703 | 15.78% |  |  | 2352.4836 | 2244.5221
GS>50 | 4544464 | 23.68% | 357 | 244620598 | 38.9% | 614743 | 256386848.7638 | 38.9% | -41597434.06 | 214789414.7038 | 34.99% | -98668.61 | 516074.39 | 50137.5851 | 57100.9799
Sent lights | 34742 | 0.181% | 354 | 209800 | 0.03336% | 593 | 219891.38 | 0.03336% |  |  |  |  | 593
Street lights | 195345 | 1.018% | 8070 | 2398221 | 0.3813% | 7030 | 2513575.4301 | 0.3813% |  |  |  |  | 7030
USL | 39551 | 0.2061% | 22 | 944731 | 0.1502% |  | 990172.5611 | 0.1502%
| 19190367 | 100% |  | 628908612 | 100% |  | 659159116.2372 | 100% |  | 613838042.806 | 100%
[9 empty] | -16.22% |  |  | -16.05%
Note : Using consumption (adjusted for no 35kV loads) plus losses as simplified estimation for CVR savings. | [6 empty] | Leidos/I.E. spreadsheet calculates all seperately (consumption, feeder loss, & demand)
ENTER VALUES | CVR factor | 0.9
| Voltage Savings | 3 | volts
| Energy Savings | 2.7 | %
|  | Estim Energy Savings (kWh) | Estim Energy Savings per Month (kWh)
Res |  | 8159188.6908 | 679932.3909
GS<50 |  | 2615124.268 | 217927.0223
GS>50 |  | 5799314.197 | 483276.1831
|  | 16573627.1558 | 1381135.5963
Cost of Power Analysis
| Total | Residential | GS <50 | GS>50-Regular | GS> 50-TOU |  | GS >50-Intermediate | Large Use >5MW | Street Light | Sentinel | Unmetered Scattered Load
Cost of Power (COP*) | 77725426 | 35945091 | 11467389 | 29880767 | 0 |  | 0 | 0 | 288889 | 25865 | 117425
(*) gross w/loss factor |  | 46.25% | 14.75% | 38.44% | 0% |  | 0% | 0% | 0.3717% | 0.03328% | 0.1511%
Reduce GS>50kW for 34.5kV (no VVM) |  |  |  | -4847999.1893
COP to VVM cust's | 72877426.8107 | 35945091 | 11467389 | 25032767.8107 |  |  |  |  | 288889 | 25865 | 117425
2.7% | 100% | 49.32% | 15.74% | 34.35% |  |  |  |  | 0.3964% | 0.03549% | 0.1611%
Estim Energy Savings /Yr | 1967690.5239 | 970517.457 | 309619.503 | 675884.7309 |  |  |  |  | 7800.003 | 698.355 | 3170.475
per month | 163974.2103 | 80876.4548 | 25801.6253 | 56323.7276 |  |  |  |  | 650.0003 | 58.1963 | 264.2063
per kWh | 0.11872
2.6% Reduced System Losses | 93378.135
Losses per month | 7781.5112 | 3838.0489 | 1224.4342 | 2672.882 |  |  |  |  | 30.8462 | 2.7617 | 12.5381
TOTAL Savings per Mth | 171755.7216 | 84714.5037 | 27026.0595 | 58996.6096 |  |  |  |  | 680.8465 | 60.958 | 276.7443
|  | ANNUAL | 2061068.6589
Revenue Requirement from ICM |  |  | 1877976
Calculation of Revenue Requirement to Rate Classes and Fixed/Variable Rates
| (A) | (B) | (C) | (D) | (E) |  | (F) | (G) | (H) | (I) | (J) |  | (K) | (L) | (M) | (N) | (O) | (P)
| Rev Allocation (from above) | Net Rev Requirement from above | Class Revenue (A X B) |  | Class Revenue including Transf Allow (C + D) |  | Fixed % (2018 CoS) | Variable % (2018 CoS) | Fixed + Var % (F + G) | Fixed $ (E x F) | Var $ (E x G) |  | Total (I + J) | Customers (2018 CoS) | kWhs (2018 CoS) | kWs (2018 CoS) | Fixed Rate (I/L/12) | Var Rate (J/M)
Res | 49.23% | 1877976 | 924526.6831 |  | 924526.6831 |  | 77.4% | 22.6% | 100% | 715583.6527 | 208943.0304 |  | 924526.6831 | 29816 | 302192173.7319 |  | 2 | 0.00069142
GS<50 | 15.78% | 1877976 | 296322.6194 |  | 296322.6194 |  | 26.8% | 73.2% | 100% | 79414.462 | 216908.1574 |  | 296322.6194 | 3431 | 96856454.3703 |  | 1.9288 | 0.0022395
GS>50 | 34.99% | 1877976 | 657126.6975 |  | 657126.6975 |  | 12.8% | 87.2% | 100% | 84112.2173 | 573014.4802 |  | 657126.6975 | 357 | 214789414.7038 | 614743 | 19.634 | 0.93212
Sent lights |  |  | 0 |  | 0 |  | 42.1% | 57.9% | 100% | 0 | 0 |  | 0 | 354 |  | 593 | 0 | 0
Street lights |  |  | 0 |  | 0 |  | 67.7% | 32.3% | 100% | 0 | 0 |  | 0 | 8070 |  | 7030 | 0 | 0
USL |  |  | 0 |  | 0 |  | 8.8% | 91.2% | 100% | 0 | 0 |  | 0 | 22 |  |  | 0 | #DIV/0!
| 100% |  | 1877976 | 0 | 1877976 |  |  |  |  | 879110.332 | 998865.668 |  | 1877976 |  | 613838042.806

## Feeder Consumption Detail
2018 Cost of Service Estimated kWh - note lower consumption factors
>>- 2013 actuals in study data, 2018 COS adjusted for removing 34.5kV loads, conservation program, 2018 weather normalized forecast
>> Note: DS10 now in service - now supplies DS14 (retired) and part of DS4 loads | [12 empty] | 628204369.4199
|  | 29789 | 3443 | 353 | [6 empty] | 310650127.9676 | 98856928.253 | 218697313.1993
[5 empty] | annual consumption |  |  | load factor
[5 empty] | 329484604.8 | 95139400.2 | 258275777.4 | 0.7 | 0.7 | 0.75 |  |  | 713607513.6744
total |  | 29130 | 3249 | 323 |  |  |  | 53731.9969 | 15515.2316 | 39311.3816 | 345596401.9747 | 99791716.8698 | 268219394.8299
[5 empty] | consumption |  |  | demand |  |  | billing consumption
Feeder | subst | resident | comm <50kW | comm >50kW | residential | small commercial | large commercial | residential | small commercial | large commercial | residential | small commercial | large commercial
| # | # | # | # | kWh | kWh | kWh | kW | kW | kW | kWh | kWh | kWh
1-11 | 1 | 0 | 58 | 8 | 0 | 1698394.9559 | 6396923.2793 | 0 | 276.9724 | 973.6565 | 0 | 1781446.4692 | 6643204.8255
1-12 | 1 | 324 | 53 | 13 | 3664710.3315 | 1551981.5976 | 10395000.3288 | 597.637 | 253.0955 | 1582.1918 | 3843914.6667 | 1627873.4977 | 10795207.8415
1-13 | 1 | 38 | 53 | 13 | 429811.7055 | 1551981.5976 | 10395000.3288 | 70.0932 | 253.0955 | 1582.1918 | 450829.4979 | 1627873.4977 | 10795207.8415
1-14 | 1 | 561 | 106 | 1 | 6345378.0739 | 3103963.1952 | 799615.4099 | 1034.7975 | 506.191 | 121.7071 | 6655667.0617 | 3255746.9954 | 830400.6032
2-13 | 2 | 637 | 184 | 7 | 7205001.485 | 5388011.5841 | 5597307.8693 | 1174.9839 | 878.6712 | 851.9494 | 7557326.0576 | 5651485.3506 | 5812804.2223
2-14 | 2 | 64 | 15 | 16 | 723893.3988 | 439240.0748 | 12793846.5585 | 118.0518 | 71.6308 | 1947.313 | 759291.786 | 460718.9144 | 13286409.651
2-15 | 2 | 1093 | 57 | 8 | 12362741.9515 | 1669112.2842 | 6396923.2793 | 2016.1027 | 272.197 | 973.6565 | 12967280.0329 | 1750731.8749 | 6643204.8255
2-16 | 2 | 583 | 32 | 6 | 6594216.4297 | 937045.4929 | 4797692.4594 | 1075.3778 | 152.8124 | 730.2424 | 6916673.6132 | 982867.0175 | 4982403.6191
4-02 | 4 | 558 | 22 | 1 | 6311445.5708 | 644218.7764 | 799615.4099 | 1029.2638 | 105.0585 | 121.7071 | 6620075.2592 | 675721.0745 | 830400.6032
4-04 | 4 | 459 | 7 | 1 | 5191672.9696 | 204978.7016 | 799615.4099 | 846.6525 | 33.4277 | 121.7071 | 5445545.7778 | 215002.1601 | 830400.6032
4-11 | 4 | 241 | 56 | 13 | 2725911.0799 | 1639829.6126 | 10395000.3288 | 444.5387 | 267.4217 | 1582.1918 | 2859208.1317 | 1720017.2806 | 10795207.8415
4-12 | 4 | 532 | 58 | 4 | 6017363.8776 | 1698394.9559 | 3198461.6396 | 981.3053 | 276.9724 | 486.8283 | 6311612.9712 | 1781446.4692 | 3321602.4128
5-01 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5-02 | 5 | 81 | 8 | 0 | 916177.5829 | 234261.3732 | 0 | 149.4093 | 38.2031 | 0 | 960978.6667 | 245716.7544 | 0
5-05 | 5 | 27 | 3 | 0 | 305392.5276 | 87848.015 | 0 | 49.8031 | 14.3262 | 0 | 320326.2222 | 92143.7829 | 0
11-11 | 11 | 377 | 46 | 5 | 4264184.5523 | 1347002.896 | 3998077.0495 | 695.3987 | 219.6678 | 608.5353 | 4472703.1769 | 1412871.3376 | 4152003.0159
11-12 | 11 | 1323 | 81 | 2 | 14964233.8534 | 2371896.4039 | 1599230.8198 | 2440.3512 | 386.8063 | 243.4141 | 15695984.8889 | 2487882.138 | 1660801.2064
11-13 | 11 | 752 | 31 | 5 | 8505747.436 | 907762.8212 | 3998077.0495 | 1387.1082 | 148.037 | 608.5353 | 8921678.4856 | 952152.4232 | 4152003.0159
11-14 | 11 | 673 | 42 | 6 | 7612191.5218 | 1229872.2094 | 4797692.4594 | 1241.388 | 200.5662 | 730.2424 | 7984427.6872 | 1290012.9605 | 4982403.6191
12-11 | 12 | 961 | 36 | 1 | 10869711.8164 | 1054176.1795 | 799615.4099 | 1772.621 | 171.9139 | 121.7071 | 11401240.7243 | 1105725.3947 | 830400.6032
12-12 | 12 | 868 | 3 | 2 | 9817804.2213 | 87848.015 | 1599230.8198 | 1601.077 | 14.3262 | 243.4141 | 10297894.8477 | 92143.7829 | 1660801.2064
12-13 | 12 | 781 | 53 | 10 | 8833761.6323 | 1551981.5976 | 7996154.0991 | 1440.6004 | 253.0955 | 1217.0706 | 9265732.5761 | 1627873.4977 | 8304006.0319
12-14 | 12 | 442 | 10 | 11 | 4999388.7855 | 292826.7165 | 8795769.509 | 815.295 | 47.7539 | 1338.7777 | 5243858.8971 | 307145.943 | 9134406.6351
13-01 | 13 | 1005 | 72 | 4 | 11367388.5281 | 2108352.359 | 3198461.6396 | 1853.7816 | 343.8278 | 486.8283 | 11923253.8271 | 2211450.7894 | 3321602.4128
13-02 | 13 | 1257 | 84 | 3 | 14217718.7859 | 2459744.4188 | 2398846.2297 | 2318.6104 | 401.1325 | 365.1212 | 14912965.2345 | 2580025.9209 | 2491201.8096
13-03 | 13 | 1196 | 111 | 7 | 13527757.8902 | 3250376.5535 | 5597307.8693 | 2206.0923 | 530.0679 | 851.9494 | 14189265.251 | 3409319.9669 | 5812804.2223
13-04 | 13 | 634 | 79 | 2 | 7171068.9819 | 2313331.0606 | 1599230.8198 | 1169.4503 | 377.2556 | 243.4141 | 7521734.2551 | 2426452.9494 | 1660801.2064
14-03 | 14 | 312 | 24 | 2 | 3528980.3192 | 702784.1197 | 1599230.8198 | 575.5023 | 114.6093 | 243.4141 | 3701547.4568 | 737150.2631 | 1660801.2064
14-04 | 14 | 262 | 26 | 2 | 2963438.6014 | 761349.463 | 1599230.8198 | 483.2744 | 124.1601 | 243.4141 | 3108350.749 | 798579.4517 | 1660801.2064
14-05 | 14 | 91 | 12 | 5 | 1029285.9264 | 351392.0598 | 3998077.0495 | 167.8548 | 57.3046 | 608.5353 | 1079618.0082 | 368575.1316 | 4152003.0159
14-06 | 14 | 227 | 17 | 1 | 2567559.3989 | 497805.4181 | 799615.4099 | 418.7148 | 81.1816 | 121.7071 | 2693113.0535 | 522148.103 | 830400.6032
15-01 | 15 | 0 | 47 | 6 | 0 | 1376285.5677 | 4797692.4594 | 0 | 224.4432 | 730.2424 | 0 | 1443585.9319 | 4982403.6191
15-02 | 15 | 21 | 77 | 2 | 237527.5215 | 2254765.7173 | 1599230.8198 | 38.7357 | 367.7048 | 243.4141 | 249142.6173 | 2365023.7608 | 1660801.2064
15-03 | 15 | 382 | 214 | 4 | 4320738.7241 | 6266491.7337 | 3198461.6396 | 704.6214 | 1021.9328 | 486.8283 | 4532022.8477 | 6572923.1795 | 3321602.4128
15-04 | 15 | 171 | 77 | 3 | 1934152.6749 | 2254765.7173 | 2398846.2297 | 315.4195 | 367.7048 | 365.1212 | 2028732.7407 | 2365023.7608 | 2491201.8096
16-01 | 16 | 438 | 142 | 7 | 4954145.4481 | 4158139.3747 | 5597307.8693 | 807.9167 | 678.1049 | 851.9494 | 5196403.1605 | 4361472.3901 | 5812804.2223
16-02 | 16 | 497 | 132 | 18 | 5621484.6751 | 3865312.6582 | 14393077.3783 | 916.7457 | 630.3511 | 2190.7272 | 5896375.2757 | 4054326.4472 | 14947210.8574
16-03 | 16 | 398 | 69 | 7 | 4501712.0738 | 2020504.344 | 5597307.8693 | 734.1344 | 329.5017 | 851.9494 | 4721845.7942 | 2119307.0065 | 5812804.2223
16-04 | 16 | 602 | 76 | 5 | 6809122.2825 | 2225483.0456 | 3998077.0495 | 1110.4244 | 362.9294 | 608.5353 | 7142088.3621 | 2334309.1665 | 4152003.0159
18-01 | 18 | 1001 | 102 | 2 | 11322145.1907 | 2986832.5086 | 1599230.8198 | 1846.4033 | 487.0895 | 243.4141 | 11875798.0905 | 3132888.6183 | 1660801.2064
18-02 | 18 | 833 | 44 | 2 | 9421925.0188 | 1288437.5527 | 1599230.8198 | 1536.5175 | 210.117 | 243.4141 | 9882657.1522 | 1351442.1491 | 1660801.2064
18-03 | 18 | 494 | 5 | 0 | 5587552.172 | 146413.3583 | 0 | 911.212 | 23.8769 | 0 | 5860783.4732 | 153572.9715 | 0
18-04 | 18 | 830 | 102 | 2 | 9387992.5158 | 2986832.5086 | 1599230.8198 | 1530.9838 | 487.0895 | 243.4141 | 9847065.3498 | 3132888.6183 | 1660801.2064
19-01 | 19 | 14 | 1 | 1 | 158351.681 | 29282.6717 | 799615.4099 | 25.8238 | 4.7754 | 121.7071 | 166095.0782 | 30714.5943 | 830400.6032
19-02 | 19 | 742 | 76 | 7 | 8392639.0924 | 2225483.0456 | 5597307.8693 | 1368.6626 | 362.9294 | 851.9494 | 8803039.144 | 2334309.1665 | 5812804.2223
19-03 | 19 | 643 | 147 | 23 | 7272866.4911 | 4304552.733 | 18391154.4279 | 1186.0513 | 701.9819 | 2799.2625 | 7628509.6625 | 4515045.3616 | 19099213.8733
19-04 | 19 | 969 | 57 | 4 | 10960198.4913 | 1669112.2842 | 3198461.6396 | 1787.3774 | 272.197 | 486.8283 | 11496152.1975 | 1750731.8749 | 3321602.4128
20-01 | 20 | 334 | 26 | 8 | 3777818.675 | 761349.463 | 6396923.2793 | 616.0826 | 124.1601 | 973.6565 | 3962554.0082 | 798579.4517 | 6643204.8255
20-02 | 20 | 608 | 74 | 8 | 6876987.2887 | 2166917.7023 | 6396923.2793 | 1121.4917 | 353.3786 | 973.6565 | 7213271.9671 | 2272879.978 | 6643204.8255
20-03 | 20 | 112 | 97 | 17 | 1266813.4479 | 2840419.1503 | 13593461.9684 | 206.5906 | 463.2125 | 2069.0201 | 1328760.6255 | 2979315.6468 | 14116810.2542
20-04 | 20 | 892 | 39 | 14 | 10089264.2458 | 1142024.1945 | 11194615.7387 | 1645.3464 | 186.2401 | 1703.8989 | 10582629.2675 | 1197869.1776 | 11625608.4446
21-01 | 21 | 639 | 44 | 6 | 7227623.1537 | 1288437.5527 | 4797692.4594 | 1178.6731 | 210.117 | 730.2424 | 7581053.9259 | 1351442.1491 | 4982403.6191
21-02 | 21 | 1183 | 109 | 2 | 13380717.0435 | 3191811.2102 | 1599230.8198 | 2182.113 | 520.5172 | 243.4141 | 14035034.107 | 3347890.7783 | 1660801.2064
21-03 | 21 | 740 | 24 | 1 | 8370017.4237 | 702784.1197 | 799615.4099 | 1364.9735 | 114.6093 | 121.7071 | 8779311.2757 | 737150.2631 | 830400.6032
21-04 | 21 | 228 | 29 | 9 | 2578870.2332 | 849197.4779 | 7196538.6892 | 420.5594 | 138.4862 | 1095.3636 | 2704976.9876 | 890723.2346 | 7473605.4287