## U-AMPCO-132
U-AMPCO-132 Appendix A
| Assets Replaced |  | # units replaced | [5 empty] | # units replaced
| Asset Class | Population EB-2014-0116 | 2015 | 2016 | 2017 | 2018 | 2019 | Population 2020 | 2020 | 2021 | 2022 | 2023 | 2024
1 | Air Insulated Submersible Switches
2 | SF-6 Insulated Submersible Switches
3 | SF-6 Insulated Padmount Switches | 802 | 47 | 79 | 87 | 39 | 28 |  | 49 | 45 | 45 | 46 | 46
13 | Air -Insulated Padmount Switches
5 | URD Vaults
6 | Submersible Switch Vaults
7 | Network Vaults | 1062 | 34 |  |  | 11 | 18 |  | 33
8 | CRD Vaults
9 | CLD Vaults
10 | ATS Vaults
11 | Underground Vaults (combined)
4 | Padmount Transformers | 7160 | 105 | 710 | 740 | 251 | 264 |  | 407 | 380 | 380 | 387 | 387
12 | Vault Transfomers | 13034
14 | Submersible Transformers | 9554
15 | Cable Chambers | 10902
16 | Network Protectors | 1615 | 17 | 25 | 21 | 11 | 18 |  | 40 | 40 | 40 | 40 | 40
17 | Network Transfomers | 1892
18 | Station Power Transfomers | 268 | 2 | 0 | 6 | 3 | 5 |  | 2 | 2 | 2 | 2 | 2
19 | Air Blast Circuit Breaker (MS & TS) | 290 | 0 | 0 | 8 | 13 | 20 |  | 0 | 0 | 9 | 12 | 28
20 | Air Magnetic Circuit Breaker (MS & TS) | 627 | 2 | 0 | 2 | 0 | 0 |  | 2 | 0 | 2 | 11 | 0
21 | Vacuum Circuit Breaker (MS & TS) | 675 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
22 | Sf6 Circuit Breakers (TS) | 201 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
23 | KSO Circuit Breaker | 59 | 4 | 2 | 5 | 8 | 7 |  | 1 | 1 | 2 | 2 | 3
24 | 4kV Oil Circuit Breaker (MS) | 332 | 10 | 0 | 10 | 14 | 4 |  | 11 | 17 | 8 | 6 | 10
25 | Wood Pole | 123280 | 10283 |  |  | 2096 | 2390 |  | 15590
26 | SCADAMATE Switches | 926
27 | Overhead Gang Operated Switches | 1123
28 | Underground Cable | 12920 | 106.8 | 444.3 | 175 | 156 | 131 |  | 105.9 | 101.1 | 101.3 | 105.1 | 105.1
29 | Pole Mounted Transformer | 30700 | 940 | 769 | 441 | 412 | 310 |  | 1300 | 1300 | 1300 | 1400 | 1400