## 1. Forecast OPDC GFA
1. Determine Forecast OPDC GBV for Dx Assets
|  |  |  | 2010 OPDC CAM (EB-2009-0273) | 2030
|  |  | Total Gross Plant | 36615000 | 68867665.1347
|  |  | Change % |  | 88.09%
OPDC |  |  | 2010 CAM | Rate Base Growth (Status Quo) | 2030 (Scaled)
Distribution Plant |  |  | GBV | 2013 to 2030 | YE GBV
| 1815 | Transformer station equip - above 50kV | 0 | 88.09% | 0
| 1820 | Distribution station equip - below 50kV | 3861500 | 88.09% | 7262938.3837
| 1830 | Poles, towers and fixtures | 1 | 88.09% | 1.8809
| 1835 | Overhead conductors and devices | 13603499 | 88.09% | 25586268.2996
| 1840 | Underground conduit | 5012500 | 88.09% | 9427807.4966
| 1845 | Underground conductors and devices | 0 | 88.09% | 0
| 1850 | Line transformers | 4223500 | 88.09% | 7943809.4687
| 1855 | Services | 1908000 | 88.09% | 3588679.6416
| 1860 | Meters (existing) | 1635500 | 88.09% | 3076145.4685
|  | TOTAL | 30244500 | 88.09% | 56885650.6395
Haldimand |  |  |  | 2021 | 2021 | 2022 | 2022
Distribution Plant |  |  |  | I/S Adds | YE GBV | I/S Adds | YE GBV
| 1815 | Transformer station equip - above 50kV
| 1820 | Distribution station equip - below 50kV
| 1830 | Poles, towers and fixtures
| 1835 | Overhead conductors and devices
| 1840 | Underground conduit
| 1845 | Underground conductors and devices
| 1850 | Line transformers
| 1855 | Services
| 1860 | Meters (existing)
|  | TOTAL |  | 0 | 0 | 0 | 0
Norfolk |  |  | 2014 | 2021 | 2021 | 2022 | 2022
Distribution Plant |  |  | YE GBV | I/S Adds | YE GBV | I/S Adds | YE GBV
| 1815 | Transformer station equip - above 50kV
| 1820 | Distribution station equip - below 50kV
| 1830 | Poles, towers and fixtures
| 1835 | Overhead conductors and devices
| 1840 | Underground conduit
| 1845 | Underground conductors and devices
| 1850 | Line transformers
| 1855 | Services
| 1860 | Meters (existing)
|  | TOTAL | 0 | 0 | 0 | 0 | 0
Note on D23: KIM Susan: 2014 I/S adds captured in 2014 GBV

## 2. OPDC last CAM outputs
2. Determine gross plant attributable to only OPDC's RES and General Service rate classes
2a. Gross Plant shown in OPDC 2010 Rate Application (EB-2009-0273, O4 Summary by Class & Accounts) | [14 empty] | 2b. Total by USofA |  |  |  |  | 2c. Determine allocation among RES and GS classes
USoA Account # | Accounts | O1 Grouping | Total | Residential | GS <50 | GS 50 to 999 kW | GS> 50-TOU | GS > 1000 kW | Large Use | Street Lighting | Sentinel | Unmetered Scattered Load |  |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW | USofA | Residential | GS <50 | GS 50 to 999 kW | Proportion of total associated with just RES and GS
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1815 | 0 | 0 | 0 | 0 | 1815 | 0% | 0% | 0% | 0%
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1820 | 3861500 | 1451771.0811 | 679682.7997 | 1727471.6177 | 1820 | 37.6% | 17.6% | 44.74% | 99.93%
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1830 | 1 | 0.63739 | 0.17836 | 0.095665 | 1830 | 63.74% | 17.84% | 9.566% | 91.14%
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | 3861500 | 1451771.0811 | 679682.7997 | 1727471.6177 | 0 | 0 | 0 | 0 | 0 | 2574.5015 |  |  | 1835 | 13603499 | 7209716.6906 | 2090674.0269 | 3163489.9846 | 1835 | 53% | 15.37% | 23.25% | 91.62%
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1840 | 5012500 | 2414705.704 | 714784.8563 | 1473919.8246 | 1840 | 48.17% | 14.26% | 29.4% | 91.84%
1830 | Poles, Towers and Fixtures | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1845 | 0 | 0 | 0 | 0 | 1845 | 0% | 0% | 0% | 0%
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1850 | 4223500 | 2310991.2973 | 800503.1619 | 803998.0671 | 1850 | 54.72% | 18.95% | 19.04% | 92.71%
1830-4 | Poles, Towers and Fixtures - Primary | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1855 | 1908000 | 1157247.2311 | 254916.4973 | 63460.6423 | 1855 | 60.65% | 13.36% | 3.326% | 77.34%
1830-5 | Poles, Towers and Fixtures - Secondary | dp | 1 | 0.63739 | 0.17836 | 0.095665 | 0 | 0 | 0 | 0.080022 | 0.0043882 | 0.0041713 |  |  | 1860 | 1635500 | 574119.2723 | 982630.2277 | 78750.5 | 1860 | 35.1% | 60.08% | 4.815% | 100%
1835 | Overhead Conductors and Devices | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1835-4 | Overhead Conductors and Devices - Primary | dp | 9386414.31 | 4521781.1819 | 1338507.093 | 2760064.2661 | 0 | 0 | 0 | 694426.1577 | 38080.1746 | 33555.4368
1835-5 | Overhead Conductors and Devices - Secondary | dp | 4217084.69 | 2687935.5088 | 752166.9339 | 403425.7185 | 0 | 0 | 0 | 337460.6396 | 18505.2938 | 17590.5953
1840 | Underground Conduit | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1840-4 | Underground Conduit - Primary | dp | 5012500 | 2414705.704 | 714784.8563 | 1473919.8246 | 0 | 0 | 0 | 370835.0175 | 20335.4411 | 17919.1565
1840-5 | Underground Conduit - Secondary | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845 | Underground Conductors and Devices | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845-4 | Underground Conductors and Devices - Primary | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845-5 | Underground Conductors and Devices - Secondary | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1850 | Line Transformers | dp | 4223500 | 2310991.2973 | 800503.1619 | 803998.0671 | 0 | 0 | 0 | 278210.4898 | 15256.1995 | 14540.7843
1855 | Services | dp | 1908000 | 1157247.2311 | 254916.4973 | 63460.6423 | 0 | 0 | 0 | 394035.8118 | 21607.7006 | 16732.1169
1860 | Meters | dp | 1635500 | 574119.2723 | 982630.2277 | 78750.5 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  |  | 30244500 | 15118551.9138 | 5523191.7482 | 7311090.7321 | [8 empty] | TOTAL | 30244500 | 15118551.9138 | 5523191.7482 | 7311090.7321
Haldimand (File M:\Dist Pric\2018-2022 DX Rates\Last filed CAM of acquired LDCs\Haldimand_2014_Cost_Allocation_Settlement_20140404)
USoA Account # | Accounts | O1 Grouping | Total | Residential | General Service Less Than 50 kW | General Service 50 to 4,999 kW | GS> 50-TOU | GS >50-Intermediate | Large Use >5MW | Street Lighting | Sentinel Lighting | Unmetered Scattered Load | Embedded Distributor - Hydro One Networks Inc. |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | [12 empty] | 1815 | 0 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | [12 empty] | 1820 | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | [12 empty] | 1830 | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | [12 empty] | 1835 | 0 | 0 | 0 | 0
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | [12 empty] | 1840 | 0 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | dp | [12 empty] | 1845 | 0 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | [12 empty] | 1850 | 0 | 0 | 0 | 0
1830-4 | Poles, Towers and Fixtures - Primary | dp | [12 empty] | 1855 | 0 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | dp | [12 empty] | 1860 | 0 | 0 | 0 | 0
1835 | Overhead Conductors and Devices | dp
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp
1835-4 | Overhead Conductors and Devices - Primary | dp
1835-5 | Overhead Conductors and Devices - Secondary | dp
1840 | Underground Conduit | dp
1840-3 | Underground Conduit - Bulk Delivery | dp | [11 empty] | 0
1840-4 | Underground Conduit - Primary | dp
1840-5 | Underground Conduit - Secondary | dp
1845 | Underground Conductors and Devices | dp
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp
1845-4 | Underground Conductors and Devices - Primary | dp
1845-5 | Underground Conductors and Devices - Secondary | dp
1850 | Line Transformers | dp
1855 | Services | dp
1860 | Meters | dp
TOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | TOTAL | 0 | 0 | 0 | 0
Norfolk (File M:\Dist Pric\2018-2022 DX Rates\Last filed CAM of acquired LDCs\Norfolk_2012COS_Cost_Allocation_Model_20120308.XLS)
USoA Account # | Accounts | O1 Grouping | Total | Residential | GS <50 | GS>50-Regular | GS> 50-TOU | GS >50-Intermediate | Large Use >5MW | Street Light | Sentinel | Unmetered Scattered Load | Embedded Distributor |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | [12 empty] | 1815 | 0 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | [12 empty] | 1820 | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | [12 empty] | 1830 | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | [12 empty] | 1835 | 0 | 0 | 0 | 0
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | [12 empty] | 1840 | 0 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | dp | [12 empty] | 1845 | 0 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | [12 empty] | 1850 | 0 | 0 | 0 | 0
1830-4 | Poles, Towers and Fixtures - Primary | dp | [12 empty] | 1855 | 0 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | dp | [12 empty] | 1860 | 0 | 0 | 0 | 0
1835 | Overhead Conductors and Devices | dp
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp
1835-4 | Overhead Conductors and Devices - Primary | dp
1835-5 | Overhead Conductors and Devices - Secondary | dp
1840 | Underground Conduit | dp
1840-3 | Underground Conduit - Bulk Delivery | dp
1840-4 | Underground Conduit - Primary | dp
1840-5 | Underground Conduit - Secondary | dp
1845 | Underground Conductors and Devices | dp
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp
1845-4 | Underground Conductors and Devices - Primary | dp
1845-5 | Underground Conductors and Devices - Secondary | dp
1850 | Line Transformers | dp
1855 | Services | dp
1860 | Meters | dp
TOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | TOTAL | 0 | 0 | 0 | 0
[15 empty] | Mixed Density (Haldimand + Norfolk) |  |  |  |  | Mixed Density (Haldimand + Norfolk)
[15 empty] | USofA | Total | Residential | GS <50 | GS 50 to 999 kW | USofA | Residential | GS <50 | GS 50 to 999 kW | Proportion of total associated with just RES and GS
[15 empty] | 1815 | 0 | 0 | 0 | 0 | 1815 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1820 | 0 | 0 | 0 | 0 | 1820 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1830 | 0 | 0 | 0 | 0 | 1830 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1835 | 0 | 0 | 0 | 0 | 1835 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1840 | 0 | 0 | 0 | 0 | 1840 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1845 | 0 | 0 | 0 | 0 | 1845 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1850 | 0 | 0 | 0 | 0 | 1850 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1855 | 0 | 0 | 0 | 0 | 1855 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1860 | 0 | 0 | 0 | 0 | 1860 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## 3. Allocated Forecast OPDC GFA
3. Allocate portion of Total Forecast Acq GBV associated with RES and GS only and allocate among RES and GS rate classes
OPDC
|  |  |  | Portion of Total GBV associated with only RES and GS rate classes |  |  |  | GBV associated with only OPDC RES and GS rate classes
Distribution Plant |  |  | Total 2030 GBV (Worksheet 1. Forecast OPDC GFA) | Residential | GS <50 | GS 50 to 999 kW | Total | Residential | GS <50 | GS 50 to 999 kW | Total
| 1815 | Transformer station equip - above 50kV | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0
| 1820 | Distribution station equip - below 50kV | 7262938.3837 | 37.6% | 17.6% | 44.74% | 99.93% | 2730577.2133 | 1278387.7494 | 3249131.1457 | 7258096.1084
| 1830 | Poles, towers and fixtures | 1.8809 | 63.74% | 17.84% | 9.566% | 91.14% | 1.1988 | 0.33547 | 0.17993 | 1.7142
| 1835 | Overhead conductors and devices | 25586268.2996 | 53% | 15.37% | 23.25% | 91.62% | 13560463.0552 | 3932263.7933 | 5950079.7192 | 23442806.5677
| 1840 | Underground conduit | 9427807.4966 | 48.17% | 14.26% | 29.4% | 91.84% | 4541721.803 | 1344409.7809 | 2772235.8847 | 8658367.4686
| 1845 | Underground conductors and devices | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0
| 1850 | Line transformers | 7943809.4687 | 54.72% | 18.95% | 19.04% | 92.71% | 4346649.5914 | 1505633.8576 | 1512207.2827 | 7364490.7317
| 1855 | Services | 3588679.6416 | 60.65% | 13.36% | 3.326% | 77.34% | 2176619.276 | 479462.0777 | 119360.5426 | 2775441.8962
| 1860 | Meters (existing) | 3076145.4685 | 35.1% | 60.08% | 4.815% | 100% | 1079837.6019 | 1848189.2522 | 148118.6143 | 3076145.4685
|  | TOTAL | 56885650.6395

## 4. Non Adj 2030 CAM outputs
4. Determine CAM Output for OPDC Acquired Class
|  | 4a. O4 Summary by Class & Accounts values |  |  |  | 4b. Select all fixed assets not associated with Bulk (since their historical data would not include Bulk assets) |  |  |  | 4c. Summarize values by USofA |  |  |  | 4d. Summarize Bulk GBV (to add to Forecast Acquired GBV)
|  |  | 18 | 19 | 20
USoA Account # | Accounts | Total | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 0 | 0 | 0 | 0
1815-1 | HVDS - Retail | 266375630.2626 | 1493013.148 | 762575.4944 | 2117352.6627
1815-2 | HVDS - ST | 83267795.7172 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | 1099893021.4268 | 4885051.5807 | 4313621.173 | 13605550.5077 | 1820 | 4885051.5807 | 4313621.173 | 13605550.5077 | 1815 | 0 | 0 | 0 | 1815 | 1493013.148 | 762575.4944 | 2117352.6627
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | 189773448.0761 | 879402.2552 | 380453.6009 | 1363170.0194 | 1820 | 879402.2552 | 380453.6009 | 1363170.0194 | 1820 | 5764453.8358 | 4694074.7739 | 14968720.5271 | 1820 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | 0 | 0 | 0 | 0 |  |  |  |  | 1830 | 32142012.4198 | 12692123.1015 | 20952546.9932 | 1830 | 6965700.0735 | 3557820.0933 | 9878575.8299
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | 0 | 0 | 0 | 0 |  |  |  |  | 1835 | 16854449.7979 | 6085816.3753 | 12738939.273 | 1835 | 5542953.3192 | 2831134.0551 | 7860873.151
1830-3A | Bulk-ST Fixtures | 220881269.2277 | 0 | 0 | 0 |  |  |  |  | 1840 | 250410.7247 | 88181.41 | 219780.2218 | 1840 | 19552.0199 | 9986.4433 | 27728.1693
1830-3B | Bulk-Retail Fixtures | 1242783929.7485 | 6965700.0735 | 3557820.0933 | 9878575.8299 |  |  |  |  | 1845 | 4725014.1539 | 1663900.0217 | 4147045.4599 | 1845 | 368928.1709 | 188434.7655 | 523204.3978
1830-4 | Poles, Towers and Fixtures - Primary | 0 | 0 | 0 | 0 |  |  |  |  | 1850 | 21145695.6397 | 14586394.813 | 22544014.2446 | 1850 | 0 | 0 | 0
1830-4A | Primary-ST Fixtures | 3133729.1472 | 0 | 0 | 0 |  |  |  |  | 1855 | 6578040.4278 | 0 | 0 | 1855 | 0 | 0 | 0
1830-4B | Primary-Retail Fixtures | 3104841164.4277 | 21862200.3709 | 8182182.704 | 20925124.8723 | 1830 | 21862200.3709 | 8182182.704 | 20925124.8723 | 1860 | 6503654.8695 | 2994547.3238 | 1136597.0829 | 1860 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | 1234193902.7191 | 10279812.0489 | 4509940.3975 | 27422.1208 | 1830 | 10279812.0489 | 4509940.3975 | 27422.1208
1835 | Overhead Conductors and Devices | 0 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | 0 | 0 | 0 | 0
1835-3A | Bulk-ST Conductors | 175766190.2613 | 0 | 0 | 0
1835-3B | Bulk-Retail Conductors | 988944863.5173 | 5542953.3192 | 2831134.0551 | 7860873.151
1835-4 | Overhead Conductors and Devices - Primary | 0 | 0 | 0 | 0
1835-4A | Primary-ST Conductors | 2031253.0877 | 0 | 0 | 0
1835-4B | Primary-Retail Conductors | 2012528175.1592 | 14506763.9253 | 5108514.8158 | 12732281.3254 | 1835 | 14506763.9253 | 5108514.8158 | 12732281.3254
1835-5 | Overhead Conductors and Devices - Secondary | 280523866.0611 | 2347685.8726 | 977301.5594 | 6657.9476 | 1835 | 2347685.8726 | 977301.5594 | 6657.9476
1840 | Underground Conduit | 0 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | 6399393.177 | 19552.0199 | 9986.4433 | 27728.1693
1840-4 | Underground Conduit - Primary | 34739562.9608 | 250410.7247 | 88181.41 | 219780.2218 | 1840 | 250410.7247 | 88181.41 | 219780.2218
1840-5 | Underground Conduit - Secondary | 0 | 0 | 0 | 0 | 1840 | 0 | 0 | 0
1845 | Underground Conductors and Devices | 0 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | 120750512.4981 | 368928.1709 | 188434.7655 | 523204.3978
1845-4 | Underground Conductors and Devices - Primary | 655502782.1327 | 4725014.1539 | 1663900.0217 | 4147045.4599 | 1845 | 4725014.1539 | 1663900.0217 | 4147045.4599
1845-5 | Underground Conductors and Devices - Secondary | 0 | 0 | 0 | 0 | 1845 | 0 | 0 | 0
1850 | Line Transformers | 3697980804.5876 | 21145695.6397 | 14586394.813 | 22544014.2446 | 1850 | 21145695.6397 | 14586394.813 | 22544014.2446
1855 | Services | 1229277892.8321 | 6578040.4278 | 0 | 0 | 1855 | 6578040.4278 | 0 | 0
1860 | Meters | 0 | 0 | 0 | 0
1860-1 | Mtr-Single | 17539732.1577 | 136801.746 | 62989.0901 | 0 | 1860 | 136801.746 | 62989.0901 | 0
1860-2 | Mtr-Poly | 69108640.103 | 0 | 0 | 794529.41 | 1860 | 0 | 0 | 794529.41
1860-3 | Mtr-ST | 34396512.0042 | 0 | 0 | 0
1860-4 | Mtr-Smart | 846065187.989 | 6366853.1235 | 2931558.2338 | 342067.6729 | 1860 | 6366853.1235 | 2931558.2338 | 342067.6729
[6 empty] | TOTAL | 93963731.869 | 42805037.8192 | 76707643.8024 | TOTAL | 93963731.869 | 42805037.8192 | 76707643.8024
[10 empty] | Check (should be $0) | 0 | 0 | 0

## 4.5. OPDC Upstream DX factor
4.5. OPDC Upstream DX factor: Determine the portion of the OPDC load that is supplied through upstream HONI distribution facilities
OPDC 2019 IRM Model (EB-2018-0061, Tab 12 Historical Wholesale)
Total Demand Connected to HONI
| Network |  | 100%
IESO | Network |  |  |  | Line Connection |  |  |  | Transformation Connection |  |  |  | Total Connection
Month | Units Billed | Rate | Amount |  | Units Billed | Rate | Amount |  | Units Billed | Rate | Amount |  | Amount
January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro One | Network |  |  |  | Line Connection |  |  |  | Transformation Connection |  |  |  | Total Connection
Month | Units Billed | Rate | Amount |  | Units Billed | Rate | Amount |  | Units Billed | Rate | Amount |  | Amount
January | 39998.16 | 3.1942 | 127762.12 | 0 | 40902.82 | 0.771 | 31536.07 | 0 | 40902.82 | 1.7493 | 71551.3 | 0 | 103087.37
February | 39179.56 | 3.1942 | 125147.35 | 0 | 39881.28 | 0.771 | 30748.47 | 0 | 39881.28 | 1.7493 | 69764.32 | 0 | 100512.79
March | 38156.45 | 3.1942 | 121879.33 | 0 | 38156.45 | 0.771 | 29418.62 | 0 | 38156.45 | 1.7493 | 66747.08 | 0 | 96165.7
April | 37007.92 | 3.1942 | 118210.7 | 0 | 37007.92 | 0.771 | 28533.11 | 0 | 37007.92 | 1.7493 | 64737.95 | 0 | 93271.06
May | 35000.31 | 3.1942 | 111797.99 | 0 | 35000.31 | 0.771 | 26985.24 | 0 | 35000.31 | 1.7493 | 61226.04 | 0 | 88211.28
June | 40789.28 | 3.1942 | 130289.12 | 0 | 40789.28 | 0.771 | 31448.53 | 0 | 40789.28 | 1.7493 | 71352.69 | 0 | 102801.22
July | 40337.75 | 3.1942 | 128846.84 | 0 | 41237.06 | 0.771 | 31793.77 | 0 | 41237.06 | 1.7493 | 72135.99 | 0 | 103929.76
August | 38478.98 | 3.1942 | 122909.56 | 0 | 38651.65 | 0.771 | 29800.42 | 0 | 38651.65 | 1.7493 | 67613.33 | 0 | 97413.75
September | 49126.69 | 3.1942 | 156920.47 | 0 | 50026.6 | 0.771 | 38570.51 | 0 | 50026.6 | 1.7493 | 87511.53 | 0 | 126082.04
October | 36782.75 | 3.1942 | 117491.46 | 0 | 37682.06 | 0.771 | 29052.87 | 0 | 37682.06 | 1.7493 | 65917.23 | 0 | 94970.1
November | 39679.29 | 3.1942 | 126743.59 | 0 | 39679.29 | 0.771 | 30592.73 | 0 | 39679.29 | 1.7493 | 69410.98 | 0 | 100003.71
December | 49195.34 | 3.1942 | 157139.76 | 0 | 49571.23 | 0.771 | 38219.42 | 0 | 49571.23 | 1.7493 | 86714.95 | 0 | 124934.37
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 483732.48 | 3.1942 | 1545138.29 | 0 | 488585.95 | 0.771 | 376699.76 | 0 | 488585.95 | 1.7493 | 854683.39 | 0 | 1231383.15

## 5. Determine Alloc for OPDC
5. Determine Allocation for OPDC GBV
OPDC Customers should be allocated the 2030 Forecast GBV + 2030 Allocated Bulk GBV
| Forecast Acq GBV |  |  | Allocated Bulk Costs (non adjusted CAM) |  |  | Total GBV that should be allocated to OPDC RES and GS classes |  |  |  | Total GBV that is being Allocated (non Adj CAM) incl Bulk
USofA | AUR | AUGe | AUGd | AUR | AUGe | AUGd | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
1815 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1493013.148 | 762575.4944 | 2117352.6627 | 4372941.3052
1820 | 2730577.2133 | 1278387.7494 | 3249131.1457 | 0 | 0 | 0 | 2730577.2133 | 1278387.7494 | 3249131.1457 | 7258096.1084 | 5764453.8358 | 4694074.7739 | 14968720.5271 | 25427249.1368
1830 | 1.1988 | 0.33547 | 0.17993 | 0.34337 | 0.096086 | 0.051536 | 1.5422 | 0.43156 | 0.23147 | 2.2052 | 39107712.4933 | 16249943.1948 | 30831122.823 | 86188778.5111
1835 | 13560463.0552 | 3932263.7933 | 5950079.7192 | 5848341.0077 | 1695902.2344 | 2566143.5807 | 19408804.0629 | 5628166.0277 | 8516223.2999 | 33553193.3906 | 22397403.1171 | 8916950.4303 | 20599812.4239 | 51914165.9714
1840 | 4541721.803 | 1344409.7809 | 2772235.8847 | 836632.9637 | 247654.4333 | 510675.0314 | 5378354.7668 | 1592064.2142 | 3282910.9161 | 10253329.8971 | 269962.7445 | 98167.8533 | 247508.3911 | 615638.989
1845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5093942.3249 | 1852334.7872 | 4670249.8577 | 11616526.9697
1850 | 4346649.5914 | 1505633.8576 | 1512207.2827 |  |  |  | 4346649.5914 | 1505633.8576 | 1512207.2827 | 7364490.7317 | 21145695.6397 | 14586394.813 | 22544014.2446 | 58276104.6972
1855 | 2176619.276 | 479462.0777 | 119360.5426 |  |  |  | 2176619.276 | 479462.0777 | 119360.5426 | 2775441.8962 | 6578040.4278 | 0 | 0 | 6578040.4278
1860 | 1079837.6019 | 1848189.2522 | 148118.6143 |  |  |  | 1079837.6019 | 1848189.2522 | 148118.6143 | 3076145.4685 | 6503654.8695 | 2994547.3238 | 1136597.0829 | 10634799.2762
TOTAL |  |  |  | 6684974.3148 | 1943556.7638 | 3076818.6636 | 35120844.0546 | 12331903.6104 | 16827952.0327 | 64280699.6977 | 108353878.6006 | 50154988.6708 | 97115378.013 | 255624245.2844
[10 empty] | Reduction for new OPDC Res and GS classes based on Totals | 32.41% | 24.59% | 17.33% | 25.15%
Adjustment for Bulk Assets
CAM I4 BO ASSETS |  | Break out Functions (GBV2030) | BREAK OUT (%) | BREAK OUT ($) | Bulk Factor: Bulk Retail (Primary Retail + Sec) | % Demand Connected to HONI ST (approx. using OPDC's Network Peak) | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 349643425.9798 |  |  | 100% | 100% | 0 | 0 | 0
1815-1 | HVDS - Retail |  | 76.18% | 266375630.2626
1815-2 | HVDS - ST |  | 23.82% | 83267795.7172
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 1289666469.5029 |  |  | 0% | 100% | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk)
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV Primary) |  | 85.29% | 1099893021.4268
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) |  | 14.71% | 189773448.0761
1830 | Poles, Towers and Fixtures | 5805833995.2701 | 0% | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery |  | 25.21% | 1463665198.9761
1830-3A | Bulk-ST Fixtures |  | 15.09% | 220881269.2277
1830-3B | Bulk-Retail Fixtures |  | 84.91% | 1242783929.7485
1830-4 | Poles, Towers and Fixtures - Primary |  | 53.53% | 3107974893.5749
1830-4A | Primary-ST Fixtures |  | 0.1008% | 3133729.1472
1830-4B | Primary-Retail Fixtures |  | 99.9% | 3104841164.4277 | 28.64% | 100% | 0.34337 | 0.096086 | 0.051536
1830-5 | Poles, Towers and Fixtures - Secondary |  | 21.26% | 1234193902.7191
1835 | Overhead Conductors and Devices | 3459794348.0866 | 0%
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery |  | 33.66% | 1164711053.7786
1835-3A | Bulk-ST Conductors |  | 15.09% | 175766190.2613
1835-3B | Bulk-Retail Conductors |  | 84.91% | 988944863.5173
1835-4 | Overhead Conductors and Devices - Primary |  | 58.23% | 2014559428.2469
1835-4A | Primary-ST Conductors |  | 0.1008% | 2031253.0877
1835-4B | Primary-Retail Conductors |  | 99.9% | 2012528175.1592
1835-5 | Overhead Conductors and Devices - Secondary |  | 8.108% | 280523866.0611 | 43.13% | 100% | 5848341.0077 | 1695902.2344 | 2566143.5807
1840 | Underground Conduit | 41138956.1377
1840-3 | Underground Conduit - Bulk Delivery |  | 15.56% | 6399393.177
1840-4 | Underground Conduit - Primary |  | 84.44% | 34739562.9608 | 18.42% | 100% | 836632.9637 | 247654.4333 | 510675.0314
1840-5 | Underground Conduit - Secondary |  | 0% | 0
1845 | Underground Conductors and Devices | 776253294.6308 | 0%
1845-3 | Underground Conductors and Devices - Bulk Delivery |  | 15.56% | 120750512.4981
1845-4 | Underground Conductors and Devices - Primary |  | 84.44% | 655502782.1327
1845-5 | Underground Conductors and Devices - Secondary |  | 0% | 0 | 18.42% | 100% | 0 | 0 | 0

## 6.NFA
6. Determine Adjustment Factor for NFA OPDC RES and GS
|  | Customer and Demand Total | UR | R1 | R2 | Seasonal | GSe | GSd | UGe | UGd | St Lgt | Sen Lgt | USL | DGen | ST | AUR | AUGe | AUGd
NFA | Net Fixed Assets | 9894149642.1177 | 515847217.3466 | 1867747923.5435 | 3514965913.7281 | 623716239.6823 | 1027985923.8466 | 1274513271.2618 | 155576318.6489 | 225429899.9419 | 75068172.6057 | 24844980.4516 | 16059896.5883 | 22951652.3759 | 403847411.2298 | 60494160.2232 | 28895793.984 | 56204866.6594
NFA ECC | Net Fixed Assets Excluding credit for Capital Contribution | 11684544915.0177 | 609978450.5711 | 2215163946.6214 | 4169828612.6887 | 752233643.3808 | 1194661371.7594 | 1498637281.9192 | 180386672.0431 | 265183086.1442 | 88517113.8085 | 29625322.5964 | 19039045.3228 | 29310967.6577 | 461409207.7067 | 71442772.2027 | 33584472.667 | 65542947.928
Total Demand And Customer | GFA - Distribution plant (exclude credit for contributed capital) | 18218477370.3293 | 980131560.2534 | 3498779124.3703 | 6500214783.8063 | 1186166279.2889 | 1832947899.826 | 2298847174.2163 | 277656452.943 | 407849301.4357 | 134469312.1851 | 44701964.09 | 28785851.903 | 47174053.396 | 716835555.3081 | 111124453.3346 | 51609814.0875 | 101183789.8853
| Ratio of NFA to GFA | 54.31% | 52.63% | 53.38% | 54.07% | 52.58% | 56.08% | 55.44% | 56.03% | 55.27% | 55.83% | 55.58% | 55.79% | 48.65% | 56.34% | 54.44% | 55.99% | 55.55%
| Ratio of NFA ECC to GFA | 64.14% | 62.23% | 63.31% | 64.15% | 63.42% | 65.18% | 65.19% | 64.97% | 65.02% | 65.83% | 66.27% | 66.14% | 62.13% | 64.37% | 64.29% | 65.07% | 64.78%
|  |  | Total GBV that should be allocated to Acq RES and GS classes |  |  |  | Total GBV that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 1493013.148 | 762575.4944 | 2117352.6627 | 4372941.3052
|  | 1820 | 2730577.2133 | 1278387.7494 | 3249131.1457 | 7258096.1084 | 5764453.8358 | 4694074.7739 | 14968720.5271 | 25427249.1368
|  | 1830 | 1.5422 | 0.43156 | 0.23147 | 2.2052 | 39107712.4933 | 16249943.1948 | 30831122.823 | 86188778.5111
|  | 1835 | 19408804.0629 | 5628166.0277 | 8516223.2999 | 33553193.3906 | 22397403.1171 | 8916950.4303 | 20599812.4239 | 51914165.9714
|  | 1840 | 5378354.7668 | 1592064.2142 | 3282910.9161 | 10253329.8971 | 269962.7445 | 98167.8533 | 247508.3911 | 615638.989
|  | 1845 | 0 | 0 | 0 | 0 | 5093942.3249 | 1852334.7872 | 4670249.8577 | 11616526.9697
|  | 1850 | 4346649.5914 | 1505633.8576 | 1512207.2827 | 7364490.7317 | 21145695.6397 | 14586394.813 | 22544014.2446 | 58276104.6972
|  | 1855 | 2176619.276 | 479462.0777 | 119360.5426 | 2775441.8962 | 6578040.4278 | 0 | 0 | 6578040.4278
|  | 1860 | 1079837.6019 | 1848189.2522 | 148118.6143 | 3076145.4685 | 6503654.8695 | 2994547.3238 | 1136597.0829 | 10634799.2762
|  | TOTAL | 35120844.0546 | 12331903.6104 | 16827952.0327 | 64280699.6977 | 108353878.6006 | 50154988.6708 | 97115378.013 | 255624245.2844
|  |  | Total NBV that should be allocated to Acq RES and GS classes |  |  |  | Total NBV that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 812769.592 | 426958.0268 | 1176132.3055 | 2415859.9242
|  | 1820 | 1486477.2828 | 715755.9021 | 1804804.7321 | 4007037.917 | 3138065.3266 | 2628163.2672 | 8314720.5915 | 14080949.1853
|  | 1830 | 0.83956 | 0.24163 | 0.12857 | 1.2098 | 21289537.5819 | 9098172.8787 | 17125857.3057 | 47513567.7663
|  | 1835 | 10565804.9825 | 3151151.17 | 4730532.3862 | 18447488.5387 | 12192744.7298 | 4992507.0872 | 11442640.2866 | 28627892.1037
|  | 1840 | 2927879.9151 | 891380.0671 | 1823568.4837 | 5642828.4659 | 146962.8784 | 54963.1522 | 137484.2367 | 339410.2673
|  | 1845 | 0 | 0 | 0 | 0 | 2773050.8805 | 1037102.833 | 2594197.8534 | 6404351.5669
|  | 1850 | 2366238.1135 | 842988.6163 | 839990.3658 | 4049217.0956 | 11511337.619 | 8166769.5754 | 12522591.9687 | 32200699.1632
|  | 1855 | 1184912.5127 | 268445.792 | 66301.5626 | 1519659.8674 | 3580967.2817 | 0 | 0 | 3580967.2817
|  | 1860 | 587844.2318 | 1034781.7914 | 82275.8959 | 1704901.9192 | 3540473.1174 | 1676615.6607 | 631349.0289 | 5848437.807
|  | TOTAL | 19119157.878 | 6904503.5805 | 9347473.555 | 35371135.0135 | 58985909.0072 | 28081252.4812 | 53944973.5772 | 141012135.0656
[6 empty] | Total 2030 NFA (O6 CAM) | 60494160.2232 | 28895793.984 | 56204866.6594
[6 empty] | NFA being allocated that is NOT associated with 1815-1860 | 1508251.216 | 814541.5028 | 2259893.0822
[6 empty] | Total NBV ECC that should be allocated for 1815-1860 | 19119157.878 | 6904503.5805 | 9347473.555
[6 empty] | Total | 20627409.094 | 7719045.0833 | 11607366.6372
[6 empty] | Reduction to OPDC for NFA | 34.1% | 26.71% | 20.65%
|  |  | Total NBV ECC that should be allocated to Acq RES and GS classes |  |  |  | Total NBV ECC that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 959869.7229 | 496236.9329 | 1371539.2107 | 2827645.8665
|  | 1820 | 1755509.2509 | 831895.6227 | 2104661.5642 | 4692066.4378 | 3706012.0424 | 3054613.3275 | 9696158.5563 | 16456783.9262
|  | 1830 | 0.9915 | 0.28083 | 0.14994 | 1.4223 | 25142651.4254 | 10574457.2562 | 19971209.6181 | 55688318.2996
|  | 1835 | 12478070.5397 | 3662462.1008 | 5516480.2675 | 21657012.9079 | 14399464.0316 | 5802599.4338 | 13343762.2228 | 33545825.6882
|  | 1840 | 3457785.9589 | 1036016.8513 | 2126542.7938 | 6620345.6039 | 173561.1405 | 63881.5629 | 160326.3686 | 397769.072
|  | 1845 | 0 | 0 | 0 | 0 | 3274934.9959 | 1205384.831 | 3025207.3339 | 7505527.1608
|  | 1850 | 2794494.7065 | 979773.3247 | 979549.4248 | 4753817.456 | 13594731.5944 | 9491922.933 | 14603141.011 | 37689795.5384
|  | 1855 | 1399365.4001 | 312004.2443 | 77317.1457 | 1788686.7902 | 4229073.1672 | 0 | 0 | 4229073.1672
|  | 1860 | 694235.9624 | 1202687.1734 | 95945.513 | 1992868.6488 | 4181250.1154 | 1948666.0537 | 736243.6562 | 6866159.8253
|  | TOTAL | 22579462.8101 | 8024839.598 | 10900496.8589 | 41504799.267 | 69661548.2358 | 32637762.3309 | 62907587.9776 | 165206898.5442
[6 empty] | Total 2030 NFA ECC (O6 CAM) | 71442772.2027 | 33584472.667 | 65542947.928
[6 empty] | NFA being allocated that is NOT associated with 1815-1860 | 1781223.9669 | 946710.3362 | 2635359.9504
[6 empty] | Total NBV ECC that should be allocated for 1815-1860 | 22579462.8101 | 8024839.598 | 10900496.8589
[6 empty] | Total | 24360686.777 | 8971549.9342 | 13535856.8092
[6 empty] | Reduction to OPDC for NFA ECC | 34.1% | 26.71% | 20.65%

## 7. Depn5705
7. Determine Allocation for OPDC Depreciation 5705
7a. Derivation of the adjusted annual depreciation costs for the OPDC rate classes.
Total GBV that is being Allocated (non Adj CAM) incl Bulk
|  |  | AUR | AUGe | AUGd | total
| Reduction for OPDC determined in Worksheet 5. for GBV |  | 32.41% | 24.59% | 17.33% | 25.15%
7b. Determine Annual Depn associated with 1830-1860 (O7 CAM) - primary and secondary end user assets only (i.e. exclude bulk) - shaded in gray
Account | Description | Depreciation (total for all classes) | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 7334500.679 | 0 | 0 | 0
1815-1 | HVDS - Retail | 5587784.857 | 31319.0672 | 15996.6127 | 44415.8917
1815-2 | HVDS - ST | 1746715.822 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 32200411.0918 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | 27462144.8913 | 121968.9711 | 107701.6132 | 339700.6088
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | 4738266.2005 | 21956.9282 | 9499.171 | 34035.6488
1830 | Poles, Towers and Fixtures | 106652384.603 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | 26887331.5803 | 0 | 0 | 0
1830-3A | Bulk-ST Fixtures | 4057559.0167 | 0 | 0 | 0
1830-3B | Bulk-Retail Fixtures | 22829772.5636 | 127958.9675 | 65356.6735 | 181468.1008
1830-4 | Poles, Towers and Fixtures - Primary | 57093078.0928 | 0 | 0 | 0
1830-4A | Primary-ST Fixtures | 57566.1802 | 0 | 0 | 0
1830-4B | Primary-Retail Fixtures | 57035511.9126 | 401607.2943 | 150304.8153 | 384388.2998
1830-5 | Poles, Towers and Fixtures - Secondary | 22671974.9298 | 188720.6992 | 82081.6716 | 508.7812
1835 | Overhead Conductors and Devices | 62717007.2194 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | 21113159.9798 | 0 | 0 | 0
1835-3A | Bulk-ST Conductors | 3186180.5398 | 0 | 0 | 0
1835-3B | Bulk-Retail Conductors | 17926979.44 | 100479.2217 | 51321.0431 | 142497.0355
1835-4 | Overhead Conductors and Devices - Primary | 36518684.4921 | 0 | 0 | 0
1835-4A | Primary-ST Conductors | 36821.2968 | 0 | 0 | 0
1835-4B | Primary-Retail Conductors | 36481863.1953 | 262970.8428 | 92603.5528 | 230800.8603
1835-5 | Overhead Conductors and Devices - Secondary | 5085162.7475 | 42561.0604 | 17557.9266 | 121.8988
1840 | Underground Conduit | 574869.0231 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | 89424.0703 | 273.2167 | 139.5489 | 387.4689
1840-4 | Underground Conduit - Primary | 485444.9529 | 3499.2146 | 1232.2267 | 3071.1456
1840-5 | Underground Conduit - Secondary | 0 | 0 | 0 | 0
1845 | Underground Conductors and Devices | 17739130.768 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | 2759420.3417 | 8430.8371 | 4306.1575 | 11956.3953
1845-4 | Underground Conductors and Devices - Primary | 14979710.4263 | 107977.6835 | 38023.6721 | 94768.4617
1845-5 | Underground Conductors and Devices - Secondary | 0 | 0 | 0 | 0
1850 | Line Transformers | 90037497.5196 | 514851.7251 | 355146.0309 | 548895.9526
1855 | Services | 26766322.5751 | 143230.39 | 0 | 0
1860 | Meters | 51975989.3256 | 0 | 0 | 0
1860-1 | Mtr-Single | 942648.5749 | 7352.2201 | 3385.2613 | 0
1860-2 | Mtr-Poly | 3714147.9996 | 0 | 0 | 42700.881
1860-3 | Mtr-ST | 1848592.8252 | 0 | 0 | 0
1860-4 | Mtr-Smart | 45470599.9258 | 342177.6895 | 157552.5308 | 18383.9526
Annual Depn Subtotal (non-Bulk assets):
| Non Adjusted CAM allocation (input to O4 row 282) | 816804659.6596 | 2427336.0289 | 1152208.5082 | 2078101.3835
| Adjusted in proportion to GBV reduction ("Should be" allocated) |  | 786774.6982 | 283300.3185 | 360089.1137
| Overallocation (Amount to reallocate to legacy rate classes) | 4227481.7901 | 1640561.3307 | 868908.1898 | 1718012.2697
|  | Total (Legacy only) | UR | R1 | R2 | Seasonal | GSe | GSd | UGe | UGd | St Lgt | Sen Lgt | USL | DGen | ST | AUR | AUGe | AUGd
| Annual Depn 5705 among legacy classes (Unadjusted) | 473080757.2554 | 28929854.8665 | 94457782.4615 | 163824774.1306 | 32386216.5472 | 48036814.2199 | 60972300.1717 | 7608333.6063 | 11033557.5756 | 3370724.3512 | 1730020.4967 | 714000.6798 | 2197429.1784 | 17818948.97 | 2931571.6531 | 1390041.433 | 2553320.1421
| % split of Annual Depn 5705 among legacy classes |  | 6.115% | 19.97% | 34.63% | 6.846% | 10.15% | 12.89% | 1.608% | 2.332% | 0.7125% | 0.3657% | 0.1509% | 0.4645% | 3.767%
| Reallocated Annual Depn 5705 |  | 258519.1487 | 844081.162 | 1463949.3126 | 289405.4315 | 429260.2357 | 544852.6171 | 67988.5861 | 98596.6202 | 30121.0218 | 15459.5807 | 6380.3586 | 19636.3764 | 159231.3387
| Annual Depn 5705 Total (Adjusted) | 479955690.4836 | 29188374.0152 | 95301863.6235 | 165288723.4432 | 32675621.9787 | 48466074.4556 | 61517152.7887 | 7676322.1924 | 11132154.1957 | 3400845.373 | 1745480.0774 | 720381.0384 | 2217065.5548 | 17978180.3087 | 1291010.3224 | 521133.2432 | 835307.8724
| Annual Depn 5705 Total (Adjusted) New Allocators in CAM O4 | 100% | 6.081% | 19.86% | 34.44% | 6.808% | 10.1% | 12.82% | 1.599% | 2.319% | 0.7086% | 0.3637% | 0.1501% | 0.4619% | 3.746% | 0.269% | 0.1086% | 0.174%