## 1. Forecast PDI GFA
1. Determine Forecast PDI GBV for Dx Assets
|  |  |  | 2013 PDI Last CAM (EB-2012-0160) | 2030
|  |  | Total Gross Plant | 108127417 | 153958257.1466
|  |  | Change % |  | 42.39%
Peterborough |  |  | 2013 CAM | Rate Base Growth (Status Quo) | 2030 (Scaled)
Distribution Plant |  |  | GBV | 2013 to 2030 | YE GBV
| 1815 | Transformer station equip - above 50kV | 0 | 0% | 0
| 1820 | Distribution station equip - below 50kV | 3722995 | 42.39% | 5301022.0485
| 1830 | Poles, towers and fixtures | 24020183 | 42.39% | 34201367.3648
| 1835 | Overhead conductors and devices | 11526061 | 42.39% | 16411492.2243
| 1840 | Underground conduit | 16544141 | 42.39% | 23556533.4401
| 1845 | Underground conductors and devices | 5755005 | 42.39% | 8194318.9272
| 1850 | Line transformers | 20450652 | 42.39% | 29118856.5009
| 1855 | Services | 15577849 | 42.39% | 22180669.3314
| 1860 | Meters (existing) | 7009040 | 42.39% | 9979888.6592
|  | TOTAL | 104605926 | 42.39% | 148944148.4963
Haldimand |  |  |  | 2021 | 2021 | 2022 | 2022
Distribution Plant |  |  |  | I/S Adds | YE GBV | I/S Adds | YE GBV
| 1815 | Transformer station equip - above 50kV
| 1820 | Distribution station equip - below 50kV
| 1830 | Poles, towers and fixtures
| 1835 | Overhead conductors and devices
| 1840 | Underground conduit
| 1845 | Underground conductors and devices
| 1850 | Line transformers
| 1855 | Services
| 1860 | Meters (existing)
|  | TOTAL |  | 0 | 0 | 0 | 0
Norfolk |  |  | 2014 | 2021 | 2021 | 2022 | 2022
Distribution Plant |  |  | YE GBV | I/S Adds | YE GBV | I/S Adds | YE GBV
| 1815 | Transformer station equip - above 50kV
| 1820 | Distribution station equip - below 50kV
| 1830 | Poles, towers and fixtures
| 1835 | Overhead conductors and devices
| 1840 | Underground conduit
| 1845 | Underground conductors and devices
| 1850 | Line transformers
| 1855 | Services
| 1860 | Meters (existing)
|  | TOTAL | 0 | 0 | 0 | 0 | 0
Note on D23: KIM Susan: 2014 I/S adds captured in 2014 GBV

## 2. PDI last CAM outputs
2. Determine gross plant attributable to only PDI's RES and General Service rate classes
2a. Gross Plant shown in PDI 2013 Rate Application (EB-2012-0160, Settlement Revision, O4 Summary by Class & Accounts) | [14 empty] | 2b. Total by USofA |  |  |  |  | 2c. Determine allocation among RES and GS classes
USoA Account # | Accounts | O1 Grouping | Total | Residential | GS <50 | GS 50 to 999 kW | GS> 50-TOU | GS > 1000 kW | Large Use | Street Lighting | Sentinel | Unmetered Scattered Load |  |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW | USofA | Residential | GS <50 | GS 50 to 999 kW | Proportion of total associated with just RES and GS
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1815 | 0 | 0 | 0 | 0 | 1815 | 0% | 0% | 0% | 0%
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1820 | 3722995 | 1376225.4186 | 598078.2304 | 1500236.225 | 1820 | 36.97% | 16.06% | 40.3% | 93.33%
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1830 | 24020183 | 13375458.4591 | 3358734.1154 | 5004620.664 | 1830 | 55.68% | 13.98% | 20.84% | 90.5%
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | 2680556.4 | 1001791.5408 | 455351.8286 | 1053703.8732 | 0 | 0 | 160614.1592 | 0 | 2569.5575 | 6525.4407 |  |  | 1835 | 11526061 | 6418200.4818 | 1611685.2356 | 2401462.2643 | 1835 | 55.68% | 13.98% | 20.84% | 90.5%
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | 1042438.6 | 374433.8778 | 142726.4018 | 446532.3518 | 0 | 0 | 68852.8565 | 6915.9307 | 891.3632 | 2085.8183 |  |  | 1840 | 16544141 | 10012066.6224 | 2283016.9441 | 2757585.9823 | 1840 | 60.52% | 13.8% | 16.67% | 90.98%
1830 | Poles, Towers and Fixtures | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1845 | 5755005 | 3853629.4286 | 780090.5764 | 639498.1408 | 1845 | 66.96% | 13.55% | 11.11% | 91.63%
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1850 | 20450652 | 10515494.3361 | 2990924.7938 | 5493328.2023 | 1850 | 51.42% | 14.63% | 26.86% | 92.91%
1830-4 | Poles, Towers and Fixtures - Primary | dp | 18015137.25 | 8580460.6464 | 2574121.8954 | 5004620.664 | 0 | 0 | 755847.9891 | 992462.9277 | 30111.9074 | 77511.2201 |  |  | 1855 | 15577849 | 11616953.9853 | 3912800.6087 | 0 | 1855 | 74.57% | 25.12% | 0% | 99.69%
1830-5 | Poles, Towers and Fixtures - Secondary | dp | 6005045.75 | 4794997.8128 | 784612.2201 | 0 | 0 | 0 | 0 | 367886.895 | 16149.8701 | 41398.9521 |  |  | 1860 | 7009040 | 3937926.001 | 1536741.986 | 1505867.1873 | 1860 | 56.18% | 21.93% | 21.48% | 99.59%
1835 | Overhead Conductors and Devices | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1835-4 | Overhead Conductors and Devices - Primary | dp | 8644545.75 | 4117325.5349 | 1235189.8396 | 2401462.2643 | 0 | 0 | 362692.9082 | 476232.352 | 14449.1689 | 37193.6821
1835-5 | Overhead Conductors and Devices - Secondary | dp | 2881515.25 | 2300874.9469 | 376495.396 | 0 | 0 | 0 | 0 | 176530.1618 | 7749.4992 | 19865.2461
1840 | Underground Conduit | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1840-4 | Underground Conduit - Primary | dp | 9926484.6 | 4727902.3904 | 1418361.7365 | 2757585.9823 | 0 | 0 | 416478.2827 | 546855.0048 | 16591.9016 | 42709.3017
1840-5 | Underground Conduit - Secondary | dp | 6617656.4 | 5284164.232 | 864655.2076 | 0 | 0 | 0 | 0 | 405417.2385 | 17797.415 | 45622.3069
1845 | Underground Conductors and Devices | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1845-4 | Underground Conductors and Devices - Primary | dp | 2302002 | 1096424.4843 | 328925.2626 | 639498.1408 | 0 | 0 | 96583.4208 | 126818.4423 | 3847.7459 | 9904.5032
1845-5 | Underground Conductors and Devices - Secondary | dp | 3453003 | 2757204.9443 | 451165.3137 | 0 | 0 | 0 | 0 | 211541.1947 | 9286.4488 | 23805.0985
1850 | Line Transformers | dp | 20450652 | 10515494.3361 | 2990924.7938 | 5493328.2023 | 0 | 0 | 0 | 1316022.0805 | 37717.4401 | 97165.1472
1855 | Services | dp | 15577849 | 11616953.9853 | 3912800.6087 | 0 | 0 | 0 | 0 | 0 | 0 | 48094.406
1860 | Meters | dp | 7009040 | 3937926.001 | 1536741.986 | 1505867.1873 | 0 | 0 | 28504.8258 | 0 | 0 | 0
TOTAL |  |  | 104605926 | 61105954.7328 | 17072072.4903 | 19302598.666 | [8 empty] | TOTAL | 104605926 | 61105954.7328 | 17072072.4903 | 19302598.666
Haldimand (File M:\Dist Pric\2018-2022 DX Rates\Last filed CAM of acquired LDCs\Haldimand_2014_Cost_Allocation_Settlement_20140404)
USoA Account # | Accounts | O1 Grouping | Total | Residential | General Service Less Than 50 kW | General Service 50 to 4,999 kW | GS> 50-TOU | GS >50-Intermediate | Large Use >5MW | Street Lighting | Sentinel Lighting | Unmetered Scattered Load | Embedded Distributor - Hydro One Networks Inc. |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | [12 empty] | 1815 | 0 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | [12 empty] | 1820 | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | [12 empty] | 1830 | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | [12 empty] | 1835 | 0 | 0 | 0 | 0
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | [12 empty] | 1840 | 0 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | dp | [12 empty] | 1845 | 0 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | [12 empty] | 1850 | 0 | 0 | 0 | 0
1830-4 | Poles, Towers and Fixtures - Primary | dp | [12 empty] | 1855 | 0 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | dp | [12 empty] | 1860 | 0 | 0 | 0 | 0
1835 | Overhead Conductors and Devices | dp
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp
1835-4 | Overhead Conductors and Devices - Primary | dp
1835-5 | Overhead Conductors and Devices - Secondary | dp
1840 | Underground Conduit | dp
1840-3 | Underground Conduit - Bulk Delivery | dp | [11 empty] | 0
1840-4 | Underground Conduit - Primary | dp
1840-5 | Underground Conduit - Secondary | dp
1845 | Underground Conductors and Devices | dp
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp
1845-4 | Underground Conductors and Devices - Primary | dp
1845-5 | Underground Conductors and Devices - Secondary | dp
1850 | Line Transformers | dp
1855 | Services | dp
1860 | Meters | dp
TOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | TOTAL | 0 | 0 | 0 | 0
Norfolk (File M:\Dist Pric\2018-2022 DX Rates\Last filed CAM of acquired LDCs\Norfolk_2012COS_Cost_Allocation_Model_20120308.XLS)
USoA Account # | Accounts | O1 Grouping | Total | Residential | GS <50 | GS>50-Regular | GS> 50-TOU | GS >50-Intermediate | Large Use >5MW | Street Light | Sentinel | Unmetered Scattered Load | Embedded Distributor |  | USofA | Total | Residential | GS <50 | GS 50 to 999 kW
1815 | Transformer Station Equipment - Normally Primary above 50 kV | dp | [12 empty] | 1815 | 0 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | dp | [12 empty] | 1820 | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | dp | [12 empty] | 1830 | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | dp | [12 empty] | 1835 | 0 | 0 | 0 | 0
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | dp | [12 empty] | 1840 | 0 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | dp | [12 empty] | 1845 | 0 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | dp | [12 empty] | 1850 | 0 | 0 | 0 | 0
1830-4 | Poles, Towers and Fixtures - Primary | dp | [12 empty] | 1855 | 0 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | dp | [12 empty] | 1860 | 0 | 0 | 0 | 0
1835 | Overhead Conductors and Devices | dp
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | dp
1835-4 | Overhead Conductors and Devices - Primary | dp
1835-5 | Overhead Conductors and Devices - Secondary | dp
1840 | Underground Conduit | dp
1840-3 | Underground Conduit - Bulk Delivery | dp
1840-4 | Underground Conduit - Primary | dp
1840-5 | Underground Conduit - Secondary | dp
1845 | Underground Conductors and Devices | dp
1845-3 | Underground Conductors and Devices - Bulk Delivery | dp
1845-4 | Underground Conductors and Devices - Primary | dp
1845-5 | Underground Conductors and Devices - Secondary | dp
1850 | Line Transformers | dp
1855 | Services | dp
1860 | Meters | dp
TOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | TOTAL | 0 | 0 | 0 | 0
[15 empty] | Mixed Density (Haldimand + Norfolk) |  |  |  |  | Mixed Density (Haldimand + Norfolk)
[15 empty] | USofA | Total | Residential | GS <50 | GS 50 to 999 kW | USofA | Residential | GS <50 | GS 50 to 999 kW | Proportion of total associated with just RES and GS
[15 empty] | 1815 | 0 | 0 | 0 | 0 | 1815 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1820 | 0 | 0 | 0 | 0 | 1820 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1830 | 0 | 0 | 0 | 0 | 1830 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1835 | 0 | 0 | 0 | 0 | 1835 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1840 | 0 | 0 | 0 | 0 | 1840 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1845 | 0 | 0 | 0 | 0 | 1845 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1850 | 0 | 0 | 0 | 0 | 1850 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1855 | 0 | 0 | 0 | 0 | 1855 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[15 empty] | 1860 | 0 | 0 | 0 | 0 | 1860 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## 3. Allocated Forecast PDI GFA
3. Allocate portion of Total Forecast Acq GBV associated with RES and GS only and allocate among RES and GS rate classes
Peterborough Distribution Inc.
|  |  |  | Portion of Total GBV associated with only RES and GS rate classes |  |  |  | GBV associated with only PDI RES and GS rate classes
Distribution Plant |  |  | Total 2030 GBV (Worksheet 1. Forecast PDI GFA) | Residential | GS <50 | GS 50 to 999 kW | Total | Residential | GS <50 | GS 50 to 999 kW | Total
| 1815 | Transformer station equip - above 50kV | 0 | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0
| 1820 | Distribution station equip - below 50kV | 5301022.0485 | 36.97% | 16.06% | 40.3% | 93.33% | 1959551.7286 | 851579.4101 | 2136125.7017 | 4947256.8404
| 1830 | Poles, towers and fixtures | 34201367.3648 | 55.68% | 13.98% | 20.84% | 90.5% | 19044774.4896 | 4782365.7031 | 7125877.0115 | 30953017.2042
| 1835 | Overhead conductors and devices | 16411492.2243 | 55.68% | 13.98% | 20.84% | 90.5% | 9138616.1587 | 2294813.4416 | 3419345.0197 | 14852774.62
| 1840 | Underground conduit | 23556533.4401 | 60.52% | 13.8% | 16.67% | 90.98% | 14255776.8453 | 3250695.5174 | 3926415.1826 | 21432887.5454
| 1845 | Underground conductors and devices | 8194318.9272 | 66.96% | 13.55% | 11.11% | 91.63% | 5487027.1294 | 1110739.4303 | 910555.5458 | 7508322.1055
| 1850 | Line transformers | 29118856.5009 | 51.42% | 14.63% | 26.86% | 92.91% | 14972587.2118 | 4258656.8817 | 7821727.9153 | 27052972.0089
| 1855 | Services | 22180669.3314 | 74.57% | 25.12% | 0% | 99.69% | 16540911.0709 | 5571278.5803 | 0 | 22112189.6512
| 1860 | Meters (existing) | 9979888.6592 | 56.18% | 21.93% | 21.48% | 99.59% | 5607053.6105 | 2188104.7787 | 2144143.4011 | 9939301.7904
|  | TOTAL | 148944148.4963

## 4. Non Adj 2030 CAM outputs
4. Determine CAM Output for PDI Acquired Class
|  | 4a. O4 Summary by Class & Accounts values |  |  |  | 4b. Select all fixed assets not associated with Bulk (since their historical data would not include Bulk assets) |  |  |  | 4c. Summarize values by USofA |  |  |  | 4d. Summarize Bulk GBV (to add to Forecast Acquired GBV)
|  |  | 18 | 19 | 20
USoA Account # | Accounts | Total | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd | USofA | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 0 | 0 | 0 | 0
1815-1 | HVDS - Retail | 267259097.9638 | 4477167.1322 | 1649531.1649 | 4546566.851
1815-2 | HVDS - ST | 83543963.6534 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 0 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | 1103549849.4946 | 14561146.9216 | 12829038.3855 | 31275588.5691 | 1820 | 14561146.9216 | 12829038.3855 | 31275588.5691 | 1815 | 0 | 0 | 0 | 1815 | 4477167.1322 | 1649531.1649 | 4546566.851
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | 190404390.2295 | 2407376.5785 | 990537.9702 | 2964796.364 | 1820 | 2407376.5785 | 990537.9702 | 2964796.364 | 1820 | 16968523.5001 | 13819576.3557 | 34240384.9331 | 1820 | 0 | 0 | 0
1830 | Poles, Towers and Fixtures | 0 | 0 | 0 | 0 |  |  |  |  | 1830 | 86151303.3428 | 36926174.0001 | 48024926.4241 | 1830 | 20886395.8659 | 7695214.3816 | 21210151.9281
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | 0 | 0 | 0 | 0 |  |  |  |  | 1835 | 44842294.0587 | 17528280.6543 | 29220410.0268 | 1835 | 16620433.4605 | 6123497.774 | 16878063.6482
1830-3A | Bulk-ST Fixtures | 221592959.0173 | 0 | 0 | 0 |  |  |  |  | 1840 | 664788.4571 | 253066.6693 | 504427.671 | 1840 | 59188.9442 | 21807.0948 | 60106.4208
1830-3B | Bulk-Retail Fixtures | 1246788237.7492 | 20886395.8659 | 7695214.3816 | 21210151.9281 |  |  |  |  | 1845 | 12540502.493 | 4773824.1596 | 9515472.7764 | 1845 | 1116534.2809 | 411366.8395 | 1133841.4671
1830-4 | Poles, Towers and Fixtures - Primary | 0 | 0 | 0 | 0 |  |  |  |  | 1850 | 55775604.9452 | 43681778.0338 | 89374607.9985 | 1850 | 0 | 0 | 0
1830-4A | Primary-ST Fixtures | 3143826.1692 | 0 | 0 | 0 |  |  |  |  | 1855 | 16999387.2919 | 0 | 0 | 1855 | 0 | 0 | 0
1830-4B | Primary-Retail Fixtures | 3114845108.008 | 58328915.6172 | 23560835.4184 | 48024926.4241 | 1830 | 58328915.6172 | 23560835.4184 | 48024926.4241 | 1860 | 16305419.707 | 7506059.3246 | 2511966.3896 | 1860 | 0 | 0 | 0
1830-5 | Poles, Towers and Fixtures - Secondary | 1238170533.2506 | 27822387.7256 | 13365338.5817 | 0 | 1830 | 27822387.7256 | 13365338.5817 | 0
1835 | Overhead Conductors and Devices | 0 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | 0 | 0 | 0 | 0
1835-3A | Bulk-ST Conductors | 176333487.8023 | 0 | 0 | 0
1835-3B | Bulk-Retail Conductors | 992136751.493 | 16620433.4605 | 6123497.774 | 16878063.6482
1835-4 | Overhead Conductors and Devices - Primary | 0 | 0 | 0 | 0
1835-4A | Primary-ST Conductors | 2037809.0976 | 0 | 0 | 0
1835-4B | Primary-Retail Conductors | 2019023749.0987 | 38509765.4523 | 14659607.8426 | 29220410.0268 | 1835 | 38509765.4523 | 14659607.8426 | 29220410.0268
1835-5 | Overhead Conductors and Devices - Secondary | 281429276.2493 | 6332528.6064 | 2868672.8117 | 0 | 1835 | 6332528.6064 | 2868672.8117 | 0
1840 | Underground Conduit | 0 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | 6420494.3394 | 59188.9442 | 21807.0948 | 60106.4208
1840-4 | Underground Conduit - Primary | 34854112.128 | 664788.4571 | 253066.6693 | 504427.671 | 1840 | 664788.4571 | 253066.6693 | 504427.671
1840-5 | Underground Conduit - Secondary | 0 | 0 | 0 | 0 | 1840 | 0 | 0 | 0
1845 | Underground Conductors and Devices | 0 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | 121115558.4971 | 1116534.2809 | 411366.8395 | 1133841.4671
1845-4 | Underground Conductors and Devices - Primary | 657484460.4127 | 12540502.493 | 4773824.1596 | 9515472.7764 | 1845 | 12540502.493 | 4773824.1596 | 9515472.7764
1845-5 | Underground Conductors and Devices - Secondary | 0 | 0 | 0 | 0 | 1845 | 0 | 0 | 0
1850 | Line Transformers | 3709805775.4114 | 55775604.9452 | 43681778.0338 | 89374607.9985 | 1850 | 55775604.9452 | 43681778.0338 | 89374607.9985
1855 | Services | 1233051521.5834 | 16999387.2919 | 0 | 0 | 1855 | 16999387.2919 | 0 | 0
1860 | Meters | 0 | 0 | 0 | 0
1860-1 | Mtr-Single | 17598432.7135 | 342938.9697 | 157868.9968 | 0 | 1860 | 342938.9697 | 157868.9968 | 0
1860-2 | Mtr-Poly | 69339927.3054 | 0 | 0 | 1757653.5922 | 1860 | 0 | 0 | 1757653.5922
1860-3 | Mtr-ST | 34511627.4661 | 0 | 0 | 0
1860-4 | Mtr-Smart | 848896730.4713 | 15962480.7373 | 7348190.3278 | 754312.7974 | 1860 | 15962480.7373 | 7348190.3278 | 754312.7974
[6 empty] | TOTAL | 250247823.7958 | 124488759.1975 | 213392196.2195 | TOTAL | 250247823.7958 | 124488759.1975 | 213392196.2195
[10 empty] | Check (should be $0) | 0 | 0 | 0

## 4.5. PDI Upstream DX factor
4.5. PDI Upstream DX factor: Determine the portion of the PDI load that is supplied through upstream HONI distribution facilities
PDI 2019 IRM Model (EB-2018-0067, Tab 12 Historical Wholesale)
Total Demand Connected to HONI
| Network |  | 48.61%
IESO | Network |  |  | Line Connection |  |  | Transformation Connection |  |  | Total Connection
Month | Units Billed | Rate | Amount | Units Billed | Rate | Amount | Units Billed | Rate | Amount | Amount
January | 83668 | 3.52 | 294511 | 83668 | 0.88 | 73628 | 83668 | 2.13 | 178213 | 251841
February | 64126 | 3.52 | 225724 | 71274 | 0.88 | 62721 | 71274 | 2.13 | 151814 | 214535
March | 68708 | 3.52 | 241852 | 71873 | 0.88 | 63248 | 71873 | 2.13 | 153089 | 216338
April | 50812 | 3.52 | 178858 | 59779 | 0.88 | 52606 | 59779 | 2.13 | 127329 | 179935
May | 39282 | 3.52 | 138273 | 39725 | 0.88 | 34958 | 39725 | 2.13 | 84614 | 119572
June | 47616 | 3.52 | 167608 | 48102 | 0.88 | 42330 | 48102 | 2.13 | 102457 | 144787
July | 63613 | 3.52 | 223918 | 65890 | 0.88 | 57983 | 65890 | 2.13 | 140346 | 198329
August | 67940 | 3.52 | 239149 | 68582 | 0.88 | 60352 | 68582 | 2.13 | 146080 | 206432
September | 65419 | 3.52 | 230275 | 66297 | 0.88 | 58341 | 66297 | 2.13 | 141213 | 199554
October | 49426 | 3.52 | 173980 | 57264 | 0.88 | 50392 | 57264 | 2.13 | 121972 | 172365
November | 64325 | 3.52 | 226424 | 64656 | 0.88 | 56897 | 64656 | 2.13 | 137717 | 194615
December | 76772 | 3.52 | 270237 | 77679 | 0.88 | 68358 | 77679 | 2.13 | 165456 | 233814
Total | 741707 | 3.52 | 2610809 | 774789 | 0.88 | 681814 | 774789 | 2.13 | 1650301 | 2332115
Hydro One | Network |  |  | Line Connection |  |  | Transformation Connection |  |  | Total Connection
Month | Units Billed | Rate | Amount | Units Billed | Rate | Amount | Units Billed | Rate | Amount | Amount
January | 40020 | 3.3008 | 132100 | 9756 | 0.777 | 7580 | 46412 | 1.7654 | 81937 | 89517
February | 52146 | 3.1942 | 166564 | 9118 | 0.771 | 7030 | 54442 | 1.7493 | 95236 | 102266
March | 55392 | 3.1942 | 176932 | 15189 | 0.771 | 11710 | 53769 | 1.7493 | 94058 | 105769
April | 50338 | 3.1942 | 160789 | 13034 | 0.771 | 10049 | 88060 | 1.7493 | 154043 | 164092
May | 58799 | 3.1942 | 187817 | 6657 | 0.771 | 5133 | 65653 | 1.7493 | 114847 | 119980
June | 57661 | 3.1942 | 184180 | 6499 | 0.771 | 5011 | 68039 | 1.7493 | 119021 | 124032
July | 75995 | 3.1942 | 242742 | 7556 | 0.771 | 5826 | 81994 | 1.7493 | 143432 | 149258
August | 49735 | 3.1942 | 158862 | 7438 | 0.771 | 5734 | 57294 | 1.7493 | 100225 | 105959
September | 123536 | 3.1942 | 394597 | 20088 | 0.771 | 15488 | 128688 | 1.7493 | 225114 | 240602
October | 50929 | 3.1942 | 162676 | 10443 | 0.771 | 8051 | 52884 | 1.7493 | 92511 | 100562
November | 39765 | 3.1942 | 127016 | 7610 | 0.771 | 5868 | 53677 | 1.7493 | 93897 | 99764
December | 47273 | 3.1942 | 150999 | 8631 | 0.771 | 6655 | 57047 | 1.7493 | 99793 | 106447
Total | 701589 | 3.2003 | 2245276 | 122019 | 0.7715 | 94135 | 807959 | 1.7502 | 1414114 | 1508249

## 5. Determine Alloc for PDI
5. Determine Allocation for PDI GBV
PDI Customers should be allocated the 2030 Forecast GBV + 2030 Allocated Bulk GBV
| Forecast Acq GBV |  |  | Allocated Bulk Costs (non adjusted CAM) |  |  | Total GBV that should be allocated to PDI RES and GS classes |  |  |  | Total GBV that is being Allocated (non Adj CAM) incl Bulk
USofA | AUR | AUGe | AUGd | AUR | AUGe | AUGd | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
1815 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4477167.1322 | 1649531.1649 | 4546566.851 | 10673265.1481
1820 | 1959551.7286 | 851579.4101 | 2136125.7017 | 0 | 0 | 0 | 1959551.7286 | 851579.4101 | 2136125.7017 | 4947256.8404 | 16968523.5001 | 13819576.3557 | 34240384.9331 | 65028484.7889
1830 | 19044774.4896 | 4782365.7031 | 7125877.0115 | 2651585.69 | 665844.191 | 992129.0232 | 21696360.1795 | 5448209.8941 | 8118006.0347 | 35262576.1084 | 107037699.2087 | 44621388.3817 | 69235078.3521 | 220894165.9425
1835 | 9138616.1587 | 2294813.4416 | 3419345.0197 | 1915869.6936 | 481097.2962 | 716850.2738 | 11054485.8523 | 2775910.7379 | 4136195.2934 | 17966591.8836 | 61462727.5192 | 23651778.4284 | 46098473.675 | 131212979.6226
1840 | 14255776.8453 | 3250695.5174 | 3926415.1826 | 1276534.9069 | 291083.8423 | 351591.2247 | 15532311.7522 | 3541779.3597 | 4278006.4073 | 23352097.5192 | 723977.4013 | 274873.7641 | 564534.0918 | 1563385.2572
1845 | 5487027.1294 | 1110739.4303 | 910555.5458 | 491336.3713 | 99461.269 | 81535.7838 | 5978363.5007 | 1210200.6992 | 992091.3297 | 8180655.5296 | 13657036.7739 | 5185190.9991 | 10649314.2435 | 29491542.0164
1850 | 14972587.2118 | 4258656.8817 | 7821727.9153 |  |  |  | 14972587.2118 | 4258656.8817 | 7821727.9153 | 27052972.0089 | 55775604.9452 | 43681778.0338 | 89374607.9985 | 188831990.9775
1855 | 16540911.0709 | 5571278.5803 | 0 |  |  |  | 16540911.0709 | 5571278.5803 | 0 | 22112189.6512 | 16999387.2919 | 0 | 0 | 16999387.2919
1860 | 5607053.6105 | 2188104.7787 | 2144143.4011 |  |  |  | 5607053.6105 | 2188104.7787 | 2144143.4011 | 9939301.7904 | 16305419.707 | 7506059.3246 | 2511966.3896 | 26323445.4212
TOTAL |  |  |  | 6335326.6618 | 1537486.5985 | 2142106.3055 | 93341624.9066 | 25845720.3418 | 29626296.0833 | 148813641.3316 | 293407543.4794 | 140390176.4524 | 257220926.5346 | 691018646.4664
[10 empty] | Reduction for new PDI Res and GS classes based on Totals | 31.81% | 18.41% | 11.52% | 21.54%
Adjustment for Bulk Assets
CAM I4 BO ASSETS |  | Break out Functions (GBV2030) | BREAK OUT (%) | BREAK OUT ($) | Bulk Factor: Bulk Retail (Primary Retail + Sec) | % Demand Connected to HONI ST (approx. using PDI's Network Peak) | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 350803061.6172 |  |  | 100% | 48.61% | 0 | 0 | 0
1815-1 | HVDS - Retail |  | 76.18% | 267259097.9638
1815-2 | HVDS - ST |  | 23.82% | 83543963.6534
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 1293954239.7241 |  |  | 0% | 48.61% | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk)
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV Primary) |  | 85.29% | 1103549849.4946
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) |  | 14.71% | 190404390.2295
1830 | Poles, Towers and Fixtures | 5824540664.1944 | 0% | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery |  | 25.21% | 1468381196.7666
1830-3A | Bulk-ST Fixtures |  | 15.09% | 221592959.0173
1830-3B | Bulk-Retail Fixtures |  | 84.91% | 1246788237.7492
1830-4 | Poles, Towers and Fixtures - Primary |  | 53.53% | 3117988934.1772
1830-4A | Primary-ST Fixtures |  | 0.1008% | 3143826.1692
1830-4B | Primary-Retail Fixtures |  | 99.9% | 3114845108.008 | 28.64% | 48.61% | 2651585.69 | 665844.191 | 992129.0232
1830-5 | Poles, Towers and Fixtures - Secondary |  | 21.26% | 1238170533.2506
1835 | Overhead Conductors and Devices | 3470961073.7409 | 0%
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery |  | 33.66% | 1168470239.2953
1835-3A | Bulk-ST Conductors |  | 15.09% | 176333487.8023
1835-3B | Bulk-Retail Conductors |  | 84.91% | 992136751.493
1835-4 | Overhead Conductors and Devices - Primary |  | 58.23% | 2021061558.1963
1835-4A | Primary-ST Conductors |  | 0.1008% | 2037809.0976
1835-4B | Primary-Retail Conductors |  | 99.9% | 2019023749.0987
1835-5 | Overhead Conductors and Devices - Secondary |  | 8.108% | 281429276.2493 | 43.13% | 48.61% | 1915869.6936 | 481097.2962 | 716850.2738
1840 | Underground Conduit | 41274606.4674
1840-3 | Underground Conduit - Bulk Delivery |  | 15.56% | 6420494.3394
1840-4 | Underground Conduit - Primary |  | 84.44% | 34854112.128 | 18.42% | 48.61% | 1276534.9069 | 291083.8423 | 351591.2247
1840-5 | Underground Conduit - Secondary |  | 0% | 0
1845 | Underground Conductors and Devices | 778600018.9097 | 0%
1845-3 | Underground Conductors and Devices - Bulk Delivery |  | 15.56% | 121115558.4971
1845-4 | Underground Conductors and Devices - Primary |  | 84.44% | 657484460.4127
1845-5 | Underground Conductors and Devices - Secondary |  | 0% | 0 | 18.42% | 48.61% | 491336.3713 | 99461.269 | 81535.7838

## 6.NFA
6. Determine Adjustment Factor for NFA PDI RES and GS
|  | Customer and Demand Total | UR | R1 | R2 | Seasonal | GSe | GSd | UGe | UGd | St Lgt | Sen Lgt | USL | DGen | ST | AUR | AUGe | AUGd
NFA | Net Fixed Assets | 9949721353.3592 | 507881266.474 | 1836208629.7351 | 3450381170.0742 | 615945449.3095 | 1000028490.6078 | 1222875846.6329 | 150655931.5221 | 216526595.7897 | 73720703.9777 | 24531961.0101 | 15843126.0464 | 22668101.4401 | 419559234.7065 | 164776717.801 | 80334856.0922 | 147783272.1399
NFA ECC | Net Fixed Assets Excluding credit for Capital Contribution | 11740116626.2592 | 600377678.3281 | 2177040992.9782 | 4091785710.0592 | 742516017.0031 | 1161294902.2565 | 1436643115.0403 | 174516669.8505 | 254494505.6185 | 86881487.3282 | 29232805.6774 | 18770815.7435 | 28930753.7907 | 476905933.4998 | 194256276.0031 | 93491100.9397 | 172977862.1424
Total Demand And Customer | GFA - Distribution plant (exclude credit for contributed capital) | 18291826342.4376 | 964749476.6029 | 3438619032.4964 | 6378247104.3259 | 1170785446.4157 | 1781494282.2861 | 2203910937.3559 | 268625108.4014 | 391457361.4743 | 131940206.8315 | 44098292.3015 | 28372743.1305 | 46552474.8547 | 731748614.8575 | 301812015.1527 | 143478514.4674 | 265934731.4833
| Ratio of NFA to GFA | 54.39% | 52.64% | 53.4% | 54.1% | 52.61% | 56.13% | 55.49% | 56.08% | 55.31% | 55.87% | 55.63% | 55.84% | 48.69% | 57.34% | 54.6% | 55.99% | 55.57%
| Ratio of NFA ECC to GFA | 64.18% | 62.23% | 63.31% | 64.15% | 63.42% | 65.19% | 65.19% | 64.97% | 65.01% | 65.85% | 66.29% | 66.16% | 62.15% | 65.17% | 64.36% | 65.16% | 65.05%
|  |  | Total GBV that should be allocated to Acq RES and GS classes |  |  |  | Total GBV that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 4477167.1322 | 1649531.1649 | 4546566.851 | 10673265.1481
|  | 1820 | 1959551.7286 | 851579.4101 | 2136125.7017 | 4947256.8404 | 16968523.5001 | 13819576.3557 | 34240384.9331 | 65028484.7889
|  | 1830 | 21696360.1795 | 5448209.8941 | 8118006.0347 | 35262576.1084 | 107037699.2087 | 44621388.3817 | 69235078.3521 | 220894165.9425
|  | 1835 | 11054485.8523 | 2775910.7379 | 4136195.2934 | 17966591.8836 | 61462727.5192 | 23651778.4284 | 46098473.675 | 131212979.6226
|  | 1840 | 15532311.7522 | 3541779.3597 | 4278006.4073 | 23352097.5192 | 723977.4013 | 274873.7641 | 564534.0918 | 1563385.2572
|  | 1845 | 5978363.5007 | 1210200.6992 | 992091.3297 | 8180655.5296 | 13657036.7739 | 5185190.9991 | 10649314.2435 | 29491542.0164
|  | 1850 | 14972587.2118 | 4258656.8817 | 7821727.9153 | 27052972.0089 | 55775604.9452 | 43681778.0338 | 89374607.9985 | 188831990.9775
|  | 1855 | 16540911.0709 | 5571278.5803 | 0 | 22112189.6512 | 16999387.2919 | 0 | 0 | 16999387.2919
|  | 1860 | 5607053.6105 | 2188104.7787 | 2144143.4011 | 9939301.7904 | 16305419.707 | 7506059.3246 | 2511966.3896 | 26323445.4212
|  | TOTAL | 93341624.9066 | 25845720.3418 | 29626296.0833 | 148813641.3316 | 293407543.4794 | 140390176.4524 | 257220926.5346 | 691018646.4664
|  |  | Total NBV that should be allocated to Acq RES and GS classes |  |  |  | Total NBV that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 2444345.7121 | 923586.7074 | 2526584.3333 | 5894516.7527
|  | 1820 | 1069833.161 | 476806.6467 | 1187071.8959 | 2733711.7037 | 9264103.0439 | 7737699.8355 | 19027812.1873 | 36029615.0667
|  | 1830 | 11845303.8286 | 3050499.6475 | 4511277.968 | 19407081.4441 | 58438100.1123 | 24983899.6981 | 38474803.0792 | 121896802.8896
|  | 1835 | 6035286.2188 | 1554256.3322 | 2298535.7018 | 9888078.2529 | 33556074.64 | 13242834.465 | 25617501.1152 | 72416410.2202
|  | 1840 | 8479991.5904 | 1983072.7704 | 2377341.9199 | 12840406.2807 | 395261.3347 | 153904.1881 | 313718.689 | 862884.2119
|  | 1845 | 3263936.0463 | 677601.7955 | 551317.619 | 4492855.4607 | 7456170.0049 | 2903233.1027 | 5917957.7491 | 16277360.8567
|  | 1850 | 8174405.4374 | 2384458.6697 | 4346632.4939 | 14905496.601 | 30451143.94 | 24457803.771 | 49666592.786 | 104575540.497
|  | 1855 | 9030644.5697 | 3119406.8649 | 0 | 12150051.4346 | 9280953.3814 | 0 | 0 | 9280953.3814
|  | 1860 | 3061216.3999 | 1225138.7127 | 1191527.4323 | 5477882.5449 | 8902076.1494 | 4202707.2688 | 1395931.2892 | 14500714.7073
|  | TOTAL | 50960617.2522 | 14471241.4396 | 16463705.0307 | 81895563.7226 | 160188228.3187 | 78605669.0364 | 142940901.2283 | 381734798.5835
[6 empty] | Total 2030 NFA (O6 CAM) | 164776717.801 | 80334856.0922 | 147783272.1399
[6 empty] | NFA being allocated that is NOT associated with 1815-1860 | 4588489.4823 | 1729187.0558 | 4842370.9116
[6 empty] | Total NBV ECC that should be allocated for 1815-1860 | 50960617.2522 | 14471241.4396 | 16463705.0307
[6 empty] | Total | 55549106.7346 | 16200428.4954 | 21306075.9423
[6 empty] | Reduction to PDI for NFA | 33.71% | 20.17% | 14.42%
|  |  | Total NBV ECC that should be allocated to Acq RES and GS classes |  |  |  | Total NBV ECC that is being Allocated (non Adj CAM) incl Bulk
|  | USofA | AUR | AUGe | AUGd | total | AUR | AUGe | AUGd | total
|  | 1815 | 0 | 0 | 0 | 0 | 2881654.0445 | 1074840.2659 | 2957324.9405 | 6913819.251
|  | 1820 | 1261232.8281 | 554892.1166 | 1389447.9111 | 3205572.8559 | 10921507.4911 | 9004884.2003 | 22271737.6991 | 42198129.3905
|  | 1830 | 13964500.8141 | 3550072.5878 | 5280375.831 | 22794949.2329 | 68893032.074 | 29075452.4519 | 45034117.1001 | 143002601.626
|  | 1835 | 7115035.6745 | 1808793.1281 | 2690397.8103 | 11614226.6128 | 39559460.7287 | 15411581.3971 | 29984858.991 | 84955901.1168
|  | 1840 | 9997113.7238 | 2307835.7959 | 2782639.1778 | 15087588.6975 | 465975.9944 | 179108.7043 | 367202.5078 | 1012287.2065
|  | 1845 | 3847874.0803 | 788571.0007 | 645308.1036 | 5281753.1846 | 8790124.2222 | 3378688.5576 | 6926871.1193 | 19095683.899
|  | 1850 | 9636856.3472 | 2774955.692 | 5087661.0419 | 17499473.0811 | 35899039.0194 | 28463199.0689 | 58133920.8127 | 122496158.9009
|  | 1855 | 10646281.8742 | 3630264.5734 | 0 | 14276546.4476 | 10941372.4566 | 0 | 0 | 10941372.4566
|  | 1860 | 3608886.6548 | 1425776.7129 | 1394663.0423 | 6429326.41 | 10494711.7806 | 4890974.4611 | 1633914.3572 | 17019600.5989
|  | TOTAL | 60077781.997 | 16841161.6074 | 19270492.9179 | 96189436.5224 | 188846877.8114 | 91478729.1071 | 167309947.5276 | 447635554.4461
[6 empty] | Total 2030 NFA ECC (O6 CAM) | 194256276.0031 | 93491100.9397 | 172977862.1424
[6 empty] | NFA being allocated that is NOT associated with 1815-1860 | 5409398.1918 | 2012371.8326 | 5667914.6148
[6 empty] | Total NBV ECC that should be allocated for 1815-1860 | 60077781.997 | 16841161.6074 | 19270492.9179
[6 empty] | Total | 65487180.1888 | 18853533.44 | 24938407.5327
[6 empty] | Reduction to PDI for NFA ECC | 33.71% | 20.17% | 14.42%

## 7. Depn5705
7. Determine Allocation for PDI Depreciation 5705
7a. Derivation of the adjusted annual depreciation costs for the PDI rate classes.
Total GBV that is being Allocated (non Adj CAM) incl Bulk
|  |  | AUR | AUGe | AUGd | total
| Reduction for PDI determined in Worksheet 5. for GBV |  | 31.81% | 18.41% | 11.52% | 21.54%
7b. Determine Annual Depn associated with 1830-1860 (O7 CAM) - primary and secondary end user assets only (i.e. exclude bulk) - shaded in gray
Account | Description | Depreciation (total for all classes) | AUR | AUGe | AUGd
1815 | Transformer Station Equipment - Normally Primary above 50 kV | 7375342.7333 | 0 | 0 | 0
1815-1 | HVDS - Retail | 5618900.3511 | 94128.7169 | 34680.0214 | 95587.7883
1815-2 | HVDS - ST | 1756442.3822 | 0 | 0 | 0
1820 | Distribution Station Equipment - Normally Primary below 50 kV | 32379718.5861 | 0 | 0 | 0
1820-1 | Distribution Station Equipment - Normally Primary below 50 kV (Bulk) | 0 | 0 | 0 | 0
1820-2 | Distribution Station Equipment - Normally Primary below 50 kV (Primary) | 27615067.4231 | 364375.8575 | 321031.8451 | 782635.4247
1820-3 | Distribution Station Equipment - Normally Primary below 50 kV (Wholesale Meters) | 4764651.163 | 60241.8337 | 24787.075 | 74190.6236
1830 | Poles, Towers and Fixtures | 107246276.7676 | 0 | 0 | 0
1830-3 | Poles, Towers and Fixtures - Subtransmission Bulk Delivery | 27037053.273 | 0 | 0 | 0
1830-3A | Bulk-ST Fixtures | 4080153.4718 | 0 | 0 | 0
1830-3B | Bulk-Retail Fixtures | 22956899.8013 | 384577.6553 | 141690.6738 | 390538.9206
1830-4 | Poles, Towers and Fixtures - Primary | 57411000.0208 | 0 | 0 | 0
1830-4A | Primary-ST Fixtures | 57886.7366 | 0 | 0 | 0
1830-4B | Primary-Retail Fixtures | 57353113.2841 | 1074000.5404 | 433821.5652 | 884274.5109
1830-5 | Poles, Towers and Fixtures - Secondary | 22798223.4738 | 511726.7577 | 243521.58 | 0
1835 | Overhead Conductors and Devices | 63066245.9103 | 0 | 0 | 0
1835-3 | Overhead Conductors and Devices - Subtransmission Bulk Delivery | 21230728.2867 | 0 | 0 | 0
1835-3A | Bulk-ST Conductors | 3203922.7372 | 0 | 0 | 0
1835-3B | Bulk-Retail Conductors | 18026805.5495 | 301987.9283 | 111261.9843 | 306668.9859
1835-4 | Overhead Conductors and Devices - Primary | 36722038.2255 | 0 | 0 | 0
1835-4A | Primary-ST Conductors | 37026.3356 | 0 | 0 | 0
1835-4B | Primary-Retail Conductors | 36685011.8898 | 699710.1521 | 266360.3058 | 530925.2732
1835-5 | Overhead Conductors and Devices - Secondary | 5113479.3981 | 115014.093 | 51585.6584 | 0
1840 | Underground Conduit | 578070.1725 | 0 | 0 | 0
1840-3 | Underground Conduit - Bulk Delivery | 89922.0268 | 828.9689 | 305.4186 | 841.8185
1840-4 | Underground Conduit - Primary | 488148.1456 | 9310.6747 | 3544.3164 | 7064.7432
1840-5 | Underground Conduit - Secondary | 0 | 0 | 0 | 0
1845 | Underground Conductors and Devices | 17837910.8451 | 0 | 0 | 0
1845-3 | Underground Conductors and Devices - Bulk Delivery | 2774786.1315 | 25580.0648 | 9424.5117 | 25976.5766
1845-4 | Underground Conductors and Devices - Primary | 15063124.7136 | 287305.9253 | 109369.4209 | 218001.6631
1845-5 | Underground Conductors and Devices - Secondary | 0 | 0 | 0 | 0
1850 | Line Transformers | 90538869.9408 | 1361220.1272 | 1066066.3349 | 2181212.851
1855 | Services | 26915370.431 | 371067.0625 | 0 | 0
1860 | Meters | 52265416.8233 | 0 | 0 | 0
1860-1 | Mtr-Single | 947897.699 | 18471.5915 | 8503.2378 | 0
1860-2 | Mtr-Poly | 3734830.1757 | 0 | 0 | 94671.828
1860-3 | Mtr-ST | 1858886.686 | 0 | 0 | 0
1860-4 | Mtr-Smart | 45723802.2627 | 859781.0389 | 395792.7855 | 40629.2638
Annual Depn Subtotal (non-Bulk assets):
| Non Adjusted CAM allocation (input to O4 row 282) | 821353023.8542 | 6539328.9887 | 3221746.7348 | 5633220.2714
| Adjusted in proportion to GBV reduction ("Should be" allocated) |  | 2080354.1258 | 593121.0233 | 648825.3266
| Overallocation (Amount to reallocate to legacy rate classes) | 12071995.5192 | 4458974.863 | 2628625.7115 | 4984394.9448
|  | Total (Legacy only) | UR | R1 | R2 | Seasonal | GSe | GSd | UGe | UGd | St Lgt | Sen Lgt | USL | DGen | ST | AUR | AUGe | AUGd
| Annual Depn 5705 among legacy classes (Unadjusted) | 463962242.8437 | 28549479.0341 | 93076953.3194 | 161149479.2035 | 32033988.1044 | 46787419.0719 | 58520896.2094 | 7379065.2932 | 10609333.594 | 3312250.5667 | 1720448.1232 | 705296.5808 | 2174805.5524 | 17942828.1907 | 7918632.7659 | 3876343.7578 | 6871097.0027
| % split of Annual Depn 5705 among legacy classes |  | 6.153% | 20.06% | 34.73% | 6.904% | 10.08% | 12.61% | 1.59% | 2.287% | 0.7139% | 0.3708% | 0.152% | 0.4687% | 3.867%
| Reallocated Annual Depn 5705 |  | 742838.8587 | 2421801.7322 | 4193004.5405 | 833503.5163 | 1217378.1856 | 1522675.6222 | 191998.4752 | 276047.9534 | 86182.6035 | 44764.9402 | 18351.3579 | 56587.0247 | 466860.7087
| Annual Depn 5705 Total (Adjusted) | 482628316.3701 | 29292317.8928 | 95498755.0517 | 165342483.744 | 32867491.6208 | 48004797.2576 | 60043571.8316 | 7571063.7684 | 10885381.5475 | 3398433.1702 | 1765213.0633 | 723647.9386 | 2231392.5771 | 18409688.8994 | 3459657.9029 | 1247718.0464 | 1886702.0579
| Annual Depn 5705 Total (Adjusted) New Allocators in CAM O4 | 100% | 6.069% | 19.79% | 34.26% | 6.81% | 9.947% | 12.44% | 1.569% | 2.255% | 0.7042% | 0.3657% | 0.1499% | 0.4623% | 3.814% | 0.7168% | 0.2585% | 0.3909%