## I-12-AMPCO-026-01
Major Asset Condition Summary
Asset Type | Very Low Risk* | Low Risk | Fair Risk | High Risk | Very High Risk* | To be Assessed | Total Population
Transformers | 336 | 163 | 95 | 99 | 23 | - | 716
Circuit Breakers | 2035 | 1475 | 804 | 293 | 167 | - | 4774
Protection Systems | 4800 | 3846 | 497 | 2387 | 976 | - | 12506
Conductors (km) | 16050 |  | 3316 | 3680 |  | 6061 | 29107
Wood Poles | - | 17640 | 0 | 5460 | - | 18900 | 42000
Underground Cables (km) | - | 179 | 77 | 8 | - | 0 | 264
* These categories are not used for all assets.