## I-12-AMPCO-37
List of Material Capital Investments (Exhibit B-1-1 TSP Section 3.3.6.1)
Table 5 - System Access - Material Capital Investments Proposed
ISD | Investment Name | 2020 | 2021 | 2022 | 2023 | 2024
SA-01 | Connect New IAMGOLD Mine | 24.9 | 0 | 0 | 0 | 0
SA-02 | Horner TS: Build a Second 230/27.6kV Station | 29.9 | 0 | 0 | 0 | 0
SA-03 | Halton TS: Build a Second 230/27.6kV Station | 8 | 17.7 | 6 | 0 | 0
SA-04 | Connect Metrolinx Traction Substations | 6.5 | 7.9 | 7.1 | 1 | 0
SA-05 | Future Transmission Load Connection Plans | 0 | 5 | 24.9 | 24.9 | 0
SA-06 | Protection and Control Modifications for Distributed Generation | 3.8 | 3.1 | 2.7 | 2.8 | 2.8
SA-07 | Secondary Land Use Transmission Asset Modifications | 55.1 | 15 | 13.9 | 15.6 | 3.9
System Access Projects & Programs Less Than $3M |  | 27.6 | 9.4 | 8.5 | 7.8 | 9.2
Total Gross System Access Capital ($M) |  | 155.7 | 58.1 | 63 | 52 | 15.8
Less Capital Contributions ($M) |  | -130.9 | -46.7 | -51.3 | -39.3 | -11.7
Total Net System Access Capital ($M) |  | 24.8 | 11.3 | 11.7 | 12.7 | 4.1
Table 6 - System Renewal - Material Capital Investments Proposed
ISD | Investment Name | 2020 | 2021 | 2022 | 2023 | 2024
SR-01 | Air Blast Circuit Breaker Replacement Projects | 107.5 | 128.4 | 133.5 | 129.2 | 98.7
SR-02 | Station Reinvestment Projects | 107 | 125.4 | 120.6 | 87.9 | 53.9
SR-03 | Bulk Station Transformer Replacement Projects | 33.2 | 51.8 | 72.5 | 131.5 | 113.8
SR-04 | Bulk Station Switchgear and Ancillary Equipment Replacement Projects | 17.5 | 32.4 | 41.4 | 34.6 | 49.3
SR-05 | Load Station Transformer Replacement Projects | 91.2 | 132.3 | 129.4 | 178.5 | 200
SR-06 | Load Station Switchgear and Ancillary Equipment Replacement Projects | 19.2 | 30.8 | 47.5 | 58.4 | 77
SR-07 | Protection and Automation Replacement Projects | 6.7 | 8.6 | 12.7 | 12.2 | 21.7
SR-08 | John Transformer Station Reinvestment Project | 3.5 | 17.9 | 25.6 | 24 | 20.9
SR-09 | Transmission Station Demand and Spares and Targeted Assets | 44.2 | 36.4 | 37 | 37.7 | 38.3
SR-10 | Transformer Protection Replacement | 3.8 | 0 | 0 | 0 | 0
SR-11 | Legacy SONET System Replacement | 4.1 | 26 | 27.6 | 28.1 | 28.1
SR-12 | Telecom Performance Improvements | 0 | 0.9 | 5.5 | 3.7 | 0
SR-13 | ADSS Fibre Optic Cable Replacements | 7 | 7.1 | 1 | 0 | 0
SR-14 | Mobile Radio System Replacement | 2.9 | 6.2 | 6.1 | 4 | 0
SR-15 | Telecom Fibre IRU Agreement Renewals | 0 | 2.8 | 8.5 | 2.6 | 1.5
SR-16 | NERC CIP-014 Physical Security Implementation | 18 | 18 | 18 | 0 | 0
SR-17 | NERC CIP Transient Cyber Asset Project | 3.5 | 0 | 0 | 0 | 0
SR-18 | PSIT Cyber Equipment Replacement | 1 | 5 | 7.7 | 7 | 3.4
SR-19 | Transmission Line Refurbishment - End of Life ACSR, Copper Conductors & Structures | 81.8 | 122.1 | 94.5 | 51 | 75.9
SR-20 | Transmission Line Refurbishment - Near End of Life ACSR Conductor | 62.2 | 63.4 | 111.7 | 117.8 | 137.7
SR-21 | Wood Pole Structure Replacements | 51 | 52 | 53 | 54.1 | 55.2
SR-22 | Steel Structure Coating Program | 11.4 | 21.8 | 22.3 | 22.7 | 23.2
SR-23 | Tower Foundation Assess/Clean/Coat Program | 11.8 | 22.3 | 22.8 | 23.3 | 23.7
SR-24 | Transmission Line Shieldwire Replacement | 12.3 | 12.6 | 12.8 | 13.1 | 13.4
SR-25 | Transmission Line Insulator Replacement | 68.3 | 69.7 | 66.3 | 67.6 | 68.9
SR-26 | Transmission Line Emergency Restoration | 9.6 | 9.8 | 10 | 10.2 | 10.4
SR-27 | C5E/C7E Underground Cable Replacement | 2.1 | 29.8 | 30.9 | 32.2 | 29.2
SR-28 | OPGW Infrastructure Projects | 5.3 | 7.5 | 2.2 | 6.2 | 9.7
SR-29 | Physical Security ISL Application Replacement | 5 | 1.1 | 0 | 0 | 0
System Renewal Projects & Programs Less Than $3M |  | 77.8 | 67.3 | 60.1 | 44.1 | 41.1
Total Gross System Renewal Capital ($M) |  | 869.1 | 1109.2 | 1181.1 | 1181.5 | 1194.9
Less Capital Contributions ($M) |  | -3.8 | -6.1 | -8.3 | -4.1 | -1.1
Total Net System Renewal Capital ($M) |  | 865.2 | 1103.1 | 1172.8 | 1177.4 | 1193.8
Table 7 - System Service - Material Capital Investments Proposed
ISD | Investment Name | 2020 | 2021 | 2022 | 2023 | 2024
SS-01 | Lennox TS: Install 500kV Shunt Reactors | 32.3 | 0 | 0 | 0 | 0
SS-02 | Wataynikaneyap Line to Pickle Lake Connection | 24.9 | 1.5 | 0 | 0 | 0
SS-03 | Nanticoke TS: Connect HVDC Lake Erie Circuits | 3 | 10 | 4 | 0 | 0
SS-04 | East-West Tie Connection | 46.3 | 38.8 | 22.6 | 0 | 0
SS-05 | St. Lawrence TS: Phase Shifter Upgrade | 9 | 18 | 9 | 0 | 0
SS-06 | Merivale TS to Hawthorne TS: 230kV Conductor Upgrade | 5 | 10 | 8.4 | 0 | 0
SS-07 | Milton SS: Station Expansion and Connect 230kV Circuits | 0 | 2 | 3 | 69.4 | 119.1
SS-08 | Northwest Bulk Transmission Line | 8 | 12.9 | 8.9 | 0 | 0
SS-09 | Barrie Area Transmission Upgrade | 38.1 | 28.2 | 8.5 | 0 | 0
SS-10 | Kapuskasing Area Transmission Reinforcement | 6.7 | 3.8 | 0 | 0 | 0
SS-11 | South Nepean Transmission Reinforcement | 27.5 | 10.5 | 0 | 0 | 0
SS-12 | Alymer-Tillsonburg Area Transmission Reinforcement | 10 | 13.1 | 6.1 | 0 | 0
SS-13 | Leamington Area Transmission Reinforcement | 4.9 | 9.7 | 59.1 | 63.8 | 63.8
SS-14 | Southwest GTA Transmission Reinforcement | 10.3 | 7.8 | 6.9 | 3.9 | 2
SS-15 | Future Transmission Regional Plans | 0 | 0 | 10.5 | 19.6 | 0
SS-16 | Customer Power Quality Program | 3.3 | 3.4 | 3.4 | 3.4 | 3.5
System Service Projects & Programs Less Than $3M |  | 9.1 | 8.2 | 9.9 | 14 | 15.9
Total Gross System Service Capital ($M) |  | 238.3 | 177.9 | 160.3 | 174.3 | 204.2
Less Capital Contributions ($M) |  | -34.2 | -29.7 | -8.5 | 0 | 0
Total Net System Service Capital ($M) |  | 204.1 | 148.2 | 151.8 | 174.3 | 204.2
Table 8 - General Plant - Material Capital Investments Proposed
ISD | Investment Name | 2020 | 2021 | 2022 | 2023 | 2024
GP-01 | Integrated System Operations Centre - New Facility Development | 32.4 | 12.7 | 0 | 0 | 0
GP-02 | Grid Control Network Sustainment | 8 | 6.1 | 6.3 | 6.5 | 6.6
GP-03 | Network Management System Capital Sustainment | 0 | 7.8 | 22.4 | 8.2 | 0
GP-04 | Integrated Voice Communications and Telephony System Refresh | 0 | 1.9 | 3.2 | 1.1 | 0
GP-05 | Transmission Non-Operational Data Management System | 5.2 | 5.3 | 5.4 | 5.5 | 1.1
GP-06 | Operating Common IT Infrastructure | 0.8 | 2 | 3.7 | 3.3 | 2.2
GP-07 | Hardware/Software Refresh and Maintenance | 2 | 2 | 1.9 | 1.9 | 5.8
GP-08 | Corporate Services Transformation - HR / Payroll | 5 | 1.5 | 0 | 0 | 0
GP-09 | Corporate Services Transformation - Finance | 1 | 3 | 5 | 6.5 | 5
GP-10 | Facility Accommodation & Improvements Service Centres & Admin | 8.1 | 4.9 | 8.2 | 16.4 | 4.3
GP-11 | Transmission Facilities & Site Improvements | 9.4 | 9.5 | 9.6 | 9.7 | 9.9
GP-12 | Transport & Work Equipment | 13.2 | 13.2 | 13.3 | 13.3 | 13.3
General Plant Projects & Programs Less Than $3M |  | 30.2 | 24.3 | 15.8 | 11.1 | 10.7
Total Gross System Service Capital ($M) |  | 115.4 | 94.4 | 94.7 | 83.6 | 58.9
Total Net General Plant Capital ($M) |  | 115.4 | 94.4 | 94.7 | 83.6 | 58.9