## Rev_Reconciliation_2020
2020 Revenue Reconciliation
Rate Class | Customers/ Connections | Number of Customers/Connections (Average) | Test Year Consumption |  | Draft Rates |  |  | Revenues at Draft Rates | Class Specific Revenue Requirement | Transformer Allowance Credit | Total | Difference
|  |  | kWh | kW | Monthly Service Charge | Volumetric
[6 empty] | kWh | kW
Residential – Urban [UR] | Customers | 232510.2362 | 1907768898.7711 | 0 | 31.91 | 0.003836 |  | 96351021.1431 | 96358302.0207 |  | 96358302.0207 | 7280.8776 | UR
Residential – Medium Density [R1] | Customers | 455258.8978 | 4569201057.5973 | 0 | 43.36 | 0.018139 |  | 319761047.7049 | 319753750.7957 |  | 319753750.7957 | -7296.9092 | R1
Residential – Low Density [R2] | Customers | 331842.8454 | 4207026675.3846 | 0 | 101.69 | 0.029144 |  | 527550772.7727 | 527550010.4847 |  | 527550010.4847 | -762.288 | R2
Seasonal Residential | Customers | 148345.457 | 561987531.7189 | 0 | 44.39 | 0.056468 |  | 110754969.9887 | 110760937.4166 |  | 110760937.4166 | 5967.4279 | Seasonal
General Service Energy Billed (less than 50 kW) [GSe] | Customers | 87464.272 | 2120281986.0714 | 0 | 31.51 | 0.061576 |  | 163630474.0992 | 163631366.6834 |  | 163631366.6834 | 892.5841 | GSe
General Service Demand Billed (50 kW and above) [GSd] | Customers | 5319.5055 | 2401398470.6142 | 7709334.313 | 105.21 |  | 17.5554 | 142056429.7397 | 142056500.949 |  | 142056500.949 | 71.2092 | GSd
Urban General Service Energy Billed (less than 50 kW) [UGe] | Customers | 18122.7036 | 590714609.8416 | 0 | 24.76 | 0.029332 |  | 22711458.6297 | 22712446.3925 |  | 22712446.3925 | 987.7628 | UGe
Urban General Service Demand Billed (50 kW and above) [UGd] | Customers | 1745.9553 | 1016211828.3318 | 2605735.0914 | 97.68 |  | 10.0862 | 28328504.2121 | 28328616.852 |  | 28328616.852 | 112.6399 | UGd
Street Lighting | Customers | 5541.1119 | 99421747.1976 | 0 | 3.38 | 0.10303 |  | 10467871.849 | 10467885.8768 |  | 10467885.8768 | 14.0278 | St Lgt
Sentinel Lighting | Customers | 22274.462 | 13255400.8583 | 0 | 2.64 | 0.14351 |  | 2607911.0222 | 2608650.0045 |  | 2608650.0045 | 738.9822 | Sen Lgt
Unmetered Scattered Load [USL] | Customers | 5554.997 | 29672840.8282 | 0 | 36.15 | 0.02415 |  | 3126356.791 | 3126236.8357 |  | 3126236.8357 | -119.9553 | USL
Distributed Generation [DGen] | Customers | 1356.2393 | 28789303.2163 | 209832.5614 | 192.28 |  | 9.1407 | 5047348.8956 | 5047404.3083 |  | 5047404.3083 | 55.4127 | DGen
Sub-Transmission [ST] | [7 empty] | 53778072.5135 | 53777276.5799 |  | 53777276.5799 | -795.9336 | ST
Service Charge | Customers | 812.875 |  |  | 535.86 |  |  | 5227046.1972
Meter Charge |  | 600.5569 |  |  | 670.87 |  |  | 4834747.1542
Common Line |  |  |  | 28747748.4162 |  |  | 1.3857 | 39835754.9803
Specific ST Line* | Kilometers |  |  | 830.052 |  |  | 626.0882 | 519685.7626
HVDS-high |  |  |  | 960733.0432 |  |  | 2.0881 | 2006106.6676
HVDS-low |  |  |  | 38727.4165 |  |  | 3.6317 | 140646.3587
LVDS-low |  |  |  | 786528.5003 |  |  | 1.5436 | 1214085.393
Total | [7 empty] | 1486172239.3615 | 1486179385.1996 | 0 | 1486179385.1996 | 7145.8381
Note
1 The class specific revenue requirements in column K must be the amounts used in the final rate design process. The total of column K should equate to the rates revenue requirement.
2 Rates should be entered with the number of decimal places that will show on the Tariff of Rates and Charges.
3. CSTA amount includes Hopper for GSd