## Sheet1
AMPCO-61_Attach1
Historical Asset Failures
| # Failures 2014 | # Failures 2015 | # Failures 2016 | # Failures 2017 | # Failures 2018 | # Customer Interruptions 2014 | # Customer Interruptions 2015 | # Customer Interruptions 2016 | # Customer Interruptions 2017 | # Customer Interruptions 2018 | # Customer Interruption Minutes 2014 | # Customer Interruption Minutes 2015 | # Customer Interruption Minutes 2016 | # Customer Interruption Minutes 2017 | # Customer Interruption Minutes 2018 | Note
Asset Class
Padmount Transformer | 333 | 306 | 321 | 297 | 327 | 21214.3119 | 11053.9886 | 11620.3256 | 42370.5125 | 15565 | 2155621 | 1679719 | 1704058 | 2114599 | 2145860 | The data can not be split due to the different way of recording for each zones. For example, Legacy Enersource only record transformer as one category, Legacy Horizon split the category by transformer rating.
Polemount Transformer
Vault Transformer
Padmounted Switchgears | 46 | 40 | 33 | 26 | 40 | 29438 | 17595 | 30723 | 31982 | 56126 | 1544373 | 1176316 | 1621802 | 1027876 | 2633029
Overhead Switches | 121 | 117 | 78 | 110 | 110 | 54653.2194 | 36085.3999 | 36494.2023 | 50125.1276 | 106878 | 1734429 | 2418067 | 756551 | 2516170 | 5679625
Overhead Conductors | 12 | 14 | 13 | 10 | 14 | 1415 | 7064 | 6248 | 2014 | 4301 | 125637 | 6234802 | 239397 | 59284 | 432545 | Legacy Enersource does not split O/H conductor form O/H harware, Legacy Powerstream does not have O/H conductor category
Wood Poles | 3 | 3 | 4 | 5 | 1 | 4595 | 1360 | 6885 | 6914 | 3274 | 39093 | 293764 | 508169 | 319868 | 103803 | Only Legacy Hydro One Brampton, Legacy Guelph Hydro and Legacy Powerstream recorded pole failures in their outage cause code however, there is no distinction between wood and concrete poles.
Concrete Poles | [5 empty] | 4595 | 1360 | 6885 | 6914 | 3274 | 651.55 | 652.55 | 653.55 | 654.55 | 655.55
U/G Primary XLPE Cables | 410 | 559 | 541 | 477 | 534 | 138716.6257 | 183887.6014 | 177148.5052 | 163118.0735 | 182122 | 10442567 | 12577276 | 12506658 | 11421229 | 13653178
U/G Primary PILC Cables | 16 | 18 | 12 | 11 | 14 | 19124.462 | 13010.3388 | 12660.0002 | 9031.1034 | 19340 | 2040423 | 408305 | 1042275 | 1832218 | 1866660
U/G Primary EPR Cables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Alectra Utilities does not have U/G primary EPR cables fault recors for any legacy
Station Assets
Power Transformers | 1 | 0 | 0 | 0 | 2 | 1750 | 0 | 0 | 0 | 2326 | 117388 | 0 | 0 | 0 | 31980 | Only Legacy Powerstream has record on Power Transformers
Circuit Breakers | 4 | 0 | 2 | 0 | 0 | 2767 | 0 | 29466 | 0 | 0 | 107220 | 0 | 929609 | 0 | 0 | Only Legacy Powerstream has record on Circuit Breakers
Station Switchgear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Alectra Utilities does not (nor do legacy utilities) record and track station switchgear faults.