## SR CAPEX
EP Exhibit XX based on Staff IRR 104 |  |  |  | Table 2 - Actual spending from 2012 to 2018, 2019 Q2 Forecast, 2020 – 2024 Plan ($MM)
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2012-2018 | 2020-2024
|  | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Actual | Plan | Plan | Plan | Plan | Plan | Average | DSP Spend
Category
System Renewal
All Assets | Powerstream | 17 | 22.3 | 39.2 | 47.4 | 42.2 | 39.4 | 38.1 | 38.2 | 52.1 | 52.2 | 55.6 | 61 | 66.1 | 35.0857 | Higher
| Horizon | 14.1 | 18.4 | 15.4 | 17.4 | 23 | 33.3 | 31.6 | 36.3 | 25.7 | 27.9 | 30.4 | 23.4 | 33.5 | 21.8857 | Higher
| Enersource | 16.2 | 20.9 | 31.3 | 44.7 | 40.4 | 43.9 | 41.6 | 32.8 | 37.6 | 39.8 | 42.4 | 45.3 | 51.8 | 34.1429 | Higher
| Brampton | 8.7 | 12.1 | 9.1 | 9.8 | 7.2 | 11.9 | 13.6 | 14.7 | 17.4 | 15.8 | 19.1 | 19.8 | 19.1 | 10.3429 | Lower
| Guelph | 2.5 | 2.8 | 3.7 | 3.3 | 6.2 | 7.5 | 4.8 | 5.6 | 6.1 | 6.3 | 6.5 | 6.6 | 6.8 | 4.4 | Lower
System Renewal | Total | 58.5 | 76.5 | 98.7 | 122.6 | 119 | 136 | 129.7 | 127.6 | 138.9 | 142 | 154 | 156.1 | 177.3 | 105.8571
U/G Repl. / Rehab
| Powerstream | 3 | 19.6 | 21 | 19.3 | 14.5 | 12 | 13.5 | 11.8 | 19.3 | 23 | 26.6 | 29.1 | 32.3 | 14.7 | Higher
| Horizon | 0 | 1.6 | 0.9 | 0.3 | 4.7 | 7.5 | 6.6 | 7.8 | 6.3 | 7.1 | 7.4 | 7.4 | 8.1 | 3.0857 | Higher
| Enersource | 5.1 | 6.5 | 16.9 | 15 | 13.4 | 18.7 | 16.1 | 9.8 | 16.8 | 24 | 26.7 | 29.3 | 30.9 | 13.1 | Higher
| Brampton | 3.5 | 4 | 3.9 | 2.7 | 0.6 | 4.3 | 4 | 3.8 | 4.3 | 5.7 | 6.3 | 7.2 | 8.4 | 3.2857 | Higher
| Guelph | 2.1 | 2.6 | 3.2 | 1.3 | 3.2 | 4 | 0.6 | 0 | 1.3 | 1.3 | 1.3 | 1.3 | 1.4 | 2.4286 | Lower
U/G Repl. / Rehab | Subtotal | 13.7 | 34.3 | 45.9 | 38.6 | 36.4 | 46.5 | 40.8 | 33.2 | 48 | 61.1 | 68.3 | 74.3 | 81.1 | 36.6
Wood Pole Replacements
| Powerstream | 4.1 | 4.9 | 5.9 | 6.2 | 4.4 | 4 | 4.6 | 4.9 | 5.6 | 5.9 | 6.1 | 6.4 | 6.4 | 4.8714 | Higher
| Horizon | 0.9 | 0.7 | 1.2 | 1.3 | 1.6 | 0.8 | 1.9 | 1.9 | 2.3 | 2.5 | 2.8 | 3.1 | 3.3 | 1.2 | Higher
| Enersource | 0.6 | 0.3 | 0.5 | 7.3 | 9.6 | 8.4 | 7.7 | 6.4 | 4.5 | 3.9 | 3.5 | 3.1 | 2.7 | 4.9143 | Lower
| Brampton | 1.1 | 1 | 1.2 | 0.1 | 0.6 | 1.3 | 0.8 | 0.7 | 0.9 | 2.1 | 2.8 | 2.9 | 3 | 0.87143 | Higher
| Guelph | 0.3 | 0.1 | 0.2 | 1.5 | 2.2 | 2.6 | 2.7 | 1.4 | 1.2 | 1.2 | 1.2 | 1.3 | 1.3 | 1.3714 | Lower
Wood Pole Replacements | Subtotal | 7 | 7 | 9 | 16.4 | 18.4 | 17.1 | 17.7 | 15.3 | 14.5 | 15.6 | 16.4 | 16.8 | 16.7 | 13.2286
Reactive & Emer. Projects | Powerstream | 7.9 | 8.2 | 8.7 | 11.2 | 8.4 | 9.4 | 11.3 | 9.5 | 9.4 | 9.6 | 9.8 | 10 | 10.1 | 9.3 | Same
| Horizon | 4 | 6.1 | 4.8 | 3.4 | 3.9 | 3.7 | 5.4 | 3.2 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 4.4714 | Same
| Enersource | 0.3 | 0.3 | 0.4 | 0.3 | 0.3 | 0.4 | 0.2 | 3.2 | 3.4 | 3.5 | 3.6 | 3.6 | 3.7 | 0.31429 | Lower
| Brampton | 1.1 | 2.4 | 0.8 | 1.6 | 1.9 | 1.9 | 3.2 | 1.5 | 1.5 | 1.6 | 1.6 | 1.6 | 1.7 | 1.8429 | Lower
| Guelph | 0 | 0 | 0 | 0.1 | 0.2 | 0.2 | 0.5 | 1.1 | 1 | 1 | 1 | 1.1 | 1.1 | 0.14286 | Same
| Subtotal | 13.4 | 17 | 14.7 | 16.7 | 14.6 | 15.6 | 20.5 | 18.6 | 18.8 | 19.2 | 19.6 | 20 | 20.4 | 16.0714
RATE ZONE TOTALS
| Powerstream | 15 | 32.7 | 35.6 | 36.7 | 27.3 | 25.4 | 29.4 | 26.2 | 34.3 | 38.5 | 42.5 | 45.5 | 48.8 | 28.8714 | Higher
| Horizon | 4.9 | 8.4 | 6.9 | 5 | 10.2 | 12 | 13.9 | 12.9 | 12 | 13.1 | 13.8 | 14.2 | 15.2 | 8.7571 | Higher
| Enersource | 6 | 7.1 | 17.8 | 22.6 | 23.3 | 27.5 | 24 | 19.4 | 24.7 | 31.4 | 33.8 | 36 | 37.3 | 18.3286 | Higher
| Brampton | 5.7 | 7.4 | 5.9 | 4.4 | 3.1 | 7.5 | 8 | 6 | 6.7 | 9.4 | 10.7 | 11.7 | 13.1 | 6 | Higher
| Guelph | 2.4 | 2.7 | 3.4 | 2.9 | 5.6 | 6.8 | 3.8 | 2.5 | 3.5 | 3.5 | 3.5 | 3.7 | 3.8 | 3.9429 | Same
U/G & Poles&Reactive |  | 34 | 58.3 | 69.6 | 71.6 | 69.5 | 79.2 | 79.1 | 67 | 81.2 | 95.9 | 104.3 | 111.1 | 118.2 | 65.9
Other System Renewal |  | 24.5 | 18.2 | 29.1 | 51 | 49.5 | 56.8 | 50.6 | 60.6 | 57.7 | 46.1 | 49.7 | 45 | 59.1
Chart 1 |  | Table 2 - Actual spending from 2012 to 2018, 2019 Q2 Forecast, 2020 – 2024 Plan ($MM) 2016: Chart 2
Chart 3

## DSP UG RENEWAL
EP Exhibit J1.xx
BASED ON BOARD STAFF IRR G-29 and (where data are available) IRR SEC-2 &JT2.2 Q1 |  |  | List of Incremental Cable Injection and Replacement Projects Included in DSP
|  |  | Service |  | Back Calculated Estimate
Project # |  | Location | Area | Rate Zone | Capital SAIDI | Capital SAIFI | Imprvmt SAIDI | Imprvmt SAIFI | Benefit SAIDI $MM | Benefit SAIFI $MM
150025 | Cable Injection Project - (V18) -Major Mackenzie and Keele, | Vaughan | East | PRZ | 904545.4545 | 904545.4545 | 0.0044 | 0.0022 | 0.00398 | 0.00199
150026 | Cable Injection Project - (M43) -John and Woodbine, Markham | Markham | East | PRZ | 978571.4286 | 985714.2857 | 0.0014 | 0.0007 | 0.00137 | 0.00069
150134 | Cable Injection Project - (V37) Langstaff and Weston, | Vaughan | East | PRZ | 208542.7136 | 207000 | 0.0199 | 0.01 | 0.00415 | 0.00207
150138 | Cable Replacement Project (BA23-BA24) - Cook St and Steel St, | Barrie | East | PRZ | 533333.3333 | 800000 | 0.0003 | 0.0001 | 0.00016 | 8e-05
150141 | Cable Replacement Project – (M49)- Steeles and Fairway Heights, | Markham | East | PRZ | 350000 | 350000 | 0.0004 | 0.0002 | 0.00014 | 7e-05
150254 | Cable Replacement Project - (A02) -Steeplechase Ave | Aurora | East | PRZ | 362500 | 350000 | 0.0008 | 0.0004 | 0.00029 | 0.00014
150255 | Cable Replacement Project - (B23) -Cundles Rd and Janine St, Barrie | Barrie | East | PRZ | 700000 | 700000 | 0.0002 | 0.0001 | 0.00014 | 7e-05
150257 | Cable Replacement Project - (V15) -Jardin Dr | Vaughan | East | PRZ | 350000 | 342857.1429 | 0.0014 | 0.0007 | 0.00049 | 0.00024
150261 | Cable Injection Project - (V38) -Rutherford and Weston, | Vaughan | East | PRZ | 700000 | 733333.3333 | 0.0019 | 0.0009 | 0.00133 | 0.00066
150262 | Cable Replacement Project - (M33)- 16th Avenue and Village Parkway, | Markham | East | PRZ | 460000 | 600000 | 0.0005 | 0.0002 | 0.00023 | 0.00012
150263 | Cable Replacement Project - East Left Behind Cable | East | East | PRZ | 95081.9672 | 93548.3871 | 0.0061 | 0.0031 | 0.00058 | 0.00029
150571 | Cable Injection Project - (J3-K3-N2-O2), Brampton | Brampton | Central | BRZ | 434000 | 436000 | 0.005 | 0.0025 | 0.00217 | 0.00109
150572 | Cable Replacement Project - (J4) -Queen - Clark - Bramalea -Kensington -Knightsbridge | Brampton | Central | BRZ | 866666.6667 | 866666.6667 | 0.0006 | 0.0003 | 0.00052 | 0.00026
151066 | Cable Replacement Project -Hamilton Mountain URD | Hamilton | West | HRZ | 262500 | 263157.8947 | 0.0152 | 0.0038 | 0.00399 | 0.001
151091 | Switchgear Renewal | ??? | ??? | ??? |  |  | ? | ? | 0.00092 | 0.00015
151121 | Cable Injection Project - (V43) - Hwy7 and Pine Valley Dr, Vaughan | Vaughan | East | PRZ | 1023076.9231 | 942857.1429 | 0.0013 | 0.0007 | 0.00133 | 0.00066
151141 | Cable Replacement and Transformers replacement - Project Windjammer, | Mississauga | Central | ERZ | 372307.6923 | 375000 | 0.0065 | 0.0016 | 0.00242 | 0.0006
151143 | Cable Replacement and Transformers Replacement -Project Shelter Bay Rd | Mississauga | Central | ERZ | 892000 | 933333.3333 | 0.0025 | 0.0006 | 0.00223 | 0.00056
151144 | Cable Replacement Project and Transformers Replacement -Rathburn Rd.W | Mississauga | Central | ERZ | 832317.0732 | 831707.3171 | 0.0164 | 0.0041 | 0.01365 | 0.00341
151146 | Cable Replacement andTransformers Replacement - Project- Folkway, | Mississauga | Central | ERZ | 1436842.1053 | 1360000 | 0.0019 | 0.0005 | 0.00273 | 0.00068
151176 | Cable Replacement Project - MSArgentia distribution feeder(s) upgrade | Mississauga | Central | ERZ | 633333.3333 | 587500 | 0.003 | 0.0008 | 0.0019 | 0.00047
151286 | Cable Replacement Project - (H2) -Wanless - Heart Lake - Bovaird -Kennedy, | Brampton | Central | BRZ | 263157.8947 | 277777.7778 | 0.0019 | 0.0009 | 0.0005 | 0.00025
151291 | Cable Replacement Project - (I4) -Queen - Dixie - Steeles - Hwy 410, | Brampton | Central | BRZ | 657084.1889 | 65843.6214 | 0.000487 | 0.00243 | 0.00032 | 0.00016
151292 | Cable Replacement Project- (K4) -Queen - Torbram - Steeles - | Bramalea | Central | BRZ | 775000 | 750000 | 0.0004 | 0.0002 | 0.00031 | 0.00015
151299 | Cable Replacement Project - (HAM)- Millen - Barton - Fruitland | Hamilton | West | HRZ | 249681.5287 | 251923.0769 | 0.0157 | 0.0052 | 0.00392 | 0.00131
151301 | Cable Replacement Project - (HAM)- Rymal - Mud - Upper Centennial -Upper Red Hill Valley | Hamilton | West | HRZ |  |  | ? | ? | 0.0017 | 0.00057
151303 | Cable Replacement Project - (HAM) Stone Church-Garth-Lincoln M. Alexander | Hamilton | West | HRZ | 151612.9032 | 160000 | 0.0031 | 0.001 | 0.00047 | 0.00016
151315 | Cable Injection Project - (G5) -Steeles - Kennedy - Hwy 407 -Main, | Brampton | Central | BRZ |  |  | ? | ? | 0.00171 | 0.00086
151325 | Cable Replacement Project - (M31) | Markham | East | PRZ | 85436.8932 | 84615.3846 | 0.0103 | 0.0052 | 0.00088 | 0.00044
151328 | Cable Replacement Project- (21a)Darcel & Brandon Gate, | Mississauga | Central | ERZ | 687500 | 725000 | 0.0008 | 0.0004 | 0.00055 | 0.00029
151329 | Cable Replacement Project - (V51) -Langstaff - Kipling - Hwy 7 - Hwy 27, | Vaughan | East | PRZ | 428571.4286 | 500000 | 0.0007 | 0.0003 | 0.0003 | 0.00015
151330 | Cable Replacement Project - (A01) -Henderson - Yonge - Bloomington -Bathurst, | Aurora | East | PRZ | 533333.3333 | 533333.3333 | 0.0006 | 0.0003 | 0.00032 | 0.00016
151331 | Cable Replacement Project - (V41) -Stephanie Blvd, | Vaughan | East | PRZ | 725000 | 750000 | 0.0004 | 0.0002 | 0.00029 | 0.00015
151332 | Cable Replacement Project - (BA20)- Bayfield and Simcoe, | Barrie | East | PRZ |  |  | ? | ? | 0.00033 | 0.00017
151333 | Cable Replacement Project - (BA9)- Little - Fairview - Harvie -Ferndale, | Barrie | East | PRZ | 533333.3333 | 533333.3333 | 0.0006 | 0.0003 | 0.00032 | 0.00016
151335 | Cable Replacement Project - (BA14)- Tifffin and Hwy 400, Barrie | Barrie | East | PRZ | 387500 | 400000 | 0.0008 | 0.0004 | 0.00031 | 0.00016
151336 | Cable Replacement Project - (BA22)- Sunnidale and Anne, | Barrie | East | PRZ | 102380.9524 | 104761.9048 | 0.0042 | 0.0021 | 0.00043 | 0.00022
151337 | Cable Replacement Project - (BA18)- Ferndale and Benson, Barrie | Barrie | East | PRZ | 1033333.3333 | 750000 | 0.0003 | 0.0002 | 0.00031 | 0.00015
151338 | Cable Replacement Project- (BA15)- Burton - Huronia - Little - Bayview, | Barrie | East | PRZ |  |  | ? | ? | 0.00032 | 0.00016
151339 | Cable Replacement Project - (BA19) Letita-Anne-Edgehill-Ferndale | Barrie | East | PRZ | 823809.5238 | 870000 | 0.0061 | 0.0031 | 0.00052 | 0.00026
151340 | Cable Replacement Project - (V29) -Hwy 7 - Jane - Steeles - Weston, | Vaughan | East | PRZ |  |  | ? | ? | 0.00032 | 0.00016
151361 | Cable Injection Project - (V26) - Teston - Keele - Major Mackenzie -Jane, | Vaughan | East | PRZ | 823809.5238 | 870000 | 0.0021 | 0.001 | 0.00173 | 0.00087
151362 | Cable Injection Project-(M39)-16th-Warden-Hwy 7-Woodbine | Markham | East | PRZ | 246153.8462 | 228571.4286 | 0.0013 | 0.0007 | 0.00032 | 0.00016
151363 | Cable Injection Project - (M25) -14th - McCowan - Steeles - Old Kennedy, | Markham | East | PRZ | 243181.8182 | 243181.8182 | 0.0088 | 0.0044 | 0.00214 | 0.00107
151366 | Cable Injection Project - (M19) -Markham - Steeles - McCowan -14th, | Markham | East | PRZ | 366666.6667 | 366666.6667 | 0.0024 | 0.0012 | 0.00088 | 0.00044
151367 | Cable Injection Project - (M21) -Hwy 7 - Markham - 16th -McCowan, | Markham | East | PRZ | 347368.4211 | 366666.6667 | 0.0019 | 0.0009 | 0.00066 | 0.00033
151401 | Cable Replacement Project- (21b)Sigsbee & Morning Star, | Mississauga | Central | ERZ | 1050000 | 1100000 | 0.0008 | 0.0004 | 0.00084 | 0.00044
151402 | Cable Replacement Project-Montevideo & Treviso (19a), | Mississauga | Central | ERZ | 191803.2787 | 193750 | 0.0061 | 0.0032 | 0.00117 | 0.00062
151403 | Cable Replacement Project-Montevideo & Battleford (19b), | Mississauga | Central | ERZ | 550000 | 575000 | 0.0008 | 0.0004 | 0.00044 | 0.00023
151404 | Cable Replacement Project- CentralPk E & Miss. Valley (28) | Mississauga | Central | ERZ | 116666.6667 | 133333.3333 | 0.0006 | 0.0003 | 7e-05 | 4e-05
151405 | Cable Replacement Project- ErinMills & N.Sheridan (16), | Mississauga | Central | ERZ | 900000 | 700000 | 0.0003 | 0.0002 | 0.00027 | 0.00014
151407 | Cable Replacement Project- GlenErin & Burnhamthorpe (12), | Mississauga | Central | ERZ | 136842.1053 | 136666.6667 | 0.0057 | 0.003 | 0.00078 | 0.00041
151408 | Cable Replacement Project-Burnhamthorpe & Miss. Road (13),Mississauga | Mississauga | Central | ERZ | 408333.3333 | 433333.3333 | 0.0012 | 0.0006 | 0.00049 | 0.00026
151409 | Cable Replacement Project- Central Parkway & Bloor (29), | Mississauga | Central | ERZ | 91428.5714 | 94444.4444 | 0.0035 | 0.0018 | 0.00032 | 0.00017
151410 | Cable Replacement Project-Roselle& Priority Cres (2), Mississauga | Mississauga | Central | ERZ | 980000 | 866666.6667 | 0.0005 | 0.0003 | 0.00049 | 0.00026
151411 | Cable Replacement Project-Queensway & Mavis (31), | Mississauga | Central | ERZ | 277777.7778 | 288888.8889 | 0.0018 | 0.0009 | 0.0005 | 0.00026
151413 | Cable Replacement Project-Rathburn Rd W & Elora Dr (9), | Mississauga | Central | ERZ | 680000 | 600000 | 0.0005 | 0.0003 | 0.00034 | 0.00018
151416 | Cable Replacement Project-Woodchester & Thorn Lodge (34), Mississauga | Mississauga | Central | ERZ | 400000 | 400000 | 0.0006 | 0.0005 | 0.00024 | 0.0002
151418 | Cable Replacement Project-Innovator & Courtney Park E (4), | Mississauga | Central | ERZ | 347727.2727 | 348648.6486 | 0.0044 | 0.0037 | 0.00153 | 0.00129
151419 | Cable Replacement Project-MississaugaThomas St & Hillside (24), | Mississauga | Central | ERZ | 528571.4286 | 516666.6667 | 0.0007 | 0.0006 | 0.00037 | 0.00031
151420 | Cable Replacement Project-Eglinton& Credit Valley (5), | Mississauga | Central | ERZ | 90833.3333 | 97872.3404 | 0.012 | 0.0094 | 0.00109 | 0.00092
151421 | Cable Replacement Project-Rathkeale Rd & Edenrose St (6), | Mississauga | Central | ERZ | 370000 | 344444.4444 | 0.001 | 0.0009 | 0.00037 | 0.00031
151422 | Cable Replacement Project-Queen St W & Paisley (30), | Mississauga | Central | ERZ | 766666.6667 | 633333.3333 | 0.0003 | 0.0003 | 0.00023 | 0.00019
151423 | Cable Replacement Project-Old Carriage Road (33), | Mississauga | Central | ERZ | 750000 | 600000 | 0.0002 | 0.0002 | 0.00015 | 0.00012
151424 | Cable Replacement Project-Miss.Valley & Bloor (15) | Mississauga | Central | ERZ | 100000 | 100000 | 0.0025 | 0.0021 | 0.00025 | 0.00021
151425 | Cable Replacement Project-Rathburn Rd E & Tomken (10), | Mississauga | Central | ERZ | 700000 | 600000 | 0.0003 | 0.0003 | 0.00021 | 0.00018
151426 | Cable Replacement Project-Southdown & Lakeshore (35), | Mississauga | Central | ERZ | 144444.4444 | 150000 | 0.0027 | 0.0022 | 0.00039 | 0.00033
151427 | Cable Injection- 001- AREA 11-Truscott & Southdown | Mississauga | Central | ERZ | 585714.2857 | 525000 | 0.0007 | 0.0004 | 0.00041 | 0.00021
151429 | Cable Injection- 003- AREA36 -Matheson & Kennedy, | Mississauga | Central | ERZ | 785714.2857 | 725000 | 0.0014 | 0.0008 | 0.0011 | 0.00058
151431 | Cable Injection- 006- AREA 39- ErinMills Pkway & Thomas St, | Mississauga | Central | ERZ | 300000 | 400000 | 0.0005 | 0.0002 | 0.00015 | 8e-05
151432 | Cable Injection- 007- AREA 43 &51- Hurontario & Derry Rd W, | Mississauga | Central | ERZ | 690000 | 720000 | 0.001 | 0.0005 | 0.00069 | 0.00036
151434 | Cable Injection- 009- AREA 54-Highway 401 & Argentia, | Mississauga | Central | ERZ | 425000 | 450000 | 0.0004 | 0.0002 | 0.00017 | 9e-05
151435 | Cable Injection- 010 - Area 56-Derry Rd W & Ninth Line, | Mississauga | Central | ERZ | 242857.1429 | 300000 | 0.0007 | 0.0003 | 0.00017 | 9e-05
151436 | Cable Injection-011 - Area 58 & 59-Winston Churchill & The Collegeway, | Mississauga | Central | ERZ | 0 | 0 | 0 | 0 | 0 | 0
151460 | Cable Injection Project - (V17) -Langstaff - Keele - Rutherford -Dufferin, | Vaughan | East | PRZ | 359375 | 362500 | 0.0032 | 0.0016 | 0.00115 | 0.00058
151465 | Cable Replacement - Mississauga Left Behind Cable | Mississauga | Central | ERZ | 23715.415 | 23677.9795 | 0.00253 | 0.001267 | 6e-05 | 3e-05
151467 | Cable Replacement Project - (V17) -Langstaff - Keele - Rutherford -Dufferin, | Vaughan | East | PRZ | 387500 | 400000 | 0.0008 | 0.0004 | 0.00031 | 0.00016
| SUMMARY TOTALS |  |  |  | 35240505.2886 | 34314122.7168 | 0.21032 | 0.1012 | 0.07933 | 0.03351
| SUMMARY TOTALS |  |  |  | 35240505.2886 | 34314122.7168 | 0.21032 | 0.1012 | 0.07933 | 0.03351
| RATE ZONE TOTALS |  |  | RATE ZONE
|  |  |  | PRZ | 14092405.8941 | 14373486.2825 | 0.0831 | 0.0416 | 0.02603 | 0.01303
|  |  |  | ERZ | 17488396.2123 | 16869267.3967 | 0.08483 | 0.043267 | 0.03677 | 0.01452
|  |  |  | HRZ | 663794.4319 | 675080.9717 | 0.034 | 0.01 | 0.01008 | 0.00304
|  |  |  | BRZ | 2995908.7503 | 2396288.0658 | 0.008387 | 0.00633 | 0.00553 | 0.00277
|  |  |  | GRZ | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Total | 35240505.2886 | 34314122.7168 | 0.21032 | 0.1012 | 0.07841 | 0.03336

## DSP UG Cable
JT2.5 |  | Cable Replacement and Refurbishment by Rate zone
Table 1
Rate Zone | Method | 2020 | 2021 | 2022 | 2023 | 2024 | Total
BRZ | Cable Replacement (km) | 8 | 13 | 12 | 11 | 20 | 64
ERZ | Cable Replacement (km) | 36 | 38 | 45 | 75 | 38 | 232
PRZ | Cable Replacement (km) | 26 | 51 | 53 | 46 | 74 | 250
GRZ | Cable Replacement (km) | 3 | 12 | 14 | 7 | 12 | 48
HRZ | Cable Replacement (km) | 20 | 16 | 16 | 11 | 18 | 81
Total (km) |  | 93 | 130 | 140 | 150 | 162 | 675
Table 2
BRZ | Cable Injection (km) | 56 | 35 | 45 | 53 | 57 | 246
ERZ | Cable Injection (km) | 30 | 55 | 62 | 68 | 63 | 278
PRZ | Cable Injection (km) | 93 | 117 | 130 | 156 | 188 | 684
GRZ | Cable Injection (km) | 2 | 31 | 37 | 34 | 34 | 138
HRZ | Cable Injection (km) | 32 | 32 | 31 | 34 | 34 | 163
Total (km) |  | 213 | 270 | 305 | 345 | 376 | 1509
Total (km) UG CABLE |  | 306 | 400 | 445 | 495 | 538 | 2184

## Capital Plan
APPX 2-AB; JT1.6 |  | Table 1 |  | Alectra Capital Plan 2019-2024
Staff G-104
|  | F 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 5yr TOTAL
System Access |  | 77.4 | 66.5 | 66.9 | 63.2 | 67.1 | 70.2 | 333.9
System Renewal |  | 132.1 | 139 | 142 | 154 | 156.1 | 177.2 | 768.3
System Service |  | 23.5 | 38 | 36.9 | 36 | 42.4 | 37.2 | 190.5
General Plant |  | 26.2 | 39.4 | 34.4 | 35.1 | 30.2 | 24.7 | 163.8
Total CAPEX |  | 259.2 | 282.9 | 280.2 | 288.3 | 295.8 | 309.3 | 1456.5
ICM Threshold |  | ? | 230 | 233 | 236 | 240 | 243 | 1182
Unfunded Capital |  | 32.4 | 52.9 | 47.2 | 52.3 | 55.8 | 66.3 | 274.5
M- Factor Request |  | F 2019: Table 2; 2021: Proposed M-Factor Capital Investments
JT 2.2 Q1 |  | PILC Cable | Switches | Switchgear | OH Line | Transformer | Total | SAIDI IMP | SAIFI IMP
BRZ | 26
ERZ | 51.8
PRZ | 110.6
BRZ | 0
GRZ | 0
Multiple | 25
Total | 213.4