## Figure 1 - Powerstream (16-17)
Appendic C - Historical ACA Results
Alectra_Undertaking Resp_JT2.2 Q3 Attach 2_20191011_AMPCO Calculations
Asset Class | Unit of Measure | Total Population | HI Quantity
|  |  | VP | P | F | G | VG
PS Distribution Transformers | unit | 44781 | 1695 | 5638 | 8422 | 9706 | 19320
PS Pad Mounted Switchgear | unit | 1817 | 93 | 103 | 375 | 105 | 1141
PS Minirupter Switches | unit | 270 | 0 | 4 | 202 | 64 | 0
PS Automated Switches | unit | 481 | 0 | 9 | 136 | 235 | 101
PS Wood Poles | unit | 36688 | 0 | 1630 | 7820 | 27238 | 0
PS Stations Transformers | unit | 95 | 0 | 0 | 5 | 54 | 36
PS Stations Circuit Breakers/Reclosers | unit | 389 | 1 | 26 | 26 | 87 | 249
PS Stations 230 kV Switches | unit | 22 | 0 | 0 | 2 | 6 | 14
PS MS Primary Switches | unit | 58 | 0 | 0 | 0 | 50 | 8
PS Stations Capacitors | unit | 9 | 0 | 0 | 0 | 2 | 7
PS Stations Reactors | unit | 38 | 0 | 0 | 0 | 0 | 38
PS TS Station Service Transformers | unit | 18 | 0 | 0 | 0 | 4 | 14
PS 230 KV PMU | unit | 30 | 0 | 0 | 0 | 0 | 30
PS TS P&C Relays | unit | 330 | 6 | 78 | 6 | 50 | 190
PS MS P&C Relays | unit | 349 | 3 | 29 | 75 | 13 | 229
|  | 85375 | 1798 | 7517
# vp & p |  |  |  | 9315
% vp & p |  |  |  | 10.91%

## Figure 2 - Horizon (13)
Asset Class | Unit of Measure | Total Population | HI Quantity
|  |  | VP | P | F | G | VG
HR Substation Power Transformers | unit | 70 | 0 | 0 | 7 | 22 | 41
HR Substation Circuit Breakers | unit | 279 | 13 | 50 | 44 | 61 | 111
HR Substation Switchgear | unit | 37 | 0 | 12 | 18 | 2 | 5
HR Pole Top Transformers | unit | 12886 | 616 | 198 | 489 | 571 | 11012
HR OH Conductors Primary | km | 3384 | 65 | 90 | 40 | 173 | 3016
HR OH Conductors Secondary | km | 2196 | 135 | 56 | 74 | 254 | 1677
HR OH Conductors Service System | km | 1897 | 164 | 50 | 70 | 248 | 1365
HR OH Line Switches | unit | 711 | 55 | 89 | 70 | 116 | 381
HR Wood Poles | unit | 42035 | 1723 | 2876 | 2836 | 3424 | 31176
HR Concrete Poles | unit | 9761 | 171 | 354 | 214 | 1167 | 7855
HR Primary UG Cables XLPE | km | 2060 | 269 | 323 | 375 | 313 | 780
HR Primary UG Cables PILC | km | 1531 | 9 | 3 | 30 | 133 | 1356
HR Secondary UG Cables DB | km | 756 | 82 | 236 | 166 | 132 | 140
HR Secondary UG Cables ID | km | 532 | 77 | 145 | 98 | 91 | 121
HR Services UG Cables DB | km | 447 | 42 | 241 | 92 | 29 | 43
HR Services UG Cables ID | km | 589 | 3 | 22 | 106 | 105 | 353
HR Pad mounted Transformers | unit | 5906 | 8 | 0 | 8 | 33 | 5857
HR Pad mounted Switchgear | unit | 185 | 0 | 1 | 5 | 97 | 82
HR Vault Transformers | unit | 4169 | 966 | 1089 | 1657 | 457 | 0
HR Utility Chambers | unit | 2075 | 4 | 18 | 44 | 207 | 1802
HR Vaults | unit | 3401 | 0 | 0 | 2 | 16 | 3383
HR Submersible Load Break Switches | unit | 117 | 24 | 30 | 27 | 0 | 36
|  | 95024 | 4426 | 5883
# vp & p |  |  |  | 10309
% vp & p |  |  |  | 10.85%

## Figure 3 - Enersource (15)
Asset Class | Unit of Measure | Total Population | HI Quantity
|  |  | VP | P | F | G | VG
EH Substation Transformers | unit | 108 | 0 | 4 | 9 | 27 | 68
EH Spare Substation Transformers | unit | 12 | 1 | 0 | 0 | 4 | 7
EH Circuit Breakers | unit | 432 | 1 | 0 | 21 | 37 | 373
EH Pole Mounted Transformers | unit | 5353 | 168 | 29 | 274 | 830 | 4052
EH Pad Mounted Transformers | unit | 16121 | 384 | 610 | 744 | 3786 | 10597
EH Vault Transformers | unit | 3854 | 243 | 195 | 248 | 603 | 2565
EH Pad Mounted Switchgear | unit | 834 | 59 | 5 | 24 | 16 | 730
EH Overhead Switches | unit | 2653 | 0 | 81 | 243 | 711 | 1618
EH Main Feeder Cables | km | 2239 | 221 | 35 | 134 | 276 | 1573
EH Distribution UG Cables | km | 4076 | 679 | 172 | 405 | 498 | 2322
EH Wood Poles | unit | 12436 | 1306 | 630 | 3214 | 2020 | 5266
EH Concrete Poles | unit | 9488 | 326 | 27 | 1017 | 494 | 7624
|  | 57606 | 3388 | 1784
# vp & p |  |  |  | 5172
% vp & p |  |  |  | 8.978%

## Figure 4 - Brampton (13)
Asset Class | Unit of Measure | Total Population | HI Quantity
|  |  | VP | P | F | G | VG
BH MS Transformers | unit | 20 | 0 | 5 | 1 | 5 | 9
BH Circuit Breakers | unit | 73 | 0 | 6 | 2 | 6 | 59
BH Single Phase Pole Mounted Transformers | unit | 1582 | 51 | 103 | 100 | 112 | 1216
BH Three Phase Pole Mounted Transformers | unit | 1260 | 63 | 24 | 30 | 87 | 1056
BH Mini Pad Transformers | unit | 12431 | 27 | 149 | 436 | 1717 | 10102
BH Three Phase Pad Mounted Transformers | unit | 825 | 0 | 0 | 5 | 11 | 809
BH Three Phase Vault Transformers | unit | 1413 | 15 | 72 | 39 | 120 | 1167
BH Three Phase LI Switches | unit | 140 | 0 | 0 | 0 | 2 | 138
BH Pad Mounted Switchgear | unit | 292 | 0 | 20 | 1 | 6 | 265
BH Wood Poles | unit | 9567 | 1 | 551 | 2253 | 2908 | 3854
BH Primary Feeder XLPE Cable | km | 711 | 153 | 13 | 15 | 17 | 513
BH Primary Distribution XLPE Cable | km | 2411 | 596 | 48 | 61 | 70 | 1636
BH Batteries | unit | 157 | 6 | 10 | 9 | 8 | 124
|  | 30882 | 912 | 1001
# vp & p |  |  |  | 1913
% vp & p |  |  |  | 6.195%

## Figure 5 - Guelph (14)
Asset Class | Unit of Measure | Total Population | HI Quantity
|  |  | VP | P | F | G | VG
GH Substation Transformers | unit | 4 | 0 | 0 | 0 | 0 | 4
GH Circuit Breaker | unit | 18 | 0 | 0 | 0 | 0 | 18
GH Pole Mounted Transformers | unit | 1821 | 32 | 195 | 387 | 450 | 757
GH Pad Mounted Transformers | unit | 3825 | 18 | 57 | 369 | 992 | 2389
GH Submersible Transformers | unit | 42 | 0 | 2 | 8 | 6 | 26
GH Vault Transformers | unit | 81 | 0 | 0 | 2 | 14 | 65
GH LI Switches | unit | 361 | 0 | 0 | 0 | 18 | 343
GH Live Front Switchgear | unit | 88 | 0 | 1 | 2 | 26 | 59
GH SD Switchgear | unit | 11 | 0 | 0 | 0 | 0 | 11
GH Primary Cables | km | 680 | 0 | 1 | 51 | 11 | 617
GH Secondary Cables | km | 1123 | 0 | 2 | 13 | 49 | 1059
GH Single Phase Primary Lines | km | 99 | 0 | 0 | 0 | 1 | 98
GH Three Phase Primary Lines | km | 328 | 0 | 0 | 0 | 0 | 328
GH Secondary Lines | km | 458 | 0 | 0 | 0 | 4 | 454
GH Wood Poles | unit | 9564 | 47 | 20 | 482 | 3746 | 5269
GH Concrete Poles | unit | 881 | 0 | 0 | 1 | 696 | 184
GH Composite Poles | unit | 180 | 0 | 0 | 0 | 0 | 180
GH Vaults | unit | 105 | 1 | 10 | 7 | 1 | 86
GH Manholes | unit | 33 | 7 | 6 | 12 | 4 | 4
|  | 19702 | 105 | 294
# vp & p |  |  |  | 399
% vp & p |  |  |  | 2.025%

## Figure 6 - Results
JT2.2 Q3 Attachment #2
Historical ACA HI Results
Updated to Include Cable Data
Predessessor Utility | ACA Year | Asset Population | HI Quantity VP/P | % | Predessessor Utility | ACA Year | Asset Population | HI Quantity VP/P | %
PowerStream | 2017 | 85375 | 9315 | 10.91% | PowerStream | 2017 | 85375 | 9315 | 10.91%
Horizon | 2013 | 95024 | 10309 | 10.85% | Underground Cable |  | 8220 | 2384
Enersource | 2015 | 57606 | 5172 | 8.978% |  |  | 93595 | 11699 | 12.5%
Brampton | 2013 | 30882 | 1913 | 6.195% | EB-2016-0025 Tech Conf AMPCO 6-b
Guelph | 2014 | 19702 | 399 | 2.025%
Total |  | 288589 | 27108 | 9.393%
Alectra | 2018 | 303600 | 17782 | 5.857%