## 2011
QUESTION #16 2011 Tier 1 saveONenergy Program Results (By LDC)
Table is at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | (Implementation) Year | Status | Notes: | Activity Unit Name | Activity/Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Tier 1 | Consumer | Appliance Exchange | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Appliances | 5.4804 | 0.00091459 | 0.83933 | 0.00047135 | 0.00047135 | 0.00047135 | 1.2442e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43256 | 0.43256 | 0.43256 | 0.022185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Appliances | 16.636 | 0.0020363 | 13.3778 | 0.0010178 | 0.0010178 | 0.0010178 | 0.00090488 | 0.00069162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9313 | 6.9313 | 6.9313 | 6.8303 | 5.2603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Bi-Annual Retailer Event | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Products | 339.0804 | 0.00058596 | 10.4799 | 0.0006551 | 0.0006551 | 0.0006551 | 0.0006551 | 0.00060947 | 0.00055962 | 0.00045267 | 0.00044972 | 0.0005452 | 0.00025863 | 3.6779e-05 | 3.6764e-05 | 3.6764e-05 | 3.4123e-05 | 3.4123e-05 | 2.8801e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.4493 | 11.4493 | 11.4493 | 11.4493 | 10.4638 | 9.3872 | 7.0774 | 7.0516 | 9.1136 | 2.9245 | 1.053 | 0.92694 | 0.92694 | 0.68458 | 0.68458 | 0.62202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Conservation Instant Coupon Booklet | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Products | 1393.5933 | 0.0019044 | 37.5408 | 0.0021595 | 0.0021595 | 0.0021595 | 0.0021595 | 0.0019457 | 0.0017122 | 0.0016366 | 0.0016331 | 0.0020803 | 0.00073799 | 0.00023427 | 0.00023401 | 0.00023401 | 0.00023099 | 0.00023099 | 3.4669e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.9147 | 41.9147 | 41.9147 | 41.9147 | 37.2987 | 32.2558 | 30.6222 | 30.5916 | 40.2505 | 11.2602 | 5.5318 | 3.3337 | 3.3337 | 3.0567 | 3.0567 | 0.74874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | HVAC Incentives | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Installations | 8.5493 | 0.0052463 | 10.735 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.0031182 | 0.003093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3783 | 6.3557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Hydro 2000 Inc. | Residential | DR | 2011 | Final; Released August 31, 2012 | New participants during the peaksaver extension period + Continuing participants that have signed a peaksaver PLUS agreement | Devices | 10 | 0.0056 | 0.0145 | 0.0056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Retailer Co-op | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 | Custom retailer initiative; Not evaluated | Products | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response (part of the Residential program schedule) | Hydro 2000 Inc. | Commercial & Institutional | DR | 2011 | Final; Released August 31, 2012 | New participants during the peaksaver extension period + Continuing participants that have signed a peaksaver PLUS agreement | Devices | 7 | 0.00448 | 0.01638 | 0.00448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Hydro 2000 Inc. | Commercial & Institutional | EE | 2011 | Final; Released August 31, 2012 | Not evaluated; 2010 Evaluation findings used | Projects | 0.00012683 | 1.6856e-05 | 0.086571 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 8.4279e-06 | 0 | 0 | 0 | 0 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0.043285 | 0 | 0 | 0 | 0

## 2012
APPENDIX 2
Table is at the End User Level | [11 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | (Implementation) Year | Status | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Tier 1 | Business | Direct Install Lighting | Hydro 2000 Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 | Projects | 35 | 0.13691 | 236.391 | 0 | 0.035811 | 0.035811 | 0.035811 | 0.030399 | 0.030332 | 0.0065563 | 0.0065563 | 0.0055592 | 0.0055592 | 0.0055592 | 0.0047748 | 0.0047748 | 0.002264 | 0.002264 | 0.002264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 131.3875 | 131.3875 | 131.3875 | 109.8057 | 109.5256 | 20.431 | 20.431 | 19.4352 | 19.4352 | 19.4352 | 11.7601 | 11.7601 | 2.2609 | 2.2609 | 2.2609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Exchange | Hydro 2000 Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 | Appliances | 2.1496 | 0.00042384 | 1.1011 | 0 | 0.00031868 | 0.00031868 | 0.00031868 | 0.00031785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.56749 | 0.56749 | 0.56749 | 0.56675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 | Appliances | 17.129 | 0.0014579 | 14.0286 | 0 | 0.0010962 | 0.0010962 | 0.0010962 | 0.00098155 | 0.00051138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.532 | 6.532 | 6.532 | 6.4295 | 3.8894 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Bi-Annual Retailer Event | Hydro 2000 Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 | Products | 413.3258 | 0.00076688 | 11.3849 | 0 | 0.0005766 | 0.0005766 | 0.0005766 | 0.0005766 | 0.00052777 | 0.00044662 | 0.00033435 | 0.00033312 | 0.00033312 | 0.00021483 | 8.4051e-05 | 8.4044e-05 | 8.4044e-05 | 8.2601e-05 | 8.2601e-05 | 8.0549e-05 | 2.2601e-05 | 2.2601e-05 | 2.2601e-05 | 2.2601e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4341 | 10.4341 | 10.4341 | 10.4341 | 9.3796 | 7.627 | 5.2024 | 5.1916 | 5.1916 | 2.6369 | 1.9569 | 1.8961 | 1.8961 | 1.7637 | 1.7637 | 1.7396 | 0.4881 | 0.4881 | 0.4881 | 0.4881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Conservation Instant Coupon Booklet | Hydro 2000 Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 | Products | 12.035 | 0.00011939 | 0.54474 | 0 | 8.977e-05 | 8.977e-05 | 8.977e-05 | 8.977e-05 | 8.9391e-05 | 8.9391e-05 | 7.6246e-05 | 7.6086e-05 | 7.6086e-05 | 7.6086e-05 | 1.3996e-06 | 1.3986e-06 | 1.3986e-06 | 1.3483e-06 | 1.3483e-06 | 1.2594e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.54474 | 0.54474 | 0.54474 | 0.54474 | 0.53655 | 0.53655 | 0.25266 | 0.25127 | 0.25127 | 0.25127 | 0.04081 | 0.032866 | 0.032866 | 0.028244 | 0.028244 | 0.027199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | HVAC Incentives | Hydro 2000 Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 | Installations | 13.3541 | 0.0040209 | 13.0421 | 0 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0030233 | 0.0026338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.4327 | 5.0844 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Hydro 2000 Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 | Projects | 0.0003896 | 5.8553e-05 | 0.085305 | 0 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 4.4025e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0.042653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 - 2011 Adjustment | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Hydro 2000 Inc. | C&I | EE | 2011 | Final; Released August 31, 2013 | Buildings | 0 | 8.5556e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 - 2011 Adjustment | Consumer | HVAC Incentives | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 | Installations | -2.1301 | -0.0018615 | -3.8099 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.0007754 | -0.00076902 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.587 | -1.5813 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 - 2011 Adjustment | Consumer | Bi-Annual Retailer Event | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 | Products | 31.8758 | 4.5431e-05 | 0.92476 | 4.2024e-05 | 4.2024e-05 | 4.2024e-05 | 4.2024e-05 | 4.2024e-05 | 3.8428e-05 | 2.196e-05 | 2.195e-05 | 2.195e-05 | 6.8926e-06 | 2.8638e-06 | 2.863e-06 | 2.863e-06 | 2.7314e-06 | 2.7314e-06 | 2.7253e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.85065 | 0.85065 | 0.85065 | 0.85065 | 0.85065 | 0.77299 | 0.41733 | 0.41725 | 0.41725 | 0.092048 | 0.07733 | 0.071013 | 0.071013 | 0.05893 | 0.05893 | 0.058859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 - 2011 Adjustment | Consumer | Conservation Instant Coupon Booklet | Hydro 2000 Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 | Products | 3.2009 | 6.2721e-06 | 0.099728 | 6.2721e-06 | 6.2721e-06 | 6.2721e-06 | 6.2721e-06 | 6.2721e-06 | 5.8429e-06 | 4.0868e-06 | 4.0775e-06 | 4.0775e-06 | 2.2799e-06 | 3.0137e-07 | 3.0105e-07 | 3.0105e-07 | 2.9323e-07 | 2.9323e-07 | 2.8787e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10739 | 0.10739 | 0.10739 | 0.10739 | 0.10739 | 0.098125 | 0.060199 | 0.060117 | 0.060117 | 0.021294 | 0.0096173 | 0.0069976 | 0.0069976 | 0.0062802 | 0.0062802 | 0.0062171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.33

## 2013
APPENDIX 2 - LDC Summary
All Savings at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | Tx (Transmission) or Dx (Distribution) connected | (Implementation) Year | Notes | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
LDC | Business | Retrofit | Hydro 2000 Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 1 | 0 | 279.7118 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.6542 | 202.6542 | 202.6542 | 202.6542 | 202.6542 | 202.6542 | 202.6542 | 192.1466 | 186.3378 | 186.3378 | 87.1231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Small Business Lighting | Hydro 2000 Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 23 | 0.027397 | 103.2855 |  |  | 0.025877 | 0.025877 | 0.025088 | 0.019206 | 0.0025163 | 0.0025163 | 0.0025163 | 0.0025163 | 0.0025163 | 0.0025163 | 0.0017483 | 0.0017483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 97.4881 | 97.4881 | 94.0925 | 70.3195 | 12.8671 | 12.8671 | 12.8671 | 12.8671 | 12.8671 | 12.8671 | 5.8995 | 5.8995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Annual Coupons | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 135.1503 | 0.00018066 | 2.6657 | 0 | 0 | 0.00020126 | 0.00020126 | 0.000194 | 0.0001663 | 0.0001663 | 0.0001663 | 0.0001663 | 0.00016607 | 0.00012421 | 0.00012421 | 9.9775e-05 | 9.9772e-05 | 9.9772e-05 | 9.9623e-05 | 9.9623e-05 | 9.9501e-05 | 9.6427e-05 | 5.66e-05 | 5.66e-05 | 5.66e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0029 | 3.0029 | 2.8871 | 2.446 | 2.446 | 2.446 | 2.446 | 2.444 | 1.7772 | 1.7772 | 1.6159 | 1.5929 | 1.5929 | 1.5863 | 1.5863 | 1.585 | 1.536 | 0.9016 | 0.9016 | 0.9016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 21 | 0.0035074 | 17.9659 |  |  | 0.0015398 | 0.0015398 | 0.0015398 | 0.001435 | 0.0010317 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 8.222 | 8.222 | 8.222 | 8.1195 | 7.0196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Bi-Annual Retailer Events | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 368.0822 | 0.0004448 | 6.4055 | 0 | 0 | 0.00046115 | 0.00046115 | 0.00043584 | 0.00034944 | 0.00034944 | 0.00034944 | 0.00034944 | 0.00034877 | 0.00029977 | 0.00029977 | 0.00021752 | 0.0001405 | 0.0001405 | 0.00013773 | 0.00013773 | 0.00013631 | 0.00011766 | 6.9065e-05 | 6.9065e-05 | 6.9065e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6932 | 6.6932 | 6.29 | 4.9137 | 4.9137 | 4.9137 | 4.9137 | 4.9079 | 4.1272 | 4.1272 | 3.5914 | 2.3089 | 2.3089 | 2.187 | 2.187 | 2.1714 | 1.8743 | 1.1002 | 1.1002 | 1.1002 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Home Assistance Program | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | N/A | Projects Completed | 97 | 0.0042925 | 44.5916 | 0 | 0 | 0.0042925 | 0.0042667 | 0.0042627 | 0.0040633 | 0.0039636 | 0.0038736 | 0.0038194 | 0.0038194 | 0.002912 | 0.0027557 | 0.001744 | 0.001744 | 0.00076127 | 0.00076127 | 0.0005033 | 0.00025692 | 0.00025692 | 0.00025692 | 0.00025692 | 0.00025692 | 0.00025692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.5916 | 44.0947 | 44.0166 | 40.179 | 38.2597 | 36.5258 | 35.4835 | 35.1693 | 17.7018 | 17.5558 | 9.2128 | 9.2128 | 5.9456 | 5.9456 | 3.9258 | 1.8941 | 1.8941 | 1.8941 | 1.8941 | 1.8941 | 1.8941 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | Blended Load Shape used for furnaces | Equipment | 8 | 0.0036961 | 6.8317 |  |  | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0017468 | 0.0015776 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.2146 | 3.0633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | peaksaverPLUS | Hydro 2000 Inc. | Residential | DR | Dx | 2013 | N/A | Devices | 1 |  |  | Net Annual Summer Peak Demand Savings (MW) 2013: 0.0003; Net Annual Energy Savings (MWh) 2013: 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 0.0054544 | 7.1873e-07 | 0.0050266 | 0 | 0 | 3.4046e-07 | 3.4046e-07 | 3.4046e-07 | 3.4046e-07 | 1.8915e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023826 | 0.0023826 | 0.0023826 | 0.0023826 | 0.001287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Hydro 2000 Inc. | Residential | EE | Dx | 2012 | Blended Load Shape used for furnaces | Equipment | 0.007792 | 3.671e-06 | 0.0066287 | 0 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.5905e-06 | 1.367e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0032336 | 0.0030097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2014
APPENDIX 2 - LDC Summary
All Savings at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | Tx (Transmission) or Dx (Distribution) connected | (Implementation) Year | Notes | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
LDC | Business | Direct Install Lighting | Hydro 2000 Inc. | Commercial | EE | Dx | 2014 | n/a | Projects | 13 | 27.4535 | 103223.9148 | 0 | 0 | 0 | 0.027454 | 0.02702 | 0.025263 | 0.0070141 | 0.0070141 | 0.0070141 | 0.0070141 | 0.0070141 | 0.0070141 | 0.0070141 | 0.0060941 | 0.0039183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.2239 | 101.776 | 94.2965 | 28.96 | 28.96 | 28.96 | 28.96 | 28.96 | 28.96 | 28.96 | 20.4758 | 13.2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Hydro 2000 Inc. | Commercial | EE | Dx | 2012 | n/a | Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Hydro 2000 Inc. | Commercial | EE | Dx | 2013 | n/a | Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Hydro 2000 Inc. | Commercial | EE | Dx | 2014 | n/a | Projects | 1 | 6.7653 | 23566.8479 | 0 | 0 | 0 | 0.0067653 | 0.0067653 | 0.0067653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.5668 | 23.5668 | 23.5668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Exchange | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | Dehumidifier Load Shape | Appliances | 1 | 0.20719 | 369.4399 | 0 | 0 | 0 | 0.00020719 | 0.00020719 | 0.00020719 | 0.00020719 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36944 | 0.36944 | 0.36944 | 0.36944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 3.0016 | 0.20902 | 1513.4282 | 0 | 0 | 0 | 0.00020902 | 0.00020902 | 0.00020902 | 0.00020902 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5134 | 1.5134 | 1.5134 | 1.5134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 2.0039 | 0.12022 | 818.0009 | 0 | 0 | 0 | 0.00012022 | 0.00012022 | 0.00012022 | 0.00012022 | 0.00012022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.818 | 0.818 | 0.818 | 0.818 | 0.818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Bi-Annual Retailer Event | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 1879.7179 | 3.1337 | 47882.7876 | 0 | 0 | 0 | 0.0031337 | 0.0027354 | 0.0025278 | 0.0025278 | 0.0025278 | 0.0025278 | 0.0025278 | 0.0025259 | 0.0025259 | 0.0023581 | 0.002146 | 0.0018179 | 0.0018179 | 0.0018091 | 0.0018091 | 0.0018054 | 0.0014677 | 0.0014677 | 0.0014677 | 0.0014677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.8828 | 41.5378 | 38.2312 | 38.2312 | 38.2312 | 38.2312 | 38.2312 | 38.2146 | 38.2146 | 35.5417 | 34.5533 | 29.2186 | 29.2186 | 28.8002 | 28.8002 | 28.7594 | 23.3795 | 23.3795 | 23.3795 | 23.3795 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Conservation Instant Coupon Booklet | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 0.40912 | 0 | 9 | 0 | 0 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 1e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009 | 0.009 | 0.009 | 0.008 | 0.008 | 0.008 | 0.008 | 0.008 | 0.006 | 0.006 | 0.006 | 0.006 | 0.006 | 0.006 | 0.006 | 0.006 | 0.003 | 0.003 | 0.003 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Conservation Instant Coupon Booklet | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 402.3578 | 0.82072 | 10969.9533 | 0 | 0 | 0 | 0.00082072 | 0.00077331 | 0.00075042 | 0.00075042 | 0.00075042 | 0.00075042 | 0.00075042 | 0.00074823 | 0.00074823 | 0.00065912 | 0.00048029 | 0.00048028 | 0.00048028 | 0.00047933 | 0.00047933 | 0.0004785 | 0.00021563 | 0.00021563 | 0.00021563 | 0.00021563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.97 | 10.2148 | 9.8501 | 9.8501 | 9.8501 | 9.8501 | 9.8501 | 9.8309 | 9.8309 | 8.4114 | 7.7748 | 7.6773 | 7.6773 | 7.6313 | 7.6313 | 7.6222 | 3.4348 | 3.4348 | 3.4348 | 3.4348 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Home Assistance | Home Assistance Program | Hydro 2000 Inc. | Residential | EE | Dx | 2013 | n/a | Homes | 3 | 0.14688 | 3537.43 | 0 | 0 | 0.00014833 | 0.000147 | 0.00014688 | 0.00013829 | 0.00013447 | 0.00013065 | 0.00013065 | 0.00013065 | 9.59e-05 | 9.59e-05 | 9.59e-05 | 9.59e-05 | 9.59e-05 | 9.59e-05 | 1.38e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7957 | 1.7699 | 1.7675 | 1.6025 | 1.5293 | 1.4562 | 1.4562 | 1.4562 | 0.789 | 0.789 | 0.789 | 0.789 | 0.789 | 0.789 | 0.114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Home Assistance | Home Assistance Program | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Homes | 2 | 0.20856 | 5621.4157 | 0 | 0 | 0 | 0.00020856 | 0.00020856 | 0.00020122 | 0.00019755 | 0.00019388 | 0.00019388 | 0.00019388 | 0.00019388 | 0.0001615 | 0.0001615 | 0.0001615 | 0.0001615 | 0.0001615 | 0.0001615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8107 | 2.8107 | 2.67 | 2.5997 | 2.5294 | 2.5294 | 2.5294 | 2.5294 | 1.9089 | 1.9089 | 1.328 | 1.328 | 1.328 | 1.328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC Incentives | Hydro 2000 Inc. | Residential | EE | Dx | 2014 | n/a | Equipment | 11 | 2.7706 | 5317.1998 | 0 | 0 | 0 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0027706 | 0.0026769 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.3172 | 5.2334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Other | Time-of-Use Savings | Hydro 2000 Inc. | Other | DR | Dx | 2014 | n/a | n/a |  | 7.8277 | 0 | 0 | 0 | 0 | 0.0078277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response | Hydro 2000 Inc. | Commercial | DR | Dx | 2011 | n/a | Devices | 1 |  |  | 0 | 0 | 0 | 0.0008358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response | Hydro 2000 Inc. | Commercial | DR | Dx | 2014 | n/a | Devices | 3 |  |  | 0 | 0 | 0 | 0.0009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Hydro 2000 Inc. | Residential | DR | Dx | 2013 | n/a | Devices | 8 |  |  | 0 | 0 | 0 | 0.0037251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Hydro 2000 Inc. | Residential | DR | Dx | 2014 | n/a | Devices | 233 |  |  | 0 | 0 | 0 | 0.070695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0