## Sheet1
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment B ORIGINAL
Hydro Ottawa Unit Costs and 2020-2025 Forecast
Asset Category / Capital | Unit of Measure | 2016 |  | 2017 |  | 2018 |  | 2019 |  | 2020 |  | 2021 |  | 2022 |  | 2023 |  | 2024 |  | 2025 |  | Comments
|  | No. of Units | Cost | No. of Units | Cost | No. of Units | Cost | No. of Units | Cost
Wood Poles Replacement | Each | 466 | 4400863 | 416 | 3214081 | 210 | 1693335 | 179 | 1507567 | [12 empty] | Replacement of wood poles only, under the planned pole replacement program
UG Cable (XLPE) Replacement | Meter | 27453 | 1569361 | 11901 | 1694213 | 13928 | 994787 | 6845 | 238906 | [12 empty] | Replacement of XLPE cable and associated secondary services, under cable replacement end of life program
OH Switches Replacement | Each | 2 | 28463 | 9 | 254146 | 12 | 220426 | 6 | 199514 | [12 empty] | Installation of 3-phase, loadbreak type switches only under OH equip new and rehab, emergency renewal, and critical renewal programs
OH Transformer Replacement | Each | 75 | 605105 | 52 | 443937 | 97 | 652312 | 73 | 547089 | [12 empty] | Replacement of pole-mounted transformers only, under dist transformer replacement, emergency renewal, and critical renewal programs
UG Transformer Replacement | Each | 145 | 2034704 | 174 | 2559648 | 207 | 1964977 | 105 | 1764756 | [12 empty] | Replacement of pad-mounted transformers only, under cable replacement, distribution transformer replacement, emergency renewal, and critical renewal programs
Station Breaker Replacement | Each | 6 | 638316 | 0 | 0 | 0 | 0 | 5 | 1530902 | [12 empty] | Installation of breakers as part of full metalclad, arc-rated switchgear installations under the stations switchgear and station new capital programs - total project unit cost
Maintenance Programs / OM&A | Unit of Measure | 2016 |  | 2017 |  | 2018 |  | 2019 |  | 2020 |  | 2021 |  | 2022 |  | 2023 |  | 2024 |  | 2025 |  | Comments
|  | No. of Units | Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost | No. of Units | Total Cost
Vegetation Management | Kilometer | 1494 | 4233697 | 1355 | 4394452 | 1244 | 3959768 | 717 | 2796065 | [12 empty] | Trimming of trees close to overhead power lines, in unit kms based on annual tree trimming contracts, under the Vegetation Mgmt program
Pole Test and Inspection | Each | 5230 | 269019 | 4731 | 250059 | 4630 | 112706 | 4557 | 72073 | 5203 | 99840.7 | 5032 | 100090 | 5077 | 100090 | 5187 | 100167 | 4676 | 100246 | 5093 | 100325 | Testing of wood poles for condition, including visual and drill assessment, based on annual pole inspection contracts, under the Dist. Support program
Overhead Line Patrol | Kilometer | 932 | 23946 | 1180 | 25555 | 479 | 30499 | 790 | 14986 | 786 | 31113.3 | 774 | 31711 | 790 | 31743 | 786 | 31773 | 774 | 31803 | 790 | 31831 | Inspection of overhead pole lines using IR scanning, based on annual IR scanning contracts, under the Dist. Support program
Station Breaker and Relay | Each | 80 | 273640 | 46 | 117850 | 147 | 405767 | 142 | 364862 | 199 | 459580.21 | 169 | 460631 | 183 | 459639 | 175 | 457756 | 168 | 454726 | 183 | 451881 | Maintenance of medium voltage breakers and testing of associated relays, based on internal maintenance records, under the Station Mntce programs
Billing - paper | Bills | 2460532 | 3012994 | 2367013 | 2795692 | 2221365 | 2631315 | 2185136 | 2538083 | 1953869 | 2528501 | 1844256 | 2464646 | 1747538 | 2412489 | 1667357 | 2370670 | 1607127 | 2350861 | 1569878 | 2353305 | Issuance of paper bills to customers, including cost of printing, postage, and associated internal compensation, under the Customer Billing program
Billing - online | Bills | 1508068 | 404683 | 1617858 | 420018 | 1817481 | 432957 | 1964988 | 495661 | 2152528 | 573614 | 2303205 | 634181 | 2441397 | 697249 | 2563467 | 751012 | 2666005 | 800960 | 2745986 | 835364 | Issuance of online bills to customers, including cost of bill creation and associated internal compensation, under the Customer Billing program
Meter Maintenance | Each | 4170 | 619346 | 4068 | 873947 | 4169 | 649459 | 5175 | 868285 | [12 empty] | Note: Includes adjusted 2016-2018 values from original submission
Note on J21: +joannaabalos@hydroottawa.com +matthewmcgrath@hydroottawa.com why are we providing the yellow highlighted? I don't think they were part of the study. Please refer to P.9 of the study, only reactive program were part of it. Please re-confirm with Laurie H. -Louisa Yeung agreed, was literally just looking at this thinking the same thing. Only Reactive maintenance was included in the study -Laurie Heuff