## Unit Costs
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
3-Year Average (Metric Conversion)
| Unit of Measure |  | Hydro Ottawa
Asset Category / Capital |  |  | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each |  | 8524 | 7497 | 8675 | 7549 | 7842 | 9921 | 6247 | 7497 | 9050 | 7239 | 10546 | 7434 | 7146 | 8462 | 8594 | 6150
UG Cable (XLPE) Replacement | Meter |  | 80 | 72 | 65 | 77 | 62 | 115 | 92 | 102 | 112 | 103 | 105 | 96 | 73 | 98 | 101
OH Switches (Manual and Remote / Motor Operated) | Each |  | 21871 | 22796 | 25769 | 20347 | 18269 | 26543 | 23743 | 22965 |  | 17549 |  | 21062 | 20739 | 25493 | 22755
OH Transformer Replacement | Each |  | 7595 | 7126 | 7785 | 7269 | 7194 | 11704 | 8259 | 10876 |  | 9548 |  | 11761 | 7795 | 11634 | 8745 | 7200
UG Transformer Replacement | Each |  | 12470 | 16687 | 18674 | 14379 | 17863 |  | 18638 | 21754 | 27272.7273 | 18563 |  | 21454 | 21954 | 23947 | 15765 | 15725
Station Breaker Replacement (SF6, Oil and Vacuum) | Each |  | 106386 | 92367 | 82747 | 87539 | 85692 |  | 81596 | 88923 |  | 91645 |  | 85242 | 86492 | 91582 | 84795
Maintenance Program / OM&A
Vegetation Management | Kilometer |  | 3075 | 3967 | 3254 | 2464 | 2674 |  | 3652 | 3436 |  | 2964 | 3992 | 2111 | 3953 | 3295 | 3980
Pole Test and Inspection | Each |  | 43 | 19 | 32 | 20 | 19 | 14 | 36 | 19 |  | 37 |  | 18 |  |  | 35
Overhead Line Patrol | Kilometer |  | 31 | 41 | 34 | 46 | 44 |  | 25 | 46 |  | 29 |  | 44 |  |  | 37
Station Breaker and Relay | Each |  | 2920 | 2965 | 2598 | 2279 | 2165 |  | 2693 | 3526 |  | 2875 | 2654 |  |  |  | 2755
Billing - paper | Bills |  | 1.2 | 1.35 | 1.28 | 1.15 | 1.35 |  | 1.14 | 1.15 |  | 1.42 | 1.21 |  |  |  | 1.09
Billing - online | Bills |  | Hydro Ottawa HO: 0.25; Hydro Ottawa A: 0.22; Hydro Ottawa B: 0.29; Hydro Ottawa C: 0.32; Hydro Ottawa D: 0.35; Hydro Ottawa F: 0.2; Hydro Ottawa G: 0.18; Hydro Ottawa I: 0.32; Hydro Ottawa N: 0.23
Meter Repair | Each |  | Hydro Ottawa HO: 173; Hydro Ottawa A: 158; Hydro Ottawa B: 142; Hydro Ottawa C: 125; Hydro Ottawa D: 118; Hydro Ottawa F: 135; Hydro Ottawa H: 184; Hydro Ottawa L: 126; Hydro Ottawa N: 175
PHASE 1 PRESENTATION
| Unit of Measure |  | Hydro Ottawa HO: Hydro Ottawa
Asset Category / Capital |  |  | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each |  | 8524 | 9864.4737 | 11414.4737 | 9932.8947 | 10318.4211 | 9921 | 8219.7368 | 7497 | 9050 | 9525 | 13876.3158 | 7434 | 9402.6316 | 11134.2105 | 11307.8947 | 8092.1053
UG Cable (XLPE) Replacement | Meter |  | 80 | 94.7368 | 85.5263 | 101.3158 | 81.5789 | 115 | 121.0526 | 102 | 112 | 135.5263 | 138.1579 | 96 | 96.0526 | 128.9474 | 132.8947 | 0
OH Switches (Manual and Remote / Motor Operated) | Each |  | 21871 | 29994.7368 | 33906.5789 | 26772.3684 | 24038.1579 | 26543 | 31240.7895 | 22965 | 0 | 23090.7895 | 0 | 21062 | 27288.1579 | 33543.4211 | 29940.7895 | 0
OH Transformer Replacement | Each |  | 7595 | 9376.3158 | 10243.4211 | 9564.4737 | 9465.7895 | 11704 | 10867.1053 | 10876 | 0 | 12563.1579 | 0 | 11761 | 10256.5789 | 15307.8947 | 11506.5789 | 9473.6842
UG Transformer Replacement | Each |  | 12470 | 21956.5789 | 24571.0526 | 18919.7368 | 23503.9474 | 0 | 24523.6842 | 21754 | 27272.7273 | 24425 | 0 | 21454 | 28886.8421 | 31509.2105 | 20743.4211 | 20690.7895
Station Breaker Replacement (SF6, Oil and Vacuum) | Each |  | 106386 | 121535.5263 | 108877.6316 | 115182.8947 | 112752.6316 | 0 | 107363.1579 | 88923 | 0 | 120585.5263 | 0 | 85242 | 113805.2632 | 120502.6316 | 111572.3684 | 0
Maintenance Program / OM&A
Vegetation Management | Kilometer |  | 3075 | 5219.7368 | 4281.5789 | 3242.1053 | 3518.4211 | 0 | 4805.2632 | 3436 | 0 | 3900 | 5252.6316 | 2111 | 5201.3158 | 4335.5263 | 5236.8421 | 0
Pole Test and Inspection | Each |  | 43 | 25 | 42.1053 | 26.3158 | 25 | 14 | 47.3684 | 19 | 0 | 48.6842 | 0 | 18 | 0 | 0 | 46.0526 | 0
Overhead Line Patrol | Kilometer |  | 31 | 53.9474 | 44.7368 | 60.5263 | 57.8947 | 0 | 32.8947 | 46 | 0 | 38.1579 | 0 | 44 | 0 | 0 | 48.6842 | 0
Station Breaker and Relay | Each |  | 2920 | 3901.3158 | 3418.4211 | 2998.6842 | 2848.6842 | 0 | 3543.4211 | 3526 | 0 | 3782.8947 | 3492.1053 | 0 | 0 | 0 | 3625 | 0
Billing - paper | Bills |  | 1.2 | 1.7763 | 1.6842 | 1.5132 | 1.7763 | 0 | 1.5 | 1.15 | 0 | 1.8684 | 1.5921 | 0 | 0 | 0 | 1.4342 | 0
Billing - online | Bills |  | 0.25 | 0.28947 | 0.38158 | 0.42105 | 0.46053 | 0 | 0.26316 | 0.18 | 0 | 0.42105 | 0 | 0 | 0 | 0 | 0.30263 | 0
Meter Repair | Each |  | 173 | 207.8947 | 186.8421 | 164.4737 | 155.2632 | 0 | 177.6316 | 0 | 184 | 0 | 0 | 0 | 165.7895 | 0 | 230.2632 | 0
3-Year Average (with Adjustment for Regional Costs)
| Unit of Measure | Labor Factor | Hydro Ottawa HO: Hydro Ottawa
Asset Category / Capital | Unit of Measure | Labor Factor | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each | 0.6 | 8524 | 8744.9334 | 10725.612 | 8913.4741 | 9184.8705 | 10224.5803 | 7381.3117 | 6978.3166 | 8683.3416 | 7975.4397 | 10761.8886 | 7025.2943 | 7853.2753 | 8635.2268 | 10070.249 | 7411.0623
UG Cable (XLPE) Replacement | Meter | 0.5 | 80 | 85.7769 | 81.2251 | 92.6507 | 74.1106 | 117.9325 | 110.763 | 96.1192 | 108.2186 | 117.1531 | 112.3175 | 91.6018 | 82.8631 | 104.8297 | 120.7737 | 0
OH Switches (Manual and Remote / Motor Operated) | Each | 0.4 | 21871 | 27725.2921 | 32542.4079 | 24940.5892 | 22277.6517 | 27084.473 | 29116.3855 | 21905.7706 | 0 | 20586.4625 | 0 | 20290.0371 | 24290.4808 | 28524.3875 | 27756.1157 | 0
OH Transformer Replacement | Each | 0.5 | 7595 | 8489.5339 | 9728.2637 | 8746.4659 | 8599.2203 | 12002.4497 | 9943.3881 | 10248.9491 | 0 | 10859.9758 | 0 | 11222.1708 | 8848.1882 | 12444.7835 | 10457.0859 | 8809.2521
UG Transformer Replacement | Each | 0.5 | 12470 | 19879.9961 | 23335.3367 | 17301.6142 | 21352.2203 | 0 | 22439.1413 | 20499.7829 | 26351.9378 | 21113.7129 | 0 | 20471.0869 | 24920.2211 | 25615.887 | 18851.4532 | 19239.6513
Station Breaker Replacement (SF6, Oil and Vacuum) | Each | 0.4 | 106386 | 112339.9742 | 104497.1332 | 107302.0219 | 104494.8563 | 0 | 100062.359 | 84821.5475 | 0 | 107507.3427 | 0 | 82117.7163 | 101303.4509 | 102472.0689 | 103431.3263 | 0
OM&A Program / Practices | bar: Hydro Ottawa HO
Vegetation Management | Kilometer | 0.7 | 3075 | 4528.6045 | 3980.1209 | 2853.9089 | 3067.4774 | 0 | 4233.4287 | 3158.6585 | 0 | 3159.7901 | 3877.2356 | 1975.5986 | 4201.4035 | 3200.2734 | 4568.1428 | 0
Pole Test and Inspection | Each | 0.7 | 43 | 21.6898 | 39.1407 | 23.1648 | 21.7958 | 14.4998 | 41.7315 | 17.4664 | 0 | 39.4441 | 0 | 16.8455 | 0 | 0 | 40.1721 | 0
Overhead Line Patrol | Kilometer | 0.7 | 31 | 46.8043 | 41.587 | 53.2791 | 50.4746 | 0 | 28.9802 | 42.287 | 0 | 30.9156 | 0 | 41.1778 | 0 | 0 | 42.4677 | 0
Station Breaker and Relay Test and Inspection | Each | 0.6 | 2920 | 3458.5471 | 3212.1199 | 2690.9269 | 2535.7364 | 0 | 3181.987 | 3282.0521 | 0 | 3167.4802 | 2708.3304 | 0 | 0 | 0 | 3228.2448 | 0
Billing - paper | Bills | 0.35 | 1.2 | 1.6587 | 1.6249 | 1.4226 | 1.6625 | 0 | 1.4107 | 1.1036 | 0 | 1.6911 | 1.3837 | 0 | 0 | 0 | 1.3426 | 0
Billing - online | Bills | 1 | 0.25 | 0.23472 | 0.3432 | 0.34903 | 0.37621 | 0 | 0.21842 | 0.15924 | 0 | 0.30689 | 0 | 0 | 0 | 0 | 0.24743 | 0
Meter Repair | Each | 0.9 | 173 | 172.5031 | 169.9283 | 139.1536 | 129.678 | 0 | 150.4536 | 0 | 172.8179 | 0 | 0 | 0 | 124.8115 | 0 | 192.4598 | 0
|  |  |  | X |  | X | X |  | x | X |  | X |  | X |  | X
Hydro Ottawa
Cost Components |  |  | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Design and Permitting costs
Project Management and Supervisory costs
Other project-related costs (e.g.; Fleet and Warehouse)
Other labor-related costs (e.g.; training, conferences, and meetings) | bar: Hydro Ottawa A to Hydro Ottawa D; Hydro Ottawa F to Hydro Ottawa G; Hydro Ottawa I to Hydro Ottawa K; Hydro Ottawa M to Hydro Ottawa N
Employee-related costs (e.g.; vacation, sick time, insurances and pension) | bar: Hydro Ottawa A to Hydro Ottawa K; Hydro Ottawa M to Hydro Ottawa O
Administrative and General costs | bar: Hydro Ottawa HO; Hydro Ottawa C to Hydro Ottawa D; Hydro Ottawa F to Hydro Ottawa J; Hydro Ottawa L; Hydro Ottawa N to Hydro Ottawa O
AFUDC / CWIP | bar: Hydro Ottawa HO; Hydro Ottawa C to Hydro Ottawa O
CAPEX Adjustment Factor |  |  | 1 | 1.02 | 1.02 | 0.95 | 0.95 | 1.02 | 0.95 | 0.95 | 0.98 | 0.95 | 0.95 | 1 | 1 | 1 | 0.95 | 0.98
OPEX Adjustment Factor | bar: Hydro Ottawa HO to Hydro Ottawa O
PHASE 2 PRESENTATION
| Unit of Measure | Labor Factor | Hydro Ottawa HO: Hydro Ottawa
Asset Category / Capital | Unit of Measure | Labor Factor | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each | 0.6 | 8524 | 8919.832 | 10940.1243 | 8467.8004 | 8725.627 | 10429.0719 | 7012.2461 | 6629.4008 | 8509.6748 | 7576.6677 | 10223.7942 | 7025.2943 | 7853.2753 | 8635.2268 | 9566.7365 | 7262.8411
UG Cable (XLPE) Replacement | Meter | 0.5 | 80 | 87.4925 | 82.8496 | 88.0182 | 70.4051 | 120.2911 | 105.2249 | 91.3133 | 106.0543 | 111.2954 | 106.7017 | 91.6018 | 82.8631 | 104.8297 | 114.735
OH Switches (Manual and Remote / Motor Operated) | Each | 0.4 | 21871 | 28279.7979 | 33193.256 | 23693.5598 | 21163.7691 | 27626.1625 | 27660.5662 | 20810.4821 |  | 19557.1394 |  | 20290.0371 | 24290.4808 | 28524.3875 | 26368.3099
OH Transformer Replacement | Each | 0.5 | 7595 | 8659.3246 | 9922.829 | 8309.1426 | 8169.2593 | 12242.4987 | 9446.2187 | 9736.5016 |  | 10316.977 |  | 11222.1708 | 8848.1882 | 12444.7835 | 9934.2316 | 8633.067
UG Transformer Replacement | Each | 0.5 | 12470 | 20277.5961 | 23802.0435 | 16436.5335 | 20284.6093 |  | 21317.1843 | 19474.7937 | 25824.899 | 20058.0273 |  | 20471.0869 | 24920.2211 | 25615.887 | 17908.8806 | 18854.8582
Station Breaker Replacement (SF6, Oil and Vacuum) | Each | 0.4 | 106386 | 114586.7736 | 106587.0758 | 101936.9208 | 99270.1135 |  | 95059.2411 | 80580.4701 |  | 102131.9756 |  | 82117.7163 | 101303.4509 | 102472.0689 | 98259.7599
Maintenance Program / OM&A
Vegetation Management | Kilometer | 0.7 | 3075 | 4528.6045 | 3980.1209 | 2853.9089 | 3067.4774 |  | 4233.4287 | 3158.6585 |  | 3159.7901 | 3877.2356 | 1975.5986 | 4201.4035 | 3200.2734 | 4568.1428
Pole Test and Inspection | Each | 0.7 | 43 | 21.6898 | 39.1407 | 23.1648 | 21.7958 | 14.4998 | 41.7315 | 17.4664 |  | 39.4441 |  | 16.8455 |  |  | 40.1721
Overhead Line Patrol | Kilometer | 0.7 | 31 | 46.8043 | 41.587 | 53.2791 | 50.4746 |  | 28.9802 | 42.287 |  | 30.9156 |  | 41.1778 |  |  | 42.4677
Station Breaker and Relay | Each | 0.6 | 2920 | 3458.5471 | 3212.1199 | 2690.9269 | 2535.7364 |  | 3181.987 | 3282.0521 |  | 3167.4802 | 2708.3304 |  |  |  | 3228.2448
Billing - paper | Bills | 0.6 | 1.2 | 1.6587 | 1.6249 | 1.4226 | 1.6625 |  | 1.4107 | 1.1036 |  | 1.6911 | 1.3837 |  |  |  | 1.3426
Billing - online | Bills | 0.6 | Hydro Ottawa HO: 0.25; Hydro Ottawa A: 0.23472; Hydro Ottawa B: 0.3432; Hydro Ottawa C: 0.34903; Hydro Ottawa D: 0.37621; Hydro Ottawa F: 0.21842; Hydro Ottawa G: 0.15924; Hydro Ottawa I: 0.30689; Hydro Ottawa N: 0.24743
Meter Repair | Each | 0.6 | Hydro Ottawa HO: 173; Hydro Ottawa A: 172.5031; Hydro Ottawa B: 169.9283; Hydro Ottawa C: 139.1536; Hydro Ottawa D: 129.678; Hydro Ottawa F: 150.4536; Hydro Ottawa H: 172.8179; Hydro Ottawa L: 124.8115; Hydro Ottawa N: 192.4598
FIGURE C-7
| Unit of Measure | Labor Factor | Hydro Ottawa HO: Hydro Ottawa | Median
Asset Category / Capital | Unit of Measure | Labor Factor | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each | 0.6 | 8524 | 8919.832 | 11934.681 | 9237.6004 | 9915.4852 | 10429.0719 | 7968.4615 | 6930.7372 | 8896.4782 | 7921.0617 | 10688.5121 | 7025.2943 | 8210.2423 | 8635.2268 | 9131.8848 | 8253.2285 | 8765.8525
UG Cable (XLPE) Replacement | Meter | 0.5 | 80 | 87.4925 | 97.2582 | 91.845 | 79.5883 | 125.5212 | 118.9498 | 95.2834 | 106.0543 | 116.1343 | 111.3409 | 91.6018 | 86.4658 | 104.8297 | 114.735 |  | 97.2582
OH Switches Replacement | Each | 0.4 | 21871 | 28279.7979 | 36210.8248 | 25847.5197 | 24049.7376 | 27626.1625 | 31432.4616 | 21756.4131 |  | 20446.1003 |  | 20290.0371 | 25394.5936 | 28524.3875 | 25169.7504 |  | 25394.5936
OH Transformer Replacement | Each | 0.5 | 7595 | 8659.3246 | 10824.9043 | 9064.5192 | 9283.2492 | 12242.4987 | 10734.3395 | 10179.0699 |  | 10785.9305 |  | 11222.1708 | 9250.3786 | 12444.7835 | 9482.6756 | 9810.3035 | 9994.6867
UG Transformer Replacement | Each | 0.5 | 12470 | 20277.5961 | 27941.5293 | 17151.1654 | 22930.4279 |  | 24097.6866 | 20321.5239 | 25824.899 | 20930.1154 |  | 20471.0869 | 26003.709 | 25615.887 | 17908.8806 | 21314.1876 | 21122.1515
Station Breaker Replacement | Each | 0.4 | 106386 | 114586.7736 | 116276.81 | 111203.9136 | 112806.9472 |  | 108021.8649 | 84243.2187 |  | 106774.3381 |  | 82117.7163 | 105908.1532 | 102472.0689 | 93793.4072 |  | 106580.169
OM&A Program / Practice
Vegetation Management | Kilometer | 0.7 | 3075 | 4528.6045 | 4228.8785 | 3210.6475 | 3450.9121 |  | 5027.1966 | 3356.0747 |  | 3159.7901 | 3877.2356 | 1975.5986 | 4463.9912 | 3200.2734 | 4282.6339 |  | 3450.9121
Pole Test and Inspection | Each | 0.7 | 43 | 21.6898 | 42.699 | 25.2707 | 24.768 | 14.4998 | 47.4222 | 18.2603 |  | 41.237 |  | 16.8455 |  |  | 38.3461 |  | 25.2707
Overhead Line Patrol | Kilometer | 0.7 | 31 | 46.8043 | 45.3676 | 58.1227 | 57.3575 |  | 32.9321 | 44.2092 |  | 32.3209 |  | 41.1778 |  |  | 40.5373 |  | 42.6935
Station Breaker and Relay Test and Inspection | Each | 0.6 | 2920 | 3458.5471 | 3504.1308 | 2935.5567 | 2881.5186 |  | 3615.8943 | 3431.2362 |  | 3311.4566 | 2831.4363 |  |  |  | 3081.5064 |  | 3196.4815
Billing - paper | Bills | 0.6 | 1.2 | 1.6587 | 1.6249 | 1.4226 | 1.6625 |  | 1.4107 | 1.1036 |  | 1.6911 | 1.3837 |  |  |  | 1.3426 |  | 1.4167
Billing - online | Bills | 0.6 | Hydro Ottawa HO: 0.25; Hydro Ottawa A: 0.23472; Hydro Ottawa B: 0.3432; Hydro Ottawa C: 0.34903; Hydro Ottawa D: 0.37621; Hydro Ottawa F: 0.21842; Hydro Ottawa G: 0.15924; Hydro Ottawa I: 0.30689; Hydro Ottawa N: 0.24743 | 0.25
Meter Repair | Each | 0.6 | Hydro Ottawa HO: 173; Hydro Ottawa A: 172.5031; Hydro Ottawa B: 185.3763; Hydro Ottawa C: 151.8039; Hydro Ottawa D: 147.3614; Hydro Ottawa F: 170.97; Hydro Ottawa H: 180.6733; Hydro Ottawa L: 130.4848; Hydro Ottawa N: 183.7116 | 172.5031

## Cost Components
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
Cost Components | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Design and Permitting costs
Project Management and Supervisory costs
Other project-related costs (e.g.; Fleet and Warehouse)
Other labor-related costs (e.g.; training, conferences, and meetings)
Employee-related costs (e.g.; vacation, sick time, insurances and pension)
Administrative and General costs
AFUDC / CWIP
Adjustment Factor | 1 | 1.02 | 1.02 | 0.95 | 0.95 | 1.02 | 0.95 | 0.95 | 0.98 | 0.95 | 0.95 | 1 | 1 | 1 | 0.95 | 0.98

## External Factors
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
External Factors | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Excessive travel time (over 30 mins.) | bar: HO; B to E; G to H; J to O
Road restrictions which limit working hours | bar: HO to D; G to N
High water table | bar: A; G; I to M; O
Working next to energized lines (requiring dedicated observer, gloves, etc.) | bar: HO to O
Requirements to perform work off hours (i.e., night/weekend) | bar: HO; C to E; G to O
Changed standards requiring rebuilds rather than like-for-like (i.e., clearances) | bar: HO to A; C to D; F to H; J to M; O
Excessive switching requirements (i.e., to isolate on dual radial construction) | bar: HO to A; C to K; N
Shoring requirements for UG work | bar: HO; H; J to N
Limitations on tree trimming (e.g.; unusually tight clearances) | bar: HO to A; E; I to M
Prior use of lead cables | bar: HO to B; E to F; H; K; N
High fault currents (impacting equipment sourcing) | bar: HO to B; E; H to I; K to N
Paid duty for police presence on public roads | bar: HO to E; I to O
Extensive use of submersible transformers | bar: A; G to H; J to K
Environmental regulations | bar: HO to B; E; G to M; O
Insufficient IT Enablement | bar: F; J
Union Work Rules | bar: HO; B; E; H to J; L to O
City consent requirements (i.e., customer notification, restoration, progressive clean-up, etc.) | bar: HO to A; C to F; H to O
Level of Difficulty | High | High | Medium | Medium | Medium | High | Low | Medium | High | High | High | High | High | High | High | Medium
Rating | 6 | 6 | 5 | 5 | 5 | 6 | 4 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5

## Difficulty Factors 1
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
Utility | Population Density | UG Utility Congestion | External Factors | Weather / Climate | Vegetation
Impact | High/Medium/Low | High/Moderate/Low | High/Medium/Low | High/Moderate/Low | High/Medium/Low
Source of Impact Assessment | Table B-3 | Peer Group Survey | Table B-2 | Table B-3 | Figures B-1 and B-2
| High | High | Medium | Moderate | Low
| Medium | Moderate | Medium | Moderate | Low
| High | Moderate | High | Moderate | Medium
| High | High | High | Moderate | High
| High | Moderate | Medium | Harsh | Low
| Medium | High | High | Harsh | Low
| High | High | High | Moderate | Medium
| Medium | Low | Medium | Moderate | Medium
| High | Moderate | Low | Moderate | Low
| Medium | High | High | Moderate | Medium
| Medium | High | High | Moderate | Medium
| High | High | High | Low | Medium
| High | High | High | Moderate | Medium
| High | High | High | Moderate | Medium
| High | Moderate | Medium | Low | Low
Hydro Ottawa | High | High | High | Moderate | Medium

## Wage Adjuster
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
Peer Group Panel | Average Wage | Factor | Adjustment
| 64686.752 | 1.2063 | 0.82895
| 65640.432 | 1.2241 | 0.81691
| 51020 | 0.95148 | 1.051
| 65585.936 | 1.2231 | 0.81758
| 60611 | 1.1303 | 0.88469
| 57505 | 1.0724 | 0.93248
| 66130.896 | 1.2333 | 0.81085
| 59618.624 | 1.1118 | 0.89942
| 64605.008 | 1.2048 | 0.83
| 85667.712 | 1.5976 | 0.62593
| 73569.6 | 1.372 | 0.72886
| 73923.824 | 1.3786 | 0.72537
| 85667.712 | 1.5976 | 0.62593
| 59031 | 1.1009 | 0.90837
| 62370.672 | 1.1632 | 0.85973
Hydro Ottawa | 53622 | 1
Peer Group Panel | Number of Customers | Service Territory (Sq. KM) | Population Density
| 480000 | 1367.52 | 351.0004 | High | 6
| 520000 | 6000 | 86.6667 | Medium | 5
| 1000000 | 1800 | 555.5556 | High | 6
| 586000 | 2116 | 276.9376 | High | 6
| 850000 | 1087 | 781.9687 | High | 6
| 397000 | 9500 | 41.7895 | Medium | 5
| 700000 | 4403 | 158.9825 | High | 6
| 309000 | 10057 | 30.7249 | Medium | 5
| 100000 | 130 | 769.2308 | High | 6
| 1000000 | 15540 | 64.3501 | Medium | 5
| 862000 | 10360 | 83.2046 | Medium | 5
| 625000 | 1431 | 436.7575 | High | 6
| 425000 | 341.88 | 1243.1262 | High | 6
| 761000 | 630 | 1207.9365 | High | 6
| 424000 | 2991 | 141.7586 | High | 6
Hydro Ottawa | 331777 | 1116 | 297.2912 | High | 6

## Difficulty Factors 2
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-44 Attachment C ORIGINAL
Peer Group Panel | Population Density | UG Utility Congestion | External Factors | Weather / Climate | Vegetation | OH Adjustment |  | UG Adjustment |  | VM Adjustment
[6 empty] | Score | Factor | Score | Factor | Score | Factor
| 6 | 6 | 5 | 5 | 4 | 20 | 1.0909 | 22 | 1.0435 | 14 | 1.125
| 5 | 5 | 5 | 5 | 4 | 19 | 1.1364 | 20 | 1.1304 | 14 | 1.125
| 6 | 5 | 6 | 5 | 5 | 22 | 1 | 22 | 1.0435 | 16 | 1
| 6 | 6 | 6 | 5 | 6 | 23 | 0.95455 | 23 | 1 | 17 | 0.9375
| 6 | 5 | 5 | 6 | 4 | 21 | 1.0455 | 22 | 1.0435 | 15 | 1.0625
| 5 | 6 | 6 | 6 | 4 | 21 | 1.0455 | 23 | 1 | 16 | 1
| 6 | 6 | 6 | 5 | 5 | 22 | 1 | 23 | 1 | 16 | 1
| 5 | 4 | 5 | 5 | 5 | 20 | 1.0909 | 19 | 1.1739 | 15 | 1.0625
| 6 | 5 | 4 | 5 | 4 | 19 | 1.1364 | 20 | 1.1304 | 13 | 1.1875
| 5 | 6 | 6 | 5 | 5 | 21 | 1.0455 | 22 | 1.0435 | 16 | 1
| 5 | 6 | 6 | 5 | 5 | 21 | 1.0455 | 22 | 1.0435 | 16 | 1
| 6 | 6 | 6 | 4 | 5 | 21 | 1.0455 | 22 | 1.0435 | 15 | 1.0625
| 6 | 6 | 6 | 5 | 5 | 22 | 1 | 23 | 1 | 16 | 1
| 6 | 6 | 6 | 5 | 5 | 22 | 1 | 23 | 1 | 16 | 1
| 6 | 5 | 5 | 4 | 4 | 19 | 1.1364 | 20 | 1.1304 | 13 | 1.1875
Hydro Ottawa | 6 | 6 | 6 | 5 | 5 | 22 | 1 | 23 | 1 | 16 | 1
Average Adjustment | [6 empty] | 0.9858 |  | 0.98913 |  | 0.98438
OH |  | 1 | 1.0909 | 1.0909 | 1.1364 | 1 |  | 1.1364 | 1.0455 | 1.0455 | 1.0455 | 1.0455 | 1 | 1.0455 | 1 | 0.95455 | 1.1364
UG |  | 1 | 1.1739 | 1.0435 | 1.1304 | 1.0435 |  | 1.1304 | 1.0435 | 1 | 1.0435 | 1.0435 | 1 | 1.0435 | 1 | 1 | 1.1304
VM |  | 1 | 1.0625 | 1.125 | 1.125 | 1 |  | 1.1875 | 1.0625 | 1 | 1 | 1 | 1 | 1.0625 | 1 | 0.9375 | 1.1875