## Sheet1
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR OEB-109 Attachment A ORIGINAL
Porcelain Insulated Switch Outages
Feeder | Annual Outage Frequency* (Porcelain) | Average Duration (h) | Average Customers Impacted
TD05 | 0.71429 | 2.26 | 334.4
TD07 | 0.85714 | 1.16 | 364.3333
TW22 | 0.57143 | 1.32 | 343
| 2.2 | 1.55 | 349
*Outage data from 2012-2019