## CCC -40 c)
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR CCC-40 Attachment A ORIGINAL
Reliability Performance by Cause Code
|  | 2017 |  | 2018 |  | 2019
Primary Cause |  | Non-MED | MED | Non-MED | MED | Non-MED | MED
Adverse Environment | Number of Interruptions | 9 | 1 | 2 | 0 | 9 | 5
| Customer Interruptions | 13302 | 36 | 167 | 0 | 1327 | 383
| Customer -Hours | 17682 | 112 | 378 | 0 | 2190 | 2660
Adverse Weather | Number of Interruptions | 43 | 24 | 29 | 72 | 13 | 3
| Customer Interruptions | 18251 | 9588 | 9807 | 104109 | 3671 | 655
| Customer -Hours | 24805 | 69152 | 9478 | 717698 | 4237 | 1107
Defective Equipment | Number of Interruptions | 362 | 4 | 363 | 6 | 262 | 7
| Customer Interruptions | 60724 | 2274 | 86896 | 2497 | 64747 | 699
| Customer -Hours | 103317 | 6328 | 99062 | 34671 | 79803 | 2186
Foreign Interference | Number of Interruptions | 162 | 1 | 185 | 1 | 208 | 3
| Customer Interruptions | 36016 | 5 | 33496 | 307 | 47360 | 9381
| Customer -Hours | 3 | 6 | 37586 | 926 | 51891 | 12851
Human Element | Number of Interruptions | 15 | 2 | 31 | 0 | 23 | 0
| Customer Interruptions | 37809 | 650 | 21144 | 0 | 33391 | 0
| Customer -Hours | 41824 | 271 | 14676 | 0 | 16452 | 0
Lightning | Number of Interruptions | 33 | 0 | 27 | 0 | 21 | 5
| Customer Interruptions | 15711 | 0 | 21822 | 0 | 24659 | 3090
| Customer -Hours | 6919 | 0 | 22298 | 0 | 8284 | 1989
Loss of Supply | Number of Interruptions | 32 | 1 | 30 | 22 | 24 | 5
| Customer Interruptions | 65781 | 400 | 80678 | 198049 | 44089 | 40645
| Customer -Hours | 21772 | 1785 | 21123 | 6414899 | 42548 | 84052
Scheduled Outage | Number of Interruptions | 860 | 3 | 760 | 2 | 645 | 2
| Customer Interruptions | 20098 | 338 | 19539 | 564 | 13621 | 47
| Customer -Hours | 61599 | 1171 | 40188 | 85 | 34807 | 92
Tree Contacts | Number of Interruptions | 150 | 46 | 117 | 40 | 60 | 16
| Customer Interruptions | 22454 | 17952 | 25478 | 29445 | 32418 | 13370
| Customer -Hours | 62633 | 53296 | 40551 | 142685 | 35526 | 32129
Unknown/Other | Number of Interruptions | 39 | 0 | 49 | 0 | 65 | 1
| Customer Interruptions | 17961 | 0 | 43021 | 0 | 31447 | 26
| Customer -Hours | 10625 | 0 | 19463 | 0 | 25623 | 43

## CCC - 40 d)
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR CCC-40 Attachment A ORIGINAL
Defective Equipment by Equipment Cause
|  | 2017 |  | 2018 |  | 2019
Defective Equipment |  | Non-MED | MED | Non-MED | MED | Non-MED | MED
O/H Conductor | Number of Interruptions | 23 | 4 | 11 | 0 | 17 | 0
| Customer Interruptions | 26628 | 2274 | 815 | 0 | 3546 | 0
| Customer -Hours | 51985 | 6328 | 1755 | 0 | 7963 | 0
O/H Switchgear | Number of Interruptions | 49 | 0 | 46 | 4 | 34 | 0
| Customer Interruptions | 3781 | 0 | 13596 | 1188 | 8460 | 0
| Customer -Hours | 5212 | 0 | 16498 | 4295 | 6676 | 0
O/H Transformer | Number of Interruptions | 33 | 0 | 28 | 0 | 34 | 6
| Customer Interruptions | 379 | 0 | 331 | 0 | 530 | 241
| Customer -Hours | 1082 | 0 | 1169 | 0 | 1425 | 796
Pole | Number of Interruptions | 6 | 0 | 7 | 0 | 4 | 0
| Customer Interruptions | 2276 | 0 | 1125 | 0 | 3595 | 0
| Customer -Hours | 2072 | 0 | 3396 | 0 | 3405 | 0
Pole Attachement | Number of Interruptions | 21 | 0 | 18 | 0 | 14 | 0
| Customer Interruptions | 9699 | 0 | 15081 | 0 | 1463 | 0
| Customer -Hours | 12591 | 0 | 18870 | 0 | 3318 | 0
U/G Cable | Number of Interruptions | 47 | 0 | 51 | 0 | 63 | 0
| Customer Interruptions | 11626 | 0 | 32572 | 0 | 34303 | 0
| Customer -Hours | 17489 | 0 | 26940 | 0 | 36995 | 0
U/G Switchgear | Number of Interruptions | 7 | 0 | 8 | 0 | 1 | 0
| Customer Interruptions | 783 | 0 | 5626 | 0 | 1391 | 0
| Customer -Hours | 578 | 0 | 9457 | 0 | 2027 | 0
U/G Transformer | Number of Interruptions | 114 | 0 | 111 | 0 | 34 | 0
| Customer Interruptions | 1742 | 0 | 2293 | 0 | 1671 | 0
| Customer -Hours | 6445 | 0 | 9277 | 0 | 6332 | 0
U/G Cable Attachement | Number of Interruptions | 29 | 0 | 12 | 0 | 8 | 0
| Customer Interruptions | 2830 | 0 | 2024 | 0 | 7647 | 0
| Customer -Hours | 5363 | 0 | 3208 | 0 | 7482 | 0
Vault Equipment | Number of Interruptions | 3 | 0 | 4 | 0 | 1 | 0
| Customer Interruptions | 3 | 0 | 296 | 0 | 69 | 0
| Customer -Hours | 24 | 0 | 808 | 0 | 140 | 0
Station Equipment | Number of Interruptions | 2 | 0 | 2 | 0 | 4 | 0
| Customer Interruptions | 668 | 0 | 12249 | 0 | 1191 | 0
| Customer -Hours | 17 | 0 | 4464 | 0 | 2564 | 0
Secondary \ Service | Number of Interruptions | 14 | 0 | 13 | 0 | 5 | 0
| Customer Interruptions | 304 | 0 | 179 | 0 | 47 | 0
| Customer -Hours | 473 | 0 | 852 | 0 | 54 | 0
Unknown \ Other | Number of Interruptions | 0 | 0 | 2 | 0 | 1 | 0
| Customer Interruptions | 0 | 0 | 72 | 0 | 136 | 0
| Customer -Hours | 0 | 0 | 29 | 0 | 226 | 0
None | Number of Interruptions | 0 | 0 | 50 | 2 | 22 | 1
| Customer Interruptions | 0 | 0 | 637 | 1309 | 698 | 458
| Customer -Hours | 0 | 0 | 2339 | 30376 | 1196 | 1390
N/A | Number of Interruptions | 0 | 0 | 0 | 0 | 0 | 0
| Customer Interruptions | 0 | 0 | 0 | 0 | 0 | 0
| Customer -Hours | 0 | 0 | 0 | 0 | 0 | 0
Unknown \ Other | Number of Interruptions | 0 | 0 | 52 | 2 | 23 | 1
| Customer Interruptions | 0 | 0 | 709 | 1309 | 834 | 458
| Customer -Hours | 0 | 0 | 2368 | 30376 | 1422 | 1390