## Unit Costs
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR SEC-19 Attachment C ORIGINAL
Measurement Currency and Accounting Normalization
3-Year Average (ADJUSTED FOR MEASUREMENT)
| Unit of Measure |  | Hydro Ottawa
Asset Category / Capital |  |  | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each |  | 8524 | 7497 | 8675 | 7549 | 7842 | 9921 | 6247 | 7497 | 9050 | 7239 | 10546 | 7434 | 7146 | 8462 | 8594 | 6150
UG Cable (XLPE) Replacement | Meter |  | 80 | 72 | 65 | 77 | 62 | 115 | 92 | 102 | 112 | 103 | 105 | 96 | 73 | 98 | 101
OH Switches (Manual and Remote / Motor Operated) | Each |  | 21871 | 22796 | 25769 | 20347 | 18269 | 26543 | 23743 | 22965 |  | 17549 |  | 21062 | 20739 | 25493 | 22755
OH Transformer Replacement | Each |  | 7595 | 7126 | 7785 | 7269 | 7194 | 11704 | 8259 | 10876 |  | 9548 |  | 11761 | 7795 | 11634 | 8745 | 7200
UG Transformer Replacement | Each |  | 12470 | 16687 | 18674 | 14379 | 17863 |  | 18638 | 21754 | 27272.7273 | 18563 |  | 21454 | 21954 | 23947 | 15765 | 15725
Station Breaker Replacement (SF6, Oil and Vacuum) | Each |  | 106386 | 92367 | 82747 | 87539 | 85692 |  | 81596 | 88923 |  | 91645 |  | 85242 | 86492 | 91582 | 84795
Maintenance Program / OM&A
Vegetation Management | Kilometer |  | 3075 | 3967 | 3254 | 2464 | 2674 |  | 3652 | 3436 |  | 2964 | 3992 | 2111 | 3953 | 3295 | 3980
Pole Test and Inspection | Each |  | 43 | 19 | 32 | 20 | 19 | 14 | 36 | 19 |  | 37 |  | 18 |  |  | 35
Overhead Line Patrol | Kilometer |  | 31 | 41 | 34 | 46 | 44 |  | 25 | 46 |  | 29 |  | 44 |  |  | 37
Station Breaker and Relay | Each |  | 2920 | 2965 | 2598 | 2279 | 2165 |  | 2693 | 3526 |  | 2875 | 2654 |  |  |  | 2755
Billing - paper | Bills |  | 1.2 | 1.35 | 1.28 | 1.15 | 1.35 |  | 1.14 | 1.15 |  | 1.42 | 1.21 |  |  |  | 1.09
Billing - online | Bills |  | Hydro Ottawa HO: 0.25; Hydro Ottawa A: 0.22; Hydro Ottawa B: 0.29; Hydro Ottawa C: 0.32; Hydro Ottawa D: 0.35; Hydro Ottawa F: 0.2; Hydro Ottawa G: 0.18; Hydro Ottawa I: 0.32; Hydro Ottawa N: 0.23
Meter Repair | Each |  | Hydro Ottawa HO: 173; Hydro Ottawa A: 158; Hydro Ottawa B: 142; Hydro Ottawa C: 125; Hydro Ottawa D: 118; Hydro Ottawa F: 135; Hydro Ottawa H: 184; Hydro Ottawa L: 126; Hydro Ottawa N: 175
3-Year Average (CONVERTED FOR CURRENCY)
| Unit of Measure | Labor Factor | Hydro Ottawa HO: Hydro Ottawa
Asset Category / Capital |  |  | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O
Wood Poles Replacement | Each |  | 8524 | 9864.4737 | 11414.4737 | 9932.8947 | 10318.4211 | 9921 | 8219.7368 | 7497 | 9050 | 9525 | 13876.3158 | 7434 | 9402.6316 | 11134.2105 | 11307.8947 | 8092.1053
UG Cable (XLPE) Replacement | Meter |  | 80 | 94.7368 | 85.5263 | 101.3158 | 81.5789 | 115 | 121.0526 | 102 | 112 | 135.5263 | 138.1579 | 96 | 96.0526 | 128.9474 | 132.8947
OH Switches (Manual and Remote / Motor Operated) | Each |  | 21871 | 29994.7368 | 33906.5789 | 26772.3684 | 24038.1579 | 26543 | 31240.7895 | 22965 |  | 23090.7895 |  | 21062 | 27288.1579 | 33543.4211 | 29940.7895
OH Transformer Replacement | Each |  | 7595 | 9376.3158 | 10243.4211 | 9564.4737 | 9465.7895 | 11704 | 10867.1053 | 10876 |  | 12563.1579 |  | 11761 | 10256.5789 | 15307.8947 | 11506.5789 | 9473.6842
UG Transformer Replacement | Each |  | 12470 | 21956.5789 | 24571.0526 | 18919.7368 | 23503.9474 |  | 24523.6842 | 21754 | 27272.7273 | 24425 |  | 21454 | 28886.8421 | 31509.2105 | 20743.4211 | 20690.7895
Station Breaker Replacement (SF6, Oil and Vacuum) | Each |  | 106386 | 121535.5263 | 108877.6316 | 115182.8947 | 112752.6316 |  | 107363.1579 | 88923 |  | 120585.5263 |  | 85242 | 113805.2632 | 120502.6316 | 111572.3684
Maintenance Program / OM&A
Vegetation Management | Kilometer |  | 3075 | 5219.7368 | 4281.5789 | 3242.1053 | 3518.4211 |  | 4805.2632 | 3436 |  | 3900 | 5252.6316 | 2111 | 5201.3158 | 4335.5263 | 5236.8421
Pole Test and Inspection | Each |  | 43 | 25 | 42.1053 | 26.3158 | 25 | 14 | 47.3684 | 19 |  | 48.6842 |  | 18 |  |  | 46.0526
Overhead Line Patrol | Kilometer |  | 31 | 53.9474 | 44.7368 | 60.5263 | 57.8947 |  | 32.8947 | 46 |  | 38.1579 |  | 44 |  |  | 48.6842
Station Breaker and Relay | Each |  | 2920 | 3901.3158 | 3418.4211 | 2998.6842 | 2848.6842 |  | 3543.4211 | 3526 |  | 3782.8947 | 3492.1053 |  |  |  | 3625
Billing - paper | Bills |  | 1.2 | 1.7763 | 1.6842 | 1.5132 | 1.7763 |  | 1.5 | 1.15 |  | 1.8684 | 1.5921 |  |  |  | 1.4342
Billing - online | Bills |  | Hydro Ottawa HO: 0.25; Hydro Ottawa A: 0.28947; Hydro Ottawa B: 0.38158; Hydro Ottawa C: 0.42105; Hydro Ottawa D: 0.46053; Hydro Ottawa F: 0.26316; Hydro Ottawa G: 0.18; Hydro Ottawa I: 0.42105; Hydro Ottawa N: 0.30263
Meter Repair | Each |  | Hydro Ottawa HO: 173; Hydro Ottawa A: 207.8947; Hydro Ottawa B: 186.8421; Hydro Ottawa C: 164.4737; Hydro Ottawa D: 155.2632; Hydro Ottawa F: 177.6316; Hydro Ottawa H: 184; Hydro Ottawa L: 165.7895; Hydro Ottawa N: 230.2632
CAPEX Adjustment Factor |  |  | 1 | 1.02 | 1.02 | 0.95 | 0.95 | 1.02 | 0.95 | 0.95 | 0.98 | 0.95 | 0.95 | 1 | 1 | 1 | 0.95 | 0.98 | Accounting Factors
OPEX Adjustment Factor | bar: Hydro Ottawa HO to Hydro Ottawa O
3-Year Average (ADJUSTED FOR INDIRECT / OVEHEAD ACCOUNTING PRACTICES)
| Unit of Measure | Labor Factor | Hydro Ottawa HO: Hydro Ottawa
Asset Category / Capital | Unit of Measure | Labor Factor | HO | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | Median
Wood Poles Replacement | Each | 0.6 | 8524 | 10061.7632 | 11642.7632 | 9436.25 | 9802.5 | 10119.42 | 7808.75 | 7122.15 | 8869 | 9048.75 | 13182.5 | 7434 | 9402.6316 | 11134.2105 | 10742.5 | 7930.2632 | 9419.4408
UG Cable (XLPE) Replacement | Meter | 0.5 | 80 | 96.6316 | 87.2368 | 96.25 | 77.5 | 117.3 | 115 | 96.9 | 109.76 | 128.75 | 131.25 | 96 | 96.0526 | 128.9474 | 126.25 |  | 96.9
OH Switches (Manual and Remote / Motor Operated) | Each | 0.4 | 21871 | 30594.6316 | 34584.7105 | 25433.75 | 22836.25 | 27073.86 | 29678.75 | 21816.75 |  | 21936.25 |  | 21062 | 27288.1579 | 33543.4211 | 28443.75 |  | 27073.86
OH Transformer Replacement | Each | 0.5 | 7595 | 9563.8421 | 10448.2895 | 9086.25 | 8992.5 | 11938.08 | 10323.75 | 10332.2 |  | 11935 |  | 11761 | 10256.5789 | 15307.8947 | 10931.25 | 9284.2105 | 10327.975
UG Transformer Replacement | Each | 0.5 | 12470 | 22395.7105 | 25062.4737 | 17973.75 | 22328.75 |  | 23297.5 | 20666.3 | 26727.2727 | 23203.75 |  | 21454 | 28886.8421 | 31509.2105 | 19706.25 | 20276.9737 | 22362.2303
Station Breaker Replacement (SF6, Oil and Vacuum) | Each | 0.4 | 106386 | 123966.2368 | 111055.1842 | 109423.75 | 107115 |  | 101995 | 84476.85 |  | 114556.25 |  | 85242 | 113805.2632 | 120502.6316 | 105993.75 |  | 108269.375
Maintenance Program / OM&A
Vegetation Management | Kilometer | 0.7 | 3075 | 5219.7368 | 4281.5789 | 3242.1053 | 3518.4211 |  | 4805.2632 | 3436 |  | 3900 | 5252.6316 | 2111 | 5201.3158 | 4335.5263 | 5236.8421 |  | 4281.5789
Pole Test and Inspection | Each | 0.7 | 43 | 25 | 42.1053 | 26.3158 | 25 | 14 | 47.3684 | 19 |  | 48.6842 |  | 18 |  |  | 46.0526 |  | 26.3158
Overhead Line Patrol | Kilometer | 0.7 | 31 | 53.9474 | 44.7368 | 60.5263 | 57.8947 |  | 32.8947 | 46 |  | 38.1579 |  | 44 |  |  | 48.6842 |  | 45.3684
Station Breaker and Relay | Each | 0.6 | 2920 | 3901.3158 | 3418.4211 | 2998.6842 | 2848.6842 |  | 3543.4211 | 3526 |  | 3782.8947 | 3492.1053 | 0 |  |  | 3625 |  | 3492.1053
Billing - paper | Bills | 0.6 | 1.2 | 1.7763 | 1.6842 | 1.5132 | 1.7763 |  | 1.5 | 1.15 |  | 1.8684 | 1.5921 | 0 |  |  | 1.4342 |  | 1.5132
Billing - online | Bills | 0.6 | 0.25 | 0.28947 | 0.38158 | 0.42105 | 0.46053 |  | 0.26316 | 0.18 |  | 0.42105 |  | 0 |  |  | 0.30263 |  | 0.29605
Meter Repair | Each | 0.6 | Hydro Ottawa HO: 173; Hydro Ottawa A: 207.8947; Hydro Ottawa B: 186.8421; Hydro Ottawa C: 164.4737; Hydro Ottawa D: 155.2632; Hydro Ottawa F: 177.6316; Hydro Ottawa H: 184; Hydro Ottawa L: 165.7895; Hydro Ottawa N: 230.2632 | 177.6316