## Table 4.23
Hydro Ottawa Limited EB-2019-0261 Interrogatory Response IRR SEC-34 Attachment A ORIGINAL
Reliability Performance by Cause Code
Primary Cause | Metric | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Adverse Environment | Number of Interruptions | 12 | 18 | 5 | 10 | 2 | 14
Adverse Environment | Customer Interruptions | 287 | 19935 | 1960 | 13338 | 167 | 1710
Adverse Environment | Customer-Hours | 870 | 26612 | 5389 | 17794 | 378 | 4850
Adverse Weather | Number of Interruptions | 72 | 29 | 40 | 67 | 101 | 16
Adverse Weather | Customer Interruptions | 43110 | 6715 | 17467 | 27839 | 113916 | 4326
Adverse Weather | Customer-Hours | 117892 | 8693 | 35612 | 93957 | 727176 | 5344
Defective Equipment | Number of Interruptions | 276 | 210 | 200 | 364 | 369 | 269
Defective Equipment | Customer Interruptions | 88483 | 82008 | 58747 | 62993 | 89393 | 65446
Defective Equipment | Customer-Hours | 120603 | 113818 | 94802 | 109659 | 133733 | 81989
Foreign Interference | Number of Interruptions | 146 | 124 | 155 | 163 | 186 | 211
Foreign Interference | Customer Interruptions | 27097 | 16547 | 32989 | 36021 | 33803 | 56741
Foreign Interference | Customer-Hours | 28608 | 23829 | 35659 | 36999 | 38512 | 64742
Human Element | Number of Interruptions | 24 | 19 | 20 | 17 | 31 | 23
Human Element | Customer Interruptions | 32295 | 34456 | 27288 | 38459 | 21144 | 33391
Human Element | Customer-Hours | 38396 | 36966 | 5624 | 42095 | 14676 | 16452
Lightning | Number of Interruptions | 37 | 17 | 32 | 33 | 27 | 26
Lightning | Customer Interruptions | 29279 | 11957 | 24130 | 15711 | 21822 | 27749
Lightning | Customer-Hours | 77122 | 23319 | 18739 | 6919 | 22298 | 10273
Loss Of Supply | Number of Interruptions | 28 | 24 | 11 | 17 | 52 | 29
Loss Of Supply | Customer Interruptions | 71072 | 214891 | 58466 | 66181 | 278727 | 84734
Loss Of Supply | Customer-Hours | 23371 | 148471 | 26002 | 23557 | 6436022 | 126600
Scheduled Outage | Number of Interruptions | 1068 | 1200 | 1031 | 863 | 762 | 647
Scheduled Outage | Customer Interruptions | 24851 | 34162 | 31446 | 20436 | 20103 | 13668
Scheduled Outage | Customer-Hours | 76844 | 101699 | 97984 | 62770 | 40273 | 34899
Tree Contacts | Number of Interruptions | 73 | 99 | 88 | 191 | 157 | 76
Tree Contacts | Customer Interruptions | 15652 | 16253 | 26006 | 39675 | 54923 | 45788
Tree Contacts | Customer-Hours | 24950 | 25578 | 58121 | 115929 | 183236 | 67655
Unknown/Other | Number of Interruptions | 34 | 52 | 37 | 39 | 49 | 66
Unknown/Other | Customer Interruptions | 11751 | 18802 | 32593 | 17961 | 43021 | 31473
Unknown/Other | Customer-Hours | 18575 | 10639 | 16156 | 10625 | 19463 | 25666