## CDM
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Historical Annual MWh
Year | Res | GS50 | Total C1-C3 >50 KW < 1500 KW | GS1000I | GS1000NI | GS1500 | GS5000 | Lrg User | MU | St Light | Total | Year | 1000NI Shr | 1000I Shr | 1500 Shr
2011 | 9192.4333 | 3979.7296 | 22925.7787 | 11933.7261 | 8071.9614 | 2920.0912 | 0 | 0 | 0 | 0 | 36097.9417 | 2011 | 52.05% | 35.21% | 12.74%
2012 | 5930.6898 | 3365.1664 | 30855.5772 | 15694.8945 | 11102.2326 | 4058.4502 | 0 | 0 | 0 | 0 | 40151.4334 | 2012 | 50.87% | 35.98% | 13.15%
2013 | 5493.1708 | 40.5936 | 39052.3481 | 19410.8535 | 14359.703 | 5281.7916 | 0 | 0 | 0 | 0 | 44586.1125 | 2013 | 49.7% | 36.77% | 13.52%
2014 | 13427.979 | 8627.0046 | 42189.6969 | 20491.6364 | 15853.5444 | 5844.5161 | 0 | 0 | 0 | 0 | 64244.6805 | 2014 | 48.57% | 37.58% | 13.85%
2015 | 19740.136 | 2978.306 | 58361.478 | 27699.3305 | 22411.3445 | 8250.803 | 0 | 0 | 0 | 0 | 81079.92 | 2015 | 47.46% | 38.4% | 14.14%
2016 | 34870.583 | 0 | 55035.238 | 25524.4618 | 21597.5328 | 7913.2434 | 0 | 0 | 0 | 0 | 89905.821 | 2016 | 46.38% | 39.24% | 14.38%
2017 | 69786.321 | 442.365 | 54071.007 | 24504.9013 | 21684.5 | 7881.6057 | 0 | 0 | 0 | 0 | 124299.693 | 2017 | 45.32% | 40.1% | 14.58%
2018 | 17712.2855 | 7244.3307 | 28030.7835 | 12413.5641 | 11487.9319 | 4129.2875 | 0 | 0 | 0 | 0 | 52987.3997 | 2018 | 44.29% | 40.98% | 14.73%
2019 | 1472.4526 | 8151.9067 | 33366.1552 | 14439.1017 | 13974.441 | 4952.6125 | 0 | 0 | 0 | 0 | 42990.5146 | 2019 | 43.27% | 41.88% | 14.84%
2020 | 11137.4068 | 19563.9723 | 52275.0748 | 22105.5552 | 22374.05 | 7795.4696 | 46104.4417 | 30055.1597 | 105.2104 | 4944.8886 | 164186.1543 | 2020 | 42.29% | 42.8% | 14.91% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell B44.
2021 | 3609.53 | 4384.4704 | 10180.1706 | 4206.6325 | 4452.7331 | 1520.805 | 4988.6146 | 855.6151 | 17.251 | 810.7978 | 24846.4496 | 2021 | 41.32% | 43.74% | 14.94% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell C44.
2022 | 492 | 4384.4704 | 10180.1706 | 4110.62 | 4550.3869 | 1519.1637 | 4988.6146 | 855.6151 | 17.251 | 810.7978 | 21728.9196 | 2022 | 40.38% | 44.7% | 14.92% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell D44.
2023 | 492 | 4384.4704 | 10180.1706 | 4016.7989 | 4650.1824 | 1513.1894 | 4988.6146 | 855.6151 | 17.251 | 810.7978 | 21728.9196 | 2023 | 39.46% | 45.68% | 14.86% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell E44.
2024 | 492 | 4384.4704 | 10180.1706 | 3925.1191 | 4752.1665 | 1502.885 | 4988.6146 | 855.6151 | 17.251 | 810.7978 | 21728.9196 | 2024 | 38.56% | 46.68% | 14.76% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell F44.
2025 | 492 | 4384.4704 | 10180.1706 | 3835.5319 | 4856.3872 | 1488.2515 | 4988.6146 | 855.6151 | 17.251 | 810.7978 | 21728.9196 | 2025 | 37.68% | 47.7% | 14.62% | This row lines up with Attachment OEB 134 (A) interrogatory response. Tab "New By Rate Class" starting in cell G44.
Table B - Cumulative Historical MWh
Cumulative Historical MWh
Year | Res | GS50 | GS1000I | GS1000NI | GS1500 | GS5000 | Lrg Use | MU | St Light | Total
2011 | 9192.4333 | 3979.7296 | 11933.7261 | 8071.9614 | 2920.0912 |  |  |  |  | 36097.9417
2012 | 15123.1232 | 7344.8959 | 27628.6206 | 19174.194 | 6978.5414 |  |  |  |  | 76249.3751
2013 | 20616.2939 | 7385.4896 | 47039.4741 | 33533.897 | 12260.3329 |  |  |  |  | 120835.4876
2014 | 34044.2729 | 16012.4942 | 67531.1105 | 49387.4415 | 18104.8491 |  |  |  |  | 185080.1681
2015 | 53784.4089 | 18990.8002 | 95230.441 | 71798.786 | 26355.6521 |  |  |  |  | 266160.0881
2016 | 88654.9919 | 18990.8002 | 120754.9028 | 93396.3188 | 34268.8955 |  |  |  |  | 356065.9091
2017 | 158441.3129 | 19433.1652 | 145259.8041 | 115080.8188 | 42150.5012 |  |  |  |  | 480365.6021
2018 | 176153.5984 | 26677.4959 | 157673.3682 | 126568.7507 | 46279.7887 |  |  |  |  | 533353.0019
2019 | 177626.051 | 34829.4027 | 172112.4699 | 140543.1917 | 51232.4012 |  |  |  |  | 576343.5165
2020 | 188763.4578 | 54393.3749 | 194218.0251 | 162917.2417 | 59027.8708 | 46104.4417 | 30055.1597 | 105.2104 | 4944.8886 | 740529.6708
2021 | 192372.9878 | 58777.8453 | 198424.6576 | 167369.9748 | 60548.6758 | 51093.0564 | 30910.7748 | 122.4614 | 5755.6864 | 765376.1204
2022 | 192864.9878 | 63162.3157 | 202535.2776 | 171920.3616 | 62067.8396 | 56081.671 | 31766.39 | 139.7124 | 6566.4843 | 787105.04
2023 | 193356.9878 | 67546.7861 | 206552.0765 | 176570.544 | 63581.029 | 61070.2856 | 32622.0051 | 156.9634 | 7377.2821 | 808833.9596
2024 | 193848.9878 | 71931.2565 | 210477.1956 | 181322.7105 | 65083.914 | 66058.9003 | 33477.6202 | 174.2145 | 8188.08 | 830562.8793
2025 | 194340.9878 | 76315.7269 | 214312.7274 | 186179.0977 | 66572.1656 | 71047.5149 | 34333.2353 | 191.4655 | 8998.8778 | 852291.7989
Table A - Revised Table 4 (Cumulative MWh as of 2020)
Cumulative MWh as of 2020
Year | Res | GS50 | GS1000I | GS1000NI | GS1500 | GS5000 | Lrg Use | MU | St Light | Total
2020 | 11137.4068 | 19563.9723 | 22105.5552 | 22374.05 | 7795.4696 | 46104.4417 | 30055.1597 | 105.2104 | 4944.8886 | 164186.1543
2021 | 14746.9368 | 23948.4427 | 26312.1877 | 26826.783 | 9316.2746 | 51093.0564 | 30910.7748 | 122.4614 | 5755.6864 | 189032.6039
2022 | 15238.9368 | 28332.9131 | 30422.8077 | 31377.1699 | 10835.4384 | 56081.671 | 31766.39 | 139.7124 | 6566.4843 | 210761.5236
2023 | 15730.9368 | 32717.3835 | 34439.6066 | 36027.3523 | 12348.6278 | 61070.2856 | 32622.0051 | 156.9634 | 7377.2821 | 232490.4432
2024 | 16222.9368 | 37101.8539 | 38364.7257 | 40779.5187 | 13851.5128 | 66058.9003 | 33477.6202 | 174.2145 | 8188.08 | 254219.3628
2025 | 16714.9368 | 41486.3243 | 42200.2576 | 45635.906 | 15339.7644 | 71047.5149 | 34333.2353 | 191.4655 | 8998.8778 | 275948.2824
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | 36097.9417 | This approach is used in the case where there is a CDM variable in the model
2012 |  | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | 40151.4334 | because we need historical CDM
2013 |  |  | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125 | 44586.1125
2014 |  |  |  | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805 | 64244.6805
2015 |  |  |  |  | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92 | 81079.92
2016 | [5 empty] | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821 | 89905.821
2017 | [6 empty] | 124299.693 | 124299.693 | 124299.693 | 124299.693 | 124299.693 | 124299.693 | 124299.693 | 124299.693 | 124299.693
2018 | [7 empty] | 52987.3997 | 52987.3997 | 52987.3997 | 52987.3997 | 52987.3997 | 52987.3997 | 52987.3997 | 52987.3997
2019 | [8 empty] | 42990.5146 | 42990.5146 | 42990.5146 | 42990.5146 | 42990.5146 | 42990.5146 | 42990.5146
2020 | [9 empty] | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543
2021 | [10 empty] | 24846.4496 | 24846.4496 | 24846.4496 | 24846.4496 | 24846.4496
2022 | [11 empty] | 21728.9196 | 21728.9196 | 21728.9196 | 21728.9196
2023 | [12 empty] | 21728.9196 | 21728.9196 | 21728.9196
2024 | [13 empty] | 21728.9196 | 21728.9196
2025 | [14 empty] | 21728.9196
Total | 36097.9417 | 76249.3751 | 120835.4876 | 185080.1681 | 266160.0881 | 356065.9091 | 480365.6021 | 533353.0019 | 576343.5165 | 740529.6708 | 765376.1204 | 787105.04 | 808833.9596 | 830562.8793 | 852291.7989
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543 | 164186.1543 | This approach is used in the case where we DO NOT have a CDM variable in the model
2021 |  | 24846.4496 | 24846.4496 | 24846.4496 | 24846.4496 | 24846.4496 | we simply subtract the new CDM as of 2020, the history does not matter
2022 |  |  | 21728.9196 | 21728.9196 | 21728.9196 | 21728.9196
2023 |  |  |  | 21728.9196 | 21728.9196 | 21728.9196
2024 |  |  |  |  | 21728.9196 | 21728.9196
2025 | [5 empty] | 21728.9196
Total | 164186.1543 | 189032.6039 | 210761.5236 | 232490.4432 | 254219.3628 | 275948.2824 | Full Year Impact
Subtract: Cumulative Savings from 2011 to 2025 | 740529.6708 | 765376.1204 | 787105.04 | 808833.9596 | 830562.8793 | 852291.7989
Saving 2019 and prior | 576343.5165 | 576343.5165 | 576343.5165 | 576343.5165 | 576343.5165 | 576343.5165 | Not included in Table 4 as it is embedded in Load Forecast as persistence saving prior to rebasing

## Res
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333 | 9192.4333
2012 |  | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898 | 5930.6898
2013 |  |  | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708 | 5493.1708
2014 |  |  |  | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979 | 13427.979
2015 |  |  |  |  | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136 | 19740.136
2016 | [5 empty] | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583 | 34870.583
2017 | [6 empty] | 69786.321 | 69786.321 | 69786.321 | 69786.321 | 69786.321 | 69786.321 | 69786.321 | 69786.321 | 69786.321
2018 | [7 empty] | 17712.2855 | 17712.2855 | 17712.2855 | 17712.2855 | 17712.2855 | 17712.2855 | 17712.2855 | 17712.2855
2019 | [8 empty] | 1472.4526 | 1472.4526 | 1472.4526 | 1472.4526 | 1472.4526 | 1472.4526 | 1472.4526
2020 | [9 empty] | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068
2021 | [10 empty] | 3609.53 | 3609.53 | 3609.53 | 3609.53 | 3609.53
2022 | [11 empty] | 492 | 492 | 492 | 492
2023 | [12 empty] | 492 | 492 | 492
2024 | [13 empty] | 492 | 492
2025 | [14 empty] | 492
Total | 9192.4333 | 15123.1232 | 20616.2939 | 34044.2729 | 53784.4089 | 88654.9919 | 158441.3129 | 176153.5984 | 177626.051 | 188763.4578 | 192372.9878 | 192864.9878 | 193356.9878 | 193848.9878 | 194340.9878
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068 | 11137.4068
2021 |  | 3609.53 | 3609.53 | 3609.53 | 3609.53 | 3609.53
2022 |  |  | 492 | 492 | 492 | 492
2023 |  |  |  | 492 | 492 | 492
2024 |  |  |  |  | 492 | 492
2025 | [5 empty] | 492
Total | 11137.4068 | 14746.9368 | 15238.9368 | 15730.9368 | 16222.9368 | 16714.9368
Subtract: Cumulative Savings from 2011 to 2025 | 188763.4578 | 192372.9878 | 192864.9878 | 193356.9878 | 193848.9878 | 194340.9878
Saving 2019 and prior | 177626.051 | 177626.051 | 177626.051 | 177626.051 | 177626.051 | 177626.051

## GS50
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296 | 3979.7296
2012 |  | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664 | 3365.1664
2013 |  |  | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936 | 40.5936
2014 |  |  |  | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046 | 8627.0046
2015 |  |  |  |  | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306 | 2978.306
2016 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | [6 empty] | 442.365 | 442.365 | 442.365 | 442.365 | 442.365 | 442.365 | 442.365 | 442.365 | 442.365
2018 | [7 empty] | 7244.3307 | 7244.3307 | 7244.3307 | 7244.3307 | 7244.3307 | 7244.3307 | 7244.3307 | 7244.3307
2019 | [8 empty] | 8151.9067 | 8151.9067 | 8151.9067 | 8151.9067 | 8151.9067 | 8151.9067 | 8151.9067
2020 | [9 empty] | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723
2021 | [10 empty] | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704
2022 | [11 empty] | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704
2023 | [12 empty] | 4384.4704 | 4384.4704 | 4384.4704
2024 | [13 empty] | 4384.4704 | 4384.4704
2025 | [14 empty] | 4384.4704
Total | 3979.7296 | 7344.8959 | 7385.4896 | 16012.4942 | 18990.8002 | 18990.8002 | 19433.1652 | 26677.4959 | 34829.4027 | 54393.3749 | 58777.8453 | 63162.3157 | 67546.7861 | 71931.2565 | 76315.7269
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723 | 19563.9723
2021 |  | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704
2022 |  |  | 4384.4704 | 4384.4704 | 4384.4704 | 4384.4704
2023 |  |  |  | 4384.4704 | 4384.4704 | 4384.4704
2024 |  |  |  |  | 4384.4704 | 4384.4704
2025 | [5 empty] | 4384.4704
Total | 19563.9723 | 23948.4427 | 28332.9131 | 32717.3835 | 37101.8539 | 41486.3243
Subtract: Cumulative Savings from 2011 to 2025 | 54393.3749 | 58777.8453 | 63162.3157 | 67546.7861 | 71931.2565 | 76315.7269
Saving 2019 and prior | 34829.4027 | 34829.4027 | 34829.4027 | 34829.4027 | 34829.4027 | 34829.4027

## GS1000I
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261 | 11933.7261
2012 |  | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945 | 15694.8945
2013 |  |  | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535 | 19410.8535
2014 |  |  |  | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364 | 20491.6364
2015 |  |  |  |  | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305 | 27699.3305
2016 | [5 empty] | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618 | 25524.4618
2017 | [6 empty] | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013 | 24504.9013
2018 | [7 empty] | 12413.5641 | 12413.5641 | 12413.5641 | 12413.5641 | 12413.5641 | 12413.5641 | 12413.5641 | 12413.5641
2019 | [8 empty] | 14439.1017 | 14439.1017 | 14439.1017 | 14439.1017 | 14439.1017 | 14439.1017 | 14439.1017
2020 | [9 empty] | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552
2021 | [10 empty] | 4206.6325 | 4206.6325 | 4206.6325 | 4206.6325 | 4206.6325
2022 | [11 empty] | 4110.62 | 4110.62 | 4110.62 | 4110.62
2023 | [12 empty] | 4016.7989 | 4016.7989 | 4016.7989
2024 | [13 empty] | 3925.1191 | 3925.1191
2025 | [14 empty] | 3835.5319
Total | 11933.7261 | 27628.6206 | 47039.4741 | 67531.1105 | 95230.441 | 120754.9028 | 145259.8041 | 157673.3682 | 172112.4699 | 194218.0251 | 198424.6576 | 202535.2776 | 206552.0765 | 210477.1956 | 214312.7274
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552 | 22105.5552
2021 |  | 4206.6325 | 4206.6325 | 4206.6325 | 4206.6325 | 4206.6325
2022 |  |  | 4110.62 | 4110.62 | 4110.62 | 4110.62
2023 |  |  |  | 4016.7989 | 4016.7989 | 4016.7989
2024 |  |  |  |  | 3925.1191 | 3925.1191
2025 | [5 empty] | 3835.5319
Total | 22105.5552 | 26312.1877 | 30422.8077 | 34439.6066 | 38364.7257 | 42200.2576
Subtract: Cumulative Savings from 2011 to 2025 | 194218.0251 | 198424.6576 | 202535.2776 | 206552.0765 | 210477.1956 | 214312.7274
Saving 2019 and prior | 172112.4699 | 172112.4699 | 172112.4699 | 172112.4699 | 172112.4699 | 172112.4699

## GS1000NI
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614 | 8071.9614
2012 |  | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326 | 11102.2326
2013 |  |  | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703 | 14359.703
2014 |  |  |  | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444 | 15853.5444
2015 |  |  |  |  | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445 | 22411.3445
2016 | [5 empty] | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328 | 21597.5328
2017 | [6 empty] | 21684.5 | 21684.5 | 21684.5 | 21684.5 | 21684.5 | 21684.5 | 21684.5 | 21684.5 | 21684.5
2018 | [7 empty] | 11487.9319 | 11487.9319 | 11487.9319 | 11487.9319 | 11487.9319 | 11487.9319 | 11487.9319 | 11487.9319
2019 | [8 empty] | 13974.441 | 13974.441 | 13974.441 | 13974.441 | 13974.441 | 13974.441 | 13974.441
2020 | [9 empty] | 22374.05 | 22374.05 | 22374.05 | 22374.05 | 22374.05 | 22374.05
2021 | [10 empty] | 4452.7331 | 4452.7331 | 4452.7331 | 4452.7331 | 4452.7331
2022 | [11 empty] | 4550.3869 | 4550.3869 | 4550.3869 | 4550.3869
2023 | [12 empty] | 4650.1824 | 4650.1824 | 4650.1824
2024 | [13 empty] | 4752.1665 | 4752.1665
2025 | [14 empty] | 4856.3872
Total | 8071.9614 | 19174.194 | 33533.897 | 49387.4415 | 71798.786 | 93396.3188 | 115080.8188 | 126568.7507 | 140543.1917 | 162917.2417 | 167369.9748 | 171920.3616 | 176570.544 | 181322.7105 | 186179.0977
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 22374.05 | 22374.05 | 22374.05 | 22374.05 | 22374.05 | 22374.05
2021 |  | 4452.7331 | 4452.7331 | 4452.7331 | 4452.7331 | 4452.7331
2022 |  |  | 4550.3869 | 4550.3869 | 4550.3869 | 4550.3869
2023 |  |  |  | 4650.1824 | 4650.1824 | 4650.1824
2024 |  |  |  |  | 4752.1665 | 4752.1665
2025 | [5 empty] | 4856.3872
Total | 22374.05 | 26826.783 | 31377.1699 | 36027.3523 | 40779.5187 | 45635.906
Subtract: Cumulative Savings from 2011 to 2025 | 162917.2417 | 167369.9748 | 171920.3616 | 176570.544 | 181322.7105 | 186179.0977
Saving 2019 and prior | 140543.1917 | 140543.1917 | 140543.1917 | 140543.1917 | 140543.1917 | 140543.1917

## GS1500
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912 | 2920.0912
2012 |  | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502 | 4058.4502
2013 |  |  | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916 | 5281.7916
2014 |  |  |  | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161 | 5844.5161
2015 |  |  |  |  | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803 | 8250.803
2016 | [5 empty] | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434 | 7913.2434
2017 | [6 empty] | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057 | 7881.6057
2018 | [7 empty] | 4129.2875 | 4129.2875 | 4129.2875 | 4129.2875 | 4129.2875 | 4129.2875 | 4129.2875 | 4129.2875
2019 | [8 empty] | 4952.6125 | 4952.6125 | 4952.6125 | 4952.6125 | 4952.6125 | 4952.6125 | 4952.6125
2020 | [9 empty] | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696
2021 | [10 empty] | 1520.805 | 1520.805 | 1520.805 | 1520.805 | 1520.805
2022 | [11 empty] | 1519.1637 | 1519.1637 | 1519.1637 | 1519.1637
2023 | [12 empty] | 1513.1894 | 1513.1894 | 1513.1894
2024 | [13 empty] | 1502.885 | 1502.885
2025 | [14 empty] | 1488.2515
Total | 2920.0912 | 6978.5414 | 12260.3329 | 18104.8491 | 26355.6521 | 34268.8955 | 42150.5012 | 46279.7887 | 51232.4012 | 59027.8708 | 60548.6758 | 62067.8396 | 63581.029 | 65083.914 | 66572.1656
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696 | 7795.4696
2021 |  | 1520.805 | 1520.805 | 1520.805 | 1520.805 | 1520.805
2022 |  |  | 1519.1637 | 1519.1637 | 1519.1637 | 1519.1637
2023 |  |  |  | 1513.1894 | 1513.1894 | 1513.1894
2024 |  |  |  |  | 1502.885 | 1502.885
2025 | [5 empty] | 1488.2515
Total | 7795.4696 | 9316.2746 | 10835.4384 | 12348.6278 | 13851.5128 | 15339.7644
Subtract: Cumulative Savings from 2011 to 2025 | 59027.8708 | 60548.6758 | 62067.8396 | 63581.029 | 65083.914 | 66572.1656
Saving 2019 and prior | 51232.4012 | 51232.4012 | 51232.4012 | 51232.4012 | 51232.4012 | 51232.4012

## GS5000
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | [9 empty] | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417
2021 | [10 empty] | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146
2022 | [11 empty] | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146
2023 | [12 empty] | 4988.6146 | 4988.6146 | 4988.6146
2024 | [13 empty] | 4988.6146 | 4988.6146
2025 | [14 empty] | 4988.6146
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46104.4417 | 51093.0564 | 56081.671 | 61070.2856 | 66058.9003 | 71047.5149
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417 | 46104.4417
2021 |  | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146
2022 |  |  | 4988.6146 | 4988.6146 | 4988.6146 | 4988.6146
2023 |  |  |  | 4988.6146 | 4988.6146 | 4988.6146
2024 |  |  |  |  | 4988.6146 | 4988.6146
2025 | [5 empty] | 4988.6146
Total | 46104.4417 | 51093.0564 | 56081.671 | 61070.2856 | 66058.9003 | 71047.5149
Subtract: Cumulative Savings from 2011 to 2025 | 46104.4417 | 51093.0564 | 56081.671 | 61070.2856 | 66058.9003 | 71047.5149
Saving 2019 and prior | 0 | 0 | 0 | 0 | 0 | 0

## Lrg User
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | [9 empty] | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597
2021 | [10 empty] | 855.6151 | 855.6151 | 855.6151 | 855.6151 | 855.6151
2022 | [11 empty] | 855.6151 | 855.6151 | 855.6151 | 855.6151
2023 | [12 empty] | 855.6151 | 855.6151 | 855.6151
2024 | [13 empty] | 855.6151 | 855.6151
2025 | [14 empty] | 855.6151
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30055.1597 | 30910.7748 | 31766.39 | 32622.0051 | 33477.6202 | 34333.2353
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597 | 30055.1597
2021 |  | 855.6151 | 855.6151 | 855.6151 | 855.6151 | 855.6151
2022 |  |  | 855.6151 | 855.6151 | 855.6151 | 855.6151
2023 |  |  |  | 855.6151 | 855.6151 | 855.6151
2024 |  |  |  |  | 855.6151 | 855.6151
2025 | [5 empty] | 855.6151
Total | 30055.1597 | 30910.7748 | 31766.39 | 32622.0051 | 33477.6202 | 34333.2353
Subtract: Cumulative Savings from 2011 to 2025 | 30055.1597 | 30910.7748 | 31766.39 | 32622.0051 | 33477.6202 | 34333.2353
Saving 2019 and prior | 0 | 0 | 0 | 0 | 0 | 0

## MU
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | [9 empty] | 105.2104 | 105.2104 | 105.2104 | 105.2104 | 105.2104 | 105.2104
2021 | [10 empty] | 17.251 | 17.251 | 17.251 | 17.251 | 17.251
2022 | [11 empty] | 17.251 | 17.251 | 17.251 | 17.251
2023 | [12 empty] | 17.251 | 17.251 | 17.251
2024 | [13 empty] | 17.251 | 17.251
2025 | [14 empty] | 17.251
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105.2104 | 122.4614 | 139.7124 | 156.9634 | 174.2145 | 191.4655
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 105.2104 | 105.2104 | 105.2104 | 105.2104 | 105.2104 | 105.2104
2021 |  | 17.251 | 17.251 | 17.251 | 17.251 | 17.251
2022 |  |  | 17.251 | 17.251 | 17.251 | 17.251
2023 |  |  |  | 17.251 | 17.251 | 17.251
2024 |  |  |  |  | 17.251 | 17.251
2025 | [5 empty] | 17.251
Total | 105.2104 | 122.4614 | 139.7124 | 156.9634 | 174.2145 | 191.4655
Subtract: Cumulative Savings from 2011 to 2025 | 105.2104 | 122.4614 | 139.7124 | 156.9634 | 174.2145 | 191.4655
Saving 2019 and prior | 0 | 0 | 0 | 0 | 0 | 0

## St Light
Hydro Ottawa Limited EB-2019-0261 Technical Conference Undertakings Undertaking TC-JT 3.22 - Q2 Attachment A ORIGINAL August 7, 2020
Part d) - Impact of Historical and Forecast CDM
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | [9 empty] | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886
2021 | [10 empty] | 810.7978 | 810.7978 | 810.7978 | 810.7978 | 810.7978
2022 | [11 empty] | 810.7978 | 810.7978 | 810.7978 | 810.7978
2023 | [12 empty] | 810.7978 | 810.7978 | 810.7978
2024 | [13 empty] | 810.7978 | 810.7978
2025 | [14 empty] | 810.7978
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4944.8886 | 5755.6864 | 6566.4843 | 7377.2821 | 8188.08 | 8998.8778
Part d) - Impact of Historical and Forecast CDM - Staring in 2020
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
2020 | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886 | 4944.8886
2021 |  | 810.7978 | 810.7978 | 810.7978 | 810.7978 | 810.7978
2022 |  |  | 810.7978 | 810.7978 | 810.7978 | 810.7978
2023 |  |  |  | 810.7978 | 810.7978 | 810.7978
2024 |  |  |  |  | 810.7978 | 810.7978
2025 | [5 empty] | 810.7978
Total | 4944.8886 | 5755.6864 | 6566.4843 | 7377.2821 | 8188.08 | 8998.8778
Subtract: Cumulative Savings from 2011 to 2025 | 4944.8886 | 5755.6864 | 6566.4843 | 7377.2821 | 8188.08 | 8998.8778
Saving 2019 and prior | 0 | 0 | 0 | 0 | 0 | 0