## 2011
Guelph Hydro 2011 Persistence by LDC
Table is at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | (Implementation) Year | Status | Notes: | Activity Unit Name | Activity/Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Tier 1 | Consumer | Appliance Exchange | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Appliances | 24.0764 | 0.0049499 | 6.4583 | 0.002551 | 0.002551 | 0.002551 | 0.0011781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.3284 | 3.3284 | 3.3284 | 2.1006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Appliances | 794.1986 | 0.089773 | 655.5954 | 0.04257 | 0.04257 | 0.04257 | 0.042004 | 0.029183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 312.7504 | 312.7504 | 312.7504 | 312.2442 | 221.9578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Bi-Annual Retailer Event | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Products | 7818.421 | 0.013511 | 241.6432 | 0.015105 | 0.015105 | 0.015105 | 0.015105 | 0.014053 | 0.012904 | 0.010437 | 0.01037 | 0.012571 | 0.0059633 | 0.00084804 | 0.00084769 | 0.00084769 | 0.0007868 | 0.0007868 | 0.00066409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 263.9953 | 263.9953 | 263.9953 | 263.9953 | 241.2723 | 216.4483 | 163.1883 | 162.5929 | 210.14 | 67.4321 | 24.2801 | 21.3731 | 21.3731 | 15.7849 | 15.7849 | 14.3423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Conservation Instant Coupon Booklet | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Products | 4559.8192 | 0.0095068 | 155.7571 | 0.01076 | 0.01076 | 0.01076 | 0.01076 | 0.01013 | 0.0094418 | 0.0079957 | 0.0079152 | 0.0092332 | 0.0052773 | 0.00062613 | 0.00062576 | 0.00062576 | 0.00061361 | 0.00061361 | 0.00058344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.7483 | 171.7483 | 171.7483 | 171.7483 | 158.1445 | 143.2829 | 112.0506 | 111.3457 | 139.8111 | 54.3749 | 17.1817 | 14.0702 | 14.0702 | 12.9551 | 12.9551 | 12.6004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 |  | Installations | 1459.6664 | 0.75001 | 1443.9748 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.4498 | 0.39576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 861.5674 | 813.2375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | 2011 | Final; Released August 31, 2012 | New participants during the peaksaver extension period + Continuing participants that have signed a peaksaver PLUS agreement | Devices | 222 | 0.12432 | 0 | 0.12432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Retailer Co-op | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2012 | Custom retailer initiative; Not evaluated | Products | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response (part of the Residential program schedule) | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | DR | 2011 | Final; Released August 31, 2012 | New participants during the peaksaver extension period + Continuing participants that have signed a peaksaver PLUS agreement | Devices | 3 | 0.00192 | 0 | 0.00192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Demand Response 3 (part of the Industrial program schedule) | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | DR | 2011 | Final; Released August 31, 2012 | Gross reflects contracted MW and Net reflects Ex ante MW | Facilities | 5 | 0.405 | 11.9932 | 0.30718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Direct Install Lighting | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | 2011 | Final; Released August 31, 2012 |  | Projects | 198 | 0.29221 | 838.9465 | 0.31291 | 0.31291 | 0.30846 | 0.2571 | 0.2571 | 0.2571 | 0.088316 | 0.085929 | 0.085929 | 0.085929 | 0.083627 | 0.083627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 778.9947 | 778.9947 | 766.7998 | 615.1288 | 615.1288 | 615.1288 | 217.8767 | 216.0848 | 216.0848 | 216.0848 | 200.9477 | 200.9477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | 2011 | Final; Released August 31, 2012 |  | Projects | 21 | 0.14913 | 722.4939 | 0.10952 | 0.10952 | 0.10952 | 0.10952 | 0.10952 | 0.10952 | 0.10952 | 0.10952 | 0.073554 | 0.073554 | 0.073554 | 0.0095221 | 0.0095221 | 0.0095221 | 0.0095221 | 0.0095221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 549.2023 | 549.2023 | 549.2023 | 549.2023 | 549.2023 | 549.2023 | 549.2023 | 549.2023 | 401.5957 | 401.5957 | 401.5957 | 51.6927 | 51.6927 | 51.6927 | 51.6927 | 51.6927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Industrial | Demand Response 3 | Guelph Hydro Electric Systems Inc. | Industrial | DR | 2011 | Final; Released August 31, 2012 | Gross reflects contracted MW and Net reflects Ex ante MW | Facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Industrial | Retrofit | Guelph Hydro Electric Systems Inc. | Industrial | EE | 2011 | Final; Released August 31, 2012 |  | Projects | 13 | 0.83591 | 4941.6267 | 0.59553 | 0.59553 | 0.59553 | 0.59553 | 0.59553 | 0.59553 | 0.59553 | 0.59553 | 0.30997 | 0.30997 | 0.30997 | 0.16578 | 0.16578 | 0.16578 | 0.16578 | 0.16578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3704.0268 | 3704.0268 | 3704.0268 | 3704.0268 | 3704.0268 | 3704.0268 | 3704.0268 | 3704.0268 | 1738.5121 | 1738.5121 | 1738.5121 | 888.424 | 888.424 | 888.424 | 888.424 | 888.424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Pre-2011 Programs Completed in 2011 | Electricity Retrofit Incentive Program | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | 2011 | Final; Released August 31, 2012 | Not evaluated; 2010 Evaluation findings used | Projects | 52 | 2.6632 | 14283.3252 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 1.3854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 7431.4657 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | 2011 | Final; Released August 31, 2012 | Not evaluated; 2010 Evaluation findings used | Projects | 4.0148 | 0.12348 | 634.1813 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.061739 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0.036983 | 0 | 0 | 0 | 0 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 317.0906 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 189.9464 | 0 | 0 | 0 | 0

## 2012
Guelph Hydro Electric Systems Inc.
Table is at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | (Implementation) Year | Status | Notes: | Activity Unit Name | Activity/Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Tier 1 | Business | Direct Install Lighting | Guelph Hydro Electric Systems Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 |  | Projects | 160 | 0.16563 | 587.5615 | 0 | 0.15624 | 0.15624 | 0.15391 | 0.14459 | 0.14459 | 0.062413 | 0.062413 | 0.062413 | 0.062413 | 0.062413 | 0.061427 | 0.061427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 553.5058 | 553.5058 | 543.6617 | 506.5913 | 506.5913 | 215.9348 | 215.9348 | 215.9348 | 215.9348 | 215.9348 | 206.2918 | 206.2918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Retrofit | Guelph Hydro Electric Systems Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 |  | Projects | 92 | 1.3882 | 6555.0284 | 0 | 1.0551 | 1.0485 | 1.0194 | 0.84185 | 0.84185 | 0.75305 | 0.74507 | 0.74507 | 0.73688 | 0.62916 | 0.62293 | 0.62293 | 0.38153 | 0.30483 | 0.30483 | 0.029362 | 0.01037 | 0.01037 | 0.01037 | 0.01037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5028.1989 | 5006.7695 | 4911.772 | 4331.0635 | 4331.0635 | 4039.1169 | 3990.3733 | 3990.3733 | 3932.828 | 3288.6994 | 3100.0096 | 3096.044 | 1706.7417 | 1456.1706 | 1456.1706 | 67.0711 | 23.1523 | 23.1523 | 23.1523 | 23.1523 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 |  | Audits | 16 | 0.082835 | 402.8201 | 0 | 0.082835 | 0.082835 | 0.082835 | 0.082835 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402.8201 | 402.8201 | 402.8201 | 402.8201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Exchange | Guelph Hydro Electric Systems Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 |  | Appliances | 21.4496 | 0.0061545 | 10.9409 | 0 | 0.0031718 | 0.0031718 | 0.0031718 | 0.0031527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6385 | 5.6385 | 5.6385 | 5.6215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 |  | Appliances | 425.9735 | 0.049437 | 361.742 | 0 | 0.022817 | 0.022817 | 0.022817 | 0.022817 | 0.013667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 167.6432 | 167.6432 | 167.6432 | 167.6432 | 103.9472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Bi-Annual Retailer Event | Guelph Hydro Electric Systems Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 |  | Products | 9530.3502 | 0.014573 | 262.5096 | 0 | 0.013295 | 0.013295 | 0.013295 | 0.013295 | 0.012169 | 0.010298 | 0.0077095 | 0.007681 | 0.007681 | 0.0049536 | 0.001938 | 0.0019379 | 0.0019379 | 0.0019046 | 0.0019046 | 0.0018573 | 0.00052112 | 0.00052112 | 0.00052112 | 0.00052112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240.5868 | 240.5868 | 240.5868 | 240.5868 | 216.2722 | 175.8602 | 119.9547 | 119.7054 | 119.7054 | 60.8012 | 45.1224 | 43.7201 | 43.7201 | 40.6678 | 40.6678 | 40.1115 | 11.2545 | 11.2545 | 11.2545 | 11.2545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Conservation Instant Coupon Booklet | Guelph Hydro Electric Systems Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 |  | Products | 277.5007 | 0.0020742 | 11.9109 | 0 | 0.0020699 | 0.0020699 | 0.0020699 | 0.0020699 | 0.0020611 | 0.0020611 | 0.0017581 | 0.0017544 | 0.0017544 | 0.0017544 | 3.2271e-05 | 3.2249e-05 | 3.2249e-05 | 3.1088e-05 | 3.1088e-05 | 2.9038e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5604 | 12.5604 | 12.5604 | 12.5604 | 12.3717 | 12.3717 | 5.8258 | 5.7936 | 5.7936 | 5.7936 | 0.94098 | 0.75782 | 0.75782 | 0.65123 | 0.65123 | 0.62714 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | EE | 2012 | Final; Released August 31, 2013 |  | Installations | 1059.1658 | 0.51223 | 919.7241 | 0 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.2531 | 0.21564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 449.7827 | 416.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Guelph Hydro Electric Systems Inc. | C&I | EE | 2012 | Final; Released August 31, 2013 | Projects | Projects | 0.0089833 | 0.0010151 | 0.98347 | 0 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0.0010151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0.98347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Demand Response 3 (part of the Industrial program schedule) | Guelph Hydro Electric Systems Inc. | C&I | DR | 2012 | Final; Released August 31, 2013 |  | Facilities | 6 | 1.0688 | 15.5352 | 0 | 1.0688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.5352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Other | Program Enabled Savings | Guelph Hydro Electric Systems Inc. |  |  | 2012 | Final; Released August 31, 2013 |  |  | 4 | 2.304 | 1188.362 | 0 | 2.304 | 2.304 | 2.304 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0.228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 1188.362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Business | Retrofit | Guelph Hydro Electric Systems Inc. | C&I | EE | 2011 | Final; Released August 31, 2013 |  | Projects | 5 | 0.1901 | 1304.1303 | 0.13535 | 0.13535 | 0.13535 | 0.13535 | 0.13535 | 0.13535 | 0.12795 | 0.045445 | 0.030281 | 0.030281 | 0.030281 | 0.030281 | 0.016858 | 0.016858 | 0.016858 | 0.016858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1002.9415 | 1002.9415 | 1002.9415 | 1002.9415 | 1002.9415 | 1002.9415 | 947.0138 | 259.3863 | 201.3198 | 201.3198 | 201.3198 | 201.3198 | 115.0698 | 115.0698 | 115.0698 | 115.0698 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Business | Direct Install Lighting | Guelph Hydro Electric Systems Inc. | C&I | EE | 2011 | Final; Released August 31, 2013 |  | Projects | 27 | 0.043463 | 100.0753 | 0.040224 | 0.040224 | 0.040224 | 0.037575 | 0.037575 | 0.037575 | 0.0063945 | 0.0063945 | 0.0063945 | 0.0063945 | 0.0063322 | 0.0063322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.9238 | 92.9238 | 92.9238 | 85.5254 | 85.5254 | 85.5254 | 14.9698 | 14.9698 | 14.9698 | 14.9698 | 14.5606 | 14.5606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Pre-2011 Programs Completed in 2011 | High Performance New Construction | Guelph Hydro Electric Systems Inc. | C&I | EE | 2011 | Final; Released August 31, 2013 |  | Buildings | -0.014798 | -0.0019667 | -201.7188 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | -0.00098333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | -100.8594 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 |  | Installations | -244.0004 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.071275 | -0.060547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -134.0785 | -124.502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Consumer | Bi-Annual Retailer Event | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 |  | Products | 734.9836 | 0.0010475 | 21.3228 | 0.00096897 | 0.00096897 | 0.00096897 | 0.00096897 | 0.00096897 | 0.00088607 | 0.00050635 | 0.00050612 | 0.00050612 | 0.00015893 | 6.6032e-05 | 6.6015e-05 | 6.6015e-05 | 6.2979e-05 | 6.2979e-05 | 6.284e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.614 | 19.614 | 19.614 | 19.614 | 19.614 | 17.8235 | 9.6227 | 9.6207 | 9.6207 | 2.1224 | 1.7831 | 1.6374 | 1.6374 | 1.3588 | 1.3588 | 1.3572 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 True Up | Consumer | Conservation Instant Coupon Booklet | Guelph Hydro Electric Systems Inc. | Residential | EE | 2011 | Final; Released August 31, 2013 |  | Products | 73.8065 | 0.00013121 | 2.2995 | 0.00014462 | 0.00014462 | 0.00014462 | 0.00014462 | 0.00014462 | 0.00013472 | 9.4233e-05 | 9.4017e-05 | 9.4017e-05 | 5.2569e-05 | 6.9489e-06 | 6.9415e-06 | 6.9415e-06 | 6.7613e-06 | 6.7613e-06 | 6.6376e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4763 | 2.4763 | 2.4763 | 2.4763 | 2.4763 | 2.2625 | 1.388 | 1.3862 | 1.3862 | 0.491 | 0.22175 | 0.16135 | 0.16135 | 0.14481 | 0.14481 | 0.14335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2013
Guelph Hydro Electric Systems Inc. 2013 Verified Results
All Savings at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | Tx (Transmission) or Dx (Distribution) connected | (Implementation) Year | Notes | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
LDC | Business | Energy Audit Funding | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2012 | N/A | Audit | 3 | 0.015532 | 75.5288 | Net Annual Summer Peak Demand Savings (MW) 2012: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2013: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2014: 0.015532; Net Annual Summer Peak Demand Savings (MW) 2015: 0.015532; Net Annual Energy Savings (MWh) 2012: 75.5288; Net Annual Energy Savings (MWh) 2013: 75.5288; Net Annual Energy Savings (MWh) 2014: 75.5288; Net Annual Energy Savings (MWh) 2015: 75.5288
LDC | Business | Energy Audit Funding | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Audit | 1 | 0.013427 | 73.3107 | Net Annual Summer Peak Demand Savings (MW) 2013: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2014: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2015: 0.0088127; Net Annual Summer Peak Demand Savings (MW) 2016: 0.0088127; Net Annual Energy Savings (MWh) 2013: 48.4508; Net Annual Energy Savings (MWh) 2014: 48.4508; Net Annual Energy Savings (MWh) 2015: 48.4508; Net Annual Energy Savings (MWh) 2016: 48.4508
LDC | Business | DR-3 | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | DR | Dx | 2013 | N/A | Facilities | 6 |  |  | Net Annual Summer Peak Demand Savings (MW) 2013: 1.0639; Net Annual Energy Savings (MWh) 2013: 14.5601
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2012 | N/A | Projects | 6 | 0.042303 | 220.7651 |  | 0.032475 | 0.032475 | 0.032325 | 0.030537 | 0.030537 | 0.028542 | 0.028412 | 0.028412 | 0.02427 | 0.023495 | 0.021789 | 0.021789 | 0.0014523 | 0.0012519 | 0.0012519 | 0.0012519 | 0.00034264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169.6618 | 169.6618 | 169.1208 | 163.1063 | 163.1063 | 156.977 | 155.7153 | 155.7153 | 141.1663 | 133.6265 | 117.0344 | 117.0344 | 4.8685 | 4.1445 | 4.1445 | 4.1445 | 1.1344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 101 | 1.3754 | 9432.736 |  |  | 0.93902 | 0.93768 | 0.93768 | 0.93768 | 0.89661 | 0.88911 | 0.88911 | 0.88909 | 0.8663 | 0.81162 | 0.74438 | 0.74421 | 0.62944 | 0.62684 | 0.62684 | 0.51066 | 0.028005 | 0.026697 | 0.026697 | 0.026697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6406.5186 | 6402.3073 | 6402.3073 | 6402.3073 | 6274.0139 | 6232.2458 | 6232.2458 | 6230.0271 | 6157.8014 | 5853.3217 | 5437.254 | 5418.8575 | 4796.7444 | 4788.6086 | 4788.6086 | 3866.5788 | 67.4611 | 64.6315 | 64.6315 | 64.6315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Small Business Lighting | Guelph Hydro Electric Systems Inc. | Commercial & Institutional | EE | Dx | 2013 | N/A | Projects | 76 | 0.11097 | 383.4132 |  |  | 0.10482 | 0.10482 | 0.10283 | 0.098608 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056552 | 0.056511 | 0.043381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 361.8923 | 361.8923 | 354.5271 | 338.743 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 199.2478 | 198.8711 | 145.4855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Annual Coupons | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 3116.2587 | 0.0041657 | 61.4657 | 0 | 0 | 0.0046406 | 0.0046406 | 0.0044731 | 0.0038346 | 0.0038346 | 0.0038346 | 0.0038346 | 0.0038292 | 0.002864 | 0.002864 | 0.0023006 | 0.0023005 | 0.0023005 | 0.0022971 | 0.0022971 | 0.0022943 | 0.0022234 | 0.0013051 | 0.0013051 | 0.0013051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69.2392 | 69.2392 | 66.571 | 56.3993 | 56.3993 | 56.3993 | 56.3993 | 56.3523 | 40.9776 | 40.9776 | 37.2587 | 36.7282 | 36.7282 | 36.5772 | 36.5772 | 36.5462 | 35.4169 | 20.7889 | 20.7889 | 20.7889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Exchange | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Dehumidifier Load Shape | Appliances | 54 | 0.021257 | 37.9033 |  |  | 0.011188 | 0.011188 | 0.011188 | 0.011188 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 19.9498 | 19.9498 | 19.9498 | 19.9498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 208 | 0.030591 | 188.0436 |  |  | 0.014032 | 0.014032 | 0.014032 | 0.013717 | 0.0074037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 88.2065 | 88.2065 | 88.2065 | 87.8988 | 50.3762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Bi-Annual Retailer Events | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for some clotheslines, outdoor timers and power bars based on survey results. | measures | 8487.1369 | 0.010256 | 147.6968 | 0 | 0 | 0.010633 | 0.010633 | 0.010049 | 0.0080572 | 0.0080572 | 0.0080572 | 0.0080572 | 0.0080419 | 0.006912 | 0.006912 | 0.0050155 | 0.0032397 | 0.0032397 | 0.0031758 | 0.0031758 | 0.0031431 | 0.002713 | 0.0015925 | 0.0015925 | 0.0015925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.331 | 154.331 | 145.0322 | 113.2977 | 113.2977 | 113.2977 | 113.2977 | 113.1642 | 95.1645 | 95.1645 | 82.8085 | 53.2378 | 53.2378 | 50.4283 | 50.4283 | 50.0675 | 43.2167 | 25.3672 | 25.3672 | 25.3672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Blended Load Shape used for furnaces | Equipment | 1310 | 0.59492 | 1058.6317 |  |  | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.28723 | 0.23559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 503.6331 | 457.4549 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2012 | Blended Load Shape used for furnaces | Equipment | 28 | 0.01377 | 25.1957 |  | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0059577 | 0.0052633 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 12.2828 | 11.5877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Industrial | DR-3 | Guelph Hydro Electric Systems Inc. | Industrial | DR | Dx | 2013 | N/A | Facilities | 22 |  |  | Net Annual Summer Peak Demand Savings (MW) 2013: 3.5765; Net Annual Energy Savings (MWh) 2013: 81.4388
LDC | Other | Program Enabled Savings | Guelph Hydro Electric Systems Inc. | Other | EE | Dx | 2013 | N/A |  | 1 | 0.016 | 96 | 0 | 0 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0.016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | N/A | Appliances | 0.12577 | 1.6572e-05 | 0.1159 | 0 | 0 | 7.8502e-06 | 7.8502e-06 | 7.8502e-06 | 7.8502e-06 | 4.3613e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.054937 | 0.054937 | 0.054937 | 0.054937 | 0.029675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2012 | Blended Load Shape used for furnaces | Equipment | 0.17967 | 8.4645e-05 | 0.15284 | 0 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.6673e-05 | 3.1521e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.074561 | 0.069397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2014
Guelph Hydro - 2014 Persistence Data
All Savings at the End User Level | [12 empty] | Net Annual Summer Peak Demand Savings (MW) | [29 empty] | Net Annual Energy Savings (MWh)
Portfolio | Program | Initiative | LDC | Sector | Conservation Resource Type | Tx (Transmission) or Dx (Distribution) connected | (Implementation) Year | Notes | Activity Unit Name | Activity/ Participation (i.e. # of appliances) | Gross Summer Peak Demand Savings (MW) | Gross Energy Savings (MWh) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
LDC | Business | Direct Install Lighting | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2014 | n/a | Projects | 87 | 107.8757 | 384907.4393 | 0 | 0 | 0 | 0.10788 | 0.10569 | 0.10207 | 0.066075 | 0.066075 | 0.066075 | 0.066075 | 0.066075 | 0.066075 | 0.066075 | 0.065635 | 0.024452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384.9074 | 375.4828 | 360.6588 | 245.9843 | 245.9843 | 245.9843 | 245.9843 | 245.9843 | 245.9843 | 245.9843 | 241.9266 | 80.3544 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2012 | n/a | Audit | 1 | 0.5174 | 7686.5379 | 0 | 0.0005174 | 0.0005174 | 0.0005174 | 0.0005174 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5622 | 2.5622 | 2.5622 | 2.5622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2012 | n/a | Audit | 1 | 2.7595 | 40994.8686 | 0 | 0.0027595 | 0.0027595 | 0.0027595 | 0.0027595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.665 | 13.665 | 13.665 | 13.665 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2013 | n/a | Audit | 1 | 0.005845 | 64.2702 | 0 | 0 | 5.845e-06 | 5.845e-06 | 5.845e-06 | 5.845e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032135 | 0.032135 | 0.032135 | 0.032135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2013 | n/a | Audit | 118 | 1040.5856 | 11441965.08 | 0 | 0 | 1.0406 | 1.0406 | 1.0406 | 1.0406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5720.9825 | 5720.9825 | 5720.9825 | 5720.9825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Energy Audit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2014 | n/a | Audit | 4 | 53.4677 | 261094.2802 | 0 | 0 | 0 | 0.053468 | 0.053468 | 0.053468 | 0.053468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 261.0943 | 261.0943 | 261.0943 | 261.0943 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | High Performance New Construction | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2013 | n/a |  | 1 | 1.6961 | 5690.2909 | 0 | 0 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0.0016961 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 2.8451 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | High Performance New Construction | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2014 | n/a |  | 2 | 2.021 | 20615.8689 | 0 | 0 | 0 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0.002021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 20.6159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2012 | n/a | Projects | 9 | 5.07 | 420105.44 | 0 | 0.00507 | 0.00507 | 0.00507 | 0.00507 | 0.00507 | 0.00271 | 0.00271 | 0.00271 | 0.00271 | 0.00271 | 0.0025 | 0.0025 | 0.00118 | 0.00118 | 0.00118 | 0.00118 | 0.00118 | 0.00118 | 0.00118 | 0.00118 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114.167 | 114.167 | 114.167 | 114.167 | 114.167 | 105.636 | 105.636 | 105.636 | 105.636 | 105.636 | 102.992 | 102.992 | 96.89 | 96.89 | 96.89 | 70.498 | 4.267 | 4.267 | 4.267 | 4.267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2013 | n/a | Projects | 15 | 281.558 | 2800786.199 | 0 | 0 | 0.28247 | 0.28156 | 0.28156 | 0.28156 | 0.26617 | 0.2041 | 0.2041 | 0.2041 | 0.19867 | 0.18385 | 0.16618 | 0.16618 | 0.15448 | 0.15216 | 0.15216 | 0.12252 | 0.00014692 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1402.2879 | 1398.4983 | 1398.4983 | 1398.4983 | 1344.5748 | 1083.2148 | 1083.2148 | 1076.0299 | 1050.9512 | 973.1723 | 806.8192 | 747.2456 | 686.9673 | 677.2952 | 677.2952 | 545.0859 | 0.39152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Business | Retrofit | Guelph Hydro Electric Systems Inc. | Commercial | EE | Dx | 2014 | n/a | Projects | 103 | 1106.5947 | 7229048.029 | 0 | 0 | 0 | 1.1066 | 1.1009 | 1.1009 | 1.0825 | 1.0787 | 1.0787 | 1.059 | 1.059 | 1.0203 | 0.937 | 0.84422 | 0.8323 | 0.73108 | 0.70362 | 0.70362 | 0.54707 | 0.034038 | 0.034038 | 0.034038 | 0.034038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7229.048 | 7209.2295 | 7209.2295 | 7144.7771 | 7125.966 | 7125.966 | 7031.0985 | 7031.0985 | 6374.7798 | 5814.4754 | 4976.2074 | 4420.2272 | 3747.5089 | 3651.3488 | 3651.3488 | 2861.0627 | 105.2613 | 105.2613 | 105.2613 | 105.2613 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Exchange | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | Dehumidifier Load Shape | Appliances | 67 | 13.882 | 24752.4718 | 0 | 0 | 0 | 0.013882 | 0.013882 | 0.013882 | 0.013882 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.7525 | 24.7525 | 24.7525 | 24.7525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 3 | 0.35026 | 313.2241 | 0 | 0 | 0 | 0.00035026 | 0.00035026 | 0.00035026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31322 | 0.31322 | 0.31322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 4 | 0.70796 | 1262.3352 | 0 | 0 | 0 | 0.00070796 | 0.00070796 | 0.00070796 | 0.00070796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2623 | 1.2623 | 1.2623 | 1.2623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 69.0359 | 4.8075 | 34808.8935 | 0 | 0 | 0 | 0.0048075 | 0.0048075 | 0.0048075 | 0.0048075 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.8089 | 34.8089 | 34.8089 | 34.8089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Appliance Retirement | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Appliances | 123.0898 | 7.3843 | 50245.9191 | 0 | 0 | 0 | 0.0073843 | 0.0073843 | 0.0073843 | 0.0073843 | 0.0073843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.2459 | 50.2459 | 50.2459 | 50.2459 | 50.2459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Bi-Annual Retailer Event | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 43342.0066 | 72.256 | 1104067.862 | 0 | 0 | 0 | 0.072256 | 0.063072 | 0.058285 | 0.058285 | 0.058285 | 0.058285 | 0.058285 | 0.058242 | 0.058242 | 0.054373 | 0.049482 | 0.041916 | 0.041916 | 0.041715 | 0.041715 | 0.041629 | 0.033842 | 0.033842 | 0.033842 | 0.033842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1104.0679 | 957.7672 | 881.5234 | 881.5234 | 881.5234 | 881.5234 | 881.5234 | 881.1415 | 881.1415 | 819.5106 | 796.7204 | 673.7134 | 673.7134 | 664.0659 | 664.0659 | 663.127 | 539.0787 | 539.0787 | 539.0787 | 539.0787 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Conservation Instant Coupon Booklet | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2013 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 9.4335 | 0 | 212 | 0 | 0 | 1.5e-05 | 1.5e-05 | 1.4e-05 | 1.3e-05 | 1.3e-05 | 1.3e-05 | 1.3e-05 | 1.3e-05 | 1.1e-05 | 1.1e-05 | 9e-06 | 9e-06 | 9e-06 | 9e-06 | 9e-06 | 9e-06 | 5e-06 | 5e-06 | 5e-06 | 5e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.212 | 0.212 | 0.201 | 0.174 | 0.174 | 0.174 | 0.174 | 0.174 | 0.146 | 0.146 | 0.139 | 0.139 | 0.139 | 0.139 | 0.139 | 0.139 | 0.073 | 0.073 | 0.073 | 0.073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | Conservation Instant Coupon Booklet | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | Custom loadshapes for clotheslines, outdoor timers and power bars based on survey results. | measures | 10100.1015 | 20.4072 | 271895.0872 | 0 | 0 | 0 | 0.020407 | 0.019232 | 0.018647 | 0.018647 | 0.018647 | 0.018647 | 0.018647 | 0.01784 | 0.01784 | 0.01578 | 0.011657 | 0.011449 | 0.011449 | 0.011427 | 0.011427 | 0.011398 | 0.0051963 | 0.0051963 | 0.0051963 | 0.0051963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 271.8951 | 253.7766 | 244.7371 | 244.7371 | 244.7371 | 244.7371 | 244.7371 | 232.2337 | 232.2337 | 199.3896 | 184.7107 | 180.0904 | 180.0904 | 179.0303 | 179.0303 | 178.6648 | 79.8702 | 79.8702 | 79.8702 | 79.8702 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Home Assistance | Home Assistance Program | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Homes | 52 | 1.373 | 39951.7769 | 0 | 0 | 0 | 0.0014183 | 0.001373 | 0.001231 | 0.001175 | 0.0011351 | 0.0011351 | 0.0011351 | 0.0011351 | 0.0005411 | 0.0004105 | 0.0004105 | 0.0004105 | 0.0004105 | 0.0004105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.414 | 19.5378 | 16.8005 | 15.7236 | 14.9587 | 14.9587 | 14.9587 | 14.9587 | 3.497 | 3.375 | 3.375 | 3.375 | 3.375 | 3.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2013 | Blended Load Shape used for furnaces | Equipment | 69 | 15.4353 | 54597.2576 | 0 | 0 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.015435 | 0.012884 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 27.2986 | 25.0171 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2012 | n/a | Equipment | 6 | 1.4069 | 7337.0402 | 0 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0014069 | 0.0011378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.4457 | 2.205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Consumer | HVAC Incentives | Guelph Hydro Electric Systems Inc. | Residential | EE | Dx | 2014 | n/a | Equipment | 1720 | 350.7468 | 650307.4599 | 0 | 0 | 0 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.35075 | 0.31736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 650.3075 | 620.4516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Program Enabled | LDC Program Enabled Savings | Guelph Hydro Electric Systems Inc. | Other | EE | Dx | 2011 | n/a | Projects | 1 | 119.475 | 1796904 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0.11947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 449.226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Program Enabled | LDC Program Enabled Savings | Guelph Hydro Electric Systems Inc. | Other | EE | Dx | 2012 | n/a | Projects | 2 | 2638.8 | 2983221.6 | 0 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 2.6388 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0.1683 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 994.4072 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LDC | Other | Time-of-Use Savings | Guelph Hydro Electric Systems Inc. | Other | DR | Dx | 2014 | n/a | n/a |  | 688.424 | 0 | 0 | 0 | 0 | 0.68842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Demand Response 3 | Guelph Hydro Electric Systems Inc. | Commercial | DR | Dx | 2014 | n/a | Facilities | 7 |  |  | 0 | 0 | 0 | 1.2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response | Guelph Hydro Electric Systems Inc. | Commercial | DR | Dx | 2009 | n/a | Devices | 3 |  |  | 0 | 0 | 0 | 0.0016842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Business | Commercial Demand Response | Guelph Hydro Electric Systems Inc. | Commercial | DR | Dx | 2011 | n/a | Devices | 3 |  |  | 0 | 0 | 0 | 0.0016842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2007 | n/a | Devices | 9 |  |  | 0 | 0 | 0 | 0.003162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2008 | n/a | Devices | 63 |  |  | 0 | 0 | 0 | 0.022134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2009 | n/a | Devices | 94 |  |  | 0 | 0 | 0 | 0.033026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2010 | n/a | Devices | 228 |  |  | 0 | 0 | 0 | 0.080106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2011 | n/a | Devices | 151 |  |  | 0 | 0 | 0 | 0.053052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Consumer | Residential Demand Response | Guelph Hydro Electric Systems Inc. | Residential | DR | Dx | 2014 | n/a | Devices | 172 |  |  | 0 | 0 | 0 | 0.060008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Industrial | Demand Response 3 | Guelph Hydro Electric Systems Inc. | Industrial | DR | Dx | 2014 | n/a | Facilities | 22 |  |  | 0 | 0 | 0 | 3.6864 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Industrial | Energy Managers | Guelph Hydro Electric Systems Inc. | Industrial | EE | Dx | 2012 | n/a |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tier 1 | Industrial | Energy Managers | Guelph Hydro Electric Systems Inc. | Industrial | EE | Dx | 2013 | n/a |  | 1 | 0.1775 | 20935.3846 | 0 | 0 | 0.0001775 | 0.0001775 | 0.0001775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4677 | 10.4677 | 10.4677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0