## CAPEX PV
The Sault Microgrid/Le Micro-reseau de Sault Sainte Marie
Simplified Financial Model (CAD MM)
Avoided CAPEX Calculation
Assumptions
PUC pricing per DS | 3.5 |  | Reduction of Distribution Substation network from 18 to 16
20% contingency | 0.7 |  | Reduction of individual transformer replacements across network by 5
Cost per DS | 4.2 |  | Avoided substation rebuilds in years 2025 and 2030 (option of only 2030 also calculated0
2 substations out of 15 (elliminated) | 8.4 |  | Elimination plan in progress order (Load forecast and Load Flow models needed, along with full ADMS network monitoring & control to use switching and feeder balancing to achive full potential) 17, 14, 2/4/5/15?,other?
TS optiimization is also part of long term planning consideration : site, feeder qty, etc.
Transformers @$.75M plus 20% contingency | 0.9 |  | note DS17 & DS14 already eliminated - right about time we started the earliest studies on smart grid (??2012/14?)
5 individual transformers (eliminated) | 4.5
Savings TOTAL | 12.9
 | time axis 2020-01-31 to 2039-03-31
 | time axis 2017-09-30 to 2039-03-31
Avoided substation/transformer spending |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV of avoided spending before LTC Regulators | 8.141% | 2017-09-30: 4.0923
LTC Regulators (2020-22-24-26) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV of avoided spending LTC Regulators TOTAL | 8.141% | 2017-09-30: 2.377
PV of avoided spending TOTAL | 8.141% | 2017-09-30: 6.4693
[5 empty] | Deemed | Annual | Monthly
[5 empty] | Portion | Effective Rate | Effective Rate
|  |  |  | LT Debt | 60% | 4.54%
|  |  |  | Return On Equity | 40% | 9.19%
[5 empty] | Regulated Rate of Return | 6.4%
[5 empty] | Average CPI over 3 years | 1.786%
[5 empty] | OEB WACC | 8.186% | 0.6822%
[5 empty] | MOE DF | 5% | 0.4167%
|  |  |  | 25 Yr | NPER | 300 | MONTHS
[5 empty] | '000s | '000s/MM |  | '000s
Avoided CAPEX Estimate |  | 2017-09-30: PV Direct Avoided Capex; 2017-12-31: 6469.2907; 2018-01-31: 50.7317; 2018-03-31: 25.3658; 2018-04-30: Assume 50% of estimate savings achieved
[6 empty] | 608.7798 |  | 304.3899 | Annual
$386k if DS in for 2025 & not deferred
Used IE spreadsheet framework but revised forecast dates of deferred capital to align with Engineering LT Station forecast. Defferred CAPEX from delayed or complete deferred station rebuild and power transformers. Then used 50% factor for conservative assumption for equivalent annual value of ~$300k.

## DS Schedule
2031 LTC
5 | LTC | 2020 LTC | 2022 LTC | 2026/27 LTC |  | 2036/37 LTC
1-4?? | DS |  | 2025 DS? |  | 2029/31 DS
[6 empty] | ??? | ???

## CEC Report - DA Benefits
No. 6, 11 and 12 are potential for capital deferral examples

## CPI
The Sault Microgrid/Le Micro-reseau de Sault Sainte Marie
Simplified Financial Model (CAD MM)
CPI Calculation
Month | Total CPI |  | Core CPI 1 | Percentage change over 1 year ago (unadjusted)
|  |  |  | Total CPI | Core CPI 1 | Alternative measures of trend inflation
|  | (seas. adj.) |  |  |  | CPI-XFET 2 | CPIW 3
2016-05 | 128.8 | 128.2 | 128.6 | 1.5 | 2.1 | 2.1 | 1.8
2016-04 | 128.3 | 128 | 128.2 | 1.7 | 2.2 | 1.9 | 1.8
2016-03 | 127.9 | 127.7 | 128 | 1.3 | 2.1 | 1.7 | 1.7
2016-02 | 127.1 | 127.4 | 127.1 | 1.4 | 1.9 | 1.7 | 1.7
2016-01 | 126.8 | 127.6 | 126.5 | 2 | 2 | 1.8 | 1.9
2015-12 | 126.5 | 127.4 | 126.1 | 1.6 | 1.9 | 1.7 | 1.8
2015-11 | 127.1 | 127.3 | 126.6 | 1.4 | 2 | 1.8 | 1.8
2015-10 | 127.2 | 127.1 | 127 | 1 | 2.1 | 1.7 | 1.8
2015-09 | 127.1 | 126.9 | 126.6 | 1 | 2.1 | 1.8 | 1.8
2015-08 | 127.3 | 127.1 | 126.3 | 1.3 | 2.1 | 1.8 | 1.9
2015-07 | 127.3 | 127.1 | 126 | 1.3 | 2.4 | 2 | 2
2015-06 | 127.2 | 126.8 | 126 | 1 | 2.3 | 1.8 | 1.9
2015-05 | 126.9 | 126.3 | 126 | 0.9 | 2.2 | 1.8 | 1.8
2015-04 | 126.2 | 125.8 | 125.5 | 0.8 | 2.3 | 1.9 | 1.8
2015-03 | 126.3 | 125.9 | 125.4 | 1.2 | 2.4 | 2 | 2
2015-02 | 125.4 | 125.5 | 124.7 | 1 | 2.1 | 1.8 | 1.9
2015-01 | 124.3 | 125.2 | 124 | 1 | 2.2 | 1.9 | 1.9
2014-12 | 124.5 | 125.4 | 123.7 | 1.5 | 2.2 | 1.9 | 1.8
2014-11 | 125.4 | 125.6 | 124.1 | 2 | 2.1 | 2 | 2
2014-10 | 125.9 | 125.8 | 124.4 | 2.4 | 2.3 | 2 | 2
2014-09 | 125.8 | 125.7 | 124 | 2 | 2.1 | 1.9 | 1.9
2014-08 | 125.7 | 125.6 | 123.7 | 2.1 | 2.1 | 2 | 1.8
2014-07 | 125.7 | 125.5 | 123.1 | 2.1 | 1.7 | 1.5 | 1.7
2014-06 | 125.9 | 125.6 | 123.2 | 2.4 | 1.8 | 1.5 | 1.9
2014-05 | 125.8 | 125.2 | 123.3 | 2.3 | 1.7 | 1.4 | 1.8
2014-04 | 125.2 | 124.9 | 122.7 | 2 | 1.4 | 1.3 | 1.6
2014-03 | 124.8 | 124.5 | 122.5 | 1.5 | 1.3 | 1.3 | 1.3
2014-02 | 124.1 | 124.3 | 122.1 | 1.1 | 1.2 | 1.2 | 1.2
2014-01 | 123.1 | 123.9 | 121.3 | 1.5 | 1.4 | 1.3 | 1.5
AVERAGE |  |  |  | 1.5276 | 1.9897 | 1.7414 | 1.7862