## Outage by cause
2 - SEC IR - 13 Outage Interruptions by Cause (2015-2019)
|  | 2015 |  |  | 2016 |  |  | 2017 |  |  | 2018 |  |  | 2019
Cause Code | Description | Number of Incidents | Number of Customer Interruptions | Number of Customer Hours of Interruptions | Number of Incidents | Number of Customer Interruptions | Number of Customer Hours of Interruptions | Number of Incidents | Number of Customer Interruptions | Number of Customer Hours of Interruptions | Number of Incidents | Number of Customer Interruptions | Number of Customer Hours of Interruptions | Number of Incidents | Number of Customer Interruptions | Number of Customer Hours of Interruptions
0 | Unknown | 3 | 68 | 66.25 | 7 | 789 | 553.3333 | 3 | 3646 | 371.5 | 6 | 2082 | 773.5 | 7 | 14858 | 5612.4167
1 | Scheduled Outage | 14 | 384 | 722.85 | 32 | 746 | 1839.4167 | 42 | 796 | 1825 | 32 | 632 | 1660.9833 | 9 | 172 | 593.8167
2 | Loss of Supply | 0 | 0 | 0 | 8 | 10054 | 8406.7333 | 3 | 10846 | 766.3833 | 2 | 2982 | 1378.0667 | 1 | 3003 | 200.2
3 | Tree Contacts | 11 | 14996 | 5186.2333 | 6 | 212 | 293.1833 | 5 | 992 | 587.3333 | 14 | 1660 | 1550.7833 | 11 | 2935 | 2278.45
4 | Lightning | 7 | 1019 | 1475.1333 | 1 | 280 | 74.6667 | 3 | 4350 | 7214.6 | 0 | 0 | 0 | 1 | 11 | 75.5333
5 | Defective Equipment | 28 | 22513 | 24983.3 | 37 | 10740 | 10680.0167 | 22 | 4404 | 6924.6333 | 26 | 13022 | 15095.5167 | 12 | 4540 | 6120.9167
6 | Adverse Weather | 6 | 5091 | 1710.5833 | 32 | 35323 | 50561.05 | 14 | 3256 | 4343.3333 | 18 | 13910 | 13463.5167 | 6 | 7700 | 9257.5667
7 | Adverse Environment | 8 | 18789 | 20766.9 | 3 | 539 | 1436.7333 | 1 | 21 | 4.55 | 1 | 10 | 5.1667 | 0 | 0 | 0
8 | Human Element | 1 | 362 | 253.4 | 3 | 1974 | 171.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 502 | 50.2
9 | Foreign Interference | 10 | 3502 | 1714.6667 | 24 | 11645 | 4190.1833 | 16 | 8172 | 15963.3167 | 7 | 5209 | 1111.5833 | 15 | 8427 | 12951.85
| Annual Total | 88 | 66724 | 56879.3167 | 153 | 72302 | 78206.8167 | 109 | 36483 | 38000.65 | 106 | 39507 | 35039.1167 | 63 | 42148 | 37140.95