## Sheet1
2.0-VECC-16 Assets Replaced Reactively
Reference: DSP
| Assets Replaced Reactively | # units replaced
| Asset Class | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | Wood Pole
2 | Concrete Pole
3 | Overhead Primary Conductor (km)
13 | Underground Primary Cable (km)
5 | Pole Mount Transformer
6 | Padmount Transformer
7 | Submersible Transformer
8 | Vault Transfomer
9 | Switchgear
10 | Overhead Switch
11 | Recloser
4 | Power Transformer
12 | Circuit Breaker
14 | Station Primary Switchgear
15 | Feeder Egress Cable
16 | Protective Relay
17 | TOTAL