## Summary kWh
|  | 2019 Actual kWh | 2019 Actual kW | 2020 kWh | 2020 kW | 2021 kWh | 2021 kW | 2022 kWh | 2022 kW | 2023 kWh | 2023 kW | 2024 kWh | 2024 kW | 2025 kWh | 2025 kW
Retrofit Completed in 2019 | GS<50 | 545475.986 | 87.448 | 545475.986 | 87.448 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108
| GEN>50 | 2481922.9944 | 415.4876 | 2481922.9944 | 415.4876 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102
| Intermediate | 620036.3 | 115.4 | 620036.3 | 115.4 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823
Large
| TOTAL | 3647435.2804 | 618.3356 | 3647435.2804 | 618.3356 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439
PSUP Completed in 2019 | GS<50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| GEN>50 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315
| Intermediate | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147
| Large | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131
| TOTAL | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593
* above values are gross values.
[6 empty] | Realization Rate | Net-Gross | 2019 Net kWh |  | 2020 Persistence | 2020 Savings | 2021 Persistence | 2021 Savings
|  | 2019 Actual kWh |  | 2020 kWh
Retrofit Completed in 2019 | GS<50 | 545475.986 |  | 545475.986 |  | 103.8% | 88.4% | 500524.4009 |  | 100% | 500524.4009 | 99.5% | 498021.7789 |  | 14.96%
| GEN>50 | 2481922.9944 |  | 2481922.9944 |  | 103.8% | 88.4% | 2277392.6843 |  | 100% | 2277392.6843 | 99.5% | 2266005.7209 |  | 68.05%
| Intermediate | 620036.3 |  | 620036.3 |  | 103.8% | 88.4% | 568940.3486 |  | 100% | 568940.3486 | 99.5% | 566095.6468 |  | 17%
| Large | 0 |  | 0 |  | 103.8% | 88.4%
[6 empty] | 103.8% | 88.4% | 0 |  | 100% | 0 | 99.5% | 0
| TOTAL | 3647435.2804 |  | 3647435.2804 |  |  |  | 3346857.4338 |  |  | 3346857.4338 | 99.5% | 3330123.1466 |  | 100%
PSUP Completed in 2019 | GS<50 | 0 |  | 0 |  |  | 91.3%
| GEN>50 | 2757000 |  | 2757000 |  | 101.9% | 91.3% | 2564966.679 |  | 100% | 2564966.679 | 100% | 2564966.679 |  | 71.41%
| Intermediate | 815000 |  | 815000 |  | 101.9% | 91.3% | 758232.805 |  | 100% | 758232.805 | 100% | 758232.805 |  | 21.11%
| Large | 289000 |  | 289000 |  | 101.9% | 91.3% | 268870.283 |  | 100% | 268870.283 | 100% | 268870.283 |  | 7.485%
| TOTAL | 3861000 |  | 3861000 |  |  |  | 3592069.767 |  | 100% | 3592069.767 | 100% | 3592069.767 |  | 100%
Persistence
|  | 1st Year | 2nd Year | 3rd Year
| Retrofit | 100% | 100% | 99.5%
| PSUP | 100% | 100% | 100%
|  | Residential | GS<50 | GS>50 | Int | Sen Light | St. Light | USL | LU
2019 | 2019 |  | 500524.4009 | 4842359.3633 | 1327173.1536 |  | 0 |  | 268870.283
2019 | 2020 |  | 500524.4009 | 4842359.3633 | 1327173.1536 |  | 0 |  | 268870.283
2019 | 2021 |  | 498021.7789 | 4830972.3999 | 1324328.4518 |  | 0 |  | 268870.283

## Summary kW
|  | 2019 Actual kWh | 2019 Actual kW | 2020 kWh | 2020 kW | 2021 kWh | 2021 kW | 2022 kWh | 2022 kW | 2023 kWh | 2023 kW | 2024 kWh | 2024 kW | 2025 kWh | 2025 kW
Retrofit Completed in 2019 | GS<50 | 545475.986 | 87.448 | 545475.986 | 87.448 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108
| GEN>50 | 2481922.9944 | 415.4876 | 2481922.9944 | 415.4876 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102
| Intermediate | 620036.3 | 115.4 | 620036.3 | 115.4 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823
Large
| TOTAL | 3647435.2804 | 618.3356 | 3647435.2804 | 618.3356 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439
PSUP Completed in 2019 | GS<50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| GEN>50 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315
| Intermediate | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147 | 815000 | 147
| Large | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131
| TOTAL | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593
* above values are gross values.
[6 empty] | Realization Rate | Net-Gross | 2019 Net kW |  | 2020 Persistence | 2020 Savings | 2021 Persistence | 2021 Savings
2019 Actual kW
Retrofit Completed in 2019 | GS<50 | 87.448 |  |  |  | 111.3% | 88.4% | 86.0394 |  | 100% | 86.0394 | 99.5% | 85.6092 |  | 14.14%
| GEN>50 | 415.4876 |  |  |  | 111.3% | 88.4% | 408.7949 |  | 100% | 408.7949 | 99.5% | 406.751 |  | 67.19%
| Intermediate | 115.4 |  |  |  | 111.3% | 88.4% | 113.5411 |  | 100% | 113.5411 | 99.5% | 112.9734 |  | 18.66%
| Large | 0 |  |  |  | 111.3% | 88.4%
[6 empty] | 111.3% | 88.4% | 0 |  | 100% | 0 | 99.5% | 0
| TOTAL | 618.3356 | [5 empty] | 608.3755 |  |  | 608.3755 | 99.5% | 605.3336 |  | 100%
PSUP Completed in 2019 | GS<50 | 0 |  |  |  | 158.4% | 91.3%
| GEN>50 | 315 |  |  |  | 158.4% | 91.3% | 455.5505 |  | 100% | 455.5505 | 100% | 455.5505 |  | 53.12%
| Intermediate | 147 |  |  |  | 158.4% | 91.3% | 212.5902 |  | 100% | 212.5902 | 100% | 212.5902 |  | 24.79%
| Large | 131 |  |  |  | 158.4% | 91.3% | 189.4512 |  | 100% | 189.4512 | 100% | 189.4512 |  | 22.09%
| TOTAL | 593 | [5 empty] | 857.5919 |  | 100% | 857.5919 | 100% | 857.5919 |  | 100%
Persistence
|  | 1st Year | 2nd Year | 3rd Year
| Retrofit | 100% | 100% | 99.5%
| PSUP | 100% | 100% | 100%
|  | Residential | GS<50 | GS>50 | Int | Sen Light | St. Light | USL | LU
2019 | 2019 |  | 86.0394 | 864.3454 | 326.1314 |  | 0 |  | 189.4512
2019 | 2020 |  | 86.0394 | 864.3454 | 326.1314 |  | 0 |  | 189.4512
2019 | 2021 |  | 85.6092 | 862.3014 | 325.5637 |  | 0 |  | 189.4512

## 2019 ERII Complete
from IESO CDM Infor System (CDMIS)
[11 empty] | 2019 savings |  | 2020 |  | 2021 |  | 2022 |  | 2023 |  | 2024
Application ID | Rate Class | In Service | Lead LDC Name | Framework | Date program approved by IESO | Approval Date of IESO Incentive | kwh | kw | Measure | EUL (years) | year 1 kwh | year 1 kw | year 2 kwh | Year 2 kw | year 3 kwh | Year 3 kw | year 4 kwh | year 4 kw | year 5 kwh | year 5 kw | year 6 kwh | year 6 kw
157749 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 6936 | 6.96 | A/C | 13.8 | 6936 | 6.96 | 6936 | 6.96 | 6901.32 | 6.9252 | 6901.32 | 6.9252 | 6901.32 | 6.9252 | 6901.32 | 6.9252
173968 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 84752 | 15.07 | lighting | 13 | 84752 | 15.07 | 84752 | 15.07 | 84328.24 | 14.9947 | 84328.24 | 14.9947 | 84328.24 | 14.9947 | 84328.24 | 14.9947
173974 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 36505 | 5.5 | lighting | 13 | 36505 | 5.5 | 36505 | 5.5 | 36322.475 | 5.4725 | 36322.475 | 5.4725 | 36322.475 | 5.4725 | 36322.475 | 5.4725
174231 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 193605 | 33.1 | lighting | 13 | 193605 | 33.1 | 193605 | 33.1 | 192636.975 | 32.9345 | 192636.975 | 32.9345 | 192636.975 | 32.9345 | 192636.975 | 32.9345
179345 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 84641 | 14.4 | lighting | 13 | 84641 | 14.4 | 84641 | 14.4 | 84217.795 | 14.328 | 84217.795 | 14.328 | 84217.795 | 14.328 | 84217.795 | 14.328
179345 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 8232 | 0 | exterior | 13 | 8232 | 0 | 8232 | 0 | 8190.84 | 0 | 8190.84 | 0 | 8190.84 | 0 | 8190.84 | 0
179354 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 70244 | 11.95 | lighting | 13 | 70244 | 11.95 | 70244 | 11.95 | 69892.78 | 11.8902 | 69892.78 | 11.8902 | 69892.78 | 11.8902 | 69892.78 | 11.8902
179354 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 5460 | 0 | exterior | 13 | 5460 | 0 | 5460 | 0 | 5432.7 | 0 | 5432.7 | 0 | 5432.7 | 0 | 5432.7 | 0
179364 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 73747 | 13.07 | lighting | 13 | 73747 | 13.07 | 73747 | 13.07 | 73378.265 | 13.0046 | 73378.265 | 13.0046 | 73378.265 | 13.0046 | 73378.265 | 13.0046
179364 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 7211 | 0 | exterior | 13 | 7211 | 0 | 7211 | 0 | 7174.945 | 0 | 7174.945 | 0 | 7174.945 | 0 | 7174.945 | 0
179368 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 71540 | 12.79 | lighting | 13 | 71540 | 12.79 | 71540 | 12.79 | 71182.3 | 12.726 | 71182.3 | 12.726 | 71182.3 | 12.726 | 71182.3 | 12.726
179368 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 4914 | 0 | exterior | 13 | 4914 | 0 | 4914 | 0 | 4889.43 | 0 | 4889.43 | 0 | 4889.43 | 0 | 4889.43 | 0
179370 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 66421 | 11.75 | lighting | 13 | 66421 | 11.75 | 66421 | 11.75 | 66088.895 | 11.6913 | 66088.895 | 11.6913 | 66088.895 | 11.6913 | 66088.895 | 11.6913
179370 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 4368 | 0 | exterior | 13 | 4368 | 0 | 4368 | 0 | 4346.16 | 0 | 4346.16 | 0 | 4346.16 | 0 | 4346.16 | 0
183915 | GEN>50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 131109 | 18.7 | lighting | 13 | 131109 | 18.7 | 131109 | 18.7 | 130453.455 | 18.6065 | 130453.455 | 18.6065 | 130453.455 | 18.6065 | 130453.455 | 18.6065
179330 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 181363 | 35.8 | lighting | 13 | 181363 | 35.8 | 181363 | 35.8 | 180456.185 | 35.621 | 180456.185 | 35.621 | 180456.185 | 35.621 | 180456.185 | 35.621
179330 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 31752 | 0 | exterior | 13 | 31752 | 0 | 31752 | 0 | 31593.24 | 0 | 31593.24 | 0 | 31593.24 | 0 | 31593.24 | 0
179373 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 59889 | 11.2 | lighting | 13 | 59889 | 11.2 | 59889 | 11.2 | 59589.555 | 11.144 | 59589.555 | 11.144 | 59589.555 | 11.144 | 59589.555 | 11.144
179373 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 5611 | 0 | exterior | 13 | 5611 | 0 | 5611 | 0 | 5582.945 | 0 | 5582.945 | 0 | 5582.945 | 0 | 5582.945 | 0
190254 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 57294 | 11.5 | lighting | 13 | 57294 | 11.5 | 57294 | 11.5 | 57007.53 | 11.4425 | 57007.53 | 11.4425 | 57007.53 | 11.4425 | 57007.53 | 11.4425
190262 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 4994 | 0 | lighting | 13 | 4994 | 0 | 4994 | 0 | 4969.03 | 0 | 4969.03 | 0 | 4969.03 | 0 | 4969.03 | 0
194452 | GEN>50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 123962 | 43 | lighting | 13 | 123962 | 43 | 123962 | 43 | 123342.19 | 42.785 | 123342.19 | 42.785 | 123342.19 | 42.785 | 123342.19 | 42.785
164954 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 1504.9944 | 0.3276 | lighting | 13 | 1504.9944 | 0.3276 | 1504.9944 | 0.3276 | 1497.4694 | 0.32596 | 1497.4694 | 0.32596 | 1497.4694 | 0.32596 | 1497.4694 | 0.32596
165232 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 2092 | 0.5 | lighting | 13 | 2092 | 0.5 | 2092 | 0.5 | 2081.54 | 0.4975 | 2081.54 | 0.4975 | 2081.54 | 0.4975 | 2081.54 | 0.4975
179335 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 275889 | 53.9 | lighting | 13 | 275889 | 53.9 | 275889 | 53.9 | 274509.555 | 53.6305 | 274509.555 | 53.6305 | 274509.555 | 53.6305 | 274509.555 | 53.6305
179335 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 22835 | 0 | exterior | 13 | 22835 | 0 | 22835 | 0 | 22720.825 | 0 | 22720.825 | 0 | 22720.825 | 0 | 22720.825 | 0
191019 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 9996 | 0 | exterior | 13 | 9996 | 0 | 9996 | 0 | 9946.02 | 0 | 9946.02 | 0 | 9946.02 | 0 | 9946.02 | 0
191019 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 79806 | 3.2 | lighting | 13 | 79806 | 3.2 | 79806 | 3.2 | 79406.97 | 3.184 | 79406.97 | 3.184 | 79406.97 | 3.184 | 79406.97 | 3.184
194281 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 11958 | 1.73 | lighting | 13 | 11958 | 1.73 | 11958 | 1.73 | 11898.21 | 1.7213 | 11898.21 | 1.7213 | 11898.21 | 1.7213 | 11898.21 | 1.7213
194281 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 104151 | 0 | exterior | 13 | 104151 | 0 | 104151 | 0 | 103630.245 | 0 | 103630.245 | 0 | 103630.245 | 0 | 103630.245 | 0
200747 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 111176 | 23.7 | lighting | 13 | 111176 | 23.7 | 111176 | 23.7 | 110620.12 | 23.5815 | 110620.12 | 23.5815 | 110620.12 | 23.5815 | 110620.12 | 23.5815
205687 | GEN>50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-07-01 | 7636 | 1.9 | lighting |  | 7636 | 1.9 | 7636 | 1.9 | 7597.82 | 1.8905 | 7597.82 | 1.8905 | 7597.82 | 1.8905 | 7597.82 | 1.8905
183285 | GEN>50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-04-01 | 39271 | 6.96 | lighting |  | 39271 | 6.96 | 39271 | 6.96 | 39074.645 | 6.9252 | 39074.645 | 6.9252 | 39074.645 | 6.9252 | 39074.645 | 6.9252
202110 | GEN>50 | 2019-05-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-05-01 | 6522 | 0 | exterior |  | 6522 | 0 | 6522 | 0 | 6489.39 | 0 | 6489.39 | 0 | 6489.39 | 0 | 6489.39 | 0
187584 | GEN>50 | 2019-05-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-07-01 | 25942 | 4.9 | lighting |  | 25942 | 4.9 | 25942 | 4.9 | 25812.29 | 4.8755 | 25812.29 | 4.8755 | 25812.29 | 4.8755 | 25812.29 | 4.8755
205226 | GEN>50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 188814 | 32.8 | lighting |  | 188814 | 32.8 | 188814 | 32.8 | 187869.93 | 32.636 | 187869.93 | 32.636 | 187869.93 | 32.636 | 187869.93 | 32.636
177219 | GEN>50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 28804 | 6.3 | re-lamp |  | 28804 | 6.3 | 28804 | 6.3 | 28659.98 | 6.2685 | 28659.98 | 6.2685 | 28659.98 | 6.2685 | 28659.98 | 6.2685
198403 | GEN>50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 4299 | 0.9 | lighting |  | 4299 | 0.9 | 4299 | 0.9 | 4277.505 | 0.8955 | 4277.505 | 0.8955 | 4277.505 | 0.8955 | 4277.505 | 0.8955
162399 | GEN>50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-12-01 | 3466 | 0 | exterior |  | 3466 | 0 | 3466 | 0 | 3448.67 | 0 | 3448.67 | 0 | 3448.67 | 0 | 3448.67 | 0
169359 | GEN>50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-12-01 | 8332 | 0 | exterior |  | 8332 | 0 | 8332 | 0 | 8290.34 | 0 | 8290.34 | 0 | 8290.34 | 0 | 8290.34 | 0
169357 | GEN>50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-12-01 | 10831 | 0 | exterior |  | 10831 | 0 | 10831 | 0 | 10776.845 | 0 | 10776.845 | 0 | 10776.845 | 0 | 10776.845 | 0
162392 | GEN>50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-12-01 | 3978 | 0 | exterior |  | 3978 | 0 | 3978 | 0 | 3958.11 | 0 | 3958.11 | 0 | 3958.11 | 0 | 3958.11 | 0
205850 | GEN>50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 19969 | 3.7 | lighting | 13 | 19969 | 3.7 | 19969 | 3.7 | 19869.155 | 3.6815 | 19869.155 | 3.6815 | 19869.155 | 3.6815 | 19869.155 | 3.6815
183302 | GEN>50 | 2019-06-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-07-01 | 74930 | 3.1 | non lighting |  | 74930 | 3.1 | 74930 | 3.1 | 74555.35 | 3.0845 | 74555.35 | 3.0845 | 74555.35 | 3.0845 | 74555.35 | 3.0845
191231 | GEN>50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 120825 | 26.78 | lighting |  | 120825 | 26.78 | 120825 | 26.78 | 120220.875 | 26.6461 | 120220.875 | 26.6461 | 120220.875 | 26.6461 | 120220.875 | 26.6461
202907 | GEN>50 | 2019-09-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2020-01-01 | 4346.4 | 0 | refrigerators |  | 4346 | 0 | 4346 | 0 | 4324.27 | 0 | 4324.27 | 0 | 4324.27 | 0 | 4324.27 | 0
| GEN>50 Total | [5 empty] | 2481923.3944 | 415.4876 |  |  | 2481922.9944 | 415.4876 | 2481922.9944 | 415.4876 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102 | 2469513.3794 | 413.4102
179366 | GS<50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 4170 | 0 | exterior | 13 | 4170 | 0 | 4170 | 0 | 4149.15 | 0 | 4149.15 | 0 | 4149.15 | 0 | 4149.15 | 0
179366 | GS<50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 61243 | 9.7 | lighting | 13 | 61243 | 9.7 | 61243 | 9.7 | 60936.785 | 9.6515 | 60936.785 | 9.6515 | 60936.785 | 9.6515 | 60936.785 | 9.6515
203298 | GS<50 | 2019-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-01-01 | 17056.976 | 4.528 | lighting | 13 | 17056.976 | 4.528 | 17056.976 | 4.528 | 16971.6911 | 4.5054 | 16971.6911 | 4.5054 | 16971.6911 | 4.5054 | 16971.6911 | 4.5054
179371 | GS<50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 48857 | 11 | lighting | 13 | 48857 | 11 | 48857 | 11 | 48612.715 | 10.945 | 48612.715 | 10.945 | 48612.715 | 10.945 | 48612.715 | 10.945
184503 | GS<50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 38428 | 7.4 | lighting | 13 | 38428 | 7.4 | 38428 | 7.4 | 38235.86 | 7.363 | 38235.86 | 7.363 | 38235.86 | 7.363 | 38235.86 | 7.363
200618 | GS<50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 6090 | 0 | exterior | 13 | 6090 | 0 | 6090 | 0 | 6059.55 | 0 | 6059.55 | 0 | 6059.55 | 0 | 6059.55 | 0
200618 | GS<50 | 2019-02-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-02-01 | 19843 | 5.2 | lighting | 13 | 19843 | 5.2 | 19843 | 5.2 | 19743.785 | 5.174 | 19743.785 | 5.174 | 19743.785 | 5.174 | 19743.785 | 5.174
159755 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 6072 | 2.3 | lighting | 13 | 6072 | 2.3 | 6072 | 2.3 | 6041.64 | 2.2885 | 6041.64 | 2.2885 | 6041.64 | 2.2885 | 6041.64 | 2.2885
169424 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 12163 | 0 | exterior | 13 | 12163 | 0 | 12163 | 0 | 12102.185 | 0 | 12102.185 | 0 | 12102.185 | 0 | 12102.185 | 0
198429 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 19367 | 4.1 | lighting | 13 | 19367 | 4.1 | 19367 | 4.1 | 19270.165 | 4.0795 | 19270.165 | 4.0795 | 19270.165 | 4.0795 | 19270.165 | 4.0795
199451 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 3547 | 0.88 | lighting | 13 | 3547 | 0.88 | 3547 | 0.88 | 3529.265 | 0.8756 | 3529.265 | 0.8756 | 3529.265 | 0.8756 | 3529.265 | 0.8756
203884 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 3009 | 0.7 | lighting | 13 | 3009 | 0.7 | 3009 | 0.7 | 2993.955 | 0.6965 | 2993.955 | 0.6965 | 2993.955 | 0.6965 | 2993.955 | 0.6965
205388 | GS<50 | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 918.8 | 0.2 | lighting | 13 | 918.8 | 0.2 | 918.8 | 0.2 | 914.206 | 0.199 | 914.206 | 0.199 | 914.206 | 0.199 | 914.206 | 0.199
205329 | GS<50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-04-01 | 14600 | 2.8 | lighting |  | 14600 | 2.8 | 14600 | 2.8 | 14527 | 2.786 | 14527 | 2.786 | 14527 | 2.786 | 14527 | 2.786
205387 | GS<50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-04-01 | 14230 | 2.9 | lighting |  | 14230 | 2.9 | 14230 | 2.9 | 14158.85 | 2.8855 | 14158.85 | 2.8855 | 14158.85 | 2.8855 | 14158.85 | 2.8855
205782 | GS<50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-04-01 | 1433 | 0.3 | lighting |  | 1433 | 0.3 | 1433 | 0.3 | 1425.835 | 0.2985 | 1425.835 | 0.2985 | 1425.835 | 0.2985 | 1425.835 | 0.2985
162398 | GS<50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 2964 | 0 | exterior |  | 2964 | 0 | 2964 | 0 | 2949.18 | 0 | 2949.18 | 0 | 2949.18 | 0 | 2949.18 | 0
174965 | GS<50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 9647 | 2.1 | re-lamp |  | 9647 | 2.1 | 9647 | 2.1 | 9598.765 | 2.0895 | 9598.765 | 2.0895 | 9598.765 | 2.0895 | 9598.765 | 2.0895
176962 | GS<50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 6431 | 1.4 | re-lamp |  | 6431 | 1.4 | 6431 | 1.4 | 6398.845 | 1.393 | 6398.845 | 1.393 | 6398.845 | 1.393 | 6398.845 | 1.393
190889 | GS<50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 11006 | 2.4 | re-lamp |  | 11006 | 2.4 | 11006 | 2.4 | 10950.97 | 2.388 | 10950.97 | 2.388 | 10950.97 | 2.388 | 10950.97 | 2.388
191863 | GS<50 | 2019-08-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-08-01 | 16554 | 3.6 | lighting |  | 16554 | 3.6 | 16554 | 3.6 | 16471.23 | 3.582 | 16471.23 | 3.582 | 16471.23 | 3.582 | 16471.23 | 3.582
186141 | GS<50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-12-01 | 52141 | 5.6 | lighting |  | 52141 | 5.6 | 52141 | 5.6 | 51880.295 | 5.572 | 51880.295 | 5.572 | 51880.295 | 5.572 | 51880.295 | 5.572
206291 | GS<50 | 2019-04-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2020-01-01 | 2747.21 | 0.6 | lighting |  | 2747.21 | 0.6 | 2747.21 | 0.6 | 2733.474 | 0.597 | 2733.474 | 0.597 | 2733.474 | 0.597 | 2733.474 | 0.597
201108 | GS<50 | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2021-02-20 | 172958 | 19.74 | VFD |  | 172958 | 19.74 | 172958 | 19.74 | 172093.21 | 19.6413 | 172093.21 | 19.6413 | 172093.21 | 19.6413 | 172093.21 | 19.6413
| GS<50 Total | [5 empty] | 545475.986 | 87.448 |  |  | 545475.986 | 87.448 | 545475.986 | 87.448 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108 | 542748.6061 | 87.0108
197730 | Intermediate | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 121000 | 25.7 | VFD | 13 | 121000 | 25.7 | 121000 | 25.7 | 120395 | 25.5715 | 120395 | 25.5715 | 120395 | 25.5715 | 120395 | 25.5715
205876 | Intermediate | 2019-03-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 1959 | 0.4 | lighting | 13 | 1959 | 0.4 | 1959 | 0.4 | 1949.205 | 0.398 | 1949.205 | 0.398 | 1949.205 | 0.398 | 1949.205 | 0.398
174339 | Intermediate | 2019-06-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-06-01 | 18680 | 4.4 | lighting |  | 18680 | 4.4 | 18680 | 4.4 | 18586.6 | 4.378 | 18586.6 | 4.378 | 18586.6 | 4.378 | 18586.6 | 4.378
171755 | Intermediate | 2019-06-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-06-01 | 68195 | 0 | exterior |  | 68195 | 0 | 68195 | 0 | 67854.025 | 0 | 67854.025 | 0 | 67854.025 | 0 | 67854.025 | 0
199013 | Intermediate | 2019-09-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2020-01-01 | 90384 | 0 | exterior |  | 90384 | 0 | 90384 | 0 | 89932.08 | 0 | 89932.08 | 0 | 89932.08 | 0 | 89932.08 | 0
184446 | Intermediate | 2019-12-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2020-01-01 | 319818.3 | 84.9 | lighting |  | 319818.3 | 84.9 | 319818.3 | 84.9 | 318219.2085 | 84.4755 | 318219.2085 | 84.4755 | 318219.2085 | 84.4755 | 318219.2085 | 84.4755
| Intermediate Total | [5 empty] | 620036.3 | 115.4 |  |  | 620036.3 | 115.4 | 620036.3 | 115.4 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823 | 616936.1185 | 114.823
[7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grand Total | [5 empty] | 3647435.6804 | 618.3356 |  |  | 3647435.2804 | 618.3356 | 3647435.2804 | 618.3356 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439 | 3629198.104 | 615.2439

## PSUP 2019 Complete
2019
Application ID | Rate Class | In Service Date | Lead LDC Name | Framework | Date program approved by IESO | Approval Date of IESO Incentive | kwh | kw | Measure | EUL | year 1 kwh | year 1 kw | year 2 kwh | Year 2 kw | year 3 kwh | Year 3 kw | year 4 kwh | year 4 kw | year 5 kwh | year 5 kw | year 6 kwh | year 6 kw
601443 | GEN >50 | 2018-10-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-10-01 | 2757000 | 315 | Y1 CHP | 20 years | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315 | 2757000 | 315
601041 | Intermediate | 2018-01-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-04-01 | 156000 | 72 | Q1 Blower Controls | 10 years | 156000 | 72 | 156000 | 72 | 156000 | 72 | 156000 | 72 | 156000 | 72 | 156000 | 72
601274 | Intermediate | 2016-11-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-05-01 | 659000 | 75 | Y1 High Lift VFD | 10 years | 659000 | 75 | 659000 | 75 | 659000 | 75 | 659000 | 75 | 659000 | 75 | 659000 | 75
601033 | Large | 2018-10-01 | Bluewater Power Distribution Corporation | 2015-2020 CFF | 2016 | 2019-03-01 | 289000 | 131 | Q1 R0-4 Pump | 10 years | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131 | 289000 | 131
|  |  | Total |  |  |  | 3861000 | 593 |  |  | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593 | 3861000 | 593