## Model Inputs
Data Required for Cost Benchmarking
Oshawa PUC Networks Inc.
Select LDC from Dropdown Box: |  |  |  | Oshawa PUC Networks Inc. | History | Bridge Year | Test Year | Additonal Years for Custom IR Filings
Required Item |  |  |  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | The values provided for 2020-2025 are placeholder values that must be replaced
Gross Capital Cost Additions Data
1 |  | Total Gross Capital Additions |  |  | 29297557.62 | 18551000 | 16492500 | 15977000 | 15636000 | 15412000 | 15298000
2 |  | HV Gross Capital Additions |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output and Other Business Conditions
3 |  | Number of Customers |  |  | 59183 | 60196.3682 | 61007.8967 | 61978.75 | 62965.75 | 63967.75 | 64986.75 | ** Not Custom IR: 2022-2025 estimates **
4 |  | Delivery Volume |  |  | 1044351259 | 1078000816.8114 | 1075667737.2425 | 1068775790.2028 | 1068774836.5597 | 1072509116.7463 | 1075338157.6557
5 |  | Annual Peak Demand |  |  | 213296 | 213296 | 213296 | 213296 | 213296 | 213296 | 213296
6 |  | Distribution Circuit-km |  |  | 1010 | 1010 | 1010 | 1010 | 1010 | 1010 | 1010
7 |  | Ten Year Customer Growth Percentage |  |  | 13.41% | 11% | 11.13% | 11.13% | 11.13% | 11.13% | 11.13%
Inflation Measures
8 |  | Wage Growth |  |  | 2.717% | 4.003% | 0.4573% | 2.011% | 2.097% | 2.097% | 2.097%
9 |  | Growth in Economy-wide Inflation |  |  | 1.954% | 2% | 2% | 2% | 2% | 2% | 2%
10 |  | Rate of Return (WACC) |  |  | 6.018% | 5.32% | 5% | 5% | 5% | 5% | 5%
OM&A Expenses Included in Cost Benchmarking
|  |  | N | Use Method 1 [1A - 1B + 1C] | 12607249.1 | 0 | 0 | 0 | 0 | 0 | 0 | Formula
Choose a Method:
|  |  | Y | Use Method 2 [2A - 2B + 2C] | 12607249.1 | 13274929.3741 | 13526150.5547 | 13797014.8086 | 14077474.9896 | 14363716.0667 | 14661133.2727 | Formula
11 |  |  | OM&A Values Transfered to Calculations Worksheet |  | 12607249.1 | 13274929.3741 | 13526150.5547 | 13797014.8086 | 14077474.9896 | 14363716.0667 | 14661133.2727 | Formula
|  | Method 1: Enter Values Calculated Elsewhere |  |  | 2020: Enter Values Supported by Separate Calculations
|  | 1A | Total OM&A Consistent with accounts included in [2B] |  | 2019: 12607249.1 | Enter Values
|  | 1B | HV Cost (Accounts 5014, 5015, and 5112) if included in total |  | 2019: 0 | Enter Values
|  | 1C | LV Adjustment |  | 2019: 0 | Enter Values
[15 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
|  | Method 2: Enter Detailed Data | [11 empty] | Distribution Expenses - Operation
[13 empty] | 5005 | Operation Supervision and Engineering | 780947.6206 | 758715.3134 | 773932.6243 | 790197.1794 | 806803.5296 | 823492.5786
|  | OM&A Data | [10 empty] | 5010 | Load Dispatching | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5005 | Operation Supervision and Engineering | 813329 | 780947.6206 | 758715.3134 | 773932.6243 | 790197.1794 | 806803.5296 | 823492.5786 |  | 5012 | Station Buildings and Fixtures Expense | 50110 | 51012.2 | 51930.7562 | 52865.8535 | 53817.7897 | 54786.8682
|  |  | 5010 | Load Dispatching | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5014 | Transformer Station Equipment - Operation Labour | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5012 | Station Buildings and Fixtures | 46046 | 50110 | 51012.2 | 51930.7562 | 52865.8535 | 53817.7897 | 54786.8682 |  | 5015 | Transformer Station Equipment - Operation Supplies and Expenses | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5014 | Transformer Station Equipment - Operation Labor | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5016 | Distribution Station Equipment - Operation Labour | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5015 | Transformer Station Equipment - Operation Supplies and Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5017 | Distribution Station Equipment - Operation Supplies and Expenses | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5016 | Distribution Station Equipment - Operation Labor | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5020 | Overhead Distribution Lines and Feeders - Operation Labour | 883776.7789 | 769449.8102 | 747236.8827 | 761779.4958 | 776606.9999 | 794733.4155
|  |  | 5017 | Distribution Station Equipment - Operation Supplies and Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5025 | Overhead Distribution Lines and Feeders - Operation Supplies and Expenses | -473641.49 | -499759.6896 | -509405.7162 | -520103.2363 | -531025.4042 | -541274.2824
|  |  | 5020 | Overhead Distribution Lines and Feeders - Operation Labor | 748270 | 883776.7789 | 769449.8102 | 747236.8827 | 761779.4958 | 776606.9999 | 794733.4155 |  | 5030 | Overhead Subtransmission Feeders - Operation | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5025 | Overhead Distribution Lines and Feeders - Operation Supplies and Expenses | -407467 | -473641.49 | -499759.6896 | -509405.7162 | -520103.2363 | -531025.4042 | -541274.2824 |  | 5035 | Overhead Distribution Transformers - Operation | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5035 | Overhead Distribution Transformers - Operation | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5040 | Underground Distribution Lines and Feeders - Operation Labour | 34451.4808 | 34820.5104 | 35197.1429 | 35600.2829 | 36011.8888 | 36412.3632
|  |  | 5040 | Underground Distribution Lines and Feeders - Operation Labor | 35723 | 34451.4808 | 34820.5104 | 35197.1429 | 35600.2829 | 36011.8888 | 36412.3632 |  | 5045 | Underground Distribution Lines and Feeders - Operation Supplies and Expenses | 6603.6 | 6735.672 | 6877.1211 | 7021.5407 | 7168.993 | 7319.5419
|  |  | 5045 | Underground Distribution Lines and Feeders - Operation Supplies and Expenses | 3182 | 6603.6 | 6735.672 | 6877.1211 | 7021.5407 | 7168.993 | 7319.5419 |  | 5050 | Underground Subtransmission Feeders - Operation | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5055 | Overhead Distribution Lines and Feeders | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5055 | Underground Distribution Transformers - Operation | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5065 | Meter Expense | 651051 | 656120.773 | 669243.1885 | 682712.9642 | 697067.0365 | 711722.8863 | 726694.3779 |  | 5060 | Street Lighting and Signal System Expense | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5070 | Customer Premises - Operation Labor | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5065 | Meter Expense | 656120.773 | 669243.1885 | 682712.9642 | 697067.0365 | 711722.8863 | 726694.3779
|  |  | 5075 | Customer Premises - Operation Materials and Supplies | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5070 | Customer Premises - Operation Labour | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5085 | Miscellaneous Distribution Expense | 104901 | 125610.5306 | 64883.5774 | 66290.4868 | 67696.2671 | 69131.8423 | 71148.3978 |  | 5075 | Customer Premises - Materials and Expenses | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5090 | Underground Distribution Lines and Feeders - Rental Paid | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5085 | Miscellaneous Distribution Expense | 125610.5306 | 64883.5774 | 66290.4868 | 67696.2671 | 69131.8423 | 71148.3978
|  |  | 5095 | Overhead Distribution Lines and Feeders - Rental Paid | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5090 | Underground Distribution Lines and Feeders - Rental Paid | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5096 | Other Rent (Distribution) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5095 | Overhead Distribution Lines and Feeders - Rental Paid | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal: Operation | 1995035 | 2063979.2939 | 1855100.5823 | 1854772.2621 | 1892124.4195 | 1930238.5254 | 1973313.2606 | Formula | 5096 | Other Rent | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5105 | Maintenance Supervision and Engineering | 0 | 143140.3706 | 128766.3982 | 131346.9635 | 134117.2198 | 136945.8908 | 140132.4763 |  |  | Distribution Expenses - Maintenance
|  |  | 5110 | Maintenance of Buildings and Fixtures | 6135 | 8343.6 | 8510.472 | 8689.1919 | 8871.6649 | 9057.9699 | 9248.1873 |  | 5105 | Maintenance Supervision and Engineering | 143140.3706 | 128766.3982 | 131346.9635 | 134117.2198 | 136945.8908 | 140132.4763
|  |  | 5112 | Maintenance of Transformer Station Equipment | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5110 | Maintenance of Structures | 8343.6 | 8510.472 | 8689.1919 | 8871.6649 | 9057.9699 | 9248.1873
|  |  | 5114 | Maintenance of Distribution Station Equipement | 222637 | 230166.836 | 234742.1727 | 239422.4478 | 244406.7936 | 249495.0272 | 254469.6887 |  | 5112 | Maintenance of Transformer Station Equipment | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5120 | Maintenance of Poles, Towers and Fixtures | 473782 | 517478.6632 | 627499.0365 | 639533.6601 | 652146.7301 | 665009.9662 | 678498.5231 |  | 5114 | Mtaint Dist Stn Equip | 230166.836 | 234742.1727 | 239422.4478 | 244406.7936 | 249495.0272 | 254469.6887
|  |  | 5125 | Maintenance of Overhead Conductors and Devices | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5120 | Maintenance of Poles, Towers and Fixtures | 517478.6632 | 627499.0365 | 639533.6601 | 652146.7301 | 665009.9662 | 678498.5231
|  |  | 5130 | Maintenance of Overhead Services | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5125 | Maintenance of Overhead Conductors and Devices | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5135 | Overhead Distribution Lines and Feeders - Right of Way | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5130 | Maintenance of Overhead Services | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5145 | Maintenance of Underground Conduit | 263546 | 252702.9774 | 257931.1089 | 263288.0443 | 268926.2502 | 274678.7753 | 280364.2252 |  | 5135 | Overhead Distribution Lines and Feeders - Right of Way | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5150 | Maintenance of Underground Conductors and Devices | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5145 | Maintenance of Underground Conduit | 252702.9774 | 257931.1089 | 263288.0443 | 268926.2502 | 274678.7753 | 280364.2252
|  |  | 5155 | Maintenance of Underground Services | 53728 | 54802.611 | 55898.6632 | 57016.6365 | 58213.9859 | 59436.4796 | 60625.2091 |  | 5150 | Maintenance of Underground Conductors and Devices | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5160 | Maintenance of Line Transformers | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5155 | Maintenance of Underground Services | 54802.611 | 55898.6632 | 57016.6365 | 58213.9859 | 59436.4796 | 60625.2091
|  |  | 5175 | Maintenance of Meters | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5160 | Maintenance of Line Transformers | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal: Maintenance | 1019828 | 1206635.0582 | 1313347.8515 | 1339296.9441 | 1366682.6445 | 1394624.1089 | 1423338.3098 | Formula | 5165 | Maintenance of Street Lighting and Signal Systems | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5305 | Supervision (Billing and Collection) | 146431.22 | 141910.088 | 145880.2607 | 148818.2304 | 151946.8332 | 155141.2051 | 158388.5415 |  | 5170 | Sentinel Lights - Labour | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5310 | Meter Reading Expense | 442134 | 460293.5032 | 469314.2517 | 432164.1228 | 440958.6405 | 449932.7999 | 459039.6608 |  | 5172 | Sentinel Lights - Materials and Expenses | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5315 | Customer Billing | 1138471 | 1205196.2948 | 1228072.2207 | 1251894.8433 | 1276279.1462 | 1301141.2275 | 1326490.5034 |  | 5175 | Maintenance of Meters | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5320 | Collecting | 197590.68 | 269097.7748 | 274283.0303 | 279650.875 | 285221.196 | 290903.0583 | 296698.7066 |  | 5178 | Customer Installations Expenses - Leased Property | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5325 | Collecting - Cash Over and Short | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5195 | Maintenance of Other Installations on Customer Premises | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5330 | Collection Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Other Expenses
|  |  | 5340 | Miscellaneous Customer Account Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5205 | Purchase of Transmission and System Services | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Subtotal : Billing and Collections | 1924626.9 | 2076497.6608 | 2117549.7633 | 2112528.0715 | 2154405.8159 | 2197118.2909 | 2240617.4123 | Formula | 5210 | Transmission Charges | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5405 | Supervision (Community Relations) | 142301.87 | 157586.2525 | 160737.9775 | 163973.0198 | 167419.8732 | 170939.179 | 174537.1231 |  | 5215 | Transmission Charges Recovered | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5410 | Community Relations - Sundry | 174481 | 197191.07 | 190417.4202 | 194214.3828 | 198179.3465 | 202225.5377 | 206354.6255 |  |  | Billing and Collecting
|  |  | 5420 | Community Safety Program | 141415.26 | 148923.61 | 189161.4072 | 193060.8169 | 197118.5141 | 201261.4912 | 205505.4588 |  | 5305 | Supervision | 141910.088 | 145880.2607 | 148818.2304 | 151946.8332 | 155141.2051 | 158388.5415
|  |  | 5425 | Miscellaneous Customer Service and Informational Expenses | 693492.25 | 869886.6996 | 887263.4336 | 905101.0843 | 924099.5029 | 943496.7794 | 963301.289 |  | 5310 | Meter Reading Expense | 460293.5032 | 469314.2517 | 432164.1228 | 440958.6405 | 449932.7999 | 459039.6608
|  |  |  | Subtotal: Community Relations | 1151690.38 | 1373587.632 | 1427580.2385 | 1456349.3038 | 1486817.2367 | 1517922.9874 | 1549698.4963 | Formula | 5315 | Customer Billing | 1205196.2948 | 1228072.2207 | 1251894.8433 | 1276279.1462 | 1301141.2275 | 1326490.5034
|  |  | 5605 | Executive Salaries and Expenses | 995134.22 | 955092.76 | 896530.6728 | 914906.8205 | 934119.8637 | 953736.3809 | 974054.9153 |  | 5320 | Collecting | 269097.7748 | 274283.0303 | 279650.875 | 285221.196 | 290903.0583 | 296698.7066
|  |  | 5610 | Management Salaries and Expenses | 1032197.02 | 1006075.3907 | 1027496.074 | 1048240.4863 | 1070284.3166 | 1092791.6828 | 1115999.9408 |  | 5325 | Collecting - Cash Over and Short | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5615 | General Administrative Salaries and Expenses | 968306 | 1077982.8269 | 1046098.7822 | 1151578.8908 | 1175206.0569 | 1199325.1308 | 1224248.2201 |  | 5330 | Collection Charges | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5620 | Office Supplies | 369892.76 | 602330.08 | 614376.6816 | 627254.9397 | 640427.2934 | 653876.2666 | 667582.519 |  | 5335 | Bad Debt Expense | 446604 | 455536.08 | 465102.3377 | 474869.4868 | 484841.746 | 495023.4227
|  |  | 5625 | Administrative Expense Transferred - Credit | -198299 | -179384.04 | -182971.7208 | -186631.1552 | -190550.4095 | -194551.9681 | -198443.0074 |  | 5340 | Miscellaneous Customer Accounts Expenses | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5630 | Outside Services Employed | 279563 | 259602.46 | 264794.5092 | 270355.1939 | 276032.653 | 281829.3387 | 287747.7548 |  |  | Community Relations
|  |  | 5640 | Injuries and Damages | 201481 | 209500.8 | 213690.816 | 218178.3231 | 222760.0679 | 227438.0293 | 232214.228 |  | 5405 | Supervision | 157586.2525 | 160737.9775 | 163973.0198 | 167419.8732 | 170939.179 | 174537.1231
|  |  | 5645 | OMERS Pensions and Benefits | 922515 | 981032.3116 | 998897.8284 | 1019779.0667 | 1041204.6871 | 1063080.4507 | 1085415.8147 |  | 5410 | Community Relations - Sundry | 197191.07 | 190417.4202 | 194214.3828 | 198179.3465 | 202225.5377 | 206354.6255
|  |  | 5646 | Employee Pensions and OPEB | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5415 | Energy Conservation | 123943.902 | 125863.215 | 128395.418 | 128391.5282 | 131091.2387 | 133847.7129
|  |  | 5647 | Employee Sick Leave | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5420 | Community Safety Program | 148923.61 | 189161.4072 | 193060.8169 | 197118.5141 | 201261.4912 | 205505.4588
|  |  | 5650 | Franchise Requirements | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5425 | Miscellaneous Customer Service and Informational Expenses | 869886.6996 | 887263.4336 | 905101.0843 | 924099.5029 | 943496.7794 | 963301.289
|  |  | 5655 | Regulatory Expenses | 403300 | 152558.14 | 415032.2667 | 420859.2417 | 426808.5831 | 432882.8608 | 439084.6983 |  |  | Sales Expenses
|  |  | 5665 | Miscellaneous General Expenses | 169994.82 | 163269.08 | 166534.4616 | 170031.6853 | 173602.3507 | 177248 | 180970.2081 |  | 5505 | Supervision | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5670 | Rent (Administrative and General) | 329633 | 335258.52 | 341963.6904 | 349144.9279 | 356476.9714 | 363962.9878 | 371606.2105 |  | 5510 | Demonstrating and Selling Expense | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5672 | Lease Payment Expense | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5515 | Advertising Expense | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5675 | Maintenance of General Plant | 941314 | 891534.84 | 908763.9658 | 926877.0694 | 945406.3541 | 964307.9213 | 983533.6328 |  | 5520 | Miscellaneous Sales Expense | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 5680 | Electrical Safety Authority Fees | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Administrative and General Expenses
|  |  |  | Sutotal: A&G Expenses | 6415031.82 | 6454853.1691 | 6711208.0279 | 6930575.4901 | 7071778.7884 | 7215927.0818 | 7364015.1348 | Formula | 5605 | Executive Salaries and Expenses | 955092.76 | 896530.6728 | 914906.8205 | 934119.8637 | 953736.3809 | 974054.9153
|  |  | 5635 | Property Insurance | 101037 | 99376.56 | 101364.0912 | 103492.7371 | 105666.0846 | 107885.0724 | 110150.6589 |  | 5610 | Management Salaries and Expenses | 1006075.3907 | 1027496.074 | 1048240.4863 | 1070284.3166 | 1092791.6828 | 1115999.9408
|  |  | 6210 | Life Insurance | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5615 | General Administrative Salaries and Expenses | 1077982.8269 | 1046098.7822 | 1151578.8908 | 1175206.0569 | 1199325.1308 | 1224248.2201
|  |  |  | Subtotal: Insurance | 101037 | 99376.56 | 101364.0912 | 103492.7371 | 105666.0846 | 107885.0724 | 110150.6589 | Formula | 5620 | Office Supplies and Expenses | 602330.08 | 614376.6816 | 627254.9397 | 640427.2934 | 653876.2666 | 667582.519
|  |  | 5515 | Advertinsing | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5625 | Administrative Expense Transferred-Credit | -179384.04 | -182971.7208 | -186631.1552 | -190550.4095 | -194551.9681 | -198443.0074
|  |  |  | Subtotal Advertising | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Formula | 5630 | Outside Services Employed | 259602.46 | 264794.5092 | 270355.1939 | 276032.653 | 281829.3387 | 287747.7548
|  |  | 2A | Total of Above Accounts Used for Benchmarking | 12607249.1 | 13274929.3741 | 13526150.5547 | 13797014.8086 | 14077474.9896 | 14363716.0667 | 14661133.2727 | Formula | 5635 | Property Insurance | 99376.56 | 101364.0912 | 103492.7371 | 105666.0846 | 107885.0724 | 110150.6589
[13 empty] | 5640 | Injuries and Damages | 209500.8 | 213690.816 | 218178.3231 | 222760.0679 | 227438.0293 | 232214.228
|  | Adjustments to OM&A for Benchmarking | [10 empty] | 5645 | OMERS Pensions and Benefits (IAS 19) | 981032.3116 | 998897.8284 | 1019779.0667 | 1041204.6871 | 1063080.4507 | 1085415.8147
|  |  |  | 5014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Formula | 5646 | Employee Pensions and OPEB (IAS 19) | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 5015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Formula | 5647 | Employee Sick Leave (IAS 19) | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 5112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Formula | 5650 | Franchise Requirements | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 2B | Subtotal: HV Adjustment (to subtract from cost) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Formula | 5655 | Regulatory Expenses | 152558.14 | 415032.2667 | 420859.2417 | 426808.5831 | 432882.8608 | 439084.6983
|  |  | 2C | LV Adjustment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enter Values | 5660 | General Advertising Expenses | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5665 | Miscellaneous Expenses | 163269.08 | 166534.4616 | 170031.6853 | 173602.3507 | 177248 | 180970.2081
[13 empty] | 5670 | Rent | 335258.52 | 341963.6904 | 349144.9279 | 356476.9714 | 363962.9878 | 371606.2105
[13 empty] | 5672 | Lease Payment Expense | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5675 | Maintenance of General Plant | 891534.84 | 908763.9658 | 926877.0694 | 945406.3541 | 964307.9213 | 983533.6328
[13 empty] | 5680 | Electrical Safety Authority Fees | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5681 | MEI Special Purpose Charge | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5685 | Independent Market Operator Fees and Penalties | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5695 | OM&A Contra Account | 0 | 0 | 0 | 0 | 0 | 0
Amortization Expense
[13 empty] | 5705 | Amortization Expense - Property, Plant and Equipment | 5881374.0767 | 6134262.9234 | 6220678.7573 | 6664196.7523 | 7109404.0023 | 7552494.3773
[13 empty] | 5710 | Amortization of Limited Term Electric Plant | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5715 | Amortization of Intangibles and Other Electric Plant | 82734.1 | 82734.1 | 0 | 0 | 0 | 0
[13 empty] | 5720 | Amortization of Electric Plant Acquisition Adjustments | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5725 | Miscellaneous Amortization | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5730 | Amortization of Unrecovered Plant and Regulatory Study Costs | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 5740 | Amortization of Deferred Charges | 0 | 0 | 0 | 0 | 0 | 0
Interest Expense
[13 empty] | 6005 | Interest on Long Term Debt | 2271765.497 | 2593205.223 | 2792005.36 | 3127450.36 | 3448450.36 | 3673150.36
[13 empty] | 6010 | Amortization of Debt Discount and Expense | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6015 | Amortization of Premium on Debt-Credit | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6020 | Amortization of Loss on Reacquired Debt | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6025 | Amortization of Gain on Reacquired Debt-Credit | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6030 | Interest on Debt to Associated Companies | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6035 | Other Interest Expense | 173125.68 | 173125.68 | 173125.68 | 173125.68 | 173125.68 | 173125.68
[13 empty] | 6040 | Allowance for Borrowed Funds Used During Construction-Credit | -302682.6 | -302682.6 | -302682.6 | -302682.6 | -302682.6 | -302682.6
[13 empty] | 6042 | Allowance for Other Funds Used During Construction | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6045 | Interest Expense on Capital Lease Obligations | 0 | 0 | 0 | 0 | 0 | 0
Taxes
[13 empty] | 6105 | Taxes Other Than Income Taxes | 149114.2386 | 152096.5234 | 155290.5504 | 168472.5268 | 172010.4499 | 175622.6693
[13 empty] | 6110 | Income Taxes | 0 | 0 | 0 | 0 | 61811.7398 | 195607.2808
[13 empty] | 6115 | Provision for Future Income Taxes | 0 | 0 | 0 | 0 | 0 | 0
Other Deductions
[13 empty] | 6205 | Donations | 33916.1725 | 34373.5738 | 35408.1314 | 32478.7569 | 38787.4598 | 38787.4598
[13 empty] | 6210 | Life Insurance | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6215 | Penalties | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6225 | Other Deductions | 0 | 0 | 0 | 0 | 0 | 0
Unusual Items
[13 empty] | 6305 | Extraordinary Income | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6310 | Extraordinary Deductions | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 6315 | Income Taxes, Extraordinary Items | 0 | 0 | 0 | 0 | 0 | 0
Discontinued Operations
[13 empty] | 6405 | Discontinued Operations - Income/Gains
[13 empty] | 6410 | Discontinued Operations - Deductions/Losses
[13 empty] | 6415 | Income Taxes - Discontinued Operations
Other Comprehensive Income
[13 empty] | 7005 | Available-for-Sale Financial Asset or Cash Flow Hedge – Other Comp. Income
[13 empty] | 7010 | Pension Actuarial Gains/Losses/Re-measurement Adj. - Other Comp. Income
[13 empty] | 7020 | Current Taxes – Other Comprehensive Income
[13 empty] | 7025 | Deferred Taxes – Other Comprehensive Income
[13 empty] | 7030 | Miscellaneous - Other Comprehensive Income
Other Accounts

## Benchmarking Calculations
Benchmarking Calculations for LDC Forecasting
| Selected LDC: |  |  | Oshawa PUC Networks Inc.
Forecasted Values
| Line Reference Number |  | Row Number on 2.1.7 | Account | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Section 1: Source Data and OM&A Calculations
| 1 | OM&A Data (Detail may be hidden or expanded using the +/- buttons to the left of the row numbers)
| 2 | 5005 | 2 | Operation Supervision and Engineering | 2019: 813329
| 3 | 5010 | 3 | Load Dispatching | 2019: 0
| 4 | 5012 | 4 | Station Buildings and Fixtures | 2019: 46046
| 5 | 5014 | 5 | Transformer Station Equipment - Operation Labor | 2019: 0
| 6 | 5015 | 6 | Transformer Station Equipment - Operation Supplies and Expenses | 2019: 0
| 7 | 5016 | 7 | Distribution Station Equipment - Operation Labor | 2019: 0
| 8 | 5017 | 8 | Distribution Station Equipment - Operation Supplies and Expenses | 2019: 0
| 9 | 5020 | 9 | Overhead Distribution Lines and Feeders - Operation Labor | 2019: 748270
| 10 | 5025 | 10 | Overhead Distribution Lines and Feeders - Operation Supplies and Expenses | 2019: -407467
| 11 | 5035 | 11 | Overhead Distribution Transformers - Operation | 2019: 0
| 12 | 5040 | 12 | Underground Distribution Lines and Feeders - Operation Labor | 2019: 35723
| 13 | 5045 | 13 | Underground Distribution Lines and Feeders - Operation Supplies and Expenses | 2019: 3182
| 14 | 5055 | 14 | Overhead Distribution Lines and Feeders | 2019: 0
| 15 | 5065 | 15 | Meter Expense | 2019: 651051
| 16 | 5070 | 16 | Customer Premises - Operation Labor | 2019: 0
| 17 | 5075 | 17 | Customer Premises - Operation Materials and Supplies | 2019: 0
| 18 | 5085 | 18 | Miscellaneous Distribution Expense | 2019: 104901
| 19 | 5090 | 19 | Underground Distribution Lines and Feeders - Rental Paid | 2019: 0
| 20 | 5095 | 20 | Overhead Distribution Lines and Feeders - Rental Paid | 2019: 0
| 21 | 5096 | 21 | Other Rent (Distribution) | 2019: 0
| 22 |  |  | Subtotal: Operation | 2019: 1995035
| 23 | 5105 | 22 | Maintenance Supervision and Engineering | 2019: 0
| 24 | 5110 | 23 | Maintenance of Buildings and Fixtures | 2019: 6135
| 25 | 5112 | 24 | Maintenance of Transformer Station Equipment | 2019: 0
| 26 | 5114 | 25 | Maintenance of Distribution Station Equipement | 2019: 222637
| 27 | 5120 | 26 | Maintenance of Poles, Towers and Fixtures | 2019: 473782
| 28 | 5125 | 27 | Maintenance of Overhead Conductors and Devices | 2019: 0
| 29 | 5130 | 28 | Maintenance of Overhead Services | 2019: 0
| 30 | 5135 | 29 | Overhead Distribution Lines and Feeders - Right of Way | 2019: 0
| 31 | 5145 | 30 | Maintenance of Underground Conduit | 2019: 263546
| 32 | 5150 | 31 | Maintenance of Underground Conductors and Devices | 2019: 0
| 33 | 5155 | 32 | Maintenance of Underground Services | 2019: 53728
| 34 | 5160 | 33 | Maintenance of Line Transformers | 2019: 0
| 35 | 5175 | 34 | Maintenance of Meters | 2019: 0
| 36 |  |  | Subtotal: Maintenance | 2019: 1019828
| 37 | 5305 | 35 | Supervision (Billing and Collection) | 2019: 146431.22
| 38 | 5310 | 36 | Meter Reading Expense | 2019: 442134
| 39 | 5315 | 37 | Customer Billing | 2019: 1138471
| 40 | 5320 | 38 | Collecting | 2019: 197590.68
| 41 | 5325 | 39 | Collecting - Cash Over and Short | 2019: 0
| 42 | 5330 | 40 | Collection Charges | 2019: 0
| 43 | 5340 | 41 | Miscellaneous Customer Account Expenses | 2019: 0
| 44 |  |  | Subtotal : Billing and Collections | 2019: 1924626.9
| 45 | 5405 | 42 | Supervision (Community Relations) | 2019: 142301.87
| 46 | 5410 | 43 | Community Relations - Sundry | 2019: 174481
| 47 | 5420 | 44 | Community Safety Program | 2019: 141415.26
| 48 | 5425 | 45 | Miscellaneous Customer Service and Informational Expenses | 2019: 693492.25
| 49 |  |  | Subtotal: Community Relations | 2019: 1151690.38
| 50 | 5605 | 47 | Executive Salaries and Expenses | 2019: 995134.22
| 51 | 5610 | 48 | Management Salaries and Expenses | 2019: 1032197.02
| 52 | 5615 | 49 | General Administrative Salaries and Expenses | 2019: 968306
| 53 | 5620 | 50 | Office Supplies | 2019: 369892.76
| 54 | 5625 | 51 | Administrative Expense Transferred - Credit | 2019: -198299
| 55 | 5630 | 52 | Outside Services Employed | 2019: 279563
| 56 | 5640 | 53 | Injuries and Damages | 2019: 201481
| 57 | 5645 | 54 | OMERS Pensions and Benefits | 2019: 922515
| 58 | 5646 | 55 | Employee Pensions and OPEB | 2019: 0
| 59 | 5647 | 56 | Employee Sick Leave | 2019: 0
| 60 | 5650 | 57 | Franchise Requirements | 2019: 0
| 61 | 5655 | 58 | Regulatory Expenses | 2019: 403300
| 62 | 5665 | 59 | Miscellaneous General Expenses | 2019: 169994.82
| 63 | 5670 | 60 | Rent (Administrative and General) | 2019: 329633
| 64 | 5672 | 61 | Lease Payment Expense | 2019: 0
| 65 | 5675 | 62 | Maintenance of General Plant | 2019: 941314
| 66 | 5680 | 63 | Electrical Safety Authority Fees | 2019: 0
| 67 |  |  | Sutotal: A&G Expenses | 2019: 6415031.82
| 68 | 5635 | 64 | Property Insurance | 2019: 101037
| 69 | 6210 | 65 | Life Insurance | 2019: 0
| 70 |  |  | Subtotal: Insurance | 2019: 101037
| 71 | 5515 | 46 | Advertinsing | 2019: 0
| 72 |  |  | Subtotal Advertising | 2019: 0
| 73 |  |  | Total of Above Accounts Used for Benchmarking | 2019: 12607249.1
74
| 75 | Adjustments to OM&A for Benchmarking
| 76 |  |  | 5014 | 2019: 0
| 77 |  |  | 5015 | 2019: 0
| 78 |  |  | 5112 | 2019: 0
| 79 |  |  | Subtotal: HV Adjustment (to subtract from cost) | 2019: 0
| 80 |  |  | LV Adjustment | 2019: 0
| 81 |  |  | Total Adjusted OM&A Expense | 12607249.1 | 13274929.3741 | 13526150.5547 | 13797014.8086 | 14077474.9896 | 14363716.0667 | 14661133.2727
82
| 83 | Gross Capital Cost Additions Data
| 84 |  |  | Total Gross Capital Additions | 29297557.62 | 18551000 | 16492500 | 15977000 | 15636000 | 15412000 | 15298000
| 85 |  |  | HV Gross Capital Additions | 0 | 0 | 0 | 0 | 0 | 0 | 0
86
| 87 | Output and Other Business Conditions
| 88 |  |  | Number of Customers | 59183 | 60196.3682 | 61007.8967 | 61978.75 | 62965.75 | 63967.75 | 64986.75
| 89 |  |  | Delivery Volume | 1044351259 | 1078000816.8114 | 1075667737.2425 | 1068775790.2028 | 1068774836.5597 | 1072509116.7463 | 1075338157.6557
| 90 |  |  | Annual Peak Demand | 213296 | 213296 | 213296 | 213296 | 213296 | 213296 | 213296
| 91 |  |  | Distribution Circuit km | 1010 | 1010 | 1010 | 1010 | 1010 | 1010 | 1010
92
93
Section 2: Actual Cost Calculations
| 94 | Actual Cost
95
| 96 | OM&A |  |  | 12607249.1 | 13274929.3741 | 13526150.5547 | 13797014.8086 | 14077474.9896 | 14363716.0667
97
| 98 | Capital
| 99 |  |  | Rate of Return | 6.018% | 5.32% | 5% | 5% | 5% | 5% | 5%
| 100 |  |  | Depreciation Rate | 4.59% | 4.59% | 4.59% | 4.59% | 4.59% | 4.59% | 4.59%
| 101 |  |  | Construction Cost Index | 173.4162 | 176.9194 | 180.4934 | 184.1397 | 187.8595 | 191.6545 | 195.5262
| 102 |  |  | Capital Price | 18.1933 | 17.3463 | 17.1306 | 17.4767 | 17.8297 | 18.1899 | 18.5574
| 103 |  |  | Gross Plant Additions | 29297557.62 | 18551000 | 16492500 | 15977000 | 15636000 | 15412000 | 15298000
| 104 |  |  | HV Capital Additions | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 105 |  |  | Quantity of Capital Additions | 168943.6077 | 104855.637 | 91374.5099 | 86765.6677 | 83232.4063 | 80415.5246 | 78240.1485
| 106 |  |  | Quantity of Capital Removed | 52119.9648 | 57482.17 | 59656.6121 | 61112.4636 | 62289.9457 | 63251.2046 | 64039.0469
| 107 |  |  | Capital Quantity | 1252334.8582 | 1299708.3252 | 1331426.2229 | 1357079.427 | 1378021.8876 | 1395186.2075 | 1409387.309
| 108 |  |  | Capital Cost | 22784127.5909 | 22545187.211 | 22808157.7654 | 23717246.0139 | 24569764.681 | 25378324.4448 | 26154535.8436
109
| 110 | Total Actual Cost |  |  | 35391376.6909 | 35820116.5851 | 36334308.3201 | 37514260.8226 | 38647239.6706 | 39742040.5115 | 26154535.8436
Section 3: Predicted Cost Calculations
| 111 | Predicted Cost
112
| 113 |  |  | Output Quantity
| 114 |  |  | Number of Customers | 59183 | 60196.3682 | 61007.8967 | 61978.75 | 62965.75 | 63967.75 | 64986.75
| 115 |  |  | Delivery Volume | 1044351259 | 1078000816.8114 | 1075667737.2425 | 1068775790.2028 | 1068774836.5597 | 1072509116.7463 | 1075338157.6557
| 116 |  |  | Annual Peak Demand | 213296 | 213296 | 213296 | 213296 | 213296 | 213296 | 213296
| 117 |  |  | Capacity Proxy | 234849 | 234849 | 234849 | 234849 | 234849 | 234849 | 234849
118
| 119 |  |  | Input Prices
| 120 |  |  | GDP IPI [30% Weight] | 112.375 | 114.6451 | 116.9611 | 119.3239 | 121.7344 | 124.1936 | 126.7025
| 121 |  |  | Average Hourly Earnings [70% Weight] | 1049.668 | 1092.5382 | 1097.5456 | 1119.8424 | 1143.5694 | 1167.7999 | 1192.5446
| 122 |  |  | OM&A Price Index Growth [30% GDPIPI growth + 70% AWE Growth] | 2.488% | 3.402% | 0.9201% | 2.008% | 2.068% | 2.068% | 2.068%
| 123 |  |  | OM&A Price Index Level | 152.3238 | 157.5951 | 159.0518 | 162.2775 | 165.6678 | 169.129 | 172.6625
124
| 125 |  |  | Capital Price Index | 18.1933 | 17.3463 | 17.1306 | 17.4767 | 17.8297 | 18.1899 | 18.5574
126
| 127 |  |  | Business Conditions
| 128 |  |  | Line km | 1010 | 1010 | 1010 | 1010 | 1010 | 1010 | 1010
| 129 |  |  | 2002-2013 Average Line km | 1124.8333 | 1117.1778 | 1110.4792 | 1104.5686 | 1099.3148 | 1094.3529 | 1089.6666
| 130 |  |  | Customers Ten Years Ago | 2019: 52184
| 131 |  |  | Ten Year Customer Growth Percentage | 13.41% | 11% | 11.13% | 11.13% | 11.13% | 11.13% | 11.13%
132
| 133 | (Details of the predicted cost calculations may be hidden by using the +/- button to the left of row 248)
134
| 135 | Company Values for Variables Used in the Prediction Equation
136
| 137 |  |  | Constant | bar: 2019 to Forecasted Values 2025
| 138 |  |  | Capital Price / OM&A Price (WK) | 0.11944 | 0.11007 | 0.1077 | 0.1077 | 0.10762 | 0.10755 | 0.10748
| 139 |  |  | Customers (Y1) | 59183 | 60196.3682 | 61007.8967 | 61978.75 | 62965.75 | 63967.75 | 64986.75
| 140 |  |  | Capacity (Y2) | 234849 | 234849 | 234849 | 234849 | 234849 | 234849 | 234849
| 141 |  |  | Deliveries (Y3) | 1044351259 | 1078000816.8114 | 1075667737.2425 | 1068775790.2028 | 1068774836.5597 | 1072509116.7463 | 1075338157.6557
| 142 |  |  | Average Line Length | 1124.8333 | 1117.1778 | 1110.4792 | 1104.5686 | 1099.3148 | 1094.3529 | 1089.6666
| 143 |  |  | Customers Added in last 10 years | 13.41% | 11% | 11.13% | 11.13% | 11.13% | 11.13% | 11.13%
| 144 |  |  | Trend | 13 | 14 | 15 | 16 | 17 | 18 | 19
145
146
| 147 | Company-Specific Parameter Estimates*
| 148 |  | 91 | Constant | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195
| 149 |  | 92 | Capital Price / OM&A Price (WK) | 0.62689 | 0.62689 | 0.62689 | 0.62689 | 0.62689 | 0.62689 | 0.62689
| 150 |  | 93 | Customers (Y1) | 0.45682 | 0.45682 | 0.45682 | 0.45682 | 0.45682 | 0.45682 | 0.45682
| 151 |  | 94 | Capacity (Y2) | 0.15097 | 0.15097 | 0.15097 | 0.15097 | 0.15097 | 0.15097 | 0.15097
| 152 |  | 95 | Deliveries (Y3) | 0.10513 | 0.10513 | 0.10513 | 0.10513 | 0.10513 | 0.10513 | 0.10513
| 153 |  | 96 | WKWK | 0.1251 | 0.1251 | 0.1251 | 0.1251 | 0.1251 | 0.1251 | 0.1251
| 154 |  | 97 | Y1Y1 | -0.40599 | -0.40599 | -0.40599 | -0.40599 | -0.40599 | -0.40599 | -0.40599
| 155 |  | 98 | Y2Y2 | 0.18599 | 0.18599 | 0.18599 | 0.18599 | 0.18599 | 0.18599 | 0.18599
| 156 |  | 99 | Y3Y3 | 0.15717 | 0.15717 | 0.15717 | 0.15717 | 0.15717 | 0.15717 | 0.15717
| 157 |  | 100 | WKY1 | 0.053226 | 0.053226 | 0.053226 | 0.053226 | 0.053226 | 0.053226 | 0.053226
| 158 |  | 101 | WKY2 | 0.010146 | 0.010146 | 0.010146 | 0.010146 | 0.010146 | 0.010146 | 0.010146
| 159 |  | 102 | WKY3 | 3.9914e-05 | 3.9914e-05 | 3.9914e-05 | 3.9914e-05 | 3.9914e-05 | 3.9914e-05 | 3.9914e-05
| 160 |  | 103 | Y1Y2 | 0.15315 | 0.15315 | 0.15315 | 0.15315 | 0.15315 | 0.15315 | 0.15315
| 161 |  | 104 | Y1Y3 | 0.086219 | 0.086219 | 0.086219 | 0.086219 | 0.086219 | 0.086219 | 0.086219
| 162 |  | 105 | Y2Y3 | -0.20895 | -0.20895 | -0.20895 | -0.20895 | -0.20895 | -0.20895 | -0.20895
| 163 |  | 106 | Average Line Length | 0.28465 | 0.28465 | 0.28465 | 0.28465 | 0.28465 | 0.28465 | 0.28465
| 164 |  | 107 | Customers Added in last 10 years | 0.015967 | 0.015967 | 0.015967 | 0.015967 | 0.015967 | 0.015967 | 0.015967
| 165 |  | 108 | Trend | 0.016953 | 0.016953 | 0.016953 | 0.016953 | 0.016953 | 0.016953 | 0.016953
166
| 167 | Sample Mean Values
168
| 169 |  |  | Constant | bar: 13 to 19
| 170 |  |  | Capital Price / OM&A Price (WK) | 0.1644 | 0.1644 | 0.1644 | 0.1644 | 0.1644 | 0.1644 | 0.1644
| 171 |  |  | Customers (Y1) | 63422.3118 | 63422.3118 | 63422.3118 | 63422.3118 | 63422.3118 | 63422.3118 | 63422.3118
| 172 |  |  | Capacity (Y2) | 345129.0146 | 345129.0146 | 345129.0146 | 345129.0146 | 345129.0146 | 345129.0146 | 345129.0146
| 173 |  |  | Deliveries (Y3 | 1630327994.0633 | 1630327994.0633 | 1630327994.0633 | 1630327994.0633 | 1630327994.0633 | 1630327994.0633 | 1630327994.0633
| 174 |  |  | WKWK | bar: 13 to 19
| 175 |  |  | Y1Y1 | bar: 13 to 19
| 176 |  |  | Y2Y2 | bar: 13 to 19
| 177 |  |  | Y3Y3 | bar: 13 to 19
| 178 |  |  | WKY1 | bar: 13 to 19
| 179 |  |  | WKY2 | bar: 13 to 19
| 180 |  |  | WKY3 | bar: 13 to 19
| 181 |  |  | Y1Y2 | bar: 13 to 19
| 182 |  |  | Y1Y3 | bar: 13 to 19
| 183 |  |  | Y2Y3 | bar: 13 to 19
| 184 |  |  | Average Line Length | 2722.798 | 2722.798 | 2722.798 | 2722.798 | 2722.798 | 2722.798 | 2722.798
| 185 |  |  | Customers Added in last 10 years | 0.1286 | 0.1286 | 0.1286 | 0.1286 | 0.1286 | 0.1286 | 0.1286
186
187
188
| 189 | 2013 Values Logged and Mean Scaled (where applicable)
190
| 191 |  |  | Constant | bar: 13 to 19
| 192 |  |  | Capital Price / OM&A Price (WK) | -0.3195 | -0.40119 | -0.42291 | -0.42299 | -0.42366 | -0.42434 | -0.42502
| 193 |  |  | Customers (Y1) | -0.069181 | -0.052204 | -0.038812 | -0.023024 | -0.0072248 | 0.0085633 | 0.024368
| 194 |  |  | Capacity (Y2) | -0.38498 | -0.38498 | -0.38498 | -0.38498 | -0.38498 | -0.38498 | -0.38498
| 195 |  |  | Deliveries (Y3) | -0.44539 | -0.41367 | -0.41584 | -0.42227 | -0.42227 | -0.41878 | -0.41615
| 196 |  |  | WKWK | 0.05104 | 0.080479 | 0.089426 | 0.089459 | 0.089746 | 0.090033 | 0.09032
| 197 |  |  | Y1Y1 | 0.002393 | 0.0013626 | 0.0007532 | 0.00026506 | 2.6099e-05 | 3.6665e-05 | 0.00029689
| 198 |  |  | Y2Y2 | 0.074103 | 0.074103 | 0.074103 | 0.074103 | 0.074103 | 0.074103 | 0.074103
| 199 |  |  | Y3Y3 | 0.099184 | 0.085563 | 0.086461 | 0.089155 | 0.089155 | 0.087688 | 0.086589
| 200 |  |  | WKY1 | 0.022104 | 0.020944 | 0.016414 | 0.0097389 | 0.0030609 | -0.0036338 | -0.010357
| 201 |  |  | WKY2 | 0.123 | 0.15445 | 0.16281 | 0.16284 | 0.1631 | 0.16336 | 0.16362
| 202 |  |  | WKY3 | 0.1423 | 0.16596 | 0.17586 | 0.17861 | 0.1789 | 0.17771 | 0.17687
| 203 |  |  | Y1Y2 | 0.026633 | 0.020097 | 0.014942 | 0.0088637 | 0.0027814 | -0.0032967 | -0.009381
| 204 |  |  | Y1Y3 | 0.030812 | 0.021595 | 0.01614 | 0.0097223 | 0.0030508 | -0.0035862 | -0.010141
| 205 |  |  | Y2Y3 | 0.17146 | 0.15925 | 0.16009 | 0.16256 | 0.16256 | 0.16122 | 0.16021
| 206 |  |  | Average Line Length | -0.88403 | -0.89085 | -0.89687 | -0.90221 | -0.90697 | -0.9115 | -0.91579
| 207 |  |  | Customers Added in last 10 years | 104.3% | 85.56% | 86.59% | 86.59% | 86.59% | 86.59% | 86.59%
| 208 |  |  | Trend | 13 | 14 | 15 | 16 | 17 | 18 | 19
209
| 210 | Product of Parameter and 2013 Values
211
| 212 |  |  | Constant | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195 | 12.8195
| 213 |  |  | Capital Price / OM&A Price (WK) | -0.20029 | -0.25151 | -0.26512 | -0.26517 | -0.26559 | -0.26602 | -0.26644
| 214 |  |  | Customers (Y1) | -0.031604 | -0.023848 | -0.01773 | -0.010518 | -0.0033005 | 0.0039119 | 0.011132
| 215 |  |  | Capacity (Y2) | -0.058121 | -0.058121 | -0.058121 | -0.058121 | -0.058121 | -0.058121 | -0.058121
| 216 |  |  | Deliveries (Y3) | -0.046824 | -0.04349 | -0.043717 | -0.044393 | -0.044393 | -0.044027 | -0.04375
| 217 |  |  | WKWK | 0.0063853 | 0.010068 | 0.011187 | 0.011192 | 0.011227 | 0.011263 | 0.011299
| 218 |  |  | Y1Y1 | -0.00097154 | -0.0005532 | -0.00030579 | -0.00010761 | -1.0596e-05 | -1.4886e-05 | -0.00012053
| 219 |  |  | Y2Y2 | 0.013782 | 0.013782 | 0.013782 | 0.013782 | 0.013782 | 0.013782 | 0.013782
| 220 |  |  | Y3Y3 | 0.015589 | 0.013448 | 0.013589 | 0.014012 | 0.014012 | 0.013782 | 0.013609
| 221 |  |  | WKY1 | 0.0011765 | 0.0011148 | 0.00087365 | 0.00051836 | 0.00016292 | -0.00019341 | -0.00055124
| 222 |  |  | WKY2 | 0.0012479 | 0.001567 | 0.0016518 | 0.0016521 | 0.0016548 | 0.0016574 | 0.00166
| 223 |  |  | WKY3 | 5.6797e-06 | 6.6242e-06 | 7.0193e-06 | 7.1291e-06 | 7.1405e-06 | 7.0929e-06 | 7.0595e-06
| 224 |  |  | Y1Y2 | 0.0040788 | 0.0030778 | 0.0022883 | 0.0013574 | 0.00042596 | -0.00050487 | -0.0014367
| 225 |  |  | Y1Y3 | 0.0026566 | 0.0018619 | 0.0013916 | 0.00083825 | 0.00026304 | -0.00030919 | -0.00087431
| 226 |  |  | Y2Y3 | -0.035827 | -0.033276 | -0.03345 | -0.033967 | -0.033967 | -0.033687 | -0.033475
| 227 |  |  | Average Line Length | -0.25164 | -0.25358 | -0.2553 | -0.25681 | -0.25817 | -0.25946 | -0.26068
| 228 |  |  | Customers Added in last 10 years | 0.016653 | 0.013661 | 0.013825 | 0.013825 | 0.013825 | 0.013825 | 0.013825
| 229 |  |  | Trend | 0.22039 | 0.23734 | 0.25429 | 0.27125 | 0.2882 | 0.30515 | 0.32211
230
| 231 |  |  | Log of Predicted Total Cost / OM&A Price | 12.4761 | 12.451 | 12.4586 | 12.4788 | 12.4995 | 12.5205 | 12.5414
| 232 |  |  | Real Predicted Total Cost / OM&A Price | 262010.556 | 255507.8216 | 257456.9263 | 262708.117 | 268192.774 | 273896.6301 | 279687.1021
| 233 |  |  | OM&A Price | 152.3238 | 157.5951 | 159.0518 | 162.2775 | 165.6678 | 169.129 | 172.6625
| 234 |  |  | Predicted Total Cost | 39910431.9589 | 40266777.9304 | 40948987.2291 | 42631624.749 | 44430904.866 | 46323853.2125 | 48291482.1018
235
236
Section 4: Benchmarking Results
| 237 | Actual Cost |  |  | 35391376.6909 | 35820116.5851 | 36334308.3201 | 37514260.8226 | 38647239.6706 | 39742040.5115 | 26154535.8436
| 238 | Predicted Cost |  |  | 39910431.9589 | 40266777.9304 | 40948987.2291 | 42631624.749 | 44430904.866 | 46323853.2125 | 48291482.1018
| 239 | Actual less Predicted Cost |  |  | -4519055.268 | -4446661.3453 | -4614678.909 | -5117363.9264 | -5783665.1955 | -6581812.701 | -22136946.2581
| 240 | Percentage Difference (Arithmetic for Comparison) |  |  | -11.32% | -11.04% | -11.27% | -12% | -13.02% | -14.21% | -45.84%
241
| 242 | Percent Difference (Logarithmic) |  |  | -12.02% | -11.7% | -11.96% | -12.79% | -13.95% | -15.32% | -61.32%

## Results
Summary of Cost Benchmarking Results
Oshawa PUC Networks Inc.
|  |  | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
|  |  | (History) | (Bridge) | (Test Year)
Cost Benchmarking Summary
| Actual Total Cost |  | 35391376.6909 | 35820116.5851 | 36334308.3201 | 37514260.8226 | 38647239.6706 | 39742040.5115
| Predicted Total Cost |  | 39910431.9589 | 40266777.9304 | 40948987.2291 | 42631624.749 | 44430904.866 | 46323853.2125
| Difference |  | -4519055.268 | -4446661.3453 | -4614678.909 | -5117363.9264 | -5783665.1955 | -6581812.701
| Percentage Difference (Cost Performance) |  | -12.02% | -11.7% | -11.96% | -12.79% | -13.95% | -15.32%
| Three-Year Average Performance |  |  |  | -11.89% | -12.15% | -12.9% | -14.02%
Stretch Factor Cohort
|  | Annual Result | 2 | 2 | 2 | 2 | 2 | 2
|  | Three Year Average |  |  | 2 | 2 | 2 | 2