## 5-A Metrics
File Number:
|  | Exhibit: | DSP
|  | Tab: | IR Response
|  | Schedule: | 2-Staff-17
|  | Page: | IR Response
|  | Date: | 2021-02-08
Appendix 5-A
Metrics
Metric Category | Metric | Measures
|  | 1 Year | 5 Year Average
Cost | Total Cost per Customer1 | 330.7321 | 386.014
| Total Cost per km of Line2 | 6101.0529 | 14497.6893
| Total Cost per MW3 | 76171.6086 | 88167.0173
CAPEX | Total CAPEX per Customer | 168.2171 | 216.8158
| Total CAPEX per km of Line | 3103.1202 | 8324.7322
O&M | Total O&M per Customer | 162.515 | 169.1982
| Total O&M per km of Line | 2997.9327 | 6172.9572
Notes to the Table:
1 The Total Cost per Customer is the sum of a distributor's capital and O&M costs divided by the total number of customers that the distributor serves.
2 The Total Cost per km of Line is the sum of a distributor's capital and O&M costs divided by the total number of kilometers of line that the distributor operates to serve its customers.
3 The Total Cost per MW is the sum of the distributor's capital and O&M costs divided by the total peak MW that the distributor serves.
Explanatory Notes on Adverse Deviations (complete only if applicable)
Metric Name:
Total Cost per Customer 1 Year is above 5-year average because 2017 & 2018 O&M expenses included lower labour costs as discussed in Exhibit 4
Metric Name:
Metrics with km of line for 1 Year are lower than 5-year average because in 2019, the utility reported to the OEB the length of primary overhead and underground lines (as per previous years) as well as the length of secondary overhead & underground lines. The inclusion of secondary line results in the total line length increasing from 79 km to 208 km.
This is because the average includes significant CapEx projects completed in 2016 (2nd-line 44kv feeder) and in 2018 (replacement substation).
Metric Name:
Metric Name: