## Appendix 2-AA (2015-2020)
OEB Filing Requirements Chapter 2 - Appendix 2-AA
Capital Projects Table
Projects | 2015 | 2016 | 2017 | 2018 | 2019 Bridge Year | 2020 Test Year
Reporting Basis
SYSTEM ACCESS
Residential Additions | 534.5029 | 551.2595 | 607.1949 | 118.1109 | 906.7608 | 338
VIVA Yonge St. Relocation | 79.6951 | 1945.4392 | 1012.6882 | 44 | -734.3784
Metering | 154.0929 | 182.963 | 276.3258 | 127.6929 | 57.9558 | 610
Metrolinx Rail Electrification | 0 | 0 | 0 | 0 | 410.9071 | 0
CN Rail - Signal Light Additions | 0 | 0 | 228.3631 | 0 | 0 | 0
Miscellaneous Service Upgrades | 53.5701 | 47.0091 | 18.6823 | 0 | 6.4829 | 0
Pole Relocation - Park Ave | 0 | 0 | 0 | 102.4643 | 0 | 0
Srigley Street Rebuild | 98.1419 | 3.3231 | 0 | 0 | 0 | 0
VIVA Davis Dr. Relocation | 22.2143 | 74.3232 | 0 | 0 | 0 | 0
Yonge St. – Davis to Green Lane | 0 | 0 | 0 | 0 | 83.4972 | 0
Commercial/Industrial Additions | 127.7363 | 2.0886 | 74.9123 | 27.2428 | 14.4563 | 150
Electric Bus Charger Project | 0 | 0 | 0 | 40.6743 | -185.0297 | 229
Sub-Total | 1069.9536 | 2806.4056 | 2218.1665 | 460.1852 | 560.652 | 1327
SYSTEM RENEWAL
Planned Transformer Replacements | 643.5898 | 264.1155 | 363.4927 | 200.9014 | 297.0313 | 1032
Planned Pole Replacements | 205.0797 | 81.2 | 104.4041 | 105.3213 | 270.7073 | 218
Unplanned Pole Replacements | 122.1002 | 58.1121 | 80.1308 | 50.5536 | 49.0081 | 0
Switch Replacements | 46.4601 | 5.9411 | 25.5791 | 131.5883 | 127.0373 | 151
Poleline Rebuild - Hwy 12 | 0 | 0 | 0 | 0 | 280.8096 | 0
Miscellaneous O/H Upgrades | 146.4044 | 27.4 | 71.6275 | 30.7111 | 81.8546 | 35
Miscellaneous U/G Upgrades | 153.2553 | 0 | 32.5486 | 0 | 0 | 28
Walter and Sheldon Rebuild | 149.6756 | 0 | 0 | 0 | 0 | 0
Poleline Rebuild - Huron Heights | 0 | 0 | 0 | 0 | 101.9828 | 32
Poleline Rebuild - Lindsay | 0 | 0 | 0.16307 | 79.6396 | 0.01865 | 0
King St. Pole Line Upgrade (Elizabeth to Yonge) | 0 | 102.6 | 0 | 0 | 0 | 0
King St. Pole Line Upgrade (Galloway to Robert) | 0 | 124.2 | 0 | 0 | 0 | 0
Sixth Street Poleline Upgrade - Victoria to Hugel | 0 | 0 | 122.2 | 0 | 0 | 0
Bayshore / Bay St. Poleline Relocation | 0 | 0 | 193.7 | 0 | 0 | 0
Borsa Lane Pole Line - Bayshore to Easy St. | 0 | 0 | 0 | 260.7 | 101 | 0
Bay St. Pole Line Upgrade | 0 | 0 | 0 | 157 | 0 | 0
Thoms – primary cable replacement | 0.14776 | 0 | 0 | 0 | 0 | 0
William Roe – primary cable replacement | 0.1847 | 0 | 0 | 0 | 0 | 0
Hodgson – primary cable replacement | 0.11082 | 0 | 0 | 0 | 0 | 0
Sandford – primary cable replacement | 0.07388 | 0 | 0 | 0 | 0 | 0
Poleline Rebuild - Hillview | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 127
Poleline Rebuild - Bogart | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 75
Poleline Rebuild - Simcoe & Talbot | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 101
Glen Eagles Cres – primary cable replacement | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 330
Glen Mhor Cres – primary cable replacement | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 282
Substation Renewal/Repairs | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 307
DS Power Transformer Replacement | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 0.07388 | 800
Sub-Total | 1467.5994 | 664.0858 | 994.3629 | 1016.9325 | 1309.9668 | 3518
SYSTEM SERVICE
New Substation Lands – Davis Dr. | 1674.5242 | 0 | 0 | 0 | 0 | 0
Miscellaneous Substation Upgrades | 184.5512 | 102.7029 | 7.174 | 121.52 | 127.9229 | 0
Feeder tie - Davis Dr | 0 | 0 | 0 | 0 | 0 | 0
Sub-Total | 1859.0755 | 102.7029 | 7.174 | 121.52 | 127.9229 | 0
GENERAL PLANT
Holland TS 5 Year True Up | 8180 | 0 | 0 | 0 | 0 | 0
Leasehold Improvements | 230.7662 | 74.805 | 740.3264 | 508.7406 | 258.7605 | 340
Miscellaneous Computer Software | 123.5182 | 77.8394 | 314.7831 | 100.9441 | 124.4879 | 300
Miscellaneous Computer Hardware | 70.8221 | 49.888 | 146.3268 | 229.9449 | 178.2698 | 360
New Vehicles and Fleet | 120.3799 | 310.7951 | 653.6868 | 32.445 | 8.875 | 1034
Financial Management System upgrade | 0 | 0 | 222.3654 | 0 | 0 | 0
CIS upgrade | 0 | 0 | 144.5599 | 0 | 0 | 0
Sub-Total | 8725.4864 | 513.3275 | 2222.0483 | 872.0745 | 570.3932 | 2034
Miscellaneous | 400 | 190 | 711 | 383 | 511 | 232
Total | 13522.1149 | 4276.5219 | 6152.7517 | 2853.7122 | 3079.935 | 7111
Less Renewable Generation Facility Assets and Other Non-Rate-Regulated Utility Assets (input as negative)
Total | 13522.1149 | 4276.5219 | 6152.7517 | 2853.7122 | 3079.935 | 7111

## Appendix 2-AA (2020-2024)
OEB Filing Requirements Chapter 2 - Appendix 2-AA
Capital Projects Table
Projects | 2020 | 2021 | 2022 | 2023 | 2024
Reporting Basis
SYSTEM ACCESS
Residential Additions | 337.75 | 351 | 351 | 351 | 351
Commercial/Industrial Additions | 379.298 | 150 | 150 | 150 | 150
Metering | 610 | 632.75 | 381.45 | 856.65 | 583.15
Yonge St. - Davis to Green Lane Plant Relocation | 0 | 661 | 1713 | 1120 | 0
Sub-Total | 1327.048 | 1794.75 | 2595.45 | 2477.65 | 1084.15
SYSTEM RENEWAL
Planned Pole Replacements | 217.5 | 502.5 | 600 | 600 | 600
Planned Padmount Transformer Replacements | 1032 | 835 | 472.5 | 472.5 | 472.5
Planned Polemount Transformer Replacements | 0 | 137.5 | 137.5 | 137.5 | 137.5
Planned Padmount Switchgear Replacements | 70 | 70 | 105 | 70 | 105
Overhead Poleline Rebuild – Hillview | 127 | 0 | 0 | 0 | 0
Overhead Poleline Rebuild – Bogart | 75 | 0 | 0 | 0 | 0
Overhead Poleline Rebuild – Simcoe & Talbot | 101.5 | 0 | 0 | 0 | 0
Overhead Poleline Rebuild – Huron Hts Dr | 32 | 0 | 0 | 0 | 0
Overhead Poleline Rebuild – Old Fort Road | 0 | 140 | 0 | 0 | 0
UG Cable Replacement - Glen Eagles Cres | 329.9 | 0 | 0 | 0 | 0
UG Cable Replacement - Glen Mhor Cres & Howard St | 282.1 | 0 | 0 | 0 | 0
UG Cable Replacement - Glen Bogie Cres | 0 | 288.7 | 31.3 | 0 | 0
UG Cable Replacement - Quaker Hills Ph 1 | 0 | 0 | 528 | 0 | 0
UG Cable Replacement - Playfair Rd & Margaret | 0 | 0 | 220 | 0 | 0
UG Cable Replacement - Dominion Ave | 0 | 0 | 179.2 | 30.3 | 0
UG Cable Replacement - Penetanguishene Rd | 0 | 0 | 0 | 308 | 0
UG Cable Replacement - Quaker Hills Ph 2 | 0 | 0 | 0 | 669.6 | 446.4
UG Cable Replacement - Quaker Hills Ph 3 | 0 | 0 | 0 | 0 | 720
Annual DS Upgrades/Repairs | 307.5 | 37.5 | 147.5 | 37.5 | 37.5
DS Power Transformer Replacements | 800 | 500 | 500 | 500 | 0
Sub-Total | 3374.5 | 2511.2 | 2921 | 2825.4 | 2518.9
SYSTEM SERVICE
Station Relay Upgrades | 0 | 500 | 500 | 500 | 500
Remote Operable Switch | 0 | 150 | 0 | 0 | 0
M7 Feeder tie - Davis Dr | 0 | 270 | 0 | 0 | 0
PM and VH Station Tie - William St Rebuild | 0 | 0 | 120 | 0 | 0
Waubaushene DS feeder extension (W of Tanner) | 0 | 0 | 150 | 0 | 0
SCADA Switches | 0 | 0 | 60 | 60 | 60
Backup Resiliency (Lorne Ave, Queen to Park) | 0 | 0 | 0 | 0 | 80
Triple Bay Station Tie | 0 | 0 | 0 | 0 | 60
Sub-Total | 0 | 920 | 830 | 560 | 700
GENERAL PLANT
Holland TS Capital Contribution | 0 | 6100 | 0 | 0 | 0
Leasehold Improvements and Office Furniture | 340 | 350 | 150 | 150 | 150
Replacement of Fleet Equipment | 1034.2 | 390 | 170 | 260 | 520
IT Hardware and Software | 660 | 1000 | 1000 | 1000 | 1000
Sub-Total | 2034.2 | 7840 | 1320 | 1410 | 1670
Miscellaneous | 375.65 | 405.95 | 345.03 | 254.95 | 364.96
Total | 7111.398 | 13471.9 | 8011.48 | 7528 | 6338.01
Less Renewable Generation Facility Assets and Other Non-Rate-Regulated Utility Assets (input as negative)
Total | 7111.398 | 13471.9 | 8011.48 | 7528 | 6338.01