## Sheet1
Distribution System Plan Projects 2021 - 2025 (with 2026 outlook) - REVISED
Initial Planning Table
Costs shown below are only for magnitude to compare against target budget. HHHI shall development actual budgets for Distribution System Plan.
Project/ Program Name | OEB Category | Budget Year ($) - NET to HHHI |  |  | 2022 |  |  | 2023 |  |  | 2024 |  |  | 2025
2021
|  | Construction | Work in Progress | Additions | Construction | Work in Progress | Additions | Construction | Work in Progress | Additions | Construction | Work in Progress | Additions | Construction | Work in Progress | Additions
Metering Residential/ Interval | System Access | 211685 |  | 211685 | 191684 |  | 191684 | 191684 |  | 191684 | 191684 |  | 191684 | 191684 |  | 191684
Wholesale Metering | System Access | 20000 |  | 20000 | [9 empty] | 35000 |  | 35000
Make Ready Work | System Access | 1622 |  | 1622 | 2292.57 |  | 2292.57 | 2407.1985 |  | 2407.1985 | 2527.5584 |  | 2527.5584 | 2653.9363 |  | 2653.9363
Technical Service Layouts | System Access | 147325 |  | 147325 | 151008.125 |  | 151008.125 | 154783.3281 |  | 154783.3281 | 158652.9113 |  | 158652.9113 | 162619.2341 |  | 162619.2341
Trafalgar Road (Steeles Avenue to 5 Sdrd - Carryover from 2020) | System Access | 933812 |  | 933812
Trafalgar Road (5 Sdrd to 10 Sdrd), Construction 2021/ 2022 | System Access |  | 2851 |  | 471551.85 |  | 474402.85 | 518707.035 |  | 518707.035
Trafalgar Road (10 Sdrd to 15 Sdrd), Design 2022, Construction 2023/ 2024 | System Access |  |  |  |  | 6132 |  | 298256.5451 |  | 304388.5451 | 298256.5451 |  | 298256.5451
Trafalgar Road (15 Sdrd to Highway #7), Design 2023, Construction 2024 | System Access | [7 empty] | 6132 |  | 622448.442 |  | 628580.442 | 622448.442 |  | 622448.442
WCB/ 10 Sdrd Intersection - Region PR-2114 (construction 2021 per Triton Engineering and Region of Peel) | System Access | 3255 |  | 3255 | 10220 |  | 10220 | 347028.33 |  | 347028.33
WCB (Old Pine Crest Road to River Drive) - Region PR-2236 (construction 2021 per Dec. 4, 2018 PUCC). | System Access |  |  |  |  | 10220 |  | 152868 |  | 163088 | 159000 |  | 159000
Highway 25/ 5 Side Road (Campbellville Road) - Round-about (Region) | System Access | [7 empty] | 8040 |  | 90450 |  | 98490
Wye-Delta Service Upgrades | System Access | 79774 |  | 79774 | 81369.48 |  | 81369.48 | 82996.8696 |  | 82996.8696 | 84656.807 |  | 84656.807 | 86349.9431 |  | 86349.9431
Net Meter/ BESS Projects | System Access | -5525 |  | -5525 | 500 |  | 500 | 500 |  | 500 | 500 |  | 500 | 500 |  | 500
Pole Replacements Program | System Renewal | 616548 |  | 616548 | 647375.4 |  | 647375.4 | 679744.17 |  | 679744.17 | 713731.3785 |  | 713731.3785 | 749417.9474 |  | 749417.9474
Pole Replacements (Rail Tracks in Acton, Young St. to Main Street) - Design | System Renewal |  | 7651 |  |  |  | 7651
Acton Poletrans Phase 2 (Division/ Claire/ Rosemary) | System Renewal | 784474 |  | 784474 | 785157 |  | 785157
Poletrans (Chelton) - Put services on Padmount Tx. | System Renewal |  | 24820 |  |  | 5000 | 24820 | 130000 |  | 159820
Poletrans Design (Wright/ Gould) (construction 2026) | System Renewal | [13 empty] | 50000
Poletrans Design/Construction (Holmesway Place) | System Renewal | [7 empty] | 35000 |  | 382177.106 |  | 417177.106
Defective Transformer Replacement Program | System Renewal | 82844 |  | 82844 | 85329.32 |  | 85329.32 | 87889.1996 |  | 87889.1996 | 90525.8756 |  | 90525.8756 | 93241.6519 |  | 93241.6519
Porcelain Insulator Replacement Program | System Renewal | 51459 |  | 51459 | 53002.77 |  | 53002.77 | 54592.8531 |  | 54592.8531 | 56230.6387 |  | 56230.6387 | 57917.5579 |  | 57917.5579
Live-Front Transformer (Design & Construction) | System Renewal | 118151 |  | 118151 | 0 |  | 0 | 100000 |  | 100000 |  |  |  | 100000 |  | 100000
Vault Transformers | System Renewal |  | 21796 |  | 350000 |  | 371796 |  |  |  |  | 30000 |  | 250000 |  | 280000
Church Street, Acton (Eastern Avenue to Main Street) - Design/Construction | System Renewal | [7 empty] | 25000 |  | 360500 |  | 385500
Switching Kiosk Replacement, Ontario Street (C09K268) CAP17-110 | System Renewal |  |  |  |  | 2920 |  | 32076 |  | 34996
Willow MS Transformer Replacement | System Renewal | 601580 |  | 601580
Queen MS Switchgear Replacement | System Renewal |  | 13817 |  | 646493 |  | 660310
Queen MS Riser Rebuild & Undersized Neutral | System Renewal | [6 empty] | 125684 |  | 125684
Beardmore MS Switchgear (4.16kV) | System Renewal |  |  |  |  | 53760 |  | 40000 |  | 93760
Ballinafad MS Transformer | System Renewal | [7 empty] | 76760 |  |  |  |  | 600000 |  | 676760
Mountainview MS Switchgear (4.16kV) - construction 2026 | System Renewal | [10 empty] | 83760
Norval MS Transformer | System Renewal | [13 empty] | 74760
Line Recloser/ Renewal | System Renewal | 38950 |  | 38950 | 39729 |  | 39729 | 40523.58 |  | 40523.58 | 41334.0516 |  | 41334.0516 | 42160.7326 |  | 42160.7326
Prince Charles Drive Rebuild (Edward St to Windsor Road) | System Renewal | [10 empty] | 8760 |  | 256543.46 |  | 265303.46
Prince Charles Drive Reconductor (Gibbons Pl. to Delrex Blvd.) | System Renewal | [10 empty] | 8760 |  | 151363.64 |  | 160123.64
27.6kV Conversion Program (Construction 2021 - 6th Line (5 Sdrd to 10 Sdrd) - Spread over 2 years. | System Service | 448606 |  | 448606 | 436385 |  | 436385
27.6kV Conversion Program (Construction 2023 - 6th Line, 10 Sdrd to 15 Sdrd) | System Service |  |  |  |  | 45000 |  | 574000 |  | 619000
27.6kV Conversion Program (Construction 2024 - 10 Sdrd, Ashgrove MS to Hydro One Transmission) | System Service | [7 empty] | 45000 |  | 250000 |  | 295000
27.6kV Conversion Program (Design for 2026 - 15 Sdrd, east of 6th Line to 5th Line) | System Service | [13 empty] | 45000
27.6kV Conversion Program (Construction 2025 - 5th Line, 10 Sdrd to 15 Sdrd) | System Service | [10 empty] | 45000 |  | 597189.6 |  | 642189.6
Chantelay Court (4.8kV to 16.0kV Voltage Conversion) Design for 2026 | System Service | [13 empty] | 50000
Automated Scada-Mate Switch/ Viper Deployment Program | System Service | [6 empty] | 80000 |  | 80000 | 90000 |  | 90000
Hornby Road Voltage Conversions | System Service |  | 15302 |  | 200000 |  | 215302 |  |  |  | 0 |  | 0
Automated 46kV Load-Break Switch Deployment Program | System Service |  |  |  | 100000 |  | 100000 |  |  |  | 105000 |  | 105000
Ballinafad MS (MS #1) - Back-up Station Service from 8th Line | System Service | [6 empty] | 12720 |  | 12720
Norval PMU Communication | System Service | 27628 |  | 27628
Cross MS Egress Rebuild INC F4 (Construction) | System Service | 186770 |  | 186770 | 186770 |  | 186770
River MS F4 Egress, Commissioning, and 15F4 Routing (Construction - 2023) | System Service | [6 empty] | 211770 |  | 211770
Elbow Arrester Program | System Service |  |  |  | 20000 |  | 20000 | 20000 |  | 20000 | 20000 |  | 20000 | 20000 |  | 20000
Lightning Arrester Installation Program, 27.6kV (4 locations per year, 3 per location for 3-Phase). | System Service |  |  |  | 16672 |  | 16672 | 18339.2 |  | 18339.2 | 20173.12 |  | 20173.12 | 22190.432 |  | 22190.432
FCI Installation Program | System Service | [6 empty] | 20000 |  | 20000 | 20000 |  | 20000 | 20000 |  | 20000
Scada Integration of Switches, FCI's, and Reclosers | System Service | 203566 |  | 203566 | 100000 |  | 100000 | 120000 |  | 120000 | 100000 |  | 100000 | 105000 |  | 105000
27.6kV 2nd Cct (1M5) for Vision Georgetown (8th Line, 15 Sdrd) (2023 Design - 2024 Construction) | System Service | [10 empty] | 30000 |  | 240000 |  | 270000
Feeder 19F2 Rebuild (Armstrong Avenue, MS #19 to Guelph Street) | System Service |  |  |  |  | 5840 |  | 307380 |  | 313220
Feeder 17F4 - Sargent Road (Mountainview to Delrex) & Undersized Neutral. | System Service | [9 empty] | 103784 |  | 103784
Feeder 13F4 - Guelph Street/ Mill Street. | System Service | [7 empty] | 15000 |  | 183568 |  | 198568
ESRI Upgrade and Migration | General Plant |  |  |  |  | 50000 |  |  |  |  | 105000 |  | 155000
New Plotter, Engineering | General Plant |  |  |  | 18000 |  | 18000
Vehicles - Matt | General Plant | 495000 |  | 495000 | 225000 |  | 225000 | 290000 |  | 290000 | 255000 |  | 255000 | 395000 |  | 395000
Tools (Operations) - Mike | General Plant | 30000 |  | 30000 | 40000 |  | 40000 | 40000 |  | 40000 | 40000 |  | 40000 | 40000 |  | 40000
Scada Host Server Upgrade/ Refresh | General Plant | 30551 |  | 30551
Scada Hostb Server at MTS #1 | General Plant | 19506 |  | 19506
New Mail Insertion Machine - Need Project Sheet from Kate. | General Plant | [6 empty] | 85000 |  | 85000
Admin/ Finance Furniture Upgrades | General Plant | 10000 |  | 10000 | 75000 |  | 75000
Business Intelligent Tools and a workflow solution to add on to GP - Ravi | General Plant | [9 empty] | 100000 |  | 100000
Building Capital Repairs - Garage Roof 2021 | General Plant | 60000 |  | 60000
Network Switch Replacement | General Plant | 183000 |  | 183000
iSeries Disk Upgrade | General Plant |  |  |  | 10960 |  | 10960
WLAN Upgrade | General Plant |  |  |  | 7460 |  | 7460
SCADA Hardware | General Plant |  |  |  | 12920 |  | 12920
PC Replacements | General Plant |  |  |  | 36880 |  | 36880
Camera System Upgrade | General Plant |  |  |  | 42920 |  | 42920
Web Development (Floating-Point / Savage/ SilverBlaze) | General Plant |  |  |  | 7500 |  | 7500
Misc Software Licensing | General Plant |  |  |  | 10000 |  | 10000
Electronic DMS Letters | General Plant |  |  |  | 22920 |  | 22920
Sonicwall Analytics | General Plant |  |  |  | 6460 |  | 6460
SCADA Software | General Plant |  |  |  | 5000 |  | 5000
CentralSquare HTML5 Upgrade | General Plant |  |  |  | 9380 |  | 9380
Furniture (IT) | General Plant |  |  |  | 2000 |  | 2000 | 2000 |  | 2000 | 2000 |  | 2000
Backup Server Replacement | General Plant | [6 empty] | 41880 |  | 41880
UPS Replacement | General Plant | [6 empty] | 20730 |  | 20730
SCADA Hardware | General Plant | [6 empty] | 12920 |  | 12920
PC Replacements | General Plant | [6 empty] | 36880 |  | 36880
Operations Printer Replacement | General Plant | [6 empty] | 10730 |  | 10730
SCADA Room AC Unit | General Plant | [6 empty] | 5000 |  | 5000
CentralSquare Modifications | General Plant | [6 empty] | 7500 |  | 7500
Web Development (Floating-Point / Savage / SilverBlaze) | General Plant | [6 empty] | 7500 |  | 7500
Misc Software Licensing | General Plant | [6 empty] | 10000 |  | 10000
Call Reporting / Call Recording | General Plant | [6 empty] | 15000 |  | 15000
SCADA Software | General Plant | [6 empty] | 5000 |  | 5000
Host Server Replacement | General Plant | [9 empty] | 36880 |  | 36880
iSeries Replacement | General Plant | [9 empty] | 66000 |  | 66000
PC Replacements | General Plant | [9 empty] | 39380 |  | 39380
CentralSquare Modifications | General Plant | [9 empty] | 7500 |  | 7500
Web Development (Floating-Point / Savage / SilverBlaze) | General Plant | [9 empty] | 7500 |  | 7500
Misc Software Licensing | General Plant | [9 empty] | 10000 |  | 10000
Data Centre Licensing | General Plant | [9 empty] | 25000 |  | 25000
Host Server Replacement x 2 | General Plant | [12 empty] | 46880 |  | 46880
PC Replacements | General Plant | [12 empty] | 39380 |  | 39380
Phone System | General Plant | [12 empty] | 46880 |  | 46880
Computer Room AC Replacement | General Plant | [12 empty] | 25000 |  | 25000
CentralSquare Modifications | General Plant | [12 empty] | 7500 |  | 7500
Web Development (Floating-Point / Savage / SilverBlaze) | General Plant | [12 empty] | 7500 |  | 7500
Misc Software Licensing | General Plant | [12 empty] | 10000 |  | 10000
Power Quality Data Logger (2021 or 2022 or 2023) - ITM or Candura for Pricing. | General Plant | [6 empty] | 16800 |  | 16800
Total Spend/ Recoverable |  | 5380581 | 86237 | 5380581 | 5107939.515 | 178872 | 5194176.515 | 5010890.3091 | 210932 | 5164582.3091 | 4839460.4343 | 206280 | 5023632.4343 | 5024420.5774 | 219760 | 5223700.5774
Notes: