## Sheet1
Asset Class | Population | Health Index Distribution (%) |  |  |  |  | Average Health Index | Average DAI | Asset Class | Population | Health Index Distribution (Units) |  |  |  |  | Average Health Index | Average DAI
|  | Very Good | Good | Fair | Poor | Very Poor |  |  |  |  | Very Good | Good | Fair | Poor | Very Poor
Distribution | [8 empty] | Distribution
Distribution Wood Pole | 5955 | 34.54% | 19.81% | 36.83% | 7.32% | 1.5% | 73.49% | 39.57% | Distribution Wood Pole | 5955 | 2056.857 | 1179.6855 | 2193.2265 | 435.906 | 89.325 | 73.49% | 39.57%
Sub Transmission Only Wood Pole | 253 | 43.47% | 24.61% | 20.36% | 6.28% | 5.27% | 76.23% | 48.72% | Sub Transmission Only Wood Pole | 253 | 109.9791 | 62.2633 | 51.5108 | 15.8884 | 13.3331 | 76.23% | 48.72%
Sub Transmission with Underbuilt Distribution Wood Pole | 1077 | 46.79% | 23.57% | 21.83% | 7.23% | 0.59% | 78.49% | 49.96% | Sub Transmission with Underbuilt Distribution Wood Pole | 1077 | 503.9283 | 253.8489 | 235.1091 | 77.8671 | 6.3543 | 78.49% | 49.96%
Overhead Primary Conductor (m) | 407103 | 30.7% | 68.69% | 0% | 0.06% | 0.55% | 81.41% | 99.99% | Overhead Primary Conductor (m) | 407103 | 124980.621 | 279639.0507 | 0 | 244.2618 | 2239.0665 | 81.41% | 99.99%
Underground Primary Cable (m) | 115669 | 34.01% | 41.71% | 24.2% | 0.08% | 0% | 76.56% | 99.85% | Underground Primary Cable (m) | 115669 | 39339.0269 | 48245.5399 | 27991.898 | 92.5352 | 0 | 76.56% | 99.85%
Pole-Mount Transformer | 2419 | 20.46% | 19.17% | 39.63% | 12.44% | 8.3% | 60.88% | 97.77% | Pole-Mount Transformer | 2419 | 494.9274 | 463.7223 | 958.6497 | 300.9236 | 200.777 | 60.88% | 97.77%
Pad-Mount Transformer | 676 | 52.61% | 31.83% | 13.97% | 1.6% | 0% | 86.41% | 82.84% | Pad-Mount Transformer | 676 | 355.6436 | 215.1708 | 94.4372 | 10.816 | 0 | 86.41% | 82.84%
Vault Transformer | 52 | 3.88% | 8.74% | 60.19% | 13.59% | 13.59% | 98.08% | 51.75% | Vault Transformer | 52 | 2.0176 | 4.5448 | 31.2988 | 7.0668 | 7.0668 | 98.08% | 51.75%
Overhead Switch | 1341 | 73.68% | 7.9% | 4.4% | 8.35% | 5.67% | 84.93% | 81.56% | Overhead Switch | 1341 | 988.0488 | 105.939 | 59.004 | 111.9735 | 76.0347 | 84.93% | 81.56%
Station | [8 empty] | Station
Power Transformer | 21 | 76.19% | 19.05% | 4.76% | 0% | 0% | 88.47% | 98.75% | Power Transformer | 21 | 15.9999 | 4.0005 | 0.9996 | 0 | 0 | 88.47% | 98.75%
Switchgear | 8 | 75% | 12.5% | 12.5% | 0% | 0% | 92.71% | 100% | Switchgear | 8 | 6 | 1 | 1 | 0 | 0 | 92.71% | 100%
Recloser | 56 | 64.29% | 23.21% | 12.5% | 0% | 0% | 91.48% | 96.89% | Recloser | 56 | 36.0024 | 12.9976 | 7 | 0 | 0 | 91.48% | 96.89%
Protective Relays | 20 | 55% | 5% | 0% | 0% | 40% | 67.98% | 100% | Protective Relays | 20 | 11 | 1 | 0 | 0 | 8 | 67.98% | 100%
Station Switch | 14 | 42.86% | 57.14% | 0% | 0% | 0% | 87.23% | 100% | Station Switch | 14 | 6.0004 | 7.9996 | 0 | 0 | 0 | 87.23% | 100%
Buildings | 17 | 35.29% | 58.82% | 5.88% | 0% | 0% | 82.79% | 100% | Buildings | 17 | 5.9993 | 9.9994 | 0.9996 | 0 | 0 | 82.79% | 100%
Ground Grid | 17 | 47.06% | 23.53% | 23.53% | 5.88% | 0% | 76.81% | 100% | Ground Grid | 17 | 8.0002 | 4.0001 | 4.0001 | 0.9996 | 0 | 76.81% | 100%
534698
[9 empty] | Question CCC-20 c) |  | without c&c |  | 522772
[9 empty] | Total Assets in Poor Condition(%) | 0.2428% | 8.062%
[9 empty] | Total Assets in Very Poor Condition(%) | 0.4937% | 3.361%

## New Table
Asset Class | Population | Health Index Distribution (%) | [9 empty] | Average Health Index | Average DAI | Asset Class | Population | Health Index Distribution (Units) |  |  |  |  | Average Health Index | Average DAI
|  | Very Good |  | Good |  | Fair |  | Poor |  | Very Poor | [5 empty] | Very Good | Good | Fair | Poor | Very Poor
Distribution | [13 empty] | Distribution
Distribution Wood Pole | 5955 | 34.54% | 2056.857 | 19.81% | 1179.6855 | 36.83% | 2193.2265 | 7.32% | 435.906 | 1.5% | 89.325 | 73.49% | 39.57% | Distribution Wood Pole | 5955 | 2056.857 | 1179.6855 | 2193.2265 | 435.906 | 89.325 | 73.49% | 39.57%
Sub Transmission Only Wood Pole | 253 | 43.47% | 109.9791 | 24.61% | 62.2633 | 20.36% | 51.5108 | 6.28% | 15.8884 | 5.27% | 13.3331 | 76.23% | 48.72% | Sub Transmission Only Wood Pole | 253 | 109.9791 | 62.2633 | 51.5108 | 15.8884 | 13.3331 | 76.23% | 48.72%
Sub Transmission with Underbuilt Distribution Wood Pole | 1077 | 46.79% | 503.9283 | 23.57% | 253.8489 | 21.83% | 235.1091 | 7.23% | 77.8671 | 0.59% | 6.3543 | 78.49% | 49.96% | Sub Transmission with Underbuilt Distribution Wood Pole | 1077 | 503.9283 | 253.8489 | 235.1091 | 77.8671 | 6.3543 | 78.49% | 49.96%
Overhead Primary Conductor (m) | 407103 | 30.7% | 124980.621 | 68.69% | 279639.0507 | 0% | 0 | 0.06% | 244.2618 | 0.55% | 2239.0665 | 81.41% | 99.99% | Overhead Primary Conductor (m) | 407103 | 124980.621 | 279639.0507 | 0 | 244.2618 | 2239.0665 | 81.41% | 99.99%
Underground Primary Cable (m) | 115669 | 34.01% | 39339.0269 | 41.71% | 48245.5399 | 24.2% | 27991.898 | 0.08% | 92.5352 | 0% | 0 | 76.56% | 99.85% | Underground Primary Cable (m) | 115669 | 39339.0269 | 48245.5399 | 27991.898 | 92.5352 | 0 | 76.56% | 99.85%
Pole-Mount Transformer | 2419 | 20.46% | 494.9274 | 19.17% | 463.7223 | 39.63% | 958.6497 | 12.44% | 300.9236 | 8.3% | 200.777 | 60.88% | 97.77% | Pole-Mount Transformer | 2419 | 494.9274 | 463.7223 | 958.6497 | 300.9236 | 200.777 | 60.88% | 98.62%
Pad-Mount Transformer | 676 | 52.61% | 355.6436 | 31.83% | 215.1708 | 13.97% | 94.4372 | 1.6% | 10.816 | 0% | 0 | 86.41% | 82.84% | Pad-Mount Transformer | 676 | 355.6436 | 215.1708 | 94.4372 | 10.816 | 0 | 86.41% | 88.56%
Vault Transformer | 52 | 3.88% | 2.0176 | 8.74% | 4.5448 | 60.19% | 31.2988 | 13.59% | 7.0668 | 13.59% | 7.0668 | 98.08% | 51.75% | Vault Transformer | 52 | 2.0176 | 4.5448 | 31.2988 | 7.0668 | 7.0668 | 98.08% | 98.18%
Overhead Switch | 1341 | 73.68% | 988.0488 | 7.9% | 105.939 | 4.4% | 59.004 | 8.35% | 111.9735 | 5.67% | 76.0347 | 84.93% | 81.56% | Overhead Switch | 1341 | 988.0488 | 105.939 | 59.004 | 111.9735 | 76.0347 | 84.93% | 22.96%
Station | [13 empty] | Station
Power Transformer | 21 | 76.19% | 15.9999 | 19.05% | 4.0005 | 4.76% | 0.9996 | 0% | 0 | 0% | 0 | 88.47% | 98.75% | Power Transformer | 21 | 15.9999 | 4.0005 | 0.9996 | 0 | 0 | 88.47% | 98.75%
Switchgear | 8 | 75% | 6 | 12.5% | 1 | 12.5% | 1 | 0% | 0 | 0% | 0 | 92.71% | 100% | Switchgear | 8 | 6 | 1 | 1 | 0 | 0 | 92.71% | 100%
Recloser | 56 | 64.29% | 36.0024 | 23.21% | 12.9976 | 12.5% | 7 | 0% | 0 | 0% | 0 | 91.48% | 96.89% | Recloser | 56 | 36.0024 | 12.9976 | 7 | 0 | 0 | 91.48% | 96.89%
Protective Relays | 20 | 55% | 11 | 5% | 1 | 0% | 0 | 0% | 0 | 40% | 8 | 67.98% | 100% | Protective Relays | 20 | 11 | 1 | 0 | 0 | 8 | 67.98% | 100%
Station Switch | 14 | 42.86% | 6.0004 | 57.14% | 7.9996 | 0% | 0 | 0% | 0 | 0% | 0 | 87.23% | 100% | Station Switch | 14 | 6.0004 | 7.9996 | 0 | 0 | 0 | 87.23% | 100%
Buildings | 17 | 35.29% | 5.9993 | 58.82% | 9.9994 | 5.88% | 0.9996 | 0% | 0 | 0% | 0 | 82.79% | 100% | Buildings | 17 | 5.9993 | 9.9994 | 0.9996 | 0 | 0 | 82.79% | 100%
Ground Grid | 17 | 47.06% | 8.0002 | 23.53% | 4.0001 | 23.53% | 4.0001 | 5.88% | 0.9996 | 0% | 0 | 76.81% | 100% | Ground Grid | 17 | 8.0002 | 4.0001 | 4.0001 | 0.9996 | 0 | 76.81% | 100%
[14 empty] | Question CCC-20 c) |  | without conductors and cables
[14 empty] | Total Assets in Poor Condition(%) | 0.2428% | 8.062%
[14 empty] | Total Assets in Very Poor Condition(%) | 0.4937% | 3.361%