## 2021 Q1 Annual
Filed: May 27, 2021, EB-2020-0230, Exhibit C-1-1, Attachment 1, Page 1 of 1
2021 Q1 Reliability Outlook
Col | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Month | Ontario Demand (TWh) | Less Transmission Line Losses (TWh) | Rural Remote Settlement Demand (TWh) | Exports (TWh) | IESO Fee Submission Market Demand (TWh) | Embedded Generation (TWh) | IESO Fee Submission Market Demand Plus Embedded Generation (TWh) | Source
2003 | 151.7168 | 3.3378 | 148.379 | 6.2627 | 154.6417 | 1.661 | 156.3027 | Actual
2004 | 153.4373 | 3.3756 | 150.0617 | 9.4902 | 159.5519 | 1.7484 | 161.3003 | Actual
2005 | 156.969 | 3.4533 | 153.5157 | 10.1816 | 163.6973 | 1.8404 | 165.5377 | Actual
2006 | 151.0547 | 3.3232 | 147.7315 | 11.3882 | 159.1197 | 1.9426 | 161.0623 | Actual
2007 | 152.2051 | 3.3485 | 148.8566 | 12.2866 | 161.1432 | 1.6337 | 162.7769 | Actual
2008 | 148.6757 | 3.2709 | 145.4049 | 22.2007 | 167.6055 | 1.9496 | 169.5551 | Actual
2009 | 139.1635 | 3.0616 | 136.1019 | 15.0959 | 151.1979 | 1.9616 | 153.1594 | Actual
2010 | 142.2048 | 3.1285 | 139.0763 | 15.1655 | 154.2418 | 2.1734 | 156.4151 | Actual
2011 | 141.4738 | 3.1124 | 138.3614 | 12.8485 | 151.2099 | 2.8317 | 154.0416 | Actual
2012 | 141.287 | 3.1083 | 138.1787 | 14.6274 | 152.8061 | 3.1891 | 155.9952 | Actual
2013 | 140.7368 | 3.0962 | 137.6406 | 18.3094 | 155.95 | 4.2815 | 160.2315 | Actual
2014 | 139.8038 | 3.0757 | 136.7281 | 19.0733 | 155.8014 | 5.1353 | 160.9367 | Actual
2015 | 137.0118 | 3.0143 | 133.9975 | 22.6181 | 156.6156 | 6.0375 | 162.6531 | Actual
2016 | 136.9897 | 3.0138 | 133.976 | 21.8581 | 155.8341 | 6.3166 | 162.1506 | Actual
2017 | 132.091 | 2.906 | 129.185 | 19.0979 | 148.2829 | 6.3913 | 154.6742 | Actual
2018 | 137.4372 | 3.0236 | 134.4136 | 18.5909 | 153.0045 | 6.3487 | 159.3532 | Actual
2019 | 135.1015 | 2.9722 | 132.1292 | 19.7787 | 151.908 | 6.3582 | 158.2661 | Actual
2020 | 132.2254 | 2.3032 | 129.9222 | 20.3774 | 150.2996 | 6.8052 | 157.1048 | Actual
2021 | 132.4058 | 2.9129 | 129.4929 | 17.022 | 146.5149 | 6.8433 | 153.3583 | Forecast (4+8)1
2022 | 135.0553 | 2.9712 | 132.0841 | 17.4899 | 149.574 | 6.857 | 156.431 | Forecast
Col 1 | Ontario demand which is coicident loads plus the losses on the IESO-controlled grid. Measured in TWh
Col 2 | Transmission losses are estimated as 2.2% of Ontario demand. Measured in TWh
Col 3 | Ontario demand less transmission losses (Column 1 minus Column 2). Measured in TWh.
Col 4 | Exports of electricity. Forecasts are a three year average by month adjusted for wheeling. Measured in TWh.
Col 5 | The sum of Column 3 and Column 4. Measured in TWh.
Col 6 | Distribution connected non-Market Participant generation (Embedded Generation). Measures in TWh.
Col 7 | The sum of Column 5 and Column 6. Measured in TWh.
Col 8 | The source of the Ontario demand in Column 1. The IESO produces 18-Month Forecasts on a quarterly basis.
2021:Q1 Reiliability Outlook released March 2021 and covers the period April 2021 to September 2022
Notes
1) Number of months of actual data and number of months of forecast data.