## 2-G
[12 empty] | File Number: |  | EB-2021-0110 |  | 2022
[12 empty] | Exhibit: |  | TSP Section 2.5 Att. 2
Tab:
Schedule:
Page:
Date:
Appendix 2-G
Service Reliability and Quality Indicators
Service Reliability
Index | Including outages caused by loss of supply* |  |  |  |  | Excluding outages caused by loss of supply* |  |  |  |  | Excluding extraordinary events**
| 2016 | 2017 | 2018 | 2019 | 2020 | 2016 | 2017 | 2018 | 2019 | 2020 | 2016 | 2017 | 2018 | 2019 | 2020
T-SAIDI | [10 empty] | 80.7824 | 42.7664 | 69.95 | 38.9 | 61.3
T-SAIFI | [10 empty] | 0.79 | 1.1272 | 1.33 | 1.02 | 0.9
5 Year Historical Average
T-SAIDI | [14 empty] | 58.7
T-SAIFI | [14 empty] | 1.03
T-SAIDI = Transmission System Average Interruption Duration Index
T-SAIFI = Transmission System Average Interruption Frequency Index
* Not applicable to Transmission
** Exludes Major Events in 2019 and onward - refer to TSP Section 2.5
Service Quality***
Indicator |  |  |  | OEB Minimum Standard |  | 2016 | 2017 | 2018 | 2019 | 2020
Low Voltage Connections |  |  |  | 90% |  | n/a | n/a | n/a | n/a | n/a
High Voltage Connections |  |  |  | 90% |  | n/a | n/a | n/a | n/a | n/a
Telephone Accessibility |  |  |  | 65% |  | n/a | n/a | n/a | n/a | n/a
Appointments Met |  |  |  | 90% |  | n/a | n/a | n/a | n/a | n/a
Written Response to Enquires |  |  |  | 80% |  | n/a | n/a | n/a | n/a | n/a
Emergency Urban Response |  |  |  | 80% |  | n/a | n/a | n/a | n/a | n/a
Emergency Rural Response |  |  |  | 80% |  | n/a | n/a | n/a | n/a | n/a
Telephone Call Abandon Rate |  |  |  | 10% |  | n/a | n/a | n/a | n/a | n/a
Appointment Scheduling |  |  |  | 90% |  | n/a | n/a | n/a | n/a | n/a
Rescheduling a Missed Appointment |  |  |  | 100% |  | n/a | n/a | n/a | n/a | n/a
Reconnection Performance Standard |  |  |  | 85% |  | n/a | n/a | n/a | n/a | n/a
*** Not applicable to Transmission