## NPV Resutls
Alternatives Evaluated in the NPV Analysis - Nominal cash flows & Assumptions (M$) | [12 empty] | Alternatives Evaluated in the NPV Analysis - NPV Contribution (M$ 2012$)
Cash Flows included in NPV Cal | Alt 1 - Do Refurb Tank Storage & Ops Improv'ts Now |  |  | Alt 2 - Drum Storage and Ops Improv'ts now |  |  | Alt 3 - Do Refurb Tank Storage Now & Ops Improv'ts Later (2018) |  |  | Alt 4 - Do Refurb Tank Storage Now & Ops Improv'ts Never |  |  | Cash Flows included in NPV Cal | Alt 1 - Do Refurb Tank Storage & Ops Improv'ts Now |  |  | Alt 2 - Do Refurb Drum Storage & Ops Improv'ts Now |  |  | Alt 3 - Do Refurb Tank Storage Now & Ops Improv'ts Later (2018) |  |  | Alt 4 - Do Refurb Tank Storage Now & Ops Improv'ts Never
| Refurb Storage - 1700 m3 Tanks now | Ops Improv - now | Total | Refurb Storage - 1700 m3 Tanks now | Ops Improv - Later | Total | Refurb Storage - Drums | Ops Improv - now | Total | Refurb Storage - 1700 m3 Tanks now | Ops Improv - Never | Total |  | Refurb Storage - Tanks | Ops Improv - now | Total | Refurb Storage - Drums | Ops Improv - now | Total | Refurb Storage - Tanks | Ops Improv - Later | Total | Refurb Storage - Tanks | Ops Improv - Later | Total
Capital Costs | -70.4203 | -27.3857 | -97.806 | -7.2 | -38.34 | -45.54 | -78.9 | -32.5 | -111.4 | -78.9 |  |  | Capital Costs | -52.9646 | -20.597 | -73.5616 | -6 | -28.836 | -34.836 | -59.32 | -19.984 | -79.304 | -59.32 |  | -59.32
| 78% of overall capital costs for 2100 m3 facility; 2012-2016 | 22% of overall capital costs for 2100 m3 facility; 2012-2016 |  | Cost of 7200 storage drums | 22% of overall capital costs with 40% markup |  | 78% of overall capital costs, with 12% markup | 22% of overall capital costs with 12% markup |  | 78% of overall capital costs, with 12% markup
OM&A - Labour | -4.6398 | -56.1429 | -60.7827 |  | -33.159 | -33.159 | -4.64 | -55.523 | -60.163 | -4.6398 |  |  | OM&A - Labour | -1.993 | -6.661 | -8.654 |  | -5.606 | -5.606 | -1.993 | -6.338 | -8.331 | -1.913 |  | -1.913
| Oct 2015 to YE 2024: OM&A costs for 1700 m3 facility | Oct 2015 to YE 2024: 1 operator incremental costs (difference between 2100 m3 facility & 1700 m3 facility OM&A) - 2025 to 2055: full 2100 Mg facility OM&A costs |  |  | Full OM&A amount |  | Oct 2015 to YE 2024: OM&A costs for 1700 m3 facility | Oct 2019 to YE 2024: 1 operator incremental costs (difference between 2100 m3 facility & 1700 m3 facility OM&A) - 2025 to 2055: full 2100 Mg facility OM&A costs
OM&A - Revenue Losses (Refurb Outage Extension of 4 months per outage) |  |  |  | -689.889 | [8 empty] | OM&A - Revenue Losses (Refurb Outage Extension of 4 months per outage) |  |  |  | -286.024 |  | -286.024
Using 2011 SEV, energy+capacity
Benefits (Ops Improv) | 0 | 298.889 | 298.889 |  | 298.889 | 298.889 | 0 | 291.445 | 291.445 | 0 |  |  | Benefits (Ops Improv) |  | 44.6 | 44.6 |  | 44.6 | 44.6 |  | 40.74 | 40.74 |  |  | 0
1. Avoids risk of need to upgrade PHT D2O after storage in moderator S&I tanks during SCO/VBO with savings of $600k (2012$) every 6 years for $3.6M total savings |  | 6.547 |  |  | 6.547 |  |  | 5.9 |  |  |  |  | 1. Avoids risk of need to upgrade PHT D2O after storage in moderator S&I tanks during SCO/VBO with savings of $600k (2012$) every 6 years for $3.6M total savings |  | 1.283 |  |  | 1.283 |  |  | 0.931
2. Dose Savings of $450k/year (2012$) from 2016 to 2055 |  | 29.4215 |  |  | 29.4215 |  |  | 27.931 |  |  |  |  | 2. Dose Savings of $450k/year (2012$) from 2016 to 2055 |  | 4.916 |  |  | 4.916 |  |  | 4.145
3. Third Party D2O Sales from 2016-2043 $2.1M/yr sales |  | 62.163 |  |  | 62.163 |  |  | 57.029 |  |  |  |  | 3. Third Party D2O Sales from 2016-2043 $2.1M/yr sales |  | 14.66 |  |  | 14.66 |  |  | 12.004
4. OPG less sensitive to unplanned TRF outages with savings of $7.2M/yr (2012$) during 2025-2055 |  | 197.36 |  |  | 197.36 |  |  | 197.36 |  |  |  |  | 4. OPG less sensitive to unplanned TRF outages with savings of $7.2M/yr (2012$) during 2025-2055 |  | 23.183 |  |  | 23.183 |  |  | 23.183
5. Avoids risk of downgrading reactor grade D2O during acute recovery events or SUP outage for savings of $0.9M (2012$) over 41 years ($22k/yr) |  | 1.4352 |  |  | 1.4352 |  |  | 1.362 |  |  |  |  | 5. Avoids risk of downgrading reactor grade D2O during acute recovery events or SUP outage for savings of $0.9M (2012$) over 41 years ($22k/yr) |  | 0.24 |  |  | 0.24 |  |  | 0.202
6. Elimination of Kinetrics Drum Handling Contract (pressure test) with saving of $30k/yr form 2016 - 2055 |  | 1.9614 |  |  | 1.9614 |  |  | 1.862 |  |  |  |  | 6. Elimination of Kinetrics Drum Handling Contract (pressure test) with saving of $30k/yr form 2016 - 2055 |  | 0.328 |  |  | 0.328 |  |  | 0.276
Avoided capital cost of new TRF Facility in 2035 at 100% probability of new build or refurb at $532M (2012$) | 0 | 242.159 | 242.159 | 0 | 242.159 | 242.159 | 0 | 242.159 | 242.159 | 0 |  |  | Avoided capital cost of new TRF Facility in 2035 at 100% probability of new build or refurb at $532M (2012$) |  | 49.76 | 49.76 |  | 49.76 | 49.76 |  | 49.76 | 49.76 |  |  | 0
Avoided capital cost of DA Decomm D2O 1700 m3 Storage Tanks in 2055 (2012$) | 176.047 | 0 | 176.047 | 0 | 0 | 0 | 176.047 | 0 | 176.047 | 176.047 |  |  | Avoided capital cost of DA Decomm D2O 1700 m3 Storage Tanks in 2055 (2012$) | 9.685 | 0 | 9.685 |  |  |  | 9.685 |  | 9.685 | 9.685 |  | 9.685
[14 empty] | -45.2726 | 67.112 | 21.8294 | -292.024 | 59.928 | -232.106 | -51.628 | 64.179 | 12.55 | -51.548 | 0 | -51.548